Anexa nr. 1

| Nr. d/o | Cod CPV | Denumirea bunurilor solicitate | Unita-tea de măsură | Cantita-tea | Specificarea tehnică deplină solicitată, Standarde de referință |
| --- | --- | --- | --- | --- | --- |
| 1. | 35125000-6 | Lotul 1 Sistem de supraveghere video |  |  |  |
| 1.1 |  | Cameră video (internă) | buc | 2 | Model Indoor Ip Camera Rezoluție: minim 4 Megapixel H.265 +/H264+ CMOS 2688×1520@30fps, 1920×1080. Full-HD Real-time Matrice: 1/3 Progressive Scan CMOS Compresie: H.264/MJPEG/H.264+ 3D DNR, 120dB WDR Obiectiv: 2,8 mm, 114° IR: Filtru IR True Day/Night ICR, 30m Carcasă: metal Suport SD card pâna la 128 Gb Alimentare: DC12V, PoE Rezistenta: IP67 IK10 Temperatura: -30°С ~ +60°С |
| 1.2 |  | Cameră video (externă) | buc | 14 | Model Outdoor Ip Camera Rezoluție: minim 4 Megapixel H.265 +/H264+ CMOS 2688 ×1520@30fps, 1920×1080. Full-HD Real-time Matrice: 1/3 Progressive Scan CMOS Compresie: H.265/MJPEG/H.265+ 3D DNR, 120dB WDR Obiectiv: 2,8 mm, 114° IR: Filtru IR True Day/Night ICR, 30m Suport SD card pâna la 128 Gb Alimentare: DC12V, PoE Rezistenta: IP67 Temperatura: -30°С ~ +60°С |
| 1.3 |  | Registrator video | buc | 3 | Nr. canale: minim 4 Suport camera: pâna la 8 Мр (3840х2160) 100fps@4K, 100fps@720P Onvif. Bitrate: 40Mbit/s Iesiri: VGA, HDMI (4K 3840 × 2160), 2*USB 2.0, Gigabit LAN, 1 Audio IN/OUT Compresie: H.265/MJPEG/H.265+ Suport HDD: SATA-III pâna la 6 TB Server WEB: încorporat Temperatura: minim -10°С maxim +55°С |
| 1.4 |  | Registrator video | buc | 2 | Nr. canale: minim 8 Suport camera: pâna la 8 Мр (3840х2160) 200fps@4K, 200fps@720P Onvif. Bitrate: 80Mbit/s Iesiri: VGA, HDMI (4K 3840 × 2160), 2*USB 2.0, Gigabit LAN, 1 Audio IN/OUT Compresie: H.265/MJPEG/H.265+ Suport HDD: SATA-III pâna la 6 TB Server WEB: incorporat Temperatura: min -10°С max +55°С |
| 1.5 |  | Hard Disk Drive | buc | 1 | Volum: 4TB, Surveillance seriesHDD Interface: SATA 6 Gb/s Advance Format (AF): da Form factor: 3.5-inch Native command queuing: da RoHS compliant: da Interface speed: 6Gb/s Internal transfer rate: 150 MB/s Cache: 64 MB Performance class: 5400 RPM Class Load/unload cycles: 300000 Non-recoverable read errors per bits read: <1 in 10¹⁴ MTBF (hours): 1000000 Workload Rate (TB/years): 180 12VDC ±10% (A, peak): 1,75 Average power requirements (W) Read/Write: 5.1 Idle: 4.5 Standby/Sleep: 0,4 Temperature (ºC): Operating: 0 to 65 Non-operating: -40 to 70 Shock (Gs): Operating (2 ms, read/write): 30 Operating (2 ms, read): 65 Non-operating (2 ms): 250 Acoustics (dBA): Idle: 25 Seek (average): 28 Termen de garanție: minim 36 luni |
| 1.6 |  | Switch PoE | buc | 2 | Fanless management PoE/PoE + switch; Desktop-Rackmount case; 8x10/100/1000 Ethernet PoE ports, Supports PoE + IEEE 802.3at/af and 24 V Passive PoE, 4x1.25Gbps SFP ports, 1xRJ45 serial port; 12 port non blocking wire speed Switch Chip; Non-Blocking Throughput: 12 Gbps; Switching capacity: 24 Gbps; Forwarding Rate: min 17.8 Mpps; PCB temperature monitor; Minim 400 MHz CPU; Minim 128 MB RAM; Dimensiunea de stocare: minim 16 MB; Adaptor de rețea inclus Tensiunea de intrare: 18V-57V; SO va oferi: Non-blocking Layer 2 switching capacity, 16K host table, IEEE 802.1Q VLAN, suport până la 4K simultan VLANs, Port isolation, Port security, Broadcast storm control, Port mirroring of ingress/egress traffic, Rapid Spanning Tree Protocol, Access Control List, neighbor discovery, SNMP, 9204-byte jumbo frames support, IGMP snooping, static link aggregation Termen de garanție: minim 36 luni |
| 1.7 |  | Monitor | buc | 1 | Diagonala: 22" Rezolutie: 1920x1080 Full-HD Contrast: 1000:1 Luminozitate: 250 Cd/m² Unghi de vizualizare: 170° Intrari/Iesiri: HDMI, VGA Alimentare: 220V AC |
| 1.8 |  | Dulap telecomunicațional | buc | 19 | Dulap 6U, dimensiuni (lățime x adâncime x înălțime): minim 600*450*500, ușa (față/spate) metalică cu încuietoare, 1 x bloc de prize electrice 19” (6 prize, 1U, cu filtru și siguranță) |
| 1.9 |  | Elemente de fixare | set | 32 |  |
| 1.10 |  | Conectoare | set | 32 | RJ-45, Pigtail, NKS-Modul etc |
| 1.11 |  | Cablu | buc | 17 | prelungitor pentru monitor (10 metri) |
| 1.12 |  | Cablu | buc | 17 | prelungitor pentru mouse (3 metri) |
| 1.13 |  | Boxă montaj | buc | 15 | Material: plastic Dimensiuni: 100x100 |
| 1.14 |  | Cablu de alimentare | m | 100 | Tip: ВВГнг 3х1,5 mm |
| 1.15 |  | Cablu | m | 1150 | P/u transmiterea datelor Tip: extern Categoria: UTP 5e Material fire: cupru |
| 1.16 |  | Canal plastic | m | 140 | Dimensiuni: 10x20x200 |
| 1.17 |  | Canal plastic | m | 20 | Dimensiuni: 16x25x200 |
| 1.18 |  | Tros | m | 30 | Diametru: 4 mm |
| 1.19 |  | Servicii de instalare, montare și setare | ser | 1 | Transportarea, instalarea, setarea (inclusiv trasarea de cablu) si punerea in functiune a sistemului se va efectua de operatorul economic |
| Termen de garanție pentru Lotul 1 ”Sistem de supraveghere video” |  |  |  |  | minim 2 ani, iar pentru Hard Disk Drive și Switch PoE – minim 3 ani |
| 2. | 35125000-6 | Lotul 2 Sistem de supraveghere video |  |  |  |
| 2.1 |  | Cameră video (internă) | buc | 8 | Model Indoor Ip Camera Rezoluție: minim 4 Megapixel H.265 +/H264+ CMOS 2688×1520@30fps, 1920×1080. Full-HD Real-time Matrice: 1/3 Progressive Scan CMOS Compresie: H.264/MJPEG/H.264+ 3D DNR, 120dB WDR Obiectiv: 2,8 mm, 114° IR: Filtru IR True Day/Night ICR, 30m Carcasă: metal Suport SD card pâna la 128 Gb Alimentare: DC12V, PoE Rezistenta: IP67 IK10 Temperatura: -30°С ~ +60°С |
| 2.2 |  | Registrator video | buc | 1 | Nr. canale: minim 8 Suport camera: pâna la 8 Мр (3840х2160) 200fps@4K, 200fps@720P Onvif. Bitrate: 80Mbit/s Iesiri: VGA, HDMI (4K 3840 × 2160), 2*USB 2.0, Gigabit LAN, 1 Audio IN/OUT Compresie: H.265/MJPEG/H.265+ Suport HDD: SATA-III pâna la 6 TB Server WEB: incorporat Temperatura: min -10°С max +55°С |
| 2.3 |  | Hard Disk Drive | buc | 1 | 4 TB, Surveillance series HDD Interface: SATA 6 Gb/s Advance Format (AF): da Form factor: 3.5-inch Native command queuing: da RoHS compliant: da Interface speed: 6Gb/s Internal transfer rate: 150 MB/s Cache: 64 MB Performance class: 5400 RPM Class Load/unload cycles: 300000 Non-recoverable read errors per bits read: <1 in 10¹⁴ MTBF (hours): 1000000 Workload Rate (TB/years): 180 12VDC ±10% (A, peak): 1,75 Average power requirements (W) Read/Write: 5.1 Idle: 4.5 Standby/Sleep: 0,4 Temperature (ºC): Operating 0 to 65 Non-operating: -40 to 70 Shock (Gs): Operating (2 ms, read/write): 30 Operating (2 ms, read): 65 Non-operating (2 ms): 250 Acoustics (dBA): Idle: 25 Seek (average): 28 Termen de garanție: minim 36 luni |
| 2.4 |  | Switch PoE | buc | 2 | Fanless management PoE/PoE+switch; Desktop-Rackmount case; 8x10/100/1000 Ethernet PoE ports, Supports PoE + IEEE 802.3at/af and 24 V Passive PoE, 4x1.25Gbps SFP ports, 1xRJ45 serial port; 12 port non blocking wire speed Switch Chip; Non-Blocking Throughput: 12 Gbps; Switching capacity: 24 Gbps; Forwarding Rate: min 17.8 Mpps; PCB temperature monitor; Minim 400 MHz CPU; Minim 128 MB RAM; Dimensiunea de stocare: minim 16 MB; Adaptor de rețea inclus Tensiunea de intrare: 18V-57V; SO va oferi: Non-blocking Layer 2 switching capacity, 16K host table, IEEE 802.1Q VLAN, suport până la 4K simultan VLANs, Port isolation, Port security, Broadcast storm control, Port mirroring of ingress/egress traffic, Rapid Spanning Tree Protocol, Access Control List, neighbor discovery, SNMP, 9204-byte jumbo frames support, IGMP snooping, static link aggregation Termen de garanție: minim 36 luni |
| 2.5 |  | Monitor | buc | 1 | Diagonala: 22" Rezolutie: 1920x1080 Full-HD Contrast: 1000:1 Luminozitate: 250 Cd/m² Unghi de vizualizare: 170° Intrari/Iesiri: HDMI, VGA Alimentare: 220V AC |
| 2.6 |  | Elemente de fixare | set | 10 |  |
| 2.7 |  | Conectoare | set | 10 | RJ-45, Pigtail, NKS-Modul etc |
| 2.8 |  | Cablu | buc | 1 | prelungitor pentru monitor (10 metri) |
| 2.9 |  | Cablu | buc | 1 | prelungitor pentru mouse (3 metri) |
| 2.10 |  | Boxă montaj | buc | 4 | Material: plastic Dimensiuni: 100x100 |
| 2.11 |  | Cablu de alimentare | m | 30 | Tip: ВВГнг 3х1,5 mm |
| 2.12 |  | Cablu | m | 305 | P/u transmiterea datelor Tip: extern Categoria: UTP 5e Material fire: cupru |
| 2.13 |  | Canal plastic | m | 30 | Dimensiuni: 10x20x200 |
| 2.14 |  | Canal plastic | m | 20 | Dimensiuni: 16x25x200 |
| 2.15 |  | Servicii de instalare, montare și setare | ser | 1 | Transportarea, instalarea, setarea (inclusiv trasarea de cablu) si punerea in functiune a sistemului se va efectua de operatorul economic |
| Termen de garanție pentru tot sistemul de supraveghere video |  |  |  |  | minim 2 ani, iar pentru Hard Disk Drive și Switch PoE – minim 3 ani |