| Nr. d/o | Denumirea bunurilor | Unitatea de măsură | Cantitatea | Specificatia |
| --- | --- | --- | --- | --- |
|  | Buffere Sodium Chloride-Peptone Soution pH 7.0 + neutralizant+suplimente(lecitna+histitina+polisorbat | kg | 2 | Conform Ph Eur.2.6.12.; 2.6.13 Certificat de conformitate |
|  | Buffere Sodium Chloride-Peptone Soution pH 7.0 + neutralizant+ tiosulfa | kg | 1 | Conform Ph Eur.2.6.12.; 2.6.13 Certificat de conformitate |
|  | Mediul B (Pentru dozare AB) | kg | 0,1 | Conform Ph Eur.2.7.2 Certificat de conformitate. De cerut să fie indicat termenul de valabilitate de la producător a mediului pregătit. |
|  | Antibiotic Assay Medium F | kg | 2 | Conform Ph Eur. 2.7.2. Certificat de conformitate De cerut să fie indicat termenul de valabilitate de la producător a mediului pregătit. |
|  | Eprubete sterile, apirogene,10x75 mm in diametru | buc | 1000 | P/u BET test Ph.Eur. 2.6.14,din sticla ,sterile, apirogene Certificat de calitate pe lot |
|  | Eprubete sterile, apirogene,13x100 mm in diametru | buc | 1000 | P/u BET test Ph.Eur. 2.6.14,din sticla ,sterile, apirogene. Certificat de calitate pe lot |
|  | Staphylococcus aureus ATCC 6538ATCC 10231 (CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | Pseudomonas aeruginosa ATCC 9027 (CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | Bacillus subtilis ATCC 6633(CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | C.albicans ATCC 10231 (CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | E.Coli ATCC 8739(CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate, |
|  | Clostridium sporogenes ATCC 19404(CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | Aspergillus brasiliensis ATCC 16404(CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate |
|  | Sacehromyces Cerevisiae ATCC 9763(CFU/ 0,1 ml: <100 Pasaj: 2) | kit | 1 | ATCC 16404(CFU/ 0,1 ml: <100 Pasaj: 2) |
|  | Candida tropicalis CIP 1433-83/ NCYC1393 | buc | 1 | Bucată=anse/disk/KWIK-STIK Ambalaj=cutie/flacon /pachet cu minim 2 buc - maxim 10 buc. Conform Ph.Eur.2.6.13, Certificat de conformitate Termen de valabilitate min 1an |
|  | Mycobacterium smegmatis ATCC 607 | buc | 1 | Certificat de conformitate Termen de valabilitate min 1an |
|  | Bacillus pumilus ATCC 12228 | buc | 1 | Certificat de conformitate Termen de valabilitate min 1an |
|  | Micrococus luteus ATCC 9341 | buc | 1 | Certificat de conformitate Termen de valabilitate min 1an |
|  | B. cereus ATCC 11778 | buc | 1 | Conforn cerintelor Ph. Eur. 2.7.2. Cu certificat de calitate |
|  | Saci Biohazart p/u autoclavare | buc | 500 | Conform CMP, ISO 17025 Cerificat de calitate |
|  | Carduri Vitek BCL | cutie | 1 | Cu termen minim de valabilitate min 10 luni de la data livrarii, 2 cutii in I semestru si o cutie in al II semestru2 cutii in I semestru si o cutie in al II semestru. Cu certificat de calitate |
|  | Carduri Vitek GN | cutie | 1 | Cu termen minim de valabilitate min 10 luni de la data livrarii, 2 cutii in I semestru si 2 cutii in al II semestru. Cu certificat de calitate |
|  | Standarde de turbiditate pentru DensiChek plus | set | 1 | Conforn cerintelor Ph. Eur. 2.6.14. Cu certificat de calitate. |
|  | Recipiente de filtrare in set pentu controlul sterilitatii Strisart, pentru injectabile | cutie | 10 | Conforn cerintelor Ph. Eur. 2.6.1. Cu certificat de calitate |
|  | Pungi autosigilante pentru sterilizare cu aburi 300mm x500mm | buc | 100 | Dimensiuna unei pungi aproximativ 350mmx 500mm; Banda adeziva fara ajutorul aparatelor profesionale de sigilare, - Rezistenta la explozie - Transparente - continutul pungilor este vizibil, - Sigilare cu 3 straturi cu canale impermeabile si uniforme pentru o protectie antimicrobiana inalta; Dotate cu martor de sterilizare - culoarea se schimba atunci cand sterilizarea s-a efectuat cu succes; Cerneala speciala, pe baza de apa, pentru a nu contamina materialul sterilizat. Prevazute pentru sterilizarea cu aburi. Cu certificate de conformitate |
|  | Șabloane sterile pătrate de eșantionare pentru suprafețele plane cu dimensiunea 10×10 cm (100 cm²), | buc | 250 | Fabricat din carton rigid sau plastic pentru a rezista la utilizare intense, ambalate individual în pachete sterile ușor de deschis. Termen de valabilitate minim 12 luni de la livrare. Temperatura de depozitare 15° C-25° C. Produs pentru monitorizarea mediului conform Ph.Eur. 2.6.1, 2.6.12, 2.6.13 Certificat de conformitate/calitate. |
|  | Filtre pentru sterilizarea soluțiilor dezinfectante | buc | 10 | Capacitatea filtrului de 500ml, membrana de filtrare tip PES(Polietersulfonă) cu imensiunea porilor: 0,8 μm + 0,2 μm. Sterile. Autoclavabile la max.134°C. Împachetare individuală sterilă. Cerificat de calitate |
|  | Indicator biologic Geobacillus stearothermophilus ATCC 9372 | fiole | 100 | Conform Ph. Eur. 5.1.2. Pentru controlul biologic al sterilizării cu aer (etuve) la t° 180. Concentrația sporilor în fiola 10^6 Cu certificate de calitate |
|  | Indicatori chimici pentru sterilizarera cu aburi 1100C-1350C 15 min, interni | buc | 2000 | Indicatori chimici pentru sterilizarea cu aburi interni. Care arată schimbarea culorii la atingerea nivelului de presiune şi temperatură. Conform ISO 11140-1:2014. Clasa a 4-a. Termen minim de valabilitate 2 ani. Cu certificat de conformitate. |
|  | Dezinfectant steril,concentrat | L | 10 | STERIL p/u clasa de curatenie A În containere de 1 l. Cu substanțe active aminele și guanidine. Pentru dezinfecția suprafețelor din laborator. Să nu deterioreze suprafețele dezinfectate. Termen minim de valabilitate 24 luni. Certificat de conformitate |
|  | Kit pentru dozarea heparinei | kit | 2 | Un set de reactivi pentru determinarea activității heparinei cu greutate moleculară mică Proiectat pentru determinarea cantitativă a activității anti-Xa și anti-IIa în medicamente și substanțe cu heparină cu greutate moleculară mică (HBPM) folosind substraturi cromogene. Kitul pentru a fi aplicată metoda este necesar să fie procurat de la un producător și să includă companentele (Standard de lucru; Solutie tampon; Bovine albumin; antritrombin III; thrombin uman; Factor Xa chromogenic substrate; Factor X Activated (Xa) from bovine plasma; Factor IIa chromogenic substrate) Un set minim pentru 50 teste. Conform Ph. Eur.2.7.5 Cu certificat de calitate |
|  | Schaaeffer and Futon Spore Sain Kit | kit | 1 | Conform Ph.Eur., Certificat de conformitate |
|  | Prefiltru din polipropilenă, hidrofob, 5,0 µm, 47 mm | 500 buc |  | Prefiltre din fibră de sticlă Sartorius hydrophile, nesterile, cu lianț acrylic |
|  | Filtru cu aer clasa G4( 428x289x290) | buc | 10 | Conform Ph.Eur., Certificat de conformitate |
|  | Filtru cu aer clasa G4( 428x489x290) | buc | 6 | Conform Ph.Eur., Certificat de conformitate |
|  | Filtru cu aer clasa F7( 428x289x290) | buc | 10 | Conform Ph.Eur., Certificat de conformitate |
|  | Filtru cu aer clasa F7( 428x489x290) | buc | 6 | Conform Ph.Eur., Certificat de conformitate |
|  | Convertizator de frecventa 18 kw | buc | 1 | Conform Ph.Eur., Certificat de conformitate |
|  | Solutie neutralizanta lichida in fl.100ml | flacoane | 100 | Conform Ph Eur.2.6.12.; 2.6.13; 2.6.1 Certificat de conformitate și termen de valabilitate minim doi ani. Conditii de livrare 50fl.în prima jumătate a anului și 50fl. in a doua jumătate a anului |
|  | Brevundimonas diminuta ATCC 19146 | 1 | set | Conform Ph Eur.2.6.12.; 2.6.13; 2.6.1 Certificat de conformitate și termen de valabilitate minim doi ani. Test biologic pentru controlul sterilizarii prin filtrare. |
|  | Placi de contact neiradiate-plăci RT cu diametru 55mm | buc | 500 | Conform Ph Eur. si 170252, p/u monitorizarea microbiană a suprafețelor din zonele controlate cu TSA. Placi cu diametru 55mm. Certificat de conformitate. |
|  | Subler | buc | 1 | Certificat de conformitate |
|  | Spirtiere | buc | 4 | Spirtiere din oțel inoxidabil cu capacitatea de 85-100ml, prevăzuta cu fitil ușor reglabil și capac de etanșare. Livrata inclusiv cu fitil. Caertificat de conformitate. |
|  | Sabouraud broth | kg | 0.1 | Conform Ph Eur.2.6.12.; 2.6.13; Certificat de conformitate |
|  | Teoglycollate fluid medium USP | kg | 0,5 | Conform Ph Eur.2.6.12.; 2.6.13; Certificat de conformitate |
|  | MacConkey Broth | kg | 0,1 | Conform Ph Eur.2.6.12.; 2.6.13; Certificat de conformitate |
|  | EE Broth-Mossel | kg | 0,1 | Conform Ph Eur.2.6.12.; 2.6.13; Certificat de conformitate |
|  | Recipient pentru biureta automata din sticla transparenta (Bellow for automatic burettes) | buc | 3 | 020.07.010 Volum – 2000 ml, slif 29/32 |
|  | Recipient din sticlă închisă la culoare pentru biuretă automata (Bottles for automatic burettes ) | buc | 1 | 020.07.025 Volum – 2000 ml, slif 29/32 |
|  | Bellow for automatic burettes | buc | 4 | 020.08.001 |
|  | Automatic burettes (din sticla transparenta) | buc | 3 | 019.01.025 Volum 25 ml |
|  | Automatic burettes (din sticla închisă la culoare) | buc | 1 | 019.05.025 Volum 25 ml |
|  | Ceasca de evaporare cu fund rotund (ceramic) | buc | 20 | 038.12.080 Volum 75 ml, Ø=80 mm |
|  | Suport metallic pentru biurete – Burette support with clamps | buc | 4 | 049.01.150 150x300 mm |
|  | Support rods | buc | 4 | 049.07.005 750 mm, Ø 12 mm |
|  | Clamps-“for straight burettes” | buc | 4 | 018.05.002 |
|  | Clamp-“3 jaws”- “without bosshead” | buc | 8 | 045.06.001 |
|  | Funnels holders “steel”- with bosshead | buc | 2 | 042.04.060 Ø=60 mm |
|  | Funnels holders “steel”- with bosshead | buc | 2 | 042.04.080 Ø=80 mm |
|  | Distilling links – “with condenser”- “Claisen head” | buc | 1 | 065.57.003 |
|  | Pâlnie de sticlă | buc | 20 | 041.01.060 Ø=60 mm |
|  | Perie pentru sticlăria de laborator | buc | 3 | 071.02.003 Brush Ø-50mm, Brush L-110 mm |
|  | Perie pentru sticlăria de laborator | buc | 3 | 071.02.004 Brush Ø-50mm, Brush L-110 mm |
|  | Perie pentru sticlăria de laborator | buc | 3 | 071.02.005 Brush Ø-25mm, Brush L-100 mm |
|  | Eye wash | buc | 6 | 069.04.175 4,9% fosfat buffer neutralization solution |
|  | Eprubete cu dop plastic pentru centrifuga | buc | 50 | Ø2,5x9,5 cm (h) Volum 30 ml. Nu steril Compatibile cu centrifuga model MPW-351RH |
|  | Eprubetă din sticla cu fund plat | buc | 50 | Neutral glass with a flat base and an internal diameter of 15-25 mm |
|  | Cilindru gradat | buc | 2 | 015.01.902 Volum 2000 ml. Class A |
|  | Pipete gradat 5 ml cu doua cote | buc | 10 | ## Pipette-glass-volumetric-"AS"-conformity certified-blue scale-5 ml |
|  | Baghete de sticlă | buc | 50 | BR 135810, LxD 200 mmx6 mm |
|  | PTFE Frits 5 PK | set | 4 | 01018-22707 |
|  | Respirator din silicon pentru jumătate de față cu două cartușe | buc | 3 | Protectie de la:Benzene, Gasoline, Acetone, Alcohols, Cloroform, Metyl bromide, Anilin, Nitroparaffin. |
|  | Picnometru 10 ml | buc | 15 | Pycnometer Reischauer (pyknometer flask) 10 ml Conform ISO 3507 -Nominal capacity, ml 10 -Difference between actual capacity and nominal capacity, max, min ml±1 -Maximum mass including stopper, g 2-height to top of neck, A, mm-110 -Diameter of body, B, mm- 33 -Diameter of base, C, mm-23 -External diameter of neck, F, mm-8 - Internal diameter of neck, G, mm-2,2 to 3,1 -Neck socket grinding, 7/11 or 7/16 Certificat de etalonare de la producator. Imagine foto a modelului *Toate buc sa fie acelasi lot! |
|  | Electrod pH compatibil cu modelul pH – metru Agilent | buc | 2 | P3311 (N5190-3990) Material de electrod: Policarbonat Tip cablu: BNC, senzor temperatura Tipul de electrod: Combinat cu capac în formă sferică |
|  | Weighing boat | buc | 1 | Weighing boat made of glass of KF water determinations. Including protective tube |
|  | Inel O din silicon pentru coloane de sticlă (20 per pachet). | buc | 1 | 201-47614 O-Ring Silicon for Glass Columns (20/pk). |
|  | 1,3-dinitrobenzene | g | 25 | Conform Ph.Eur.Yellowish crystalline powder or crystals, practically insoluble in water, slightly soluble in ethanol (96 per cent). mp: about 90 °C. For HPLC. Ambalaj 25 g |
|  | Tetrabutylammonium hydrogen sulfate for HPLC (CAS 32503-27-8) | g | 100 | Conform Ph.Eur.Crystalline powder or colourless crystals, freely soluble in water and in methanol. mp: 169 °C to 173 °C. Absorbance: maximum 0.05, determined between 240 nm and 300 nm using a 50 g/L solution. Corespunde cu Tetrabutylammonium hydrogen sulfate R1: Absorbance: maximum 0.02, determined between 215 nm and 300 nm using a 50 g/L solution.. Suitable for ion-pair chromatography. Ambalaj 50 g |
|  | tert-butyl methyl ether | mL | 500 | Conform Ph.Eur.; ≥ 99,5% for HPLC, GC; Colourless, clear, flammable liquid; Refractive index: about 1.376; density about:0.741; bp: about 55 °C;Absorbance: max.0.30 at 240 nm, 0.10 at 255 nm, 0.01 at 280 nm, determined using water R as compensation liquid. Ambalaj: 100ml. |
|  | Triethylamine | mL | 500 | Conform Ph.Eur. Colourless liquid, slightly soluble in water at a temperature below 18.7 °C, miscible with ethanol (96 per cent). Relative density: about 0.727. Refractive index: about 1.401. bp: about 90 °C. Corespunde cu Triethylamine R1: Content: minimum 99.5 per cent, determined by gas chromatography. Water: maximum 0.1 per cen. și Triethylamine R2: Content: minimum 99.5 per cent, determined by gas chromatography. It is suitable for gradient elution in liquid chromatography. Ambalaj 100 mL |
|  | Sodium dodecyl sulfate | kg | 1 | Conform Ph.Eur. Assay ≥99.0% (GC), Non-esterified alcohols: maximum 4.0 per cent; Sodium chloride and sodium sulfate: maximum 8.0 per cent for the total percentage content. Ambalaj 1 kg |
|  | Ethanol 96% | L | 100 | 95.1 % V/V - 96.9 % V/V; bp: about 78 °C; Acidity or alkalinity conform Ph.Eur. Relative density: 0.805 - 0.812; Residue on evaporation: maximum 25 ppm; Ambalaj: 1 L. |
|  | Titrant Karl Fischer one component | L | 10 | Karl Fischer reagent for volumetric titration 5, 5 mg H2O/mL used with methanol. Ambalaj 1 L |
|  | Calcium oxide | g | 500 | Assay ≥90%. Ambalaj 500 g |
|  | Caffeine melting point standard | g | 2 | NIST, Traceable CRM. Ambalaj 1 g |
|  | Vanilin melting point standard | g | 3 | NIST, Traceable CRM. Ambalaj 1 g |
|  | Phenacetin melting point standard | g | 3 | NIST, Traceable CRM. Ambalaj 1 g |
|  | Dimethyl sulfoxide | L | 15 | conform Ph.Eur. Corespunde cu Dimethyl sulfoxide R1 și R2. Relative density : 1.100 to 1.104. Refractive index: 1.478 to 1.480. Freezing point: minimum 18.3 °C. Absorbance: not more than 0.30 at 275 nm and not more than 0.20 at both 285 nm and 295 nm. The substance to be examined shows no absorption maximum between 270 nm and 350 nm. Content: minimum 99.9 per cent, determined by gas chromatography.Absorbance (2.2.25): maximum 1.00 at 262 nm, 0.46 at 270 nm, 0.16 at 290 nm, 0.01 at 340 nm and higher wavelengths. Residue on evaporation: maximum 0.0005 per cent.Water: maximum 0.005 per cent. Ambalaj 2,5 L |
|  | Sodium phosphate dibasic dodecahydrate (CAS 10039-32-4) | kg | 1 | conform Ph.Eur: Content: 98.5 per cent to 102.5 per cent. Monosodium phosphate: maximum 2.5 per cent. Chlorides: maximum 200 ppm.Sulfates : maximum 500 ppm. Iron: maximum 20 ppm. Loss on drying: 57.0 per cent to 61.0 per cent |
|  | Potassium phosphate monobasic (CAS 7778-77-0) | kg | 1 | conform Ph.Eur: Content: 98.0 per cent to 100.5 per cent (dried substance). pH: 4.2 to 4.5. Chlorides maximum 200 ppm. Sulfates: maximum 300 ppm. Arsenic: maximum 2 ppm. Iron: maximum 10 ppm.Loss on drying: maximum 2.0 per cent. Ambalaj 500 g |
|  | Potassium phosphate monobasic (CAS 7778-77-0) | kg | 1 | Content: 98.0 per cent to 100.5 per cent (dried substance). HPLC suitable. Ambalaj 1 kg |
|  | Sodium phosphate dibasic dihydrate (CAS 10028-24-7 ) | kg | 1 | conform Ph.Eur:Content: 98.0 per cent to 101.0 per cent (dried substance). Monosodium phosphate: maximum 2.5 per cent.Chlorides : maximum 400 ppm. Sulfates: maximum 0.1 per cent. Iron: maximum 40 ppm. Loss on drying: 19.5 per cent to 21.0 per cent. Ambalaj 500 g |
|  | Sodium phosphate dibasic dihydrate (CAS 10028-24-7) | kg | 1 | Content: 98.0 per cent to 101.0 per cent (dried substance). HPLC suitable. Ambalaj 1 kg |
|  | Diethyl ether (CAS 60-29-7) | L | 2 | Conform Ph. Eur.: Distillation range between 34.0 °C and 35.0 °C. Non-volatile matter: maximum 20 mg/L. Volatile impurities: conform Ph. Eur. Water: maximum 2 g/L. Ambalaj 1 L. |
|  | Osmolality standard 100 mOsm/kg H₂O | buc | 3 | In ampules. CRM acc. Ph. Eur. 2.2.35, uncertainity max +-4%. Ambalaj set cu 5 sau 4 fiole de 5 mL. |
|  | Osmolality standard 200 mOsm/kg H₂O | buc | 3 | In ampules. CRM acc. Ph. Eur. 2.2.35, uncertainity max +-4%. Ambalaj set cu 5 sau 4 fiole de 5 mL. |
|  | Osmolality standard 300 mOsm/kg H₂O | buc | 3 | In ampules. CRM acc. Ph. Eur. 2.2.35, uncertainity max +-4%. Ambalaj set cu 5 sau 4 fiole de 5 mL. |
|  | Ethyl acetate | L | 2,5 | Conform Ph.Eur a clear, colourless liquid, soluble in water, miscible with ethanol (96 per cent), assay ≥99.5% (GC); Relative density: 0.898 to 0.902; Refractive index: 1.370 to 1.373; Related substances conform Ph.Eur.; Residue on evaporation: maximum 30 ppm.; Water: max. 0.1%. Corespunde cu Ethyl acetate R1: Suitable for gas chromatography ECD and FID. Equation: 0.90. Content: minimum 99.8 per cent. Evaporation residue: maximum 3.0 mg/L Water: maximum 0.02 per cent. Ambalaj: 2,5 L |
|  | Heptane | L | 2 | Conform Ph.Eur.: Colourless, flammable liquid, practically insoluble in water, miscible with anhydrous ethanol. Relative density: 0.683 to 0.686. Refractive index: 1.387 to 1.388. Distillation range: Not less than 95 per cent distils between 97 °C and 98 °C. HPLC grade. Ambalaj 1 L |
|  | 1-butanol | L | 5 | Conform Ph.Eur. Clear, colourless liquid, miscible with ethanol (96 per cent). Relative density: about 0.81. bp: 116 °C to 119 °C. HPLC grade. Ambalaj 1 L |
|  | 1-propanol | L | 2 | Conform Ph.Eur. Non-volatile matter: maximum 0.004 per cent.Water: maximum 0.2 per cent. Relative density: about 0.802 to 0.806. bp: about 97.2 °C. Distillation range: Not less than 95 per cent distils between 96 °C and 99 °C. HPLC grade. Ambalaj 1 L |
|  | Bornyl acetat (CAS:5655-61-8) | mL | 2 | Conform Ph.Eur, Colourless crystals or a colourless liquid, very slightly soluble in water, soluble in ethanol (96 per cent); Suitable for GC. Ambalaj 1 ml |
|  | Resorcinol | g | 25 | Conform Ph.Eur not less than 98.5 per cent and not more than the equivalent of 101.0 per cent of benzene-1,3-diol, calculated with reference to the dried substance. Appearance of solution: conform Ph.Eur. Acidity or alkalinity: Conform Ph.Eur. Related substances: Conform Ph.Eur. Pyrocatechol: conform Ph.Eur. Loss on drying: Not more than 1.0 per cent. Sulfated ash: Not more than 0.1 per cent. Ambalaj 25 g |
|  | Mercury chloride | g | 25 | Conform Ph.Eur.: Content: 99.5 per cent to 100.5 per cent (dried substance). Appearance of solution: conform Ph.Eur. Acidity or alkalinity: conform Ph.Eur. Mercurous chloride: conform Ph.Eur. Loss on drying: maximum 1.0 per cent. Ambalaj 25 g |
|  | Magnesium sulfate heptahydrate | g | 50 | Content: 99.0 per cent to 100.5 per cent (dried substance). Appearance of solution: Confoem Ph.Eur. Acidity or alkalinity: Conform Ph.Eur. Chlorides: maximum 300 ppm. Iron: maximum 20 ppm. Loss on drying: 48.0 per cent to 52.0 per cent. Ambalaj 25 g |
|  | 1,2-dichloroethane | mL | 500 | Conform Ph.Eur. A clear, colourless liquid, soluble in about 120 parts of water and in 2 parts of ethanol (96 per cent).Density: about 1.25. Distillation range: Not less than 95 per cent distils between 82 °C and 84 °C. HPLC suitable. Ambalaj 100 mL |
|  | Diethylamine | mL | 500 | Content: minimum 99.5 per cent. Clear, colourless, flammable liquid, strongly alkaline, miscible with water and with ethanol (96 per cent). Relative density: about 0.71. bp: about 55 °C. HPLC suitable. Ambalaj 100 mL |
|  | 4-Amino-3-hydroxy-1-naphthalenesulfonic acid | g | 25 | For spectrophotometric determination |

Conducătorul grupului de lucru:  ____________  Dragoș GUȚU                L.Ș.