Caiet de sarcini desfășurat

Reagenti pentru Analizatorul biochimic automat BS-800, BS-620M pentru anul 2025, sistem închis

| № | Denumire | Ambalaj | Nr. Teste / set | Unit. | Cant-te |
| --- | --- | --- | --- | --- | --- |

| 1 | Albumin | R:6x60 ml | 1 620 T | set | 9 |
| --- | --- | --- | --- | --- | --- |
| 2 | ALP | R1:6x58 ml+R2:3x32 ml | 2 400 T | set | 2 |
| 3 | ALAT | R1:6x57 ml+R2:3x32 ml | 2 400 T | set | 30 |
| 4 | ASAT | R1:6x57 ml+R2:3x32 ml | 2 400 T | set | 30 |
| 5 | α-Amylase | R1:4x45 ml+R2:4x12 ml | 1 120 T | set | 30 |
| 6 | Bilirubin Direct | R1:4x48 ml+R2:4x12 ml | 888 T | set | 49 |
| 7 | Bilirubin Total | R1:4x48 ml+R2:4x12 ml | 724 T | set | 60 |
| 8 | Creatine Kinase | R1:3x42 ml+R2:3x12 ml | 540 T | set | 36 |
| 9 | Creatine Kinase-MB | R1:3x42 ml+R2:3x12 ml | 540 T | set | 40 |
| 10 | Creatinine | R1:4x59 ml+R2:2x42 ml | 1 700 T | set | 37 |
| 11 | GGT | R1:6x57 ml+R2:3x32 ml | 2 400 T | set | 2 |
| 12 | Glucose | R1:6x60 ml+R2:3x32 ml | 1 860 T | set | 39 |
| 13 | HDL-Cholesterol | R1:4x58 ml+R2:2x42 ml | 1 370 T | set | 13 |
| 14 | LDL-Cholesterol | R1:4x58 ml+R2:2x42 ml | 1 370 T | set | 13 |
| 15 | LDH | R1:4x42 ml+R2:4x12 m | 1 120 T | set | 25 |
| 16 | Triglycerides | R:6x60 ml | 1 620 T | set | 10 |
| 17 | Total Cholesterol | R:6x60 ml | 1 620 T | set | 15 |
| 18 | Total Protein | R:6x60 ml | 2 580 T | set | 10 |
| 19 | Uric Acid | R1:6x60 ml+R2:3x32 ml | 2 050 T | set | 10 |
| 20 | Urea | R1:6x58 ml+R2:3x32 ml | 1 550 T | set | 41 |
| 21 | Iron (C) | R1:4x40 ml+R2:2x16 ml | 920 T | set | 6 |
| 22 | Calcium | R:4x45 ml | 790 T | set | 4 |
| 23 | Magnesium | R:4x45 ml | 790 T | set | 4 |
| 24 | Phosphorus | R:4x45 ml | 790 T | set | 3 |
| 25 | Lipase | R1:2x40 ml+R2:2x10 ml | 350 T | set | 22 |
| 26 | C-Reactive Protein | R1:2x35 ml+R2:2x10 ml | 450 T | set | 25 |
| 27 | Antistreptolysin O Ⅱ (C) | R1:2x40 ml+R2:2x40 ml | 470 T | set | 7 |
| 28 | Rheumatoid Factor Ⅱ | R1:2x40 ml+R2:2x11 ml | 394 T | set | 10 |
| 29 | Ferritin | R1:1x20 ml+R2:1x12 ml | 140 T | set | 34 |
| 30 | Haemoglobin A1c | R1:2x40 ml+R2:2x15 ml | 520 T | set | 2 |
| 31 | Apolipoprotein A1 | R1:3x42 ml+R2:3x15 ml | 530 T | set | 2 |
| 32 | Apolipoprotein B | R1:3x42 ml+R2:3x15 ml | 530 T | set | 2 |
| 33 | Complement C3 | R1:2x40 ml+R2:2x20 ml | 470 T | set | 1 |
| 34 | Complement C4 | R1:2x38 ml+R2:2x15 ml | 390 T | set | 1 |
| 35 | Cystatine - C Ⅱ | R1:2x40 ml+R2:2x12 ml | 570 T | set | 2 |
| 36 | High Sensitivity C-reaction Protein | R1:2x40 ml+R2:2x40 ml | 550 T | set | 2 |
| 37 | Total Bile Acids | R1:4x45 ml+R2:2x32 ml | 1 120 T | set | 2 |
| 38 | Transferrin | R1:1x45 ml+R2:1x7 ml | 200 T | set | 3 |
| 39 | Homocysteine (C) | R1:1x34 ml+R2:1x11 ml | 160 T | set | 10 |
| 40 | Immunoglobulin A | R1:2x40 ml+R2:2x20 ml | 470 T | set | 1 |
| 41 | Immunoglobulin G | R1:2x40 ml+R2:2x20 ml | 470 T | set | 1 |
| 42 | Immunoglobulin M | R1:2x35 ml+R2:2x10 ml | 390 T | set | 1 |
| 43 | Total Protein in Urine/CSF (C) | R:3x18 ml | 378 T | set | 5 |
| 44 | Pancreas-amylase | R1:6×20 ml+R2:6×5 ml | 600 T | set | 3 |
| 45 | Copper (C) | R:5x25 ml | 625 T | set | 3 |
| 46 | Zinc (C) | R:5x25 ml | 625 T | set | 3 |
| 47 | CERULOPLASMIN | R1:1x35 ml+R2:1x7 ml | 140 T | set | 4 |
| 48 | HAPTOGLOBIN | R1:1x35 ml+R2:1x7 ml | 140 T | set | 5 |
| 49 | ETHANOL | R:2x35 ml | 170 T | set | 5 |
| 50 | ETHANOL CONTROL | 3x3 ml |  | set | 6 |
| 51 | EtOH Cal AQ 1.0 g/L | 10x1,5 ml |  | set | 1 |
| 52 | EtOH Cal AQ 3.0 g/L | 10x1,5 ml |  | set | 1 |
|  | Materiale de control și calibratori: |  |  |  |  |
| 53 | Multi Sera Calibrator | 10x3 ml |  | set | 6 |
| 54 | Specific Proteins Calibrator | 5x1 ml |  | set | 5 |
| 55 | Lipids Calibrator | 5x1 ml |  | set | 3 |
| 56 | CK-MB Calibrator | 3x1 ml |  | set | 3 |
| 57 | RF calibrator | 5 levels x0,5 ml |  | set | 6 |
| 58 | FER calibrator | 4 levels x2 ml |  | set | 6 |
| 59 | HbA1c Calibrator | 2 levels x1 ml |  | set | 4 |
| 60 | TRF calibrator | 5 levels x1 ml |  | set | 6 |
| 61 | CysC Calibrator | 5 levels x0.5 ml |  | set | 3 |
| 62 | ClinChem Multi Control (level 1) | 6x5 ml |  | set | 8 |
| 63 | ClinChem Multi Control (level 2) | 6x5 ml |  | set | 8 |
| 64 | ASO/CRP/RF Triple Control | 3x2x1 ml |  | set | 6 |
| 65 | Multimmun control | 1x2x3 ml |  | set | 4 |
| 66 | HbA1c control N | 4x1 ml |  | set | 2 |
| 67 | HbA1c control P | 4x1 ml |  | set | 2 |
| 68 | TRF control | 2 levels x 1 ml |  | set | 6 |
| 69 | CysC Control | 3x2x1 ml |  | set | 5 |
| 70 | HCY Control | 2 levels x1 ml |  | set | 8 |
| 71 | CO2 and TBA Multi Control | 3x2x5 ml |  | set | 3 |
| 72 | TPUC Control | 2x1 ml |  | set | 8 |
| 73 | Autocal | 4x5 ml |  | set | 2 |
| 74 | Humatrol N | 6x5 ml |  | set | 3 |
| 75 | Humatrol P | 6x5 ml |  | set | 3 |
| 76 | Diacon N | 5x5 ml |  | set | 2 |
| 77 | Diacon P | 5x5 ml |  | set | 2 |
| 78 | IMMUNO-MULTICAL | 5x1 ml |  | set | 2 |
| 79 | IMMUNO-CONTROL III | 1x2 ml |  | set | 4 |
|  | Consumabile ISE: |  |  |  |  |
| 80 | ISE Reagent Pack | - |  | buc | 13 |
| 81 | ISE Cleaning Solution | 50 ml |  | buc | 6 |
| 82 | ISE Detergent | 15 ml |  | buc | 1 |
| 83 | Na Cleaning Solution | 15 ml |  | buc | 1 |
| 84 | Na electrode | - |  | buc | 2 |
| 85 | K electrode | - |  | buc | 2 |
| 86 | Cl electrode | - |  | buc | 2 |
| 87 | Reference electrode | - |  | buc | 2 |
|  | Consumabile: |  |  |  |  |
| 88 | Soluție detergent CD80 | 6x2 L |  | set | 18 |
| 89 | Soluție detergent ProbCleanser | 50 ml |  | buc | 9 |
| 90 | Cuve de reacție p/u BS-800 | 10 buc |  | set | 1 |
| 91 | Lampă fotometrică 12V, 20W p/u BS-800 | - |  | buc | 3 |
| 92 | Cuve de reacție p/u BS-620M | 140 buc |  | set | 1 |
| 93 | Lampă fotometrică 12V, 20W p/u BS-620M | - |  | buc | 6 |
| 94 | Cuve conice pentru probe, 1,5 ml | 1000 buc |  | set | 70 |