## Rev 8.30
| Revision | 2023-12-04 | [7 empty] | Supported since MS Excel 2010 | [7 empty] | ELCORplus
CHECK LIST FOR TECHNICAL SPECIFICATION
| Purchase Order No. |  |  |  |  | DATCOMplus Solar MD
| Quantity |  |  |  |  | 5 |  |  |  | Expect delivery date
Basic version (no extension modules)
| Basic EVC configuration | [6 empty] | Display |  |  | Approval |  |  |  | Zone |  | Compressibility (table below)
| 4x digital input | [6 empty] | Graphic |  |  | Without approval 5) |  |  |  | 0,1,2 |  | AGA_8_DETAIL
4x digital output (binary or pulse or analog)
| 1x optical interface | [6 empty] | Operating temper. |  |  |  | EVC battery module |  |  |  | Destination country of installation
| 1x single EVC battery | [6 empty] | -25°C...+70°C |  |  |  | B-03U, with cell |  |  |  | Moldova
[8 empty] | MODBUS map |  |  |  | Device Language |  |  |  | Label Language
[8 empty] | yes, basic |  |  |  | RU, Russian |  |  |  | ENG, English
B-03 - Battery module with capacity 17Ah | [7 empty] | B-03U - Battery with holders one battery cell with or without battery cell, 1 x SAFT LS33600
B-03D - Battery module with capacit 30Ah | [7 empty] | B-03DU - Battery with holders two battery cells with or without battery cell, 2 x SAFT LS33600
Global settings
| Pressure Unit |  |  |  | Base Pressure |  |  |  | Temperature unit |  |  |  |  | Volume unit |  | Base Temperature
|  | bar |  |  |  | 1.01325 bar |  |  |  | °C |  |  | m3 |  |  |  | 20°C
|  | what else? |  |  |  | what else? | [6 empty] | what else? |  |  |  | what else?
Extension modules - slots
| Slot 0 (S0) |  |  | Slot 1 (S1) |  |  | Slot 2 (S2) |  |  | Slot 3 (S3) |  |  | Slot 4 (S4) |  |  |  | Slot 5 (S5) - internal modem 6)
| none |  |  | COM1-RS232/485 | [5 empty] | PWR1 |  |  | PWR2 |  |  |  | M4G, LTE-Cat1-W
0
| Additional terminals board |  |  |  |  | Barometric pressure sensor |  |  |  |  | Modem battery | [5 empty] | Supported country of modem comm.
| none |  |  |  |  | none |  |  |  |  | HB-04U (7,7Ah), with cells LS26500, (standard) | [5 empty] | Moldova
0
| Outputs DO1 and DO2 only with pulse outputs without power supply U0+ | [15 empty] | Antenna for modem
| no (without jumper) | [15 empty] | external
| EXT17) | multifunction extension module (10s÷1h) | [9 empty] | EDT | interface for aditional 1 transducer (or total 3 with EXT1-T)
|  | 2x HF pulse input or NAMUR input or NAMUR encoder | [9 empty] | COM1 | module RS485 or RS232 communication for Slot 1 and Slot 2
| EXT1-T | additional slot with terminals for EXT1 | [9 empty] | COM0 | module for ext. modem connection RS232 only for Slot 4
|  | (2x Analog. Inputs, 2x Internal Bus for transducers, | [9 empty] | 2AI | two analog inputs 4-20 mA
|  | 6x Digital Inputs) | [9 empty] | 2AO | two analog outputs 4-20 mA
| EXT1/HF | multifunction extension module (10s÷1h) | [9 empty] | PWR1 | external EVC power supply
|  | 2x HF NAMUR pulse input or 2x NAMUR encoder | [9 empty] | PWR2 | external modem power supply
| SCR | interface for gasmeter SCR Encoder (10s÷1h) | [9 empty] | PWR3 | external EVC power supply, 230Vac
| MIE | interface for mechanical indexer ELGAS | [9 empty] | PWR4/12 | external EVC power supply, 12Vdc
| NAM | interface for gasmeter NAMUR Encoder, no MID(1min÷1h) | [9 empty] | PWR4/24 | external EVC power supply, 24Vdc
| PT1000-4W |  | not available - modul in R&D phase
| DO1 and DO2 |  | see user manual for more details about modifications for digital outputs.
Digital transducers
DT 1
| Input |  |  | Type |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
| metrological |  |  | temperature
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
|  |  | -25 ÷ +70°C |  |  |  | 120 mm |  |  | other 4) (15, 20, 25, 30, 50) |  |  | 50 m |  |  | no (only cable) |  |  | LiYCY
DT 2
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
| metrological |  |  | pressure |  |  |  | absolute |  |  | MID: 400 - 7000 kPa; -25 - +70 °C
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
|  |  |  | external |  |  | other 4) (15, 20, 25, 50) | [5 empty] | 50 m |  |  | Ermeto M12x1,5 |  |  | LiYCY - standard
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
DT 3
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
DT 4
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
Digital transducers
(only with module EDT, or EDT and EXT1, or EXT1 and EXT1/T )
DT 5
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
DT 6
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
DT 7
| Input |  |  | Type |  |  |  | Pressure type |  |  | Absolute: MID and Non MID certified
Relative: Non MID
|  |  |  | Design location |  |  | Cable length (external ver.) | [5 empty] | Length note |  |  | Type of fittings |  |  | Cable type
in meters
Temperature
|  |  | Temperature range |  |  |  | Sensor length |  |  | Cable length |  |  | Length note |  |  | Cable armor |  |  | Cable type
in meters
Pulse inputs cable
| CHANNEL 1 |  |  |  | Cable |  |  | Cable type |  |  |  | CHANNEL 2 |  |  |  | Cable |  |  | Cable type
|  | yes |  |  | none | [7 empty] | none |  |  | none
|  | Cable length |  |  | Cable length note | [7 empty] | Cable length |  |  | Cable length note
|  | Wires count |  |  | Wires of connected | [7 empty] | Wire count |  |  | Wires of connected
|  |  |  | 0 | [10 empty] | 0
|  | Ending |  |  |  | Binder description | [6 empty] | Ending |  |  |  | Binder description
[6 empty] | more descriptions | [10 empty] | more descriptions
Accessories for mounting corrector (not included in corrector price)
| Mounting plate | [5 empty] | Thermowell |  |  |  |  | Welded on piece |  |  |  | Mounting plate on pipe size
|  | none | [5 empty] | none |  |  |  |  | none |  |  |  | none
| Ermeto Set for pressure transducer | [7 empty] | pcs |  |  |  | Version of Welded
|  | yes | [5 empty] | Thread on thermowell | [5 empty] | direct pcs
|  | 5 | pcs | [10 empty] | oblique pcs
other
| The parameter settings | [6 empty] | Length of thermowell |  |  |  |  | 3-way ball tap
|  | none | [10 empty] | none
|  | 0 | [11 empty] | pcs
External accessories for corrector communication (not included in corrector price)
| An Intrinsically safe power supply designed for ELCORplus | [16 empty] | PS-E |  | 5 | pcs
| An Intrinsically safe external power supply for integrated modem | [16 empty] | PS-M |  | 5 | pcs
| A safety isolation barrier for: power supply designed for ELCORplus, RS485 communication lines, | [19 empty] | pcs
| and 2 digital outputs | [16 empty] | B-PRO |  |  | pcs
| A safety isolation barrier for the RS485 communication lines | [16 empty] | B-RS |  |  | pcs
| A safety barrier separator for digital outputs | [16 empty] | B-DO |  |  | pcs
| A safety isolation barrier for the internal intrinsically safe communication bus | [16 empty] | B-IB |  | 5 | pcs
| A Solar or DC power supply regulator is for permanent charging of 12V lead VRLA accumulator | [16 empty] | SRM |  | 5 | pcs
| A CLO current output module provides a 4-20 mA current output | [16 empty] | CLO |  |  | pcs
| An USB infrared optical head console cable up to 115200 Bd | [16 empty] | HIE-04 |  |  | pcs
| Calibration Certificate(s) | [16 empty] | CC |  |  | pcs
Options for transporting
by air, train, TIR, ship, combination, ferry,…
Notes
passport
mountig set 1PM + 1x extra ring ….......... 5 set
TENAS-01 A4K with above modules (PS-E, PS-M, B-IB, SRM + Accu 12 Ah LiFePO4)
Ordering items based on the completion of this sheet of Technical Specifications is governed by the General and Warranty Terms and Condition
of ELGAS, s.r.o. listed on the website - http://www.elgas.cz/en/general-condition.
| 1) | Compressibility AGA NX-19 mod is available only for pressure range with upper limit max. 5.2 bar
| 2) | Compressibility SGERG-88, AGA8-G1 and AGA8-G2 are available in temp. range -40 ÷ 70 °C for press. range 0.8-5.2 bar and in temp. range
-25 ÷ 70 °C only for press. range with upper limit max. 20 bar, over this limit only in temp. range -10 ÷ 70 °C (see in the table below).
| 3) | If the device is T-corrector pressure constant is allowed to be set only in pressure range 80 ÷ 1000 kPa
| 4) | Total length of cables (pressure, temperature, impulse) for digital version is 100 meter/device.
| 5) | None - only for End User outside of EU.
| 6) | In the case where no external modem power is used, the internal modem module is moved from SLOT 5 to SLOT4
| 7) | Is possible to connect 6x DI, 2 x AI, 2x non metrological digital transducers and 2x NAMUR (or 2xbinar or 2xHF or 2x encoder or combination)
The external power supply by S3-PWR1 is needed.
| 8) | This module is required when ordering the device. It can not be fitted with a customer.
| 9) | Only for segment display version. EVC menu items automatically scroll.
| 10) | Extra add to price, only for segment display version. Graphic display readability below -20 °C is not guaranteed.
| 11) | Extra add to price
| 12) | Possible only for M2G and M4G, LTE-Cat1-M1
| 13) | Measurement error < 0,2% of full scale
| 14) | Measurement error < 0,4% of full scale
|  | pressure measurement range |  |  |  | method
[6 empty] | AGA NX-19 mod |  |  | SGERG-88 |  |  | AGA8-G1 AGA8-G2 |  |  | AGA8-DETAIL
|  | 80 - 520 kPa |  |  |  | -25 - +70 oC |  |  | -25 - +70 oC, |  |  | -25 - +70 oC, |  |  | -25 - +70 oC,
[9 empty] | optional |  |  | optional |  |  | optional
[9 empty] | -40 - +70 oC |  |  | -40 - +70 oC |  |  | -40 - +70 oC
|  | 80 - 1000 kPa |  |  |  | N/A |  |  | -25 - +70 oC |  |  | -25 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 80 - 2000 kPa |  |  |  | N/A |  |  | -25 - +70 oC |  |  | -25 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 200 - 1000 kPa |  |  |  | N/A |  |  | -25 - +70 oC |  |  | -25 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 400 - 2000 kPa |  |  |  | N/A |  |  | -25 - +70 oC |  |  | -25 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 400 - 7000 kPa |  |  |  | N/A |  |  | -10 - +70 oC |  |  | -10 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 700 - 3500 kPa |  |  |  | N/A |  |  | -10 - +70 oC |  |  | -10 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 1400 - 7000 kPa |  |  |  | N/A |  |  | -10 - +70 oC |  |  | -10 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | 2500 - 13000 kPa |  |  |  | N/A |  |  | -10 - +70 oC |  |  | -10 - +70 oC |  |  | -25 - +70 oC,
optional
-40 - +70 oC
|  | pressure measurement range |  |  |  | method
[6 empty] | GOST 13390.2 |  |  | GOST 13390.3
|  | 100 - 520 kPa |  |  |  | -25 - +70 oC |  |  | -23,15 - +70 oC
|  | 100 - 1000 kPa |  |  |  | -25 - +70 oC |  |  | -23,15 - +70 oC
|  | 100 - 2000 kPa |  |  |  | -25 - +70 oC |  |  | -23,15 - +70 oC
|  | 200 - 1000 kPa |  |  |  | -25 - +70 oC |  |  | -23,15 - +70 oC
|  | 400 - 2000 kPa |  |  |  | -25 - +70 oC |  |  | -23,15 - +70 oC
|  | 400 - 7000 kPa |  |  |  | -10 - +70 oC |  |  | -23,15 - +70 oC
|  | 700 - 3500 kPa |  |  |  | -10 - +70 oC |  |  | -23,15 - +70 oC
|  | 1400 - 7000 kPa |  |  |  | -10 - +70 oC |  |  | -23,15 - +70 oC
|  | 2500 - 13000 kPa |  |  |  | N/A |  |  | -23,15 - +70 oC

## Zdroj (hidden)
[17 empty] | ELCORplus | [6 empty] | Device Language
[5 empty] | CHECK LIST FOR TECHNICAL SPECIFICATION | [17 empty] | Afghanistan | Value | [IDHodnota] | Pořadí
Albania
Purchase Order No. | [11 empty] | Item |  | / |  | Total | [6 empty] | Algeria | CZ, Czech | 71 | 1
[23 empty] | American Samoa | DE, Germany | 74 | 4 | IT, Italy | 73 | 3
[23 empty] | Andorra | ENG, English | 72 | 2 | PT, Portuguese | 270 | 11
Quantity | [8 empty] | Delivery date | [13 empty] | Angola | ES, Spain | 224 | 9 | SK, Slovak | 223 | 8
[23 empty] | Anguilla | HU, Hungarian | 236 | 10 | BG, Bulgaria | 302 | 12
[23 empty] | Antigua & Barbuda | NL, Netherlands | 221 | 7 | FR, French
[23 empty] | Argentina | RO, Romain |  |  | UK, Ukrain
[7 empty] | Basic version (no extension modules) | [15 empty] | Armenia | RU, Russian | 75 | 5
[16 empty] | AGA_NX_19_mod | 1) | [5 empty] | Aruba | TR, Turkey | 76 | 6
EVC | [6 empty] | Display |  |  | Approval |  |  |  | Compressibility (see Limitation table) |  | SGERG_88 | 2) | [5 empty] | Australia
4x digital input | [7 empty] | Graphic |  |  | MID (EU) | MID (EU - german values) |  |  |  | AGA_8_G1 | 2) |  |  | Zone |  |  | Austria
4x digital output (binary or pulse or analog) | [7 empty] | Segment |  |  | Without approval 5) |  |  |  |  | AGA_8_G2 | 2) |  |  | 0,1,2 |  |  | Azerbaijan
1x optical interface | [15 empty] | AGA_8_DETAIL |  |  |  | 2 | EVC bat. Module |  | Bahamas, The
1x single EVC battery | [6 empty] | EVC bat. Module |  |  | Operating temperature | [5 empty] | GOST_13390.2 |  |  |  |  | -40°C ÷ +70°C | B-03 (standard) | Bahrain
[8 empty] | B-03 battery module with 17Ah (standard) |  |  | -25°C...+70°C |  | -25°C...+70°C |  |  | GOST_13390.3 |  |  |  |  | -40°C ÷ +70°C | B-03D | Bangladesh
[8 empty] | B-03U with cell (17Ah) |  |  | -40°C...+70°C 10) |  | -25°C...+65°C |  |  | fixed |  |  |  |  | -25°C ÷ +70°C | B-03U, with cell | Barbados | Label in Language
|  | MODBUS mapa | [5 empty] | B-03U without cell (0Ah) |  |  | -25°C...+65°C | [9 empty] | -25°C ÷ +70°C | B-03U (E), no cells | Belarus | Value | [IDHodnota] | Pořadí
|  |  | no |  |  |  |  | B-03D (30Ah) double |  |  |  |  | -25°C...+60°C | [7 empty] | -25°C ÷ +70°C | B-03DU, with cells | Belgium
|  |  | yes, basic |  |  |  |  | B-03A | [12 empty] | -25°C ÷ +70°C | B-03DU (E), no cells | Belize | CZ, Czech | 71 | 1
|  |  | yes, customer will send | [19 empty] | Benin | ENG, English | 72 | 2
[23 empty] | Bermuda | PT, Portuguese
[8 empty] | Global settings | [12 empty] | -30°C ÷ +65°C | B-03A, blank | Bhutan
[18 empty] | 0°C |  |  |  |  | Bolivia
[8 empty] | 1.00000 bar | [9 empty] | 15°C |  |  |  |  | Bosnia & Herzegovina
Pressure Unit |  |  |  |  | Base Pressure |  |  | 1.01325 bar |  |  | Temperature Unit |  |  |  | Base Temperature |  |  | 15,555555°C |  | Volume unit |  |  | Botswana
|  |  | kPa |  |  |  |  | 1.01592 bar |  |  |  |  | °C |  |  |  |  | 20°C |  |  |  | m3 | Brazil
|  |  | bar |  |  |  |  | 1.01560 bar |  |  |  |  | °F |  |  |  |  | 25°C |  |  |  | ft3 | British Virgin Is.
|  |  | other |  |  |  |  | 1.010085 bar | [9 empty] | 27°C |  |  |  | other | Brunei
[8 empty] | 1.023872 bar | [9 empty] | other |  |  |  |  | Bulgaria
[8 empty] | other | [14 empty] | Burkina Faso
Burma
[8 empty] | Extension modules - slots | [14 empty] | Burundi
[7 empty] | (always check only one of the options) | [15 empty] | Cambodia
[21 empty] | Zone0,1,2 | Zone2 | Cameroon
Slot 0 (S0) |  |  | Slot 1 (S1) |  |  | Slot 2 (S2) |  |  | Slot 3 (S3) |  |  | Slot 4 (S4) |  |  | Slot 5 (S5) - internal modem6) |  |  |  |  | Slot 4 (S4) |  |  | Canada
x | none |  | x | none |  | x | none |  | x | none |  | x | none |  | x | none |  |  |  | x | none | none | Cape Verde
| SCR 8) |  |  | COM1-RS232/485 |  |  | COM1-RS232/485 |  |  | PWR1 |  |  | PWR2 |  |  | M2G, GPRS |  |  |  |  | PWR2 | COM0 | Cayman Islands |  | GPRS a CatM1 modem battery |  | NB modem battery |  |  | Cat1 modem battery
| NAM 8) |  |  | 2AI |  |  | 2AI | [5 empty] | COM0-RS232 |  |  | M4G, LTE-Cat1-W |  |  |  |  | COM0-RS232 | PWR3 | Central African Rep. |  |  | HB-03 (12Ah), (standard) |  | HB-03U 3,6Ah, with cell (standard) |  |  | HB-04 (7,7Ah)
| MIE 8) |  |  | 2AO |  |  | 2AO |  | Aditional terminals board |  |  | Modem battery |  |  |  | M4G, LTE-Cat1US |  |  | none |  | M2G, GPRS | PWR4/12 | Chad |  |  | HB-03D (20Ah) |  | HB-03U 7,2Ah, with cells |  |  | HB-04U (7,7Ah), with cells LS26500, (standard)
| EXT1 7)8) |  |  | AMRx |  |  | AMRx |  |  | none |  |  | HB-03 (12Ah) |  |  | M4G, LTE-CatM1-W |  |  | HB-04 (12Ah) |  | M4G, LTE-Cat1-W | PWR4/24 | Chile |  |  | HB-03U 17Ah, with cell LS33600 |  | HB-03U 17Ah, with cell |  |  | HB-04U (7,7Ah), no cells LS26500
| EXT1/HF | [8 empty] | PT1000-4W |  |  | HB-03D (20Ah) |  |  | M4G, NB | (narrow band) |  | HB-05 |  | M4G, LTE-Cat1US |  | China |  |  | HB-03U 7,2Ah, with cells LS17500 |  | HB-03 (12Ah), (standard) |  |  | none
| EDT | [8 empty] | EXT1-T |  |  | HB-03U with cell | [5 empty] | none |  | M4G, LTE-CatM1-W |  | Colombia |  |  | HB-03U 3,6Ah, with cell LS17500 |  | HB-03D (20Ah)
SCR | Interface for gasmeter SCR Encoder | [7 empty] | COM | communication RS232 |  |  | HB-03U no cells |  |  | Barometric pressure sensor |  |  |  |  | M4G, NB |  | Comoros |  |  | HB-03U 17Ah (K), no cell |  | HB-03U 3,6Ah (K), no cell
NAM | Interface for gasmeter NAMUR Encoder | [7 empty] | COM0 | module for ext.modem connection | [5 empty] | x | none |  |  |  | PWR3 |  | Congo, Dem. Rep. |  |  | HB-03U 7,2Ah (K), no cells |  | HB-03U 7,2Ah (K), no cells
MIE | Interface for mechanical indexer ELGAS | [8 empty] | RS232 only | [6 empty] | YES, BARP 8) |  |  |  | PWR4/12 |  | Congo, Repub. of the |  |  | HB-03U 3,6Ah (K), no cell |  | HB-03U 17Ah (K), no cell
EXT1 7) | Multifunction extension module | [7 empty] | 2xAI | two analog inputs 4-20 mA |  |  | none | [7 empty] | PWR4/24 |  | Cook Islands |  |  | none |  | none
| 2x HF pulse input NAMUR, 6x digital inputs | [7 empty] | 2xAO | two analog outputs 4-20 mA | [5 empty] | Antenna for modem | [6 empty] | Costa Rica
| 2x analog. input, 2x digital transducer connection | [7 empty] | PWR1 | extrernal EVC power supply | [6 empty] | none |  |  | Outputs DO1 and DO2 only with impulse outputs without power supply U0+ |  |  | Cote d'Ivoire
EXT1-T | Additional slot with terminals for EXT1, 2x analog.inputs, | [7 empty] | PWR2 | extrernal modem power supply | [6 empty] | internal |  |  |  |  | yes (jumper) | Croatia |  |  | none
| 2x Internal bus for transducersů, 6x digital inputs | [15 empty] | external |  |  |  |  | no (without jumper) | Cuba
Cyprus
[8 empty] | Digital transducers | [14 empty] | Czech Republic
[7 empty] | (always check only one of the options) | [15 empty] | Denmark
Djibouti
|  |  |  | DT 1 | [10 empty] | DT 2 | [7 empty] | Dominica
Dominican Republic
Input |  |  | metrological | [7 empty] | Vstup |  |  | metrological | [8 empty] | East Timor
|  |  | datalogger | [9 empty] | x | datalogger | [8 empty] | Ecuador
Egypt
|  | temperature |  | Type | [10 empty] | Type | [7 empty] | El Salvador
|  | pressure | pressure | [9 empty] | pressure |  |  |  |  | temperature |  |  |  |  | Equatorial Guinea
|  | absolute |  | absolute | [8 empty] | absolute | [9 empty] | Eritrea
|  | relative | [10 empty] | relative | [9 empty] | Estonia
Ethiopia
Version |  |  |  |  | Temperature range | [5 empty] | Version |  |  |  |  | Temperature range | [6 empty] | Faroe Islands
|  | internal |  |  |  |  | -25 ÷ +70°C | [5 empty] | internal |  |  |  |  | -25 ÷ +70°C |  |  |  |  | Fiji
|  | external |  |  |  |  | -40 ÷ +70°C | [5 empty] | external |  |  |  |  | -40 ÷ +70°C |  |  |  |  | Finland
Pressure range MID |  |  |  |  | Sensor length | [5 empty] | Pressure range MID |  |  |  |  | Sensor length | [6 empty] | France
|  | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm | [5 empty] | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm |  |  |  |  | French Guiana
|  | 2 ÷ 10 bar |  |  |  |  | 75 mm | [5 empty] | 2 ÷ 10 bar |  |  |  |  | 75 mm |  |  |  |  | French Polynesia
|  | 4 ÷ 20 bar |  |  |  |  | 120 mm | [5 empty] | 4 ÷ 20 bar |  |  |  |  | 120 mm |  |  |  |  | Gabon
|  | 7 ÷ 35 bar |  |  | Cable length | [7 empty] | 7 ÷ 35 bar |  |  | Cable length | [6 empty] | Gambia, The
|  | 14 ÷ 70 bar |  |  |  |  | 1 m | [5 empty] | 14 ÷ 70 bar |  |  |  |  | 1 m |  |  |  |  | Gaza Strip
|  | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m - standard | [5 empty] | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m - standard |  |  |  |  | Georgia
|  | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m | [5 empty] | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m |  |  |  |  | Germany
|  | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m | [5 empty] | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m |  |  |  |  | Ghana
|  | 4 ÷ 70 bar11) |  |  |  |  | other 4) (15, 20, 25, 30, 50) | [5 empty] | 4 ÷ 70 bar11) |  |  |  |  | other 4) |  |  |  |  | Gibraltar
Pressure range non MID13) |  |  |  |  | Cable armor | [5 empty] | Pressure range non MID13) | [11 empty] | Greece
[7 empty] | no (only cable) | [15 empty] | Greenland
|  | 0,8 ÷ 20 bar11) |  |  |  |  | yes | [5 empty] | 0,8 ÷ 20 bar11) | [9 empty] | Grenada
|  | 0,8 ÷ 35 bar11) |  |  | Cable type | [7 empty] | 0,8 ÷ 35 bar11) | [9 empty] | Guadeloupe
|  | 0,8 ÷ 70 bar11) |  |  |  |  | LiYCY - standard | [5 empty] | 0,8 ÷ 70 bar11) | [9 empty] | Guam
|  | 0,8 ÷ 130 bar11) |  |  |  |  | PUR | [5 empty] | 0,8 ÷ 130 bar11) | [9 empty] | Guatemala
|  | 0 ÷ 0,2 bar 14) | [10 empty] | 0 ÷ 0,2 bar 14) | [9 empty] | Guernsey
|  | 0 ÷ 1 bar | [10 empty] | 0 ÷ 1 bar | [9 empty] | Guinea
|  | 0 ÷ 1,6 bar | [10 empty] | 0 ÷ 1,6 bar | [9 empty] | Guinea-Bissau
|  | 0 ÷ 4 bar | [10 empty] | 0 ÷ 4 bar | [9 empty] | Guyana
|  | 0 ÷ 6 bar | [10 empty] | 0 ÷ 6 bar | [9 empty] | Haiti
|  | 0 ÷ 10 bar | [10 empty] | 0 ÷ 10 bar | [9 empty] | Honduras
|  | 0 ÷ 25 bar | [10 empty] | 0 ÷ 25 bar | [9 empty] | Hong Kong
|  | 0 ÷ 40 bar | [10 empty] | 0 ÷ 40 bar | [9 empty] | Hungary
|  | 0 ÷ 70 bar | [10 empty] | 0 ÷ 70 bar | [9 empty] | Iceland
Cable length (only for external version) | [10 empty] | Cable length (only for external version) | [11 empty] | India
|  | 1 m |  | Type of fittings | [8 empty] | 1 m | [9 empty] | Indonesia
|  | 2,5 m - standard |  |  |  | Ermeto M12x1,5 | [6 empty] | 2,5 m - standard | [9 empty] | Iran
|  | 5 m |  |  |  | NPT ¼ Female | [6 empty] | 5 m | [9 empty] | Iraq
|  | 10 m |  |  |  | G¼ Male | [6 empty] | 10 m | [9 empty] | Ireland
|  | other 4) (15, 20, 25, 50) |  |  |  | NPT ¼ Male | [6 empty] | other 4) | [9 empty] | Isle of Man
[6 empty] | Mano M20 | [16 empty] | Israel
Italy
[8 empty] | Digital transducers | [14 empty] | Jamaica
[7 empty] | (always check only one of the options) | [15 empty] | Japan
Jersey
|  |  |  | DT 3 | [10 empty] | DT 4 | [7 empty] | Jordan
Kazakhstan
Vstup |  | x | metrologický |  |  |  | záznamník |  |  |  | Vstup |  |  | metrologický |  |  | x | záznamník |  |  |  |  | Kenya
Kiribati
|  |  |  | Typ | [10 empty] | Typ | [7 empty] | Korea, North
| x | tlak |  |  |  |  | teplota | [5 empty] | tlak |  |  |  | x | teplota |  |  |  |  | Korea, South
| x | absolutní | [10 empty] | absolutní | [9 empty] | Kuwait
|  | relativní | [10 empty] | relativní | [9 empty] | Kyrgyzstan
Laos
Verze |  |  |  |  | Rozsah teplot | [5 empty] | Verze |  |  |  |  | Rozsah teplot | [6 empty] | Latvia
|  | interní |  |  |  |  | -25 ÷ +70°C | [5 empty] | interní |  |  |  |  | -25 ÷ +70°C |  |  |  |  | Lebanon
| x | externí |  |  |  |  | -40 ÷ +70°C | [5 empty] | externí |  |  |  |  | -40 ÷ +70°C |  |  |  |  | Lesotho
Tlakový rozsah MID |  |  |  |  | Délka stopky | [5 empty] | Tlakový rozsah MID |  |  |  |  | Délka stopky | [6 empty] | Liberia
|  | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm | [5 empty] | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm |  |  |  |  | Libya
|  | 2 ÷ 10 bar |  |  |  |  | 75 mm | [5 empty] | 2 ÷ 10 bar |  |  |  |  | 75 mm |  |  |  |  | Liechtenstein
|  | 4 ÷ 20 bar |  |  |  |  | 120 mm | [5 empty] | 4 ÷ 20 bar |  |  |  |  | 120 mm |  |  |  |  | Lithuania
|  | 7 ÷ 35 bar |  |  | Délka kabelu | [7 empty] | 7 ÷ 35 bar |  |  | Délka kabelu | [6 empty] | Luxembourg
|  | 14 ÷ 70 bar |  |  |  |  | 1 m | [5 empty] | 14 ÷ 70 bar |  |  |  |  | 1 m |  |  |  |  | Macau
|  | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m | [5 empty] | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m |  |  |  |  | Macedonia
|  | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m | [5 empty] | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m |  |  |  |  | Madagascar
|  | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m | [5 empty] | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m |  |  |  |  | Malawi
|  | 4 ÷ 70 bar11) |  |  |  |  | jiná4) | [5 empty] | 4 ÷ 70 bar11) |  |  |  |  | jiná4) |  |  |  |  | Malaysia
Tlakový rozsah ne MID13) | [10 empty] | Tlakový rozsah ne MID13) | [11 empty] | Maldives
Mali
|  | 0,8 ÷ 20 bar11) | [10 empty] | 0,8 ÷ 20 bar11) | [9 empty] | Malta
|  | 0,8 ÷ 35 bar11) | [10 empty] | 0,8 ÷ 35 bar11) | [9 empty] | Marshall Islands
|  | 0,8 ÷ 70 bar11) | [10 empty] | 0,8 ÷ 70 bar11) | [9 empty] | Martinique
|  | 0,8 ÷ 130 bar11) | [10 empty] | 0,8 ÷ 130 bar11) | [9 empty] | Mauritania
|  | 0 ÷ 0,2 bar 14) | [10 empty] | 0 ÷ 0,2 bar 14) | [9 empty] | Mauritius
|  | 0 ÷ 1 bar | [10 empty] | 0 ÷ 1 bar | [9 empty] | Mayotte
|  | 0 ÷ 1,6 bar | [10 empty] | 0 ÷ 1,6 bar | [9 empty] | Mexico
|  | 0 ÷ 4 bar | [10 empty] | 0 ÷ 4 bar | [9 empty] | Micronesia, Fed. St.
|  | 0 ÷ 6 bar | [10 empty] | 0 ÷ 6 bar | [9 empty] | Moldova
|  | 0 ÷ 10 bar | [10 empty] | 0 ÷ 10 bar | [9 empty] | Monaco
|  | 0 ÷ 25 bar | [10 empty] | 0 ÷ 25 bar | [9 empty] | Mongolia
|  | 0 ÷ 40 bar | [10 empty] | 0 ÷ 40 bar | [9 empty] | Montserrat
|  | 0 ÷ 70 bar | [10 empty] | 0 ÷ 70 bar | [9 empty] | Morocco
Délka kabelu (pouze pro externí převodník) | [10 empty] | Délka kabelu (pouze pro externí převodník) | [11 empty] | Mozambique
|  | 1 m | [10 empty] | 1 m | [9 empty] | Namibia
|  | 2,5 m | [10 empty] | 2,5 m | [9 empty] | Nauru
|  | 5 m | [10 empty] | 5 m | [9 empty] | Nepal
|  | 10 m | [10 empty] | 10 m | [9 empty] | Netherlands
|  | jiná4) | [10 empty] | jiná4) | [9 empty] | Netherlands Antilles
New Caledonia
New Zealand
[8 empty] | Digitální převodníky | [14 empty] | Nicaragua
[7 empty] | (vždy vyberte pouze jednu z možností) | [15 empty] | Niger
Nigeria
|  |  |  | DT 5 | (pouze s modulem EXT1) | [9 empty] | DT 6 | (pouze s modulem EXT1) | [6 empty] | N. Mariana Islands
Norway
Vstup |  |  | metrologický |  |  |  | záznamník |  |  |  | Vstup |  |  | metrologický |  |  |  | záznamník |  |  |  |  | Oman
Pakistan
|  |  |  | Typ | [10 empty] | Typ | [7 empty] | Palau
|  | tlak |  |  |  |  | teplota | [5 empty] | tlak |  |  |  |  | teplota |  |  |  |  | Panama
|  | absolutní | [10 empty] | absolutní | [9 empty] | Papua New Guinea
|  | relativní | [10 empty] | relativní | [9 empty] | Paraguay
Peru
Verze |  |  |  |  | Rozsah teplot | [5 empty] | Verze |  |  |  |  | Rozsah teplot | [6 empty] | Philippines
|  | interní |  |  |  |  | -25 ÷ +70°C | [5 empty] | interní |  |  |  |  | -25 ÷ +70°C |  |  |  |  | Poland
|  | externí |  |  |  |  | -40 ÷ +70°C | [5 empty] | externí |  |  |  |  | -40 ÷ +70°C |  |  |  |  | Portugal
Tlakový rozsah MID |  |  |  |  | Délka stopky | [5 empty] | Tlakový rozsah MID |  |  |  |  | Délka stopky | [6 empty] | Puerto Rico
|  | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm | [5 empty] | 0,8 ÷ 5,2 bar |  |  |  |  | 50 mm |  |  |  |  | Qatar
|  | 2 ÷ 10 bar |  |  |  |  | 75 mm | [5 empty] | 2 ÷ 10 bar |  |  |  |  | 75 mm |  |  |  |  | Reunion
|  | 4 ÷ 20 bar |  |  |  |  | 120 mm | [5 empty] | 4 ÷ 20 bar |  |  |  |  | 120 mm |  |  |  |  | Romania
|  | 7 ÷ 35 bar |  |  | Délka kabelu | [7 empty] | 7 ÷ 35 bar |  |  | Délka kabelu | [6 empty] | Russia
|  | 14 ÷ 70 bar |  |  |  |  | 1 m | [5 empty] | 14 ÷ 70 bar |  |  |  |  | 1 m |  |  |  |  | Rwanda
|  | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m | [5 empty] | 25 ÷ 130 bar11) |  |  |  |  | 2,5 m |  |  |  |  | Saint Helena
|  | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m | [5 empty] | 0,8 ÷ 10 bar11) |  |  |  |  | 5 m |  |  |  |  | Saint Kitts & Nevis
|  | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m | [5 empty] | 0,8 ÷ 20 bar11) |  |  |  |  | 10 m |  |  |  |  | Saint Lucia
|  | 4 ÷ 70 bar11) |  |  |  |  | jiná4) | [5 empty] | 4 ÷ 70 bar11) |  |  |  |  | jiná4) |  |  |  |  | St Pierre & Miquelon
Tlakový rozsah ne MID13) | [10 empty] | Tlakový rozsah ne MID13) | [11 empty] | Saint Vincent and the Grenadines
Samoa
|  | 0,8 ÷ 20 bar11) | [10 empty] | 0,8 ÷ 20 bar11) | [9 empty] | San Marino
|  | 0,8 ÷ 35 bar11) | [10 empty] | 0,8 ÷ 35 bar11) | [9 empty] | Sao Tome & Principe
|  | 0,8 ÷ 70 bar11) | [10 empty] | 0,8 ÷ 70 bar11) | [9 empty] | Saudi Arabia
|  | 0,8 ÷ 130 bar11) | [10 empty] | 0,8 ÷ 130 bar11) | [9 empty] | Senegal
|  | 0 ÷ 0,2 bar 14) | [10 empty] | 0 ÷ 0,2 bar 14) | [9 empty] | Serbia
|  | 0 ÷ 1 bar | [10 empty] | 0 ÷ 1 bar | [9 empty] | Seychelles
|  | 0 ÷ 1,6 bar | [10 empty] | 0 ÷ 1,6 bar | [9 empty] | Sierra Leone
|  | 0 ÷ 4 bar | [10 empty] | 0 ÷ 4 bar | [9 empty] | Singapore
|  | 0 ÷ 6 bar | [10 empty] | 0 ÷ 6 bar | [9 empty] | Slovakia
|  | 0 ÷ 10 bar | [10 empty] | 0 ÷ 10 bar | [9 empty] | Slovenia
|  | 0 ÷ 25 bar | [10 empty] | 0 ÷ 25 bar | [9 empty] | Solomon Islands
|  | 0 ÷ 40 bar | [10 empty] | 0 ÷ 40 bar | [9 empty] | Somalia
|  | 0 ÷ 70 bar | [10 empty] | 0 ÷ 70 bar | [9 empty] | South Africa
Délka kabelu (pouze pro externí převodník) | [10 empty] | Délka kabelu (pouze pro externí převodník) | [11 empty] | Spain
|  | 1 m | [10 empty] | 1 m | [9 empty] | Sri Lanka
|  | 2,5 m | [10 empty] | 2,5 m | [9 empty] | Sudan
|  | 5 m | [10 empty] | 5 m | [9 empty] | Suriname
|  | 10 m | [10 empty] | 10 m | [9 empty] | Swaziland
|  | jiná4) | [10 empty] | jiná4) | [9 empty] | Sweden
Switzerland
Syria
[8 empty] | Pulse inputs cable | [14 empty] | Taiwan
Tajikistan
Tanzania
|  |  |  | CHANNEL 1 | [10 empty] | CHANNEL 2 | [7 empty] | Thailand
|  |  | none |  |  | Cable | none | [15 empty] | Togo
|  |  | yes |  |  |  | yes | [6 empty] | none | [8 empty] | Tonga
| Wire count |  |  |  | Cable length | [6 empty] | Wire count |  |  |  | Cable length | [6 empty] | Trinidad & Tobago
|  |  | 2 |  |  |  | 2,5 m | [6 empty] | 2 |  |  |  | 2,5 m |  |  |  |  | Tunisia
|  |  | 3 |  |  |  | 5 m | [6 empty] | 3 |  |  |  | 5 m |  |  |  |  | Turkey
|  |  | 4 |  |  |  | 10 m | [6 empty] | 4 |  |  |  | 10 m |  |  |  |  | Turkmenistan
|  |  | 6 |  |  |  | other 4) | [6 empty] | 6 |  |  |  | other 4) |  |  |  |  | Turks & Caicos Is
| Ending | [10 empty] | Ending | [10 empty] | Tuvalu
|  |  | free ends | [10 empty] | free ends | [8 empty] | Uganda
|  |  | cable tips | [10 empty] | cable tips | [8 empty] | Ukraine
|  |  | binder connector | [19 empty] | United Arab Emirates
United Kingdom
[8 empty] | Accessories | [14 empty] | United States
[8 empty] | (not included in price) | [14 empty] | Uruguay
Uzbekistan
Mounting plate | [5 empty] | Thermowell |  |  |  |  | Welded on piece |  | yes |  | Mounting on pipe | [7 empty] | Vanuatu
| x | none | [5 empty] | none |  |  |  | x | none |  |  | x | none | [5 empty] | Venezuela
|  | without 3-way ball tap |  |  |  |  | x | up to 63 bar |  |  |  | Verze |  |  |  |  | DN50 | [5 empty] | Vietnam
|  | with 3-way ball tap up to 100 bar | [5 empty] | over 63 bar |  |  | pcs |  | direct |  |  |  | DN100 | [5 empty] | Virgin Islands
|  | with 3-way ball tap over 100 bar |  |  |  |  | Závit |  |  |  | pcs |  | oblique |  |  |  | DN150 | [5 empty] | Wallis and Futuna
[6 empty] | ks |  | M20 x 1,5 | [14 empty] | West Bank
Ermeto sada | [5 empty] | ks |  | M27 x 2 |  |  | 3-cestný kulový kohout | [11 empty] | Western Sahara
|  | none |  |  |  | ks |  | G1/4'' |  |  |  | x | none | [9 empty] | Yemen
pcs |  | yes |  |  |  | ks |  | G3/8''' |  |  | pcs |  | up to 100 bar | [9 empty] | Zambia
[6 empty] | ks |  | G1/2'' |  |  | pcs |  | over 100 bar | [9 empty] | Zimbabwe
The parameter settings | [5 empty] | ks |  | G3/4''
|  | none |  |  |  | ks |  |  | other
|  | yes |  |  |  |  | Délka
[6 empty] | ks |  | 55 mm
[6 empty] | ks |  | 100 mm
[6 empty] | ks |  | 160 mm
Poznámky
1) | Compressibility AGA NX-19 mod is available only for pressure range with upper limit max. 5.2 bar
2) | Compressibility SGERG88, AGA 8-G1 and AGA 8-G2 are available in temp. range -25 ÷ 60 °C only for press. range with upper limit max.10 bar.
Over this limit they are available only in temperature range -10 ÷ 60 °C
3) | If the device is T-corrector pressure constant is allowed to be set only in pressure range 80 ÷ 1000 kPa
4) | Total length of cables (pressure, temperature, impulse) for digital version is 100 meter/device.
5) | None - only for End User outside of EU.
6) | In the case where no external modem power is used, the internal modem module is moved from SLOT 5 to SLOT4
7) | Is possible to connect 6x DI, 2 x AI, 2x non metrological digital transducers and 2x NAMUR (or 2xbinar or 2xHF or 2x encoder or combination)
The external power supply by S3-PWR1 is needed.
8) | This module is required when ordering the device. It can not be fitted with a customer.
9) | Only for segment display version. EVC menu items automatically scroll.
10) | Extra add to price, only for segment display version. Graphic display readability below -20 °C is not guaranteed.
11) | Extra add to price
12) | Possible only for M2G and M4G, LTE-Cat1-M1
13) | Measurement error < 0,2% of full scale
14) | Measurement error < 0,4% of full scale

## Compres. (hidden)
|  | měřící rozsah tlaku | metoda
|  |  | AGA NX-19 mod | SGERG-88 | AGA8-G1 AGA8-G2 | AGA8-DETAIL
|  | 80 - 520 kPa | -25 - +70 oC | -25 - +70 oC, | -25 - +70 oC, | -25 - +70 oC,
|  | 80 - 520 kPa |  | -40 - +70 oC | -40 - +70 oC | -40 - +70 oC
|  | 80 - 1000 kPa |  | -25 - +70 oC | -25 - +70 oC | -25 - +70 oC,
|  | 80 - 1000 kPa |  |  |  | -40 - +70 oC
|  | 80 - 2000 kPa |  | -25 - +70 oC | -25 - +70 oC | -25 - +70 oC,
|  | 80 - 2000 kPa |  |  |  | -40 - +70 oC
|  | 200 - 1000 kPa |  | -25 - +70 oC | -25 - +70 oC | -25 - +70 oC,
|  | 200 - 1000 kPa |  |  |  | -40 - +70 oC
|  | 400 - 2000 kPa |  | -25 - +70 oC | -25 - +70 oC | -25 - +70 oC,
|  | 400 - 2000 kPa |  |  |  | -40 - +70 oC
|  | 400 - 7000 kPa |  | -10 - +70 oC | -10 - +70 oC | -25 - +70 oC,
|  | 400 - 7000 kPa |  |  |  | -40 - +70 oC
|  | 700 - 3500 kPa |  | -10 - +70 oC | -10 - +70 oC | -25 - +70 oC,
|  | 700 - 3500 kPa |  |  |  | -40 - +70 oC
|  | 1400 - 7000 kPa |  | -10 - +70 oC | -10 - +70 oC | -25 - +70 oC,
|  | 1400 - 7000 kPa |  |  |  | -40 - +70 oC
|  | 2500 - 13000 kPa |  | -10 - +70 oC | -10 - +70 oC | -25 - +70 oC,
|  | 2500 - 13000 kPa |  |  |  | -40 - +70 oC
|  | měřící rozsah | metoda
|  |  | GOST 13390.2 | GOST 13390.3
tlaku
|  | 100 - 520 kPa | -25 - +70 oC | -23,15 - +70 oC,
|  | 100 - 1000 kPa | -25 - +70 oC | -23,15 - +70 oC,
|  | 100 - 2000 kPa | -25 - +70 oC | -23,15 - +70 oC,
|  | 200 - 1000 kPa | -25 - +70 oC | -23,15 - +70 oC,
|  | 400 - 2000 kPa | -25 - +70 oC | -23,15 - +70 oC,
|  | 400 - 7000 kPa | -10 - +70 oC | -23,15 - +70 oC,
|  | 700 - 3500 kPa | -10 - +70 oC | -23,15 - +70 oC, |  |  | kompres | rozsah |  | metoda
|  | 1400 - 7000 kPa | -10 - +70 oC | -23,15 - +70 oC, |  |  | GOST_13390.2 | AGA 8-DETAIL; 700 - 3500 kPa; -25 - +70 oC |  | SGERG_88
|  | 2500 - 13000 kPa | N/A | -23,15 - +70 oC, | [5 empty] | AGA_NX_19_mod
AGA_8_G1
1 | SGERG-88 2) | [8 empty] | AGA_8_G2
2 | AGA NX-19-mod 1) | [8 empty] | AGA_8_DETAIL
3 | AGA 8-G1 2) | [8 empty] | GOST_13390.2
4 | AGA 8-G2 2) | [8 empty] | GOST_13390.3
5 | AGA 8-DETAIL
6 | GOST 13390.2
7 | GOST 13390.3
|  | tlak | compresibility | temperature | preasure |  | SGERG_88 | AGA_NX_19_mod | AGA_8_G1 | AGA_8_G2 | AGA_8_DETAIL | GOST_13390.2 | GOST_13390.3 | fixed
|  | absolutní | SGERG-88 2) | -10 - +70 oC | 1400 - 7000 kPa | SGERG-88 2); 1400 - 7000 kPa; -10 - +70 oC
|  | absolutní | SGERG-88 2) | -10 - +70 oC | 2500 - 13000 kPa | SGERG-88 2); 2500 - 13000 kPa; -10 - +70 oC | MID: 1400 - 7000 kPa; -10 - +70 °C | MID: 80 - 520 kPa; -25 - +70 °C | MID: 1400 - 7000 kPa; -10 - +70 °C | MID: 1400 - 7000 kPa; -10 - +70 °C | MID: 1400 - 7000 kPa; -25 - +70 °C | MID: 1400 - 7000 kPa; -10 - +70 °C | MID: 100 - 1000 kPa; -23,15 - +70 °C | MID: 1400 - 7000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -10 - +70 oC | 400 - 7000 kPa | SGERG-88 2); 400 - 7000 kPa; -10 - +70 oC | MID: 2500 - 13000 kPa; -10 - +70 °C |  | MID: 2500 - 13000 kPa; -10 - +70 °C | MID: 2500 - 13000 kPa; -10 - +70 °C | MID: 200 - 1000 kPa; -25 - +70 °C | MID: 400 - 520 kPa; -10 - +70 °C | MID: 100 - 2000 kPa; -23,15 - +70 °C | MID: 200 - 1000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -10 - +70 oC | 700 - 3500 kPa | SGERG-88 2); 700 - 3500 kPa; -10 - +70 oC | MID: 400 - 7000 kPa; -10 - +70 °C |  | MID: 400 - 7000 kPa; -10 - +70 °C | MID: 400 - 7000 kPa; -10 - +70 °C | MID: 2500 - 13000 kPa; -25 - +70 °C | MID: 700 - 520 kPa; -10 - +70 °C | MID: 100 - 520 kPa; -23,15 - +70 °C | MID: 2500 - 13000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -25 - +70 oC | 200 - 1000 kPa | SGERG-88 2); 200 - 1000 kPa; -25 - +70 oC | MID: 700 - 3500 kPa; -10 - +70 °C |  | MID: 700 - 3500 kPa; -10 - +70 °C | MID: 700 - 3500 kPa; -10 - +70 °C | MID: 400 - 2000 kPa; -25 - +70 °C | MID: 100 - 520 kPa; -25 - +70 °C | MID: 1400 - 7000 kPa; -23,15 - +70 °C | MID: 400 - 2000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -25 - +70 oC | 400 - 2000 kPa | SGERG-88 2); 400 - 2000 kPa; -25 - +70 oC | MID: 200 - 1000 kPa; -25 - +70 °C |  | MID: 200 - 1000 kPa; -25 - +70 °C | MID: 200 - 1000 kPa; -25 - +70 °C | MID: 400 - 7000 kPa; -25 - +70 °C | MID: 100 - 520 kPa; -25 - +70 °C | MID: 200 - 1000 kPa; -23,15 - +70 °C | MID: 400 - 7000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -25 - +70 oC | 80 - 1000 kPa | SGERG-88 2); 80 - 1000 kPa; -25 - +70 oC | MID: 400 - 2000 kPa; -25 - +70 °C |  | MID: 400 - 2000 kPa; -25 - +70 °C | MID: 400 - 2000 kPa; -25 - +70 °C | MID: 700 - 3500 kPa; -25 - +70 °C | MID: 100 - 520 kPa; -25 - +70 °C | MID: 2500 - 13000 kPa; -23,15 - +70 °C | MID: 700 - 3500 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -25 - +70 oC | 80 - 2000 kPa | SGERG-88 2); 80 - 2000 kPa; -25 - +70 oC | MID: 80 - 1000 kPa; -25 - +70 °C |  | MID: 80 - 1000 kPa; -25 - +70 °C | MID: 80 - 1000 kPa; -25 - +70 °C | MID: 80 - 1000 kPa; -25 - +70 °C | MID: 200 - 520 kPa; -25 - +70 °C | MID: 400 - 2000 kPa; -23,15 - +70 °C | MID: 80 - 1000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -25 - +70 oC | 80 - 520 kPa | SGERG-88 2); 80 - 520 kPa; -25 - +70 oC | MID: 80 - 2000 kPa; -25 - +70 °C |  | MID: 80 - 2000 kPa; -25 - +70 °C | MID: 80 - 2000 kPa; -25 - +70 °C | MID: 80 - 2000 kPa; -25 - +70 °C | MID: 400 - 520 kPa; -25 - +70 °C | MID: 400 - 7000 kPa; -23,15 - +70 °C | MID: 80 - 2000 kPa; -25 - +70 °C
|  | absolutní | SGERG-88 2) | -40 - +70 oC | 80 - 520 kPa | SGERG-88 2); 80 - 520 kPa; -40 - +70 oC | MID: 80 - 520 kPa; -25 - +70 °C |  | MID: 80 - 520 kPa; -25 - +70 °C | MID: 80 - 520 kPa; -25 - +70 °C | MID: 80 - 520 kPa; -25 - +70 °C |  | MID: 700 - 3500 kPa; -23,15 - +70 °C | MID: 80 - 520 kPa; -25 - +70 °C
|  | absolutní | AGA NX-19-mod 1) | -25 - +70 oC | 80 - 520 kPa | AGA NX-19-mod 1); 80 - 520 kPa; -25 - +70 oC | MID: 80 - 520 kPa; -40 - +70 °C |  | MID: 80 - 520 kPa; -40 - +70 °C | MID: 80 - 520 kPa; -40 - +70 °C | MID: 1400 - 7000 kPa; -40 - +70 °C |  |  | MID: 1400 - 7000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -10 - +70 oC | 1400 - 7000 kPa | AGA 8-G1 2); 1400 - 7000 kPa; -10 - +70 oC | non MID: 80-3500kPa; -25 - +70 °C |  | non MID: 80-3500kPa; -25 - +70 °C | non MID: 80-3500kPa; -25 - +70 °C | MID: 200 - 1000 kPa; -40 - +70 °C |  |  | MID: 200 - 1000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -10 - +70 oC | 2500 - 13000 kPa | AGA 8-G1 2); 2500 - 13000 kPa; -10 - +70 oC | non MID: 80-7000kPa; -25 - +70 °C |  | non MID: 80-7000kPa; -25 - +70 °C | non MID: 80-7000kPa; -25 - +70 °C | MID: 400 - 2000 kPa; -40 - +70 °C |  |  | MID: 400 - 2000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -10 - +70 oC | 400 - 7000 kPa | AGA 8-G1 2); 400 - 7000 kPa; -10 - +70 oC | non MID: 80-13000kPa; -25 - +70 °C |  | non MID: 80-13000kPa; -25 - +70 °C | non MID: 80-13000kPa; -25 - +70 °C | MID: 400 - 7000 kPa; -40 - +70 °C |  |  | MID: 400 - 7000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -10 - +70 oC | 700 - 3500 kPa | AGA 8-G1 2); 700 - 3500 kPa; -10 - +70 oC |  |  |  |  | MID: 700 - 3500 kPa; -40 - +70 °C |  |  | MID: 700 - 3500 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -25 - +70 oC | 200 - 1000 kPa | AGA 8-G1 2); 200 - 1000 kPa; -25 - +70 oC |  |  |  |  | MID: 80 - 1000 kPa; -40 - +70 °C |  |  | MID: 80 - 1000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -25 - +70 oC | 400 - 2000 kPa | AGA 8-G1 2); 400 - 2000 kPa; -25 - +70 oC |  |  |  |  | MID: 80 - 2000 kPa; -40 - +70 °C |  |  | MID: 80 - 2000 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -25 - +70 oC | 80 - 1000 kPa | AGA 8-G1 2); 80 - 1000 kPa; -25 - +70 oC |  |  |  |  | MID: 80 - 520 kPa; -40 - +70 °C |  |  | MID: 80 - 520 kPa; -40 - +70 °C
|  | absolutní | AGA 8-G1 2) | -25 - +70 oC | 80 - 2000 kPa | AGA 8-G1 2); 80 - 2000 kPa; -25 - +70 oC |  |  |  |  | non MID: 80-3500kPa; -25 - +70 °C |  |  | non MID: 80-3500kPa; -25 - +70 °C
|  | absolutní | AGA 8-G1 2) | -25 - +70 oC | 80 - 520 kPa | AGA 8-G1 2); 80 - 520 kPa; -25 - +70 oC |  |  |  |  | non MID: 80-7000kPa; -25 - +70 °C |  |  | non MID: 80-7000kPa; -25 - +70 °C
|  | absolutní | AGA 8-G1 2) | -40 - +70 oC | 80 - 520 kPa | AGA 8-G1 2); 80 - 520 kPa; -40 - +70 oC |  |  |  |  | non MID: 80-13000kPa; -25 - +70 °C |  |  | non MID: 80-13000kPa; -25 - +70 °C
|  | absolutní | AGA 8-G2 2) | -10 - +70 oC | 1400 - 7000 kPa | AGA 8-G2 2); 1400 - 7000 kPa; -10 - +70 oC
|  | absolutní | AGA 8-G2 2) | -10 - +70 oC | 2500 - 13000 kPa | AGA 8-G2 2); 2500 - 13000 kPa; -10 - +70 oC
|  | absolutní | AGA 8-G2 2) | -10 - +70 oC | 400 - 7000 kPa | AGA 8-G2 2); 400 - 7000 kPa; -10 - +70 oC
|  | absolutní | AGA 8-G2 2) | -10 - +70 oC | 700 - 3500 kPa | AGA 8-G2 2); 700 - 3500 kPa; -10 - +70 oC
|  | absolutní | AGA 8-G2 2) | -25 - +70 oC | 200 - 1000 kPa | AGA 8-G2 2); 200 - 1000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-G2 2) | -25 - +70 oC | 400 - 2000 kPa | AGA 8-G2 2); 400 - 2000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-G2 2) | -25 - +70 oC | 80 - 1000 kPa | AGA 8-G2 2); 80 - 1000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-G2 2) | -25 - +70 oC | 80 - 2000 kPa | AGA 8-G2 2); 80 - 2000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-G2 2) | -25 - +70 oC | 80 - 520 kPa | AGA 8-G2 2); 80 - 520 kPa; -25 - +70 oC
|  | absolutní | AGA 8-G2 2) | -40 - +70 oC | 80 - 520 kPa | AGA 8-G2 2); 80 - 520 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 1400 - 7000 kPa | AGA 8-DETAIL; 1400 - 7000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 200 - 1000 kPa | AGA 8-DETAIL; 200 - 1000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 2500 - 13000 kPa | AGA 8-DETAIL; 2500 - 13000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 400 - 2000 kPa | AGA 8-DETAIL; 400 - 2000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 400 - 7000 kPa | AGA 8-DETAIL; 400 - 7000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 700 - 3500 kPa | AGA 8-DETAIL; 700 - 3500 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 80 - 1000 kPa | AGA 8-DETAIL; 80 - 1000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 80 - 2000 kPa | AGA 8-DETAIL; 80 - 2000 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -25 - +70 oC | 80 - 520 kPa | AGA 8-DETAIL; 80 - 520 kPa; -25 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 1400 - 7000 kPa | AGA 8-DETAIL; 1400 - 7000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 200 - 1000 kPa | AGA 8-DETAIL; 200 - 1000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 400 - 2000 kPa | AGA 8-DETAIL; 400 - 2000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 400 - 7000 kPa | AGA 8-DETAIL; 400 - 7000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 700 - 3500 kPa | AGA 8-DETAIL; 700 - 3500 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 80 - 1000 kPa | AGA 8-DETAIL; 80 - 1000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 80 - 2000 kPa | AGA 8-DETAIL; 80 - 2000 kPa; -40 - +70 oC
|  | absolutní | AGA 8-DETAIL | -40 - +70 oC | 80 - 520 kPa | AGA 8-DETAIL; 80 - 520 kPa; -40 - +70 oC
|  | absolutní | GOST 13390.2 | -10 - +70 oC | 1400 - 7000 kPa | GOST 13390.2; 1400 - 7000 kPa; -10 - +70 oC
|  | absolutní | GOST 13390.2 | -10 - +70 oC | 400 - 520 kPa | GOST 13390.2; 400 - 520 kPa; -10 - +70 oC
|  | absolutní | GOST 13390.2 | -10 - +70 oC | 700 - 520 kPa | GOST 13390.2; 700 - 520 kPa; -10 - +70 oC
|  | absolutní | GOST 13390.2 | -25 - +70 oC | 100 - 520 kPa | GOST 13390.2; 100 - 520 kPa; -25 - +70 oC
|  | absolutní | GOST 13390.2 | -25 - +70 oC | 100 - 520 kPa | GOST 13390.2; 100 - 520 kPa; -25 - +70 oC
|  | absolutní | GOST 13390.2 | -25 - +70 oC | 100 - 520 kPa | GOST 13390.2; 100 - 520 kPa; -25 - +70 oC
|  | absolutní | GOST 13390.2 | -25 - +70 oC | 200 - 520 kPa | GOST 13390.2; 200 - 520 kPa; -25 - +70 oC
|  | absolutní | GOST 13390.2 | -25 - +70 oC | 400 - 520 kPa | GOST 13390.2; 400 - 520 kPa; -25 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 100 - 1000 kPa | GOST 13390.3; 100 - 1000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 100 - 2000 kPa | GOST 13390.3; 100 - 2000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 100 - 520 kPa | GOST 13390.3; 100 - 520 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 1400 - 7000 kPa | GOST 13390.3; 1400 - 7000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 200 - 1000 kPa | GOST 13390.3; 200 - 1000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 2500 - 13000 kPa | GOST 13390.3; 2500 - 13000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 400 - 2000 kPa | GOST 13390.3; 400 - 2000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 400 - 7000 kPa | GOST 13390.3; 400 - 7000 kPa; -23,15 - +70 oC
|  | absolutní | GOST 13390.3 | -23,15 - +70 oC | 700 - 3500 kPa | GOST 13390.3; 700 - 3500 kPa; -23,15 - +70 oC
|  | preasure | temperature | compresibility | tlak
|  | 0 ÷ 0,20 kPa 14) | -25 - +70 oC | NO MID | relativní | 0 ÷ 0,20 kPa 14); -25 - +70 oC
|  | 0 ÷ 0,20 kPa 14) | -40 - +70 oC | NO MID | relativní | 0 ÷ 0,20 kPa 14); -40 - +70 oC
|  | 0 ÷ 100 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 100 kPa; -25 - +70 oC
|  | 0 ÷ 100 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 100 kPa; -40 - +70 oC
|  | 0 ÷ 1000 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 1000 kPa; -25 - +70 oC
|  | 0 ÷ 1000 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 1000 kPa; -40 - +70 oC
|  | 0 ÷ 160 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 160 kPa; -25 - +70 oC
|  | 0 ÷ 160 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 160 kPa; -40 - +70 oC
|  | 0 ÷ 2500 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 2500 kPa; -25 - +70 oC
|  | 0 ÷ 2500 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 2500 kPa; -40 - +70 oC
|  | 0 ÷ 400 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 400 kPa; -25 - +70 oC
|  | 0 ÷ 400 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 400 kPa; -40 - +70 oC
|  | 0 ÷ 4000 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 4000 kPa; -25 - +70 oC
|  | 0 ÷ 4000 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 4000 kPa; -40 - +70 oC
|  | 0 ÷ 600 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 600 kPa; -25 - +70 oC
|  | 0 ÷ 600 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 600 kPa; -40 - +70 oC
|  | 0 ÷ 7000 kPa | -25 - +70 oC | NO MID | relativní | 0 ÷ 7000 kPa; -25 - +70 oC
|  | 0 ÷ 7000 kPa | -40 - +70 oC | NO MID | relativní | 0 ÷ 7000 kPa; -40 - +70 oC