| Lotul 27 Consumabile pentru analizatorul hematologic de tip închis ADVE 120 Siemens |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Nr. d/o | Denumirea | Marcaj | Unitatea de măsură |  | Cantitatea solicitată/cutie |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | CBC Timepac RBC,PLT,Hb | CE | Cutie / |  | 3,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2 | Diff TimepacP1,P2,P3 | CE | Cutie/ |  | 3,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 | Perox Sheath suppliment | CE | Cutie/ |  | 2,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 | Sheath/Rinse | CE | Cutie/ |  | 8,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 | TESTpoint 3-in 1 Hematology Control Abnormal 1 | CE | Cutie/ |  | 4,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 | TESTpoint 3-in 1 Hematology Control Abnormal 2 | CE | Cutie/ |  | 4,0 |  |  |  |  |  | Vitec 2 ASTN222 Carduri pentru testarea sensibilitatii bacteriilor gramnegativi in special nefermentative |  |  | CE |  | 412865 | Cutie/20carduri |  | 40 |  |
|  | 7 | TESTpoint 3-in 1 Hematology Control Normal | CE | Cutie/ |  | 4,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 | Solutie Ez WASH | CE | Cutie / |  | 15,0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Valoarea  estimativa a lotului                                                                      29000.00