RENAM Procurement

Dark Fiber Services

Tender procedure: Open procurement procedure

Date: January 16, 2024

Reference: MD-23-02

Registered address:      Chisinau municipality, Str. Academiei 5, office 324,

MD-2028, Republic of Moldova

www.renam.md

office@renam.md

Table of Contents

1	Definitions	3

2	The Requirement	4

2.1	Overview Lots	5

3	Responding to this invitation document	9

3.1	Required parts of a tender response	9

3.2	Financial requirements	9

3.3	Minimum Requirements	9

4	Evaluation	10

4.1	Minimum requirement for end-of-life attenuation of Dark Fiber	10

4.2	Minimum requirement of Committed Delivery Date	10

4.3	Pricing requirements Assessment	11

4.4	Final Agreement	11

5	Dark Fiber Testing Methodology	11

6	General conditions	11

6.1	Complaints Procedure	11

7	RENAM Network Nodes	12

# Definitions

| Terms | Definitions |
| --- | --- |
| Acceptance Testing Start Date (ATSD) | the date that acceptance testing by RENAM will start, specified in the tender documentation and which takes place before the CDD |
| ARC | Annual Recurring Cost |
| Bidder | a candidate (including c3onsortia or joint venture arrangements) who submits a response to this ITT |
| Claim | means any claim, demand, action, cause of action, proceeding or complaint of any nature or kind brought by any third party against a Party to a SoW; |
| Commencement Date | the later date of the two dates which are made on the signing of this Agreement is signed by both parties |
| Committed Delivery Date (CDD) | the agreed date on which each Service Item is contracted to be put into operation |
| Contract Notice | Contract Notice published in the Official Journal of the European Union |
| Customer or RENAM | means the contracting party, RENAM, who are inviting suitable Bidders to participate in this procurement process; |
| EaPConnect2 | the term EaPConnect2 refers to the Eastern Partnership Connect project and the corresponding network. |
| ESPD | Abbreviation of Selection Questionnaire |
| Extended Term | has the meaning given in Master Services Agreement (MSA) |
| Final Bid | The bid(s) prepared and submitted by each Bidder in response to the ITT |
| RENAM Network | National Research and Educational Network of Moldova |
| Initial Term | has the meaning given in Master Services Agreement (MSA) |
| IRU | Indefeasible rights of use |
| ITT | Invitation to Tender – this document and any subsequent clarifications |
| Lot | A specific requirement or requirements against which a Preferred Supplier or Suppliers will be awarded a contract; |
| MSA | Master Service Agreement – part of the contract documents |
| MTBF | Mean Time Between Failures. |
| MTTR | means Mean Time to Repair. |
| NOC | the RENAM Network Operations Centre. |
| NRC | Non-Recurring Cost |
| NREN | National Research and Education Network that provides national connectivity to universities, colleges, schools and research centers. |
| ODD | On Demand Delivery |
| Offer | The offer prepared and submitted by each Bidder in response to the ITT |
| Operational Service Date (OSD) | the date on which each Service Item is accepted in accordance with the tender documentation |
| Point of Presence or PoP | a building which houses terminal equipment to which the Service Items are connected |
| Procurement Team | a cross-departmental team from RENAM |
| Proposed Contract | the terms and conditions being proposed as the basis for a final contract set out in specified in the tender documentation |
| RENAM | Research and Education Networking Association of Moldova |
| Service | the Service provided by the Supplier specified in the tender documentation |
| SLA | Service Level Agreement |
| Solution | the proposed or selected managed connectivity service solution to meet the requirements defined in the tender documentation. |
| SoW | Statement of Work document – part of the contract documents |
| Tender Document | the full set of documents, pertaining to this procurement process |
| Total Contract Value | (TCV) represents the value of one-time and recurring charges. |

# The Requirement

RENAM requires the procurement of Dark Fiber services for the development of the optical infrastructure of the RENAM network in the municipality of Chisinau to improve access to modern IT services for educational and research institutions of Moldova. Bidders are requested to confirm the minimum requirements for the Functional Characteristics of the offered Services, as well as aspects related to pricing, in Annex A (Technical response of the lots & Commercial offers).

## Overview Lots

Below is an overview of lots of dark fiber spans with a summary of their functional characteristics. All Routes must be put into service in accordance with the minimum requirements specified in the tender documentation for this procurement. For each lot Bidders shall submit their Final and Best Bid based on the specific Functionality of the requested Services.

|  | Traces |  |  | Dark Fiber distance, m | Fiber count | Dark Fiber Connectivity Service | Contract Term (IRU) | Max CDD days | Fiber standard | Maximum end-of- life attenuation guaranteed value [dB], 1310nm | Maximum end-of- life attenuation guaranteed value [dB], 1550nm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot number | A-end |  | B-end Room and rack to be specified in SOW |  |  |  |  |  |  |  |  |
| Lot 1 | UTM2 str. 31 August 1989, 78A |  | ASEM str. Bănulescu-Bodoni, 59 |  | 4 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
|  | UTM2 str. 31 August 1989, 78A |  | SCMSAM str. Arhanghelul Mihail, 38 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 2 | UTM2 str. 31 August 1989, 78A |  | USEFS(M) str. Andrei Doga, 24/1 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 3 | UTM2 str. 31 August 1989, 78A |  | ASEM CAMIN str. Florilor, 2/2 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
|  | UTM2 str. 31 August 1989, 78A |  | USM CAMIN str.Florilor 4/2 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 4 | UTM2 str. 31 August 1989, 78A |  | UTM3-7 str. Studentilor, 9/8 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 5 | UTM2 str. 31 August 1989, 78A |  | ISE str. Doina, 104 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 6 | UTM2 str. 31 August 1989, 78A |  | ULIM str. Vlaicu Pârcălab, 52 |  | 4 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 7 | UTM2 str. 31 August 1989, 78A |  | USM CULTURA str. Tighina, 2 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 8 | UTM2 str. 31 August 1989, 78A |  | ASM bd. Ștefan cel Mare și Sfânt, 1 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 9 | UTM2 str. 31 August 1989, 78A |  | IMINOVA str. Hristo Botev, 9 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 10 | UTM2 str. 31 August 1989, 78A |  | UTM9 bd. Dacia, 39 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 11 | UTM2 str. 31 August 1989, 78A |  | MOTHER&CHILD str. Burebista, 93 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 12 | UTM2 str. 31 August 1989, 78A |  | GENETICA str. Pădurii 26/1 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 13 | UTM2 str. 31 August 1989, 78A |  | UPSC - CAMIN 7, str. Eugen Coca, 29 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 14 | UTM2 str. 31 August 1989, 78A |  | UPSC - FAP, str. Cornului, 10 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 15 | UTM2 str. 31 August 1989, 78A |  | UPSC - CAMIN 5, str. Suceava, 154/2 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 16 | UTM2 str. 31 August 1989, 78A |  | INCE ASEM, str. Ion Creangă, 45 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |
| Lot 17 |  | UTM2 str. 31 August 1989, 78A | USMF_FARMACIE Str. Nicolae Testemițanu, 22 |  | 2 | Underground (as an exception, partially aerial) | 15 or/and 10 or/and 7 | 180 | G.652D | 3dBm | 2dBm |

Table 1: Lot Requirements

# Responding to this invitation document

## Required parts of a tender response

Bidders are expected to submit their response that contains:

- Submitting the service compliance document excel sheet (Annex A, Technical response of the lots)

- Submitting their financial offer by filling the pricing sheet (Annex A, Commercial offers)

- Confirmation of their suitability of provisioning the required service by filling the table in the section 3.3 below.

## Financial requirements

Bidders shall confirm that their TCO pricing incorporates all cost without any restrictions and/or reservations.

RENAM require Bidders to price a Solution with the following characteristics:

- An ODF needs to be deployed at each site;

- The winning vendor must submit a fiber deployment plan.

- The winning supplier must submit test results for the fiber they supply, such as attenuation, as part of the transmission.

- Bidders shall offer pricing on a per-Lot basis;

- Prices shall be stated in Euro;

- Prices for each route must cover all components which lie within the Bidder's boundary of responsibility and all Professional Services required by the Provider to deliver in the timescale promised shall be included;

- It is expected that all prices will be exempt from VAT and other taxes;

- All relevant Charges will become due from OSD;

- Capital charges (NRC) to be invoiced following acceptance;

- Operational (revenue) charges (ARC) to be invoiced on a quarterly basis following acceptance and to be provided for the whole agreed initial term period.

## Minimum Requirements

| # | Minimum requirements | Response |
| --- | --- | --- |
| 1 | Please, confirm that you attached a filled in DUAE form | [ ] yes [ ] no |
| 2 | Bidder has read, fully understands and accepts the financial requirements without any restrictions and/or reservations as described in 3.2. | [ ] yes [ ] no |
| 3 | The winning supplier should provide - as part of the acceptance procedure - a detailed fiber deployment plan. | [ ] yes [ ] no |
| 4 | Please, confirm that Supplier should present test results of the fiber it provides, like attenuation, as part of the handover procedure. | [ ] yes [ ] no |
| 5 | Guaranteed monthly availability, min. 99% | [ ] yes [ ] no |
| 6 | Please, confirm that the service can be delivered within 180 days after contract signature | [ ] yes [ ] no |
| 7 | Please, confirm that the Hand-over pack will be provided within five (5) Business Days after the successful completion of the Provider’s pre-handover Tests. | [ ] yes [ ] no |
| 8 | Please, confirm that regular and accurate progress and status reporting information is provided through the delivery phase (from Contract Signature to CDD). | [ ] yes [ ] no |
| 9 | Please, confirm that Bidder is capable of providing proper Monthly Service Availability Reports containing the following information: - Service Availability; - Total scheduled maintenance per service; - Total downtime per service; - Mean Time Between Failures (MTBF); - Mean Time To Restore (MTTR). | [ ] yes [ ] no |
| 10 | Please, confirm that Bidder is capable of providing adequate 24(hours)*7(days)*365(days of year) support and supports Customers with proper service desk facilities. | [ ] yes [ ] no |

# Evaluation

## Minimum requirement for end-of-life attenuation of Dark Fiber

Bidders must return for each individual Solution/option a separately populated version of Annex A (Technical response of the lots) that will clearly indicate the total attenuation score of end-of-life for each individual Solution/option.

The quality of Dark Fiber offers will be assessed according to the following criteria:

| End-of-life guaranteed attenuation | Score |
| --- | --- |
| Smaller or equal than 3dB | Qualified |
| Greater than 3dB | Knock out, Bid will be rejected |

Table 2: Attenuation minimum requirement for each lot

  - Minimum requirement of Committed Delivery Date

Bidders are requested to indicate the best possible CDD on a per Lot basis in Annex A

Applicants will be awarded according to the following criteria:

| CDD | Score |
| --- | --- |
| Smaller or equal than 180 days | Qualified |
| Greater than 180 days | Knock out, Bid will be rejected |

Table 3: CDD minimum requirement for each lot

## Pricing requirements Assessment

Answers in relation to questions set out in Annex A (Technical response of the lots & Commercial offers) are scored relative to the best Price.

## Final Agreement

RENAM reserves its right to award contracts for none, one or a combination of Lots.

Subject to the Standstill Period, the peremptory period (7 days) for claims and compliancy assessment being successfully navigated, the draft Agreement with the successful Bidder will then be subject to final agreement of the contract terms, conditions and associated schedules.

The final contract will have to be approved for signature by GEANT.

# Dark Fiber Testing Methodology

The testing procedure is part of the CDD.

For testing the attenuation, Bidders will use the following two methodologies for testing:

  - With no RENAM optical source connected to the fibers, supplier will measure the power of each optical fiber on each transparent optical dispersion (1310nm, 1550nm and 1610nm).

  - Measure the distance vs attenuation with OTDR on each transparent optical dispersion (1310nm, 1550nm and 1610nm).

RENAM considers the test to be passed when none of the final attenuations recorded values is lower than the guaranteed / committed attenuation in Bidders Final Bid.

# General conditions

The following general conditions apply to all stages of this procurement exercise:

  - By submitting your Proposal in response open procurement procedure, you declare that you unconditionally agree and meet all stated conditions and requirements. By submitting your Proposal, you declare that you can supply the tendered services unconditionally against the stated requirements in the tender documents.

  - RENAM reserves the right to withdraw from this tender procedure at any time prior to a contract is signed. If RENAM pauses or withdraws the tender, RENAM shall not be liable for any costs you incurred, neither direct nor indirect, for the preparation and/or submission of your Proposal.

  - RENAM has no obligation to award a contract following this tender procedure.

## Complaints Procedure

RENAM is committed to ensure its procurement activities are compliant, fair and transparent, respecting the interests of all involved parties.

If you believe that RENAM in this tender procedure is making any mistakes or harms your interest, you are invited to make your objection known to the tender evaluation panel.

# RENAM Network Nodes

| RENAM PoP list and locations |  |  |
| --- | --- | --- |
| PoP list | Address | Demarcation Point Details |
| UTM2 | 31 August 1989, 78A, Chisinau | Room and rack to be specified in statement of work |
| ASEM | str. Mitropolit Bănulescu-Bodoni, 59, Chisinau | Room and rack to be specified in statement of work |
| SCMSAM | str. Arhanghelul Mihail, 38, Chisinau | Room and rack to be specified in statement of work |
| USEFS(M) | str. Andrei Doga, 24/1 | Room and rack to be specified in statement of work |
| ASEM-CAMIN | str. Florilor, 2/2, Chisinau | Room and rack to be specified in statement of work |
| USM-CAMIN | str. Florilor, 4/2, Chisinau | Room and rack to be specified in statement of work |
| UTM3-7 | str. Studentilor, 9/8, Chisinau | Room and rack to be specified in statement of work |
| ULIM | str. Vlaicu Pârcălab, 52, Chisinau | Room and rack to be specified in statement of work |
| USM-CULTURA | str. Tighina, 2, Chisinau | Room and rack to be specified in statement of work |
| ASM | bd. Ștefan cel Mare și Sfânt, 3, Chisinau, Republic of Moldova | Room and rack to be specified in statement of work |
| IMINOVA | str. Hristo Botev 9, Chisinau | Room and rack to be specified in statement of work |
| UTM9 | bd. Dacia, 39, Chisinau | Room and rack to be specified in statement of work |
| MOTHER&CHILD | str. Burebista, 93, Chisinau | Room and rack to be specified in statement of work |
| GENETICA | str. Pădurii 26/1, Chisinau | Room and rack to be specified in statement of work |
| USMF_FARMACIE | str. Nicolae Testemițanu 22, Chisinau | Room and rack to be specified in statement of work |
| UPSC-CAMIN7 | str. Eugen Coca, 29, Chisinau | Room and rack to be specified in statement of work |
| INCE ASEM | str. Ion Creanga, 45, Chisinau | Room and rack to be specified in statement of work |
| UPSC-FAP | str. Cornului, 10, Chisinau | Room and rack to be specified in statement of work |
| UPSC-CAMIN5 | str. Suceava, 154/2, Chisinau | Room and rack to be specified in statement of work |
| ISE | str. Doina 104, Chisinau | Room and rack to be specified in statement of work |

Table 5: Address details RENAM’s PoP locations