Specifications for the organization

of the purchase of reinforced concrete pylons for OHL 35 – 330 kV

1.  Object of the purchase

1.1       Purchase of reinforced concrete pylons for OHL 35 – 330 kV.

2.  Delivery time

  - The delivery will be made in max. 90 calendar days from the moment of signing the contract.

3. The necessary documentation for participating in the auction

3.1.    Along with the submitted bids, it is necessary to present the certificates of conformity, certificates of origin and quality certificates.

3.2.      In the technical bid information about the manufacturer's experience in the field is indicated.

4. The type and quantity of materials to be purchased

4.1       Reinforced concrete conical pylon of the type SK22.1-2.0 (CK22.1-2.0), or similar – 18 pcs

4.2       Reinforced concrete conical pole of the type SK26.1-6.0 (CK26.1-6.0), or similar – 17 pcs

4.3       Reinforced concrete conical pole of the type SK26.2-1.0 (CK26.2-1.0), or similar – 38 pcs

The minimum technical specifications of the given pylons can be found in annexes no. 2,3 and 4.

In the case of presenting a similar type of pylons, the geometrical parameters must remain identical, but the mechanical parameters have to be equivalent or better.

5. Calculation of the offer

5.1      The calculation is presented separately for the pylons and separately for the transportation of pylons to the Warehouses.

SE "Moldelectrica" reserves the right to refuse transport services.

Also, SE "Moldelectrica" reserves the right to choose the winner, for each type of pylons, separately.

The manufacture of the pylons must be carried out in compliance with the GOST 22687.1 – 85 standard.

The materials are delivered to the warehouses of SE "Moldelectrica" according to annex no. 1.

| Annex 1 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of the product | Unit of measurement | Place of delivery |  |  |  | Total |
|  |  | Comrat warehouse | Vatra warehouse | Balti warehouse | Donduseni warehouse |  |
| Reinforced concrete conical pylon of the type SK22.1-2.0 (CK22.1-2.0) or similar | pc | 2 | 4 | 4 | 8 | 18 |
| Reinforced concrete conical pylon of the type SK26.1-6.0 (CK26.1-6.0) or similar | pc | 13 | 4 |  |  | 17 |
| Reinforced concrete conical pylon of the type SK26.2-1.0 (CK26.2-1.0) or similar | pc |  | 18 | 14 | 6 | 38 |

Addresses of warehouses:

Comrat warehouse – 56 Lenin st.

Vatra warehouse – 13 Luceafărul st.

Balti warehouse – 180 Stefan cel Mare st.

Donduseni warehouse – 30 Stefan cel Mare st.