Anexa 17 la  OrdinulMinisterului Sănătăţii nr. 374 din 05.05.2014

Lotul  Nr.  I  Reactivi, calibratori şi material de control pentru analizorul biochimic automat A 25 Biosystems, (sistem închis)

| Nr. | Denumirea | Cantitatea | Unitatea de măsura | Descriere |
| --- | --- | --- | --- | --- |
| 1 | AST/GOT set 250 ml | 16 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon. |
| 2 | ALT/GPT set 250 ml | 16 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon. |
| 3 | ALBUMIN set 250 ml | 1 | Set | ambalaj standard p/u A 25, set 5 fl. x 50 ml |
| 4 | ALP-AMP set 100 ml | 8 | Set | ambalaj standard p/u A 25, set 5 fl. x 16ml + 2fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon. |
| 5 | α-AMYLASE (DIRECT) set 100 ml | 10 | Set | ambalaj standard p/u A 25, set 5 fl. x 20 ml |
| 6 | BILIRUBIN (TOTAL) metoda DPD set 250 ml | 16 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon |
| 7 | BILIRUBIN (DIRECT) metoda DPD set 250 ml | 4 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon |
| 8 | CALCIUM- ARSENAZO set 500 ml | 1 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 9 | CHOLESTEROL set 500 ml | 8 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 10 | CHOLESTEROL LDL DIRECT set 4 fl. x 20 ml | 30 | Set | ambalaj standard p/u A 25, set 4 fl. x 20 ml |
| 11 | CHOLESTEROL HDL DIRECT set 4 fl. x 20 ml | 30 | Set | ambalaj standard p/u A 25, set 4 fl. x 20 ml |
| 12 | CREATININE set 500 ml | 6 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 13 | γ-GLUTAMILTRANSFERASE set 250 ml | 4 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon |
| 14 | GLUCOSE set 500 ml | 8 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 15 | IRON-FERROZINE set 250 ml | 2 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml |
| 16 | PROTEIN (TOTAL) set 500 ml | 1 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 17 | TRIGLYCERIDES set 500 ml | 6 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 18 | UREA/BUN-UV set 250 ml | 12 | Set | ambalaj standard p/u A 25, set 5 fl. x 40ml + 5fl x 10ml, ambalajul reactivilor bicomponenti va permite amestecarea ambelor componente într-un flacon |
| 19 | URIC ACID set 500 ml | 2 | Set | ambalaj standard p/u A 25, set 10 fl. x 50 ml |
| 20 | BIOCHEMISTRY CALIBRATOR (HUMAN) set 25 ml | 4 | Set | ambalaj standard p/u A 25, set 5 fl. x 5 ml |
| 21 | BIOCHEMISTRY CONTROL SERUM Normal (HUMAN) set 25 ml | 4 | Set | ambalaj standard p/u A 25, set 5 fl. x 5 ml |
| 22 | BIOCHEMISTRY CONTROL SERUM Patologic (HUMAN) set 25 ml | 4 | Set | ambalaj standard p/u A 25, set 5 fl. x 5 ml |
| 23 | HEMOGLOBIN A1C-DIRECT (HbA1C-DIR) BSA set 72 ml | 25 | Set | ambalaj standard p/u A 25, set 1 x 60 ml +1 x 12ml |
| 24 | HEMOGLOBIN A1C CONTROL (NORMAL) set 0,5 ml | 4 | Set | ambalaj standard p/u A 25, set 1 x 0,5 ml |
| 25 | HEMOGLOBIN A1C CONTROL (ELEVATED) set 0,5 ml | 4 | Set | ambalaj standard p/u A 25, set 1 x 0,5 ml |
| 26 | HEMOGLOBIN A1C-DIRECT (HbA1C-DIR)STANDAR set 25 ml | 2 | Set | ambalaj standard p/u A 25, set 4 x 0,5 ml |
| 27 | FERITINA | 10 | Set | ambalaj standard p/u A 25, set 45 ml |
| 28 | Calibrator Feritina | 2 | Set | ambalaj standard p/u A 25, set 1 x3 ml |
| 29 | Control Proteine Normal | 2 | Set | ambalaj standard p/u A 25, set 3 x 1 ml |
| 30 | Control Proteine Patologic | 2 | Set | ambalaj standard p/u A 25, set 3 x 1 ml |
| 31 | Proteina C reactivă PCR | 4 | Set | ambalaj standard p/u A 25, set 100 ml |
| 32 | Calibrator Proteina C reactivă( CRP) | 2 | set | ambalaj standard p/u A 25, set 1 ml |
| 33 | Factorulreumatoid FR | 8 | Set | ambalaj standard p/u A 25, set 50 ml |
| 34 | Calibrator Factorul Reumatic (RF) | 2 | set | ambalaj standard p/u A 25, set 3 ml |
| 35 | Antistreptolizina 0 (ASO) | 8 | Set | ambalaj standard p/u A 25, set 50 ml |
| 36 | Calibrator Antistreptolizina O(ASO) | 2 | Set | ambalaj standard p/u A 25, set 1 ml |
| 37 | Control ser Reumatoid (ASO, RF, CRP) Normal | 4 | Set | ambalaj standard p/u A 25, set 3x1 ml |
| 38 | Control ser Reumatoid (ASO, RF, CRP) Patologic | 4 | Set | ambalaj standard p/u A 25, set 3x1 ml |

Cerinte generale:

Reactivii să dispună de certificat, sau declaratia CE,  certificatul de compatibilitate a reactivilor cu analizorul A-25 (sistem închis), eliberat de catre producătorul utilajului,  Reactivii să fie obligatoriu în ambalajul producătorului,  Firma furnizoare de reactivi să dispună de ingineri calificaţi, certificaţi de producătorul echipamentului pentru deservirea gratuită a echipamentului de laborator pe perioada de utilizarea a reactivilor, Ambalajul reactivilor trebuie să fie compatibil cu analizorul A-25, Date de identitate (denumirea, numărul lotului, seria, termenii de valabilitate, condiţiile de păstrare) ale produsului indicate pe ambalaj trebuie să coincidă în mod obligatoriu cu cele de pe etichetele componentelor incluse în set, Toate poziţiile lotului să fie produse de acelaşi producător.