| Specificaţii tehnice (F4.1) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| [Acest tabel va fi completat de către ofertant în coloanele 3, 4, 5, 7, iar de către autoritatea contractantă – în coloanele 1, 2, 6, 8]. |
| Numărul procedurii de achiziție: 21012991 din 08.10.2019 |  |  |  |  |  |  |  |  |
| Denumirea procedurii de achiziție: licitație deschisă |  |  |  |  |  |  |  |  |
| Denumirea bunurilor | Modelul articolului | Ţara de origine | Produ-cătorul | Specificarea tehnică deplină solicitată de către autoritatea contractantă |  | Specificarea tehnică deplină propusă de către ofertant | Standarde de referinţă |  |
| 2 | 3 | 4 | 5 | 6 |  | 7 | 8 |  |
| Reagenți chimici |  |  |  |  |  |  |  |  |
| Bromide standard for IC Fluka |  |  |  | Bucată= Ambalaj 100 ml. |  |  |  |  |
| Hidrocarbonați (HCO3), standard for AAS Fluka |  |  |  | Bucată= Ambalaj 100 ml. |  |  |  |  |
| Hardness, Total 1000 mg/L Calibration Standard certified reference material |  |  |  | Bucată= Ambalaj 100 ml. Cod THRD1000-100ML |  |  |  |  |
| Turbidity 100 NTU Calibration Standard - Formazin certified reference material |  |  |  | Bucată= Ambalaj 100 ml.Cod TURB100-100ML |  |  |  |  |
| Ochratoxin A 10μg/ml in acetonitril, HPLC Sigma |  |  |  | Bucata=Fiola 1 ml. Cod CRM46912 |  |  |  |  |
| Deoxynivalenol CRM 200μg/ml in ethylacetat:methanol 95:5 ; 1ml; Supelco |  |  |  | Bucata=Fiola 1 ml. cod CRM46911 |  |  |  |  |
| Patulin CRM 100μg/ml in acetonitril ; 1ml; Supelco |  |  |  | Bucata=Fiola. Cod CRM46914 |  |  |  |  |
| Aflatoxin Mix CRM (Afl B1-1μg/ml;Afl G1-1μg/ml;Afl B2-3μg/ml;Afl G2-3μg/ml ); 5x1ml; Supelco |  |  |  | Set fiole 2x5. Cod CRM46300 |  |  |  |  |
| Aflatoxin B1 solution in acetonitril,2mkg/ml, Sigma Aldrich, HPLC, cod 34029-2ml |  |  |  | Bucata=Fiola. Cod 34029-2ML-R |  |  |  |  |
| ISA (ionic strength adjustment solution: 1 M KCl) |  |  |  | Bucată=Ambalaj 500 ml. cod 58221-500ML-F |  |  |  |  |
| Potassium chloride solution conductance standard A acc. to ISO 7888, 0.1 M KCl |  |  |  | Bucată=Ambalaj 500 ml. Cod 60134-250ML-F |  |  |  |  |
| Potassium chloride solution conductance standard B acc. to ISO 7888, 0.01 M KCl |  |  |  | Bucată=Ambalaj 500 ml. Cod 60136-250ML |  |  |  |  |
| Buffer, reference standard pH 10.00±0.01 (25 °C) |  |  |  | Bucată=Ambalaj 500 ml. cod B 4895-500 ml |  |  |  |  |
| Buffer, reference standard pH 4.00±0.01 (25 °C) |  |  |  | Bucată=Ambalaj 250 ml. cod B 5020-500 ml |  |  |  |  |
| Buffer, reference standard pH 7.00±0.01 (25 °C) |  |  |  | Bucată=Ambalaj 250 ml. cod B 4770-500 ml |  |  |  |  |
| Soluţie etalon culoare |  |  |  | Bucată=Ambalaj 500 ml. Anexa 7 (3,30,218) |  |  |  |  |
| Vit.E (α -tocoferol ) |  |  |  | Bucată=Ambalaj 500 mg. Cod PHR1031-500MG |  |  |  |  |
| Vit.E (β -tocoferol analytical standard) |  |  |  | Bucată=Ambalaj 100 mg. Cod 47784 |  |  |  |  |
| Vit.E (γ -tocoferol ) |  |  |  | Ordinul MS nr. 701. Suplimentar la anexa 7 |  |  |  |  |
| Vit.E (δ -tocoferol ) |  |  |  | Ordinul MS nr. 701. Suplimentar la anexa 7 |  |  |  |  |
| Vitamina K1(Phylloquinone K1) analytical standard |  |  |  | Bucată=Ambalaj 100 mg. cod 47773 |  |  |  |  |
| Vit D2 ergocalciferol 100mg analytical standard |  |  |  | Bucată=Ambalaj 100 mg.cod 47768 |  |  |  |  |
| Vit.D3 (Colecalciferol) |  |  |  | Ordinul MS nr. 701. Suplimentar la anexa 7 |  |  |  |  |
| Acetaldehyde, DAIH derivative analytical standard, GC Sigma |  |  |  | Bucata=Fiola 50mg cod 14423 |  |  |  |  |
| Acetone- 2,4-DNPH solution certified reference material, 1000 μg/mL in acetonitrile, ampule of 1 mL |  |  |  | Bucata=Fiola 1 ml. cod CRM 47341 Sigma |  |  |  |  |
| Acrolein-DNPH solution certified reference material, 1000 μg/mL in acetonitrile (as the aldehyde), ampule of 1 mL |  |  |  | Bucata=Fiola 1 ml, cod CRM 47342 |  |  |  |  |
| Formaldehide ICS 045 SigmaFormaldehyde IC Standard analytical standard |  |  |  | Bucata=Fiola 100 ml, cod ICS045-100ML |  |  |  |  |
| Benzene analytical standard GC |  |  |  | Bucata=Fiola 5 ml, cod 12540-5ml-F |  |  |  |  |
| Butyl acetate GC cod 73285 Sigma |  |  |  | Bucata=Fiola 1 ml cod 73285-1ML |  |  |  |  |
| tert-Butyl methyl ether analytical standard GC cod 08603Sigma |  |  |  | Bucata=Fiola 5 ml, cod 08603 |  |  |  |  |
| Chloroform Pharmaceutical Secondary Standard; Certified Reference Material |  |  |  | Bucata=Fiole 3x1,2 ml cod PHR1552-3X1.2ML |  |  |  |  |
| Dibutyl Phthalate GC Pharmaceutical Secondary Standard; Certified Reference Material |  |  |  | Bucata=Fiola 1 g cod PHR1366-1G |  |  |  |  |
| Dioctyl phthalate ≥99.5% |  |  |  | Bucata=Fiola 5 ml, cod D201154-5ML |  |  |  |  |
| Dibutyl phthalate-3,4,5,6-D4deuterat in ciclul benzenic analytical standard |  |  |  | Bucata=Fiola 25 mg cod 34169-25MG |  |  |  |  |
| Dioctyl phthalate-3,4,5,6-D4 deuterat in ciclul benzenic analytical standard |  |  |  | Bucata=Fiola 25mg, cod 34193-25MG |  |  |  |  |
| (±)-Epichlorohydrin analytical standard |  |  |  | Bucata=Fiola 1 ml, cod 02578-1M |  |  |  |  |
| Ethyl acetate solution certified reference material, 2000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ml, cod 47947 |  |  |  |  |
| Phenol solution 5000 μg/mL in methanol, certified reference material |  |  |  | Bucata=Fiola 1 ml GC cod 40063 Sigma |  |  |  |  |
| Methanol analytical standard GC |  |  |  | Bucata=Fiola 1 ml, cod 82762-1ML-F |  |  |  |  |
| Methyl acrylate analytical standard GC |  |  |  | Bucata=Fiola 1 ml, cod 76778-1ML-F |  |  |  |  |
| Methyl methacrylate solution certified reference material, 1000 μg/mL in methanol, GC |  |  |  | Bucata=Fiola 1 ml, cod 40439 |  |  |  |  |
| Styrene analytical standard GC |  |  |  | Bucata=Fiola 250 mg, cod 45993Sigma |  |  |  |  |
| 2,4 TDI(toluidindiizocianat) GC |  |  |  | Bucata=Fiola5 ml, 33427-5ML-R |  |  |  |  |
| Tolyene GC cod 40084 SigmaToluene solution certified reference material, 5000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ML, cod 40084 |  |  |  |  |
| Uait spirit |  |  |  | Bucata=Fiola. Anexa 7 (247) |  |  |  |  |
| Vinyl chloride solution certified reference material, 2000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ml, cod 500976 |  |  |  |  |
| Vinyl acetate solution certified reference material, 5000 μg/mL in acetonitrile |  |  |  | Bucata=Fiola 1 ml, cod 40327 |  |  |  |  |
| Ethanol solution certified reference material, 2000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ml, cod 48075 |  |  |  |  |
| 1-Propanol Pharmaceutical Secondary Standard; Certified Reference Material |  |  |  | Bucata=Fiola 3x1,2 ml cod PHR1208-3X1.2ML |  |  |  |  |
| 1-Butanol analytical standard GC |  |  |  | Bucata=Fiola. cod 19422-5ML |  |  |  |  |
| Dimetilmetacrilat p/u gazcromatografie |  |  |  | Bucata=Fiola. Anexa 7 (361) |  |  |  |  |
| Bisphenol A (Difenilolpropan) certified reference material, TraceCERT® |  |  |  | Bucata=Fiola 100mg cod 42088-100MG |  |  |  |  |
| Hexametylenediamine 98% GC |  |  |  | Bucata=Fiola 25g, cod H11696-25G |  |  |  |  |
| Dimethyl phthalate PESTANAL®, GC analytical standard |  |  |  | Bucata=Fiola 1 ml, cod 41320-1ML-F |  |  |  |  |
| Dimethyl terephthalate analytical standard |  |  |  | Bucata=Fiola 250mg, cod 31298-250MG |  |  |  |  |
| Benzyl butyl phthalate analytical standard |  |  |  | Bucata=Fiola 1 g cod 442503 |  |  |  |  |
| Diethyl Phthalate Pharmaceutical Secondary Standard; Certified Reference Material |  |  |  | Bucata=Fiola 1g, cod PHR1476-1G |  |  |  |  |
| EPA 506 Phthalate Mix (7 component) certified reference material, 1000 μg/mL each component in isooctane |  |  |  | Bucata=Fiola 1 ml, cod 40077-U |  |  |  |  |
| Bis(2-ethylhexyl) phthalate PESTANAL®, analytical standard |  |  |  | Bucata=Fiola 1 g, cod 36735-1G |  |  |  |  |
| Benzyl butyl phthalate analytical standard 99,9% |  |  |  | Bucata=Fiola 1 g, cod 442503 |  |  |  |  |
| DMEP(di(2-methoxyethyl)phtalate)CAS 117-82-8 ALDRICH 97,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| DnPP(di-n-pentyl)phtalate)CAS 131-18-0 CIL CLUZEAU 99,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| DiPP(diisopentyl)phtalate)CAS 605-50-5 CIL CLUZEAU 95,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| DPP(n-pentylisopentyl)phtalate)CAS 84777-06-0 CIL CLUZEAU 95,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| DiBP(diisobutylphtalate)CAS 84-69-5 ACROS 98,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| DCHP(dicyclohexyl phtalate)CAS 84-61-7 ALDRICH 98,0 % |  |  |  | Bucata=Fiola. Anexa 7 (303) |  |  |  |  |
| o-Xylene solution certified reference material, 5000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ml, cod 40201 |  |  |  |  |
| Kerosene purum |  |  |  | Bucata=Fiola 1 L, cod 60710-1L |  |  |  |  |
| Acetic acid analytical standard |  |  |  | Bucata=Fiola 5 ml, cod 71251-5ML-F |  |  |  |  |
| Toluene solution certified reference material, 5000 μg/mL in methanol |  |  |  | Bucata=Fiola 1 ml, cod 40084 |  |  |  |  |
| o-Xylene analytical standard |  |  |  | Bucata=Fiola 5 ml, cod 95660-5ML |  |  |  |  |
| m-Xylene analytical standard GC |  |  |  | Bucata=Fiola 5 ml, cod 95670-5ML |  |  |  |  |
| p-Xylene analytical standard GC |  |  |  | Bucata=Fiola 5 ML, cod 95680-5ML |  |  |  |  |
| Benzen standard pentru GC |  |  |  | Bucata=Fiola 5 ml cod 12540-5ML-F |  |  |  |  |
| Butilacetat 1mg/ml |  |  |  | Bucata=Fiola. Ordinul MS nr. 701.Anexa 7 (114;226) |  |  |  |  |
| Etilacetat 1 mg/ml |  |  |  | Bucata=Fiola. Ordinul MS nr. 701.Anexa 7 (114;226) |  |  |  |  |
| Acetonă 1 mg/ml |  |  |  | Bucata=Fiola. Ordinul MS nr. 701.Anexa 7 (114;226) |  |  |  |  |
| Acroleina in acetat de amoniu 2% ,1 mg/ml |  |  |  | Bucata=Fiola. Ordinul MS nr. 701.Anexa 7 (114;226) |  |  |  |  |

Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ________________

Ofertantul: _______________________ Adresa: ______________________________