RENAM Procurement

Dark Fiber Services

Tender procedure: Open procedure

Date: 19 October 2022

Registered address:      Chisinau municipality, Str. Academiei 5, office 324,

MD-2028, Republic of Moldova

Reference No: MD-22-11

www.renam.md

office@renam.md

Table of Contents

1	Definitions	3

2	The Requirement	5

2.1	Justification	5

2.2	RENAM – at the heart of research and education networking in Moldova	5

2.3	Objective	5

2.4	Overview Lots	5

3	The Tender	9

3.1	Dates and deadlines	9

3.2	Clarification Questions	9

4	Responding to this invitation document	9

4.1	Required parts of a tender response	9

4.2	Financial requirements	10

4.3	Minimum Requirements	10

5	Evaluation	11

5.1	Evaluation, ITT Scoring and Awarding	11

5.2	Attenuation score for Dark Fiber	11

5.3	Committed Delivery Date	12

5.4	Pricing requirements Assessment	12

5.5	Final Agreement	12

6	Dark Fiber Testing Methodology	12

7	General conditions	13

7.1	Confidentiality	13

7.2	Complaints Procedure	13

7.3	Contact persons	13

8	RENAM Network Nodes	13

# Definitions

| Terms | Definitions |
| --- | --- |
| Acceptance Testing Start Date (ATSD) | the date that acceptance testing by RENAM will start, specified in the tender documentation and which takes place before the CDD |
| ARC | Annual Recurring Cost |
| Bidder | a candidate (including c3onsortia or joint venture arrangements) who submits a response to this ITT |
| Claim | means any claim, demand, action, cause of action, proceeding or complaint of any nature or kind brought by any third party against a Party to a SoW; |
| Commencement Date | the later date of the two dates which are made on the signing of this Agreement is signed by both parties |
| Committed Delivery Date (CDD) | the agreed date on which each Service Item is contracted to be put into operation |
| Contract Notice | Contract Notice published in the Official Journal of the European Union |
| Customer or RENAM | means the contracting party, RENAM, who are inviting suitable Bidders to participate in this procurement process; |
| EaPConnect2 | the term EaPConnect2 refers to the Eastern Partnership Connect project and the corresponding network. |
| ESPD | Abbreviation of Selection Questionnaire |
| Extended Term | has the meaning given in Master Services Agreement (MSA) |
| Final Bid | The bid(s) prepared and submitted by each Bidder in response to the ITT |
| RENAM Network | National Research and Educational Network of Moldova |
| Initial Term | has the meaning given in Master Services Agreement (MSA) |
| IRU | Indefeasible rights of use |
| ITT | Invitation to Tender – this document and any subsequent clarifications |
| Lot | A specific requirement or requirements against which a Preferred Supplier or Suppliers will be awarded a contract; |
| MSA | Master Service Agreement – part of the contract documents |
| MTBF | Mean Time Between Failures. |
| MTTR | means Mean Time to Repair. |
| NOC | the RENAM Network Operations Centre. |
| NRC | Non-Recurring Cost |
| NREN | National Research and Education Network that provides national connectivity to universities, colleges, schools and research centers. |
| Offer | The offer prepared and submitted by each Bidder in response to the ITT |
| Operational Service Date (OSD) | the date on which each Service Item is accepted in accordance with the tender documentation |
| Point of Presence or PoP | a building which houses terminal equipment to which the Service Items are connected |
| Procurement Team | a cross-departmental team from RENAM |
| Proposed Contract | the terms and conditions being proposed as the basis for a final contract set out in specified in the tender documentation |
| RENAM | Research and Education Networking Association of Moldova |
| Service | the Service provided by the Supplier specified in the tender documentation |
| SLA | Service Level Agreement |
| Solution | the proposed or selected managed connectivity service solution to meet the requirements defined in the tender documentation. |
| SoW | Statement of Work document – part of the contract documents |
| Tender Document | the full set of documents, pertaining to this procurement process |
| Total Contract Value | (TCV) represents the value of one-time and recurring charges. |

# The Requirement

RENAM requires the procurement of Dark Fiber services for the development of the optical infrastructure of the RENAM network in the municipality of Chisinau to improve access to modern IT services for educational and research institutions of Moldova. Bidders are requested to confirm the minimum requirements for the Functional Characteristics of the offered Services, as well as aspects related to pricing, in Annex A (Pricing and CDD Template).

## Justification

Update the metropolitan networking infrastructure to meet the growing needs of educational and research institutions in Chisinau

## RENAM – at the heart of research and education networking in Moldova

RENAM is National Research and Educational Network of Moldova – a non-commercial and non-for-profit network. The main activity of RENAM is focused on continuous development of a modern electronic communication infrastructure capable to connect all research, educational, medical and cultural institutions from Moldova, and to provide them access to Pan-European network GEANT, associated services, including Internet access. Another aim of RENAM consists in continuous collaboration and active participation in the work of international computer network organizations, professional associations and cooperation with global NRENs community.

The RENAM network is administered by a Public Association having same name – RENAM. The activity of RENAM Association is directed toward RENAM network exploitation and development, collaboration with Association’s members, involving of new members, users’ education and training, enlargement of the spectrum of services. RENAM Association has many qualified specialists and scientists from different fields of technologies, including modern electronic communications domain. See www.renam.md for more detailed information.

## Objective

The objective of this procurement is to award up to seven service contracts for the procurement of Dark Fiber segments to connect educational and research institutions in Chisinau.

To enable RENAM to select the optimal configuration of Dark Fiber segments, Bidders are invited to submit Bids for one, some or all of the Lots. RENAM will select the lowest total cost of ownership that meets the minimum requirements.

## Overview Lots

Below is an overview of lots of dark fiber spans with a summary of their functional characteristics. All Routes must be put into service in accordance with the minimum requirements specified in the tender documentation for this procurement. For each lot Bidders shall submit their Final and Best Bid based on the specific Functionality of the requested Services.

| Lot name | A-end | B-end | Dark Fiber max. distance, m | Fiber count | Dark Fiber Connectivity Service | Contract Term (IRU) with Extensions, years | Max CDD days | Fiber standard | Maximum end-of- life attenuation guaranteed value [dB], 1310nm | Maximum end-of- life attenuation guaranteed value [dB], 1550nm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot 1 UTM2 - ISA | UTM2 | ASEM | 1500 | 18 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,7dBm |
|  | ASEM | SCMSAM | 900 | 16 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 0,5dBm | 0,4dBm |
|  | SCMSAM | USEFS(M) | 2200 | 14 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1,5dBm | 1dBm |
|  | USEFS(M) | MUSIC SCHOOL | 1400 | 12 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,5dBm |
|  | MUSIC SCHOOL | ASEM CAMIN | 1200 | 10 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,5dBm |
|  | ASEM CAMIN | USM CAMIN | 300 | 8 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 0,5dBm | 0,3dBm |
|  | USM CAMIN | UTM3 CAMINE | 2500 | 6 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1,5dBm | 1dBm |
|  | UTM3 CAMINE | UTM3-7 | 500 | 4 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 0,5dBm | 0,4dBm |
|  | UTM3-7 | ISA | 1300 | 2 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 1dBm |
| Lot 2 UTM2-ULIM | UTM2 | ULIM | 1300 | 6 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,5dBm |
| Lot 3 UTM2-GENETICA | UTM2 | AMTAP CAMIN1 | 1300 | 30 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,5dBm |
|  | AMTAP CAMIN1 | USM CULTURA | 1500 | 28 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,7dBm |
|  | USM CULTURA | ASM | 1500 | 14 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,7dBm |
|  | ASM | IMINOVA | 3500 | 10 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 2dBm | 1,5dBm |
|  | IMINOVA | UTM9 | 2700 | 8 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1,5dBm | 1dBm |
|  | UTM9 | UTM9 CAMIN3 | 300 | 2 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 0,5dBm | 0,4dBm |
|  | UTM9 | MOTHER& CHILD | 1600 | 6 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 1dBm | 0,7dBm |
|  | MOTHER& CHILD | GENETICA | 3500 | 4 | Underground (as an exception, partially aerial) | 15+3 *2 or/and 10+3*2 | ≤ 120 | G.652D | 2dBm | 1,5dBm |

Table 1: Lot Requirements

# The Tender

## Dates and deadlines

In Table 2 you will find an overview of all important dates and deadlines in this Open Procedure.

| Milestones | Days | Start | Finish |
| --- | --- | --- | --- |
| Publish tendering document ITT (Open procedure) incl. contract terms | 0 | December 1, 2022 | December 1, 2022 |
| Bidder response time | 45 | January 16, 2022 | January 16, 2022 |
| Deadline for completed submissions | 0 | January 16, 2022 | January 16, 2022 |
| Clarifications |  |  |  |
| Technical clarifications | 3 | January 17, 2023 | January 19, 2023 |
| Contractual clarifications | 3 | January 17, 2023 | January 19, 2023 |
| Commercial clarification | 3 | January 17, 2023 | January 19, 2023 |
| Evaluate submitted responses | 4 | January 20, 2023 | January 23, 2023 |
| Write Evaluation report | 3 | January 24, 2023 | January 26, 2023 |
| Internal approval and governance | 5 | January 27, 2023 | January 31, 2023 |
| Intent to Award Contract(s) sent out | 2 | February 1, 2023 | February 2, 2023 |
| Standstill period | 14 | February 3, 2023 | February 16, 2023 |
| Down select & Debrief failed bidders via correspondence | 1 | February 17, 2023 | February 17, 2023 |
| Contract production and finalization | 3 | February 18, 2023 | February 20, 2023 |
| Operational Service Date - linked to supplier lead time - assumes 4 weeks | 120 | February 21, 2023 | June 20, 2023 |

Table 2: Dates and deadlines

## Clarification Questions

Bidders or Tenderers may submit Clarification Questions at any time between receiving this ITT and the deadline to submit them to RENAM. For any clarifying information, use the email addresses: procurement@renam.md; ion.covalenco@renam.md

All clarification questions and responses will be shared with all Bidders and Tenderers by default, subject to Confidentiality.

# Responding to this invitation document

## Required parts of a tender response

Bidders are expected to submit their response that contains:

- Submitting the service compliance document excel sheet (Annex A, Technical response of the lots)

- Submitting their financial offer by filling the pricing sheet (Annex A, Commercial offers)

- Confirmation of their suitability of provisioning the required service by filling the table in the section 4.3

## Financial requirements

Bidders shall confirm that their TCO pricing incorporates all cost without any restrictions and/or reservations.

RENAM require Bidders to price a Solution with the following characteristics:

- An ODF needs to be deployed at each site.

- The winning vendor must submit a fiber deployment plan.

- The winning supplier must submit test results for the fiber they supply, such as attenuation, as part of the transmission.

- Bidders shall offer pricing on a per-Lot basis.

- Prices shall be stated in Euro.

- Prices for each route must cover all components which lie within the Bidder's boundary of responsibility and all Professional Services required by the Provider to deliver in the timescale promised shall be included.

- It is expected that all prices will be exempt from VAT and other taxes.

- All relevant Charges will become due from OSD.

- Capital charges (NRC) to be invoiced following acceptance.

- Operational (maintenance) charges (ARC) to be invoiced on a quarterly basis following acceptance and to be provided for the whole agreed initial term period.

## Minimum Requirements

| # | Minimum requirements | Response |
| --- | --- | --- |
| 1 | Please, confirm that you attached a filled in DUAE form | [ ] yes [ ] no |
| 2 | Please, confirm that your company is ready to sign the DARK FIBER IRU AGREEMENT without any material changes in the contracting documents. | [ ] yes [ ] no |
| 3 | Bidder has read, fully understands, and accepts the financial requirements without any restrictions and/or reservations as described in 4.2. | [ ] yes [ ] no |
| 4 | Please, confirm that in case your company is awarded a lot than your company includes a fiber deployment plan as part of contracting. | [ ] yes [ ] no |
| 5 | Please, confirm that Supplier should present test results of the fiber it provides, like attenuation, as part of the handover | [ ] yes [ ] no |
| 6 | Guaranteed monthly availability, min. 99% | [ ] yes [ ] no |
| 7 | Please, confirm that the service can be delivered up to 120 days after contract signature | [ ] yes [ ] no |
| 8 | Please, confirm that the Hand-over pack will be provided within five (5) Business Days after the successful completion of the Provider’s pre-handover Tests. | [ ] yes [ ] no |
| 9 | Please, confirm that regular and accurate progress and status reporting information is provided through the delivery phase (from Contract Signature to CDD). | [ ] yes [ ] no |
| 10 | Please, confirm that Bidder is capable of providing proper Monthly Service Availability Reports containing the following information: Service Availability; Total scheduled maintenance per service; Total downtime per service; Mean Time Between Failures (MTBF); Mean Time To Restore (MTTR). | [ ] yes [ ] no |
| 11 | Please, confirm that Bidder is capable of providing adequate 24(hours)*7(days)*365(days of year) support and supports Customers with proper service desk facilities. | [ ] yes [ ] no |

# Evaluation

## Evaluation, ITT Scoring and Awarding

The Evaluation Panel will evaluate standards and minimum requirements on a pass/fail basis for quality assessment criteria, ODD and non-price commercial issues, reflecting sound professional judgment on the merits of each response.

Bidders who successfully pass the technical requirements assessment on a pass or fail basis, set out in Annex A (Technical response of the lots & Commercial offers), will be allowed to progress further in the procurement process.

Successful Bidders who passed the first assessment will be assessed on their proposed solution. Bidders will have their Final Bids evaluated and scored on the basis of the Most Economically Advantageous Tender (MEAT), on a per Lot basis.

RENAM will use the KMZ’s (GIS maps) provided by Bidders to evaluate the proposed Dark Fiber Routes.

## Attenuation score for Dark Fiber

Bidders must return for each individual Solution/option a separately populated version of Annex A (Technical response of the lots) that will clearly indicate the total attenuation score of end-of-life for each individual Solution/option.

The quality of Dark Fiber offers will be assessed according to the following criteria:

| End-of-life guaranteed attenuation | Score |
| --- | --- |
| Smaller or equal than 2dB | qualified |
| Greater than 2dB | knock out, Bid will be rejected |

Table 3: Attenuations score

## Committed Delivery Date

Bidders are requested to indicate the best possible CDD on a per Lot basis in Annex A (Technical response of the lots & Commercial offers).

Applicants will be awarded according to the following criteria:

| Lot ID-s | A-End | B-End | CDD ≤120 | CDD >120 |
| --- | --- | --- | --- | --- |
| LOT-1 | UTM2 | ISA | qualified | knock out, Bid will be rejected |
| LOT-2 | UM2 | ULIM | qualified | knock out, Bid will be rejected |
| LOT-3 | UTM2 | GENETICA | qualified | knock out, Bid will be rejected |

Table 4: Committed delivery date score

Bidders are requested to confirm if they can meet the required CDD on a per Lot basis in Annex A (Technical response of the lots & Commercial offers).

## Pricing requirements Assessment

Answers in relation to questions set out in Annex A (Technical response of the lots & Commercial offers) are scored relative to the best Price.

## Final Agreement

RENAM reserves its right to award contracts for none, one or a combination of Lots.

Subject to the Standstill Period, the peremptory period for claims and compliancy assessment being successfully navigated, the draft Agreement with the successful Bidder will then be subject to final agreement of the contract terms and conditions (MSA + SoW) and associated schedules.

The final contract will have to be approved and signed by GEANT.

# Dark Fiber Testing Methodology

The testing procedure is part of the CDD

For testing the attenuation, Bidders will use the following two methodologies for testing:

  - With no RENAM optical source connected to the fibers, we will measure the power of each optical fiber on each transparent optical diapason (1310nm, 1550nm and 1610nm).

  - Measure the distance vs attenuation with OTDR on each transparent optical dispersion (1310nm, 1550nm and 1610nm).

RENAM considers the test to be passed when none of the final attenuations recorded values is lower than the guaranteed / committed attenuation in Bidders Final Bid.

# General conditions

The following general conditions apply to all stages of this procurement exercise.

  - By submitting your Proposal in response to this call for tender, you declare that you unconditionally agree and meet all stated conditions and requirements. By submitting your Proposal, you declare that you can supply the tendered services unconditionally against the stated requirements in the tender documents.

  - You shall bear your own costs of bidding. Participation in this tender is entirely at your own risk and costs. RENAM shall not reimburse any costs or fees without a mutually signed contractual arrangement.

  - RENAM reserves the right to withdraw from this tender procedure at any time prior to a contract is signed. If RENAM pauses or withdraws the tender, RENAM shall not be liable for any costs you incurred, neither direct nor indirect, for the preparation and/or submission of your Proposal.

  - RENAM has no obligation to award a contract following this tender procedure.

## Confidentiality

The information in this ITT is being made available by RENAM on condition that:

  - You shall always treat the information provided in the ITT by RENAM as confidential.

  - You shall not use the information for any purpose other than for the purpose of proposing (or deciding whether to propose) Services or Solutions.

## Complaints Procedure

RENAM is committed to ensure its procurement activities are compliant, fair and transparent, respecting the interests of all involved parties.

If you believe that RENAM in this tender procedure is making any mistakes or harms your interest, you are invited to make your objection known to the tender evaluation panel.

## Contact persons

For any information, use the email addresses:

procurement@renam.md;  ion.covalenco@renam.md

# RENAM Network Nodes

| RENAM PoP list and locations |
| --- |
| PoP list | Address | Demarcation Point Details |
| UTM2 | 31 August 1989, 78A, Chisinau | Room and rack to be specified in statement of work |
| ASEM | str. Mitropolit Bănulescu-Bodoni, 59, Chisinau | Room and rack to be specified in statement of work |
| SCMSAM | str. Arhanghelul Mihail, 38, Chisinau | Room and rack to be specified in statement of work |
| USEFS(M) | str. Andrei Doga, 24/1 | Room and rack to be specified in statement of work |
| MUSIC_SCHOOL | str. Kiev, 1, Chisinau | Room and rack to be specified in statement of work |
| ASEM-CAMIN | str. Florilor, 2/2, Chisinau | Room and rack to be specified in statement of work |
| UTM3-CAMIN | str. Studentilor, 1/1, Chisinau | Room and rack to be specified in statement of work |
| UTM3-7 | str. Studentilor, 9/8, Chisinau | Room and rack to be specified in statement of work |
| ULIM | str. Vlaicu Pârcălab, 52, Chisinau | Room and rack to be specified in statement of work |
| AMTAP-CAMIN1 | str. Armeneasca, 40, Chisinau | Room and rack to be specified in statement of work |
| USM-CULTURA | str. Tighina, 2, Chisinau | Room and rack to be specified in statement of work |
| ASM | bd. Ștefan cel Mare și Sfânt, 3, Chisinau, Republic of Moldova | Room and rack to be specified in statement of work |
| IMINOVA | str. Hristo Botev 9, Chisinau | Room and rack to be specified in statement of work |
| UTM9 | bd. Dacia, 39, Chisinau | Room and rack to be specified in statement of work |
| UTM9-CAMIN3 | bd. Cuza Voda, 12, Chisinau | Room and rack to be specified in statement of work |
| MOTHER&CHILD | str. Burebista, 93, Chisinau | Room and rack to be specified in statement of work |
| GENETICA | str. Pădurii 26/1, Chisinau | Room and rack to be specified in statement of work |
| USM5 | str. Gheorghe Cașu, 28/2, Chisinau | Room and rack to be specified in statement of work |
| USM6 | str. Nicolae Testemițanu, 6, Chisinau | Room and rack to be specified in statement of work |
| USMF_FARMACIE | str. Nicolae Testemițanu 22, Chisinau | Room and rack to be specified in statement of work |
| USMF-ONCOLOGIC | str. Nicolae Testemițanu 30, Chisinau | Room and rack to be specified in statement of work |
| ASMTc | str. Academie, 5, Chisinau | Room and rack to be specified in statement of work |
| UPSC | str. Ion Creanga, 1, Chisinau | Room and rack to be specified in statement of work |
| UPSC-CAMIN7 | str. Eugen Coca, 29, Chisinau | Room and rack to be specified in statement of work |
| IEFS | str. Ion Creanga, 45, Chisinau | Room and rack to be specified in statement of work |
| UPSC-FAP | str. Cornului, 10, Chisinau | Room and rack to be specified in statement of work |
| UPSC-CAMIN5 | str. Suce ava, 154/2, Chisinau | Room and rack to be specified in statement of work |
| URGENTA | str. Toma Ciorba, 1, Chisinau | Room and rack to be specified in statement of work |
| UASM | str. Mircesti, 42, Chisinau | Room and rack to be specified in statement of work |
| ISA | str. Doina 104, Chisinau | Room and rack to be specified in statement of work |
| ANACEC | sos. Hincesti 38a, Chisinau | Room and rack to be specified in statement of work |
| UNIV.TIRASPOL | str. Drumul Viilor, 26a, Chisinau | Room and rack to be specified in statement of work |
| CAMIN UNIV. TIRASPOL | str. Vasile Cheltuiala, 11, Chisinau | Room and rack to be specified in statement of work |
| USEM | str. G.Iablocikin, 2/1, Chisinau | Room and rack to be specified in statement of work |
| USPEE | bd.Stefan cel Mare si Sfint, 200, Chisinau | Room and rack to be specified in statement of work |
| UNIV. TIRASPOL-2 | str. G.Iablocikin, 5, Chisinau | Room and rack to be specified in statement of work |

Table 5: Address details RENAM’s PoP locations