| Anexa nr. 22 la Documentația standard nr._____ din “____” ________ 20___ ## Specificaţii tehnice |  |  |
| --- | --- | --- |
| [Acest tabel va fi completat de către ofertant în coloanele 2, 3, 4, 6, 7, iar de către autoritatea contractantă – în coloanele 1, 5,]. |
| Numărul procedurii de achiziție______________din_________ |  |  |
| Obiectul achiziției:____________________ |  |  |
| Denumirea bunurilor/serviciilor; Denumirea modelului bunului/serviciului; Ţara de origine; Produ-cătorul; Specificarea tehnică deplină solicitată de către autoritatea contractantă; Specificarea tehnică deplină propusă de către ofertant; Standarde de referinţă. 1; 2; 3; 4; 5; 6; 7. Prime-Plus Sensor Card: w/ COOx (High Volume); Prime-Plus Sensor Card: w/ COOx (High Volume) 1 set/400 teste. Prime-Plus Sensor Card: w/ COOx; Prime-Plus Sensor Card: w/ COOx 1 set/100 teste. Prime-Plus Renal Micro Sensor Card/ CRET/BUN; Prime-Plus Renal Micro Sensor Card/ CRET/BUN 1 set / 200 teste. Prime-Plus Sensor Card- BLANK RENAL Sensor Card: (Clinical); Prime-Plus Sensor Card- BLANK RENAL Sensor Card: (Clinical). Reference Sensor- Prime-Plus (w/ W/R Pump Tubing) (CLINICAL); Reference Sensor- Prime-Plus (w/ W/R Pump Tubing) (CLINICAL). Stat Profile Prime Plus® Calibrator Cartridge 400 Sample/CREA/BUN; Stat Profile Prime Plus® Calibrator Cartridge 400 Sample/CREA/BUN 1 set/400 teste. Stat Profile Prime Plus® Calibrator Cartridge 200 Sample; Stat Profile Prime Plus® Calibrator Cartridge 200 Sample 1 set/200 teste. Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3; 10amp. x 3ml; Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3; 10amp. x 3ml. Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5; 10amp. x 3ml;; Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5; 10amp. x 3ml;. Seringi specializate cu Litium Heparina, volum 2,3 ml KabeVette Blood gas; Seringi specializate cu Litium Heparina, volum 2,3 ml KabeVette Blood gas 1 set/100 buc.. Kit Clot Syringe 200 buc/set Adaptor seringi pentru captarea a cheagurilor; Kit Clot Syringe 200 buc/set Adaptor seringi pentru captarea a cheagurilor 1 set/200 buc.. Printer Paper; Printer Paper. Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ________________ Ofertantul: _______________________ Adresa: __________________________ |