Annex No. 1
to the Order of the Minister of Finance
No. 115 of 15.09.2021

STANDARD DOCUMENTATION
for conducting public procurement of goods and services

INSTRUCTIONS FOR CONTRACTING AUTHORITIES AND BIDDERS

Section 1

General Provisions

- This Documentation constitutes a set of instructions for Contracting Authorities and Bidders, to be used in the initiation and conduct of public procurement procedures for goods and services. For procurement procedures of goods and services conducted through requests for quotations or small-value procurements, Contracting Authorities may simplify the forms depending on the complexity of the procurement.

- This Documentation contains annexes intended for the initiation, publication, award, and modification of public procurement procedures, as well as annexes designed to facilitate the preparation and submission of bids and supporting documents, enabling the working group to examine and evaluate all submitted bids, as follows:

- Prior Information Notice (Annex No. 1)

- Contract Notice, including for prequalification procedures/negotiated procedures (Annex No. 2)

- Invitation to Participate in Prequalification Stages / Negotiated Procedures (Annex No. 3)

- Minutes on the Results of Candidate Prequalification (Annex No. 4)

- Contract Award Notice (Annex No. 5)

- Notice on Amendment of the Public Procurement Contract / Framework Agreement (Annex No. 6)

- Request to Participate (Annex No. 7)

- Declaration on Bid Validity (Annex No. 8)

- Bank Guarantee Letter (Annex No. 9)

- Performance Guarantee (Annex No. 10)

- Information on Joint Ventures / Consortium (Annex No. 11)

- Declaration on the List of Major Deliveries / Services Performed in the Last 3 Years (Annex No. 12)

- Declaration on Specific Facilities, Machinery, and Equipment Required for Proper Contract Performance (Annex No. 13)

- Declaration on Specialized Personnel Proposed for Contract Implementation (Annex No. 14)

- List of Subcontractors and the Portion(s) of the Contract Performed by Them (Annex No. 15)

- Third-Party Financial Support Commitment (Annex No. 16)

- Third-Party Financial Support Declaration (Annex No. 17)

- Commitment on Technical and Professional Support to the Bidder / Consortium (Annex No. 18)

- Third-Party Technical Support Declaration (Annex No. 19)

- Third-Party Professional Support Declaration (Annex No. 20)

- Terms of Reference / Statement of Work (Annex No. 21)

- Technical Specifications (Annex No. 22)

- Price Specifications (Annex No. 23)

- Model Contract (Annex No. 24)

- Additional Agreement (Annex No. 25)

- Framework Agreement (Annex No. 26)

- Details regarding the quantities of goods and services, technical specifications, standards, and resources are provided in the Terms of Reference / Statement of Work (Annex No. 21).

- The Contracting Authority must ensure that, at the time of initiating the public procurement procedure, financial resources are allocated or a guarantee of their allocation exists, and are designated exclusively for the procurement in question.

- The award of the public procurement contract for goods and services is carried out in accordance with the provisions of Law No. 131/2015 on Public Procurement.

- In the event that the Contracting Authority initiates a framework agreement as a special method of awarding public procurement contracts for goods and services, the procedure is conducted in accordance with the Regulation on the Framework Agreement as a Special Method for Awarding Public Procurement Contracts, approved by Government Decision No. 694/2020.

- In the event that the Contracting Authority initiates a negotiated procedure, the procedure is conducted in accordance with the Regulation on Public Procurement Using the Negotiated Procedure, approved by Government Decision No. 599/2020.

- In the event that the Contracting Authority initiates prequalification procedures, the annexes related to these procedures shall be used: Annex No. 1, Annex No. 3, Annex No. 4, Annex No. 5, Annex No. 6, and Annex No. 25.

- The Bidder bears all costs associated with the preparation and submission of its bid, as well as the accompanying documents.

- The Request to Participate (Annex No. 7), the Bid, the European Single Procurement Document (hereinafter – ESPD), the tender documentation, the Terms of Reference / Statement of Work, and all correspondence between the Bidder and the Contracting Authority shall be prepared in Romanian, or, where applicable, all of the aforementioned documents may be prepared in one of the internationally recognized languages. Supporting documents and printed technical literature forming part of the bid may be prepared in another language specified in the tender documentation, provided that they are accompanied by an accurate translation of the relevant sections into Romanian.

- In the event that the Contracting Authority determines that the Bidder has been involved in the practices described in Sections 22 and 23 during the award procedure for the public procurement contract, it shall:

- exclude the Bidder from the respective procurement procedure and submit a request to the Public Procurement Agency for its inclusion on the List of Prohibited Economic Operators, in accordance with the provisions of Government Decision No. 1420/2016 approving the Regulation on the Registry of Qualified Economic Operators; or

- take any other measures provided for under Article 42 of Law No. 131/2015 on Public Procurement.

- The following actions are prohibited during the procurement procedure:

- Promising or offering, personally or through an intermediary, to any responsible person goods, services, privileges, or advantages of any kind in order to influence the actions of another party;

- Any act or omission, including misrepresentation, which, knowingly or through negligence, misleads or tends to mislead a party to obtain a financial or other benefit, or to avoid an obligation;

- Any agreement prohibited by law between two or more parties aimed at coordinating their behavior in public procurement procedures;

- Directly or indirectly harming any party or the property of such party to improperly influence its actions;

- The intentional destruction, falsification, forgery, or concealment of investigative records, or the provision of false information to law enforcement authorities, to obstruct materially the criminal investigation conducted by the competent authorities to identify fraudulent practices, as well as threatening, harassing, or intimidating any party to prevent them from disclosing information relevant to the criminal investigation.

- Section 2

Qualification of candidates/bidders

- Any economic operator, whether resident or non-resident, a natural or legal person under public or private law, or an association of such persons, has the right to participate in the award procedure for the public procurement of goods and services.

- A natural or legal person who has contributed to the preparation of the tender documentation may participate as an economic operator, either as a bidder, joint bidder, or subcontractor, only if their involvement in preparing the documentation does not distort competition. Any person directly involved in the verification and evaluation of bids is not allowed to act as a bidder, joint bidder, or subcontractor, under the penalty of exclusion from the award procedure.

- Multiple legal persons are entitled to form an association to submit a joint bid. Each associate must submit a separate European Single Procurement Document (ESPD/DUAE). The association must be presented in writing upon the contracting authority’s request, as declared in the DUAE.

- Branches of economic operators with legal personality, registered in accordance with the provisions of point 29, may participate in the award procedure for public procurement of goods and services in their own name. For this purpose, they must provide documents demonstrating eligibility, registration, technical capacity, and economic-financial capacity.

- Subsidiaries may participate in the award procedure for public procurement of goods and services and may conclude the respective contract only on behalf of the legal entity through proper authorization. In this case, the documents submitted to demonstrate eligibility, registration, technical capacity, and economic-financial capacity must belong to the legal entity.

- To confirm qualification data within the public procurement procedure, the economic operator must complete and submit the ESPD/DUAE in accordance with the standard form of the European Single Procurement Document, approved by Order No. 72/2020 of the Minister of Finance, following the requirements set by the contracting authority. Submission of any other DUAE form constitutes grounds for disqualification from the public procurement procedure.

- Depending on the specifics of the procurement and the chosen procedure, the contracting authority is obliged to establish, for each procedure, the qualification criteria as well as the supporting documents that must be submitted by the economic operators.

- The contracting authority applies qualification criteria and requirements only regarding:

- the eligibility of the bidder or candidate;

- the capacity to perform professional activities;

- economic and financial capacity;

- technical capacity;

- quality assurance standards;

- environmental protection standards.

- To verify qualification data within public procurement procedures, the economic operator shall submit, at the time of evaluation, the documents requested by the contracting authority. Documents must be submitted in electronic format using the Automated Information System “State Register of Public Procurement” (hereinafter – SIA RSAP), except in cases provided for in Article 33, paragraphs (7) and (11) of Law no. 131/2015 on public procurement.

- Any bidder or candidate who, in the last five years, has been convicted by a final decision of a court for participation in the activities of a criminal organization or group, for corruption, fraud, and/or money laundering, for terrorism-related offenses or offenses linked to terrorist activities, financing of terrorism, child labor exploitation, or other forms of human trafficking, shall be excluded from the public procurement procedure.

- Any bidder who is in any of the situations specified in Article 19, paragraphs (2) and (3), and Article 16, paragraph (6) of Law no. 131/2015 on public procurement shall be excluded from the procurement procedure and shall not be eligible.

- Any economic operator who falls under the situations referred to in points 22 and 23 shall provide evidence demonstrating that the measures taken are sufficient to prove its reliability and credibility, despite the existence of a ground for exclusion. If the contracting authority considers such evidence sufficient, the economic operator shall not be excluded from the public procurement procedure, except where the operator has been definitively excluded from public procurement procedures by a final court decision.

- The contracting authority shall obtain the necessary information to verify the existence or absence of the circumstances referred to in points 22 and 23 from available public authority databases or third-party sources. If this is not possible, the contracting authority shall accept as sufficient and relevant any documents considered appropriate to demonstrate that the economic operator does not fall under any of the situations referred to in points 22 and 23, issued in the country of origin or in the country of establishment of the economic operator, such as certificates, judicial records, or equivalent documents issued by competent authorities.

- With respect to the references in point 23, in accordance with the domestic legislation of the country where the economic operators are established, these requirements apply to natural persons and legal entities, including, where applicable, company directors or any persons with powers of representation, decision-making, or control over the economic operator.

- In the event that in the country of origin or the country of establishment of the economic operator no documents of the type referred to in point 22 are issued, or if such documents do not cover all situations referred to in point 23, the contracting authority shall accept a self-declaration or, if no legal provisions for a self-declaration exist in that country, an authentic declaration made before a notary, administrative or judicial authority, or a professional association competent in this matter.

- The contracting authority shall assess the measures taken by the economic operators, taking into account the severity and particular circumstances of the offense or violation. If the contracting authority considers that the measures taken are insufficient, it shall inform the economic operator/candidate of the reasons for exclusion.

- The contracting authority may request any economic operator to provide evidence demonstrating its legal form of registration in the case of a legal entity, as well as its legal capacity to perform the procurement documentation and to deliver/provide the goods or services, in accordance with the applicable legislation of the country in which it is established.

- The economic operator must have a minimum level of economic and/or financial capacity and shall provide information/documents regarding its economic and/or financial capacity to qualify in accordance with the contract performance requirements, such as:

- Achieving an average annual turnover over the last three years equal to or greater than the amount specified in point 16 of Annex No. 2, which shall not exceed twice the estimated value of the contract, except in well-justified cases, such as those related to special risks inherent to the nature of the goods or services;

- Relevant bank statements or, where applicable, evidence regarding the professional risk insurance;

- Financial statements for the previous accounting period, certified and registered by the competent authorities, and any other legal documents evidencing that the economic operator can demonstrate its economic and financial capacity.

- When a contract is divided into lots, the turnover requirement applies to each individual lot. However, the contracting authority shall establish the minimum annual turnover required from economic operators with respect to groups of lots if the winning bidder is awarded multiple lots that are to be executed simultaneously.

- At the request of the contracting authority, the bidder shall provide documents demonstrating technical and/or professional capacity to perform the prospective contract, only to the extent that such information is relevant for contract performance and is not available in the databases of public authorities or third parties:

- A list of the main supplies of goods/services of a similar nature executed over the last 3 years, in accordance with Annex No. 12. These certificates shall indicate the beneficiaries, whether contracting authorities or private clients, as well as the values and periods of supply/performance.

- A declaration regarding technical equipment and measures applied to ensure quality, and, if applicable, the study and research resources.

- Information regarding the specialized technical personnel or bodies available to the bidder/candidate, or whose commitment to participate has been obtained by the bidder/candidate, particularly for quality control purposes.

- Certificates or other documents issued by competent authorities certifying the conformity of goods, clearly referencing relevant specifications or standards.

- Samples (to the extent that submission is justified), descriptions, and/or photographs, the authenticity of which must be demonstrable upon request by the contracting authority.

- Information regarding the education, professional training, and qualifications of management personnel, as well as persons responsible for contract performance, in accordance with Annex No. 14.

- A declaration regarding the average annual number of employees and managerial staff over the last 3 years.

- If applicable, information regarding environmental protection measures that the economic operator may apply during contract performance, in accordance with point 36.

- Information regarding machinery, installations, and technical equipment available to the economic operator for proper contract performance of goods/services, in accordance with Annex No. 13.

- Information regarding the part of the contract that the economic operator intends, if applicable, to subcontract, in accordance with Annex No. 15. Copies of contracts concluded with subcontractors shall also be attached to Annex No. 15.

- The bidder must have a minimum level of experience to qualify according to the contract performance requirements, demonstrating specific experience of at least 3 years in the supply/provision of similar goods/services, confirmed by attaching copies of contracts, invoices, and delivery-acceptance certificates.

- The economic operator shall submit, upon request by the contracting authority, documents and certificates issued by independent bodies, certifying compliance with certain quality assurance standards (ISO 9001). These must relate to quality assurance systems based on relevant European standard series, certified by bodies accredited according to the European standard series for certification, or to relevant international standards issued by accredited organizations.

- In accordance with the principle of mutual recognition, the contracting authority is obliged to accept equivalent certificates issued by bodies established in European Union member states. If the economic operator does not hold a quality certificate as required by the contracting authority, the latter is obliged to accept any other certifications presented by the economic operator, to the extent that they demonstrate an adequate level of quality assurance.

- The economic operator shall submit documents and certificates issued by independent bodies demonstrating compliance with certain environmental protection standards. These must relate to:

- the Eco-Management and Audit Scheme (EMAS); or

- environmental management standards based on relevant European or international standard series in the field, certified by bodies compliant with EU legislation or with European or international standards regarding certification.

- In accordance with the principle of mutual recognition, the contracting authority is obliged to accept equivalent certificates issued by bodies established in the Member States of the European Union. If the economic operator does not hold an environmental certificate as requested by the contracting authority, the latter is obliged to accept any other certifications presented by the economic operator, provided that they demonstrate an adequate level of environmental protection.

- Contracting authorities may apply a range of general sustainability criteria for the supply of goods and the provision of services:

- Multi-criteria labels: the European label (flower), the Nordic Swan label, and national labels (e.g., the German Blue Angel);

- Procurement of organic and nutritionally balanced food for schools/kindergartens;

- Possibilities for recycling/reuse of the product after end-of-life;

- Use of reusable containers or packaging for product transport;

- Provision of ecological and recycled paper (chlorine-free and fiber-friendly);

- Restrictions on the use of certain hazardous substances in the product composition;

- Efficient air and water waste treatment systems during product manufacturing;

- Use of environmental management systems and schemes (e.g., EMAS, ISO 14001);

- Reduction of CO₂ and other gas emissions by decreasing delivery frequency and implementing new packaging options;

- Recycling or reuse of packaging accompanying products;

- Specifications for vehicles with the lowest possible CO₂ emissions for the relevant category and size, in accordance with EURO standards on particulate and NOx emissions;

- Encouragement of alternative fuel vehicles and electric or hybrid options;

- Procurement of vehicles with air-conditioning systems using low-GWP refrigerants;

- Procurement of equipment/machinery with the highest energy efficiency class;

- Procurement of lighting fixtures with low mercury content;

- Reduction of urban air pollution (e.g., buses and cars with low particulate and NOx emissions);

- Procurement of organic food and direct support for sustainable agriculture;

- Conservation of natural resources (through procurement of products made from recycled materials, reduced paper consumption, promotion of multifunctional devices);

- Procurement of sustainable construction materials and supplies;

- Encouragement of using recycled materials in construction;

- Supply of certified sustainable products (EU Ecolabels for components);

- Procurement and use of construction materials with reduced environmental impact;

- Services for recyclable waste storage and waste management systems;

- Management of demolition waste;

- Procurement of ecological cleaning services using products meeting ecological labeling requirements;

- Procurement of catering services with organic (bio) food, indicating the percentage of organic food;

- Use of an Environmental Management System (EMS) for catering services;

- Use of non-chemical, environmentally friendly methods;

- Procurement of green electricity;

- Imposition of extended product lifespans and warranties for spare parts;

- And others.

- In the case of a joint venture, the requirements for fulfilling qualification and selection criteria relating to economic and financial standing or technical and professional capacities may be met by the proportional aggregation of the tasks assigned to each member of the joint venture.

- Regarding turnover criteria, for a joint venture, the average annual turnover to be considered is the overall value, resulting from the sum of the average annual turnovers corresponding to each member of the joint venture.

- Regarding experience, to qualify in accordance with the established requirements, joint ventures must demonstrate experience proportional to the tasks assigned to each member.

- The economic and financial capacity, as well as the technical and/or professional capacity of the tenderer/candidate, may be supported, for the purpose of fulfilling a contract, by another person, regardless of the legal relationship existing between the tenderer/candidate and that person.

- Where a tenderer/candidate demonstrates economic and financial capacity and technical and/or professional capacity by invoking support provided in accordance with paragraph 42 by another person, they must prove such support by submitting a written commitment from that person, executed in authentic form (as per Annexes 16 and 18), along with declarations from the financial supporter and the technical and professional supporter (Annexes 17, 19, and 20), through which that person confirms that they make available to the tenderer/candidate the financial, technical, and professional resources invoked. The submission of the commitment is made upon request by the contracting authority once it has been declared in the European Single Procurement Document (ESPD). The person providing financial, technical, and professional support must meet the relevant selection criteria and must not be subject to any of the exclusion situations set out in points 22 and 23 that would result in exclusion from the procurement procedure

Section 3

Preparation/Submission of Bids

- The contracting authority, in the procurement specifications, describes the conditions/requirements for the supply of:

- electricity, in accordance with Law No. 174/2017 on Energy and the regulatory acts adopted by the Board of the National Agency for Energy Regulation (hereinafter – ANRE), such as: the Regulation on the Supply of Electric Energy, approved by ANRE Decision No. 23/2017; the Regulation on Connection to Electric Networks and Provision of Transport and Distribution Services of Electric Energy, approved by ANRE Decision No. 168/2019; the Methodology for Calculating, Approving, and Applying Regulated Tariffs for Ancillary Services Provided by System Operators in the Electricity Sector, approved by ANRE Decision No. 269/2018; the Instruction on Calculating Active and Reactive Electric Energy Losses in Network Elements Recorded on the Consumer’s Balance, approved by ANRE Decision No. 246/2007; the Instruction on Calculating Technological Consumption of Electric Energy in Distribution Networks, according to the Power Factor in Utilization Installations, approved by ANRE Decision No. 89/2003; etc.

- natural gas, in accordance with Law No. 108/2016 on Natural Gas and Law No. 174/2017 on Energy, as well as the regulatory acts adopted by ANRE, e.g., the Regulation on the Supply of Natural Gas, approved by ANRE Decision No. 113/2019.

- thermal energy, in accordance with Law No. 92/2014 on Thermal Energy and Promotion of Cogeneration, and Law No. 174/2017 on Energy, as well as the regulatory acts adopted by ANRE, e.g., the Regulation on the Supply of Thermal Energy, approved by ANRE Decision No. 169/2019.

- water supply and sewerage services, in accordance with Law No. 303/2013 on the Public Water Supply and Sewerage Service and secondary regulatory acts, e.g., the Framework Regulation on the Organization and Functioning of the Public Water Supply and Sewerage Service, approved by ANRE Decision No. 355/2019, or the local public authorities’ regulations on the organization and functioning of the public water supply and sewerage service, if drafted and approved.

- petroleum products for vehicle refueling, according to the complete national distribution network list, demonstrating that the bidder owns refueling stations in the locations indicated in the procurement documentation. Fuel is delivered to the refueling station based on cards issued by the Supplier. The bidder provides the contracting authority the possibility to purchase fuel (cashless) through value cards at the supplier’s stations in each of the locations specified in the procurement documentation. If the final delivery location consists of multiple localities/regions, procurement contracts are awarded in lots for each locality/region separately. Card delivery is based on a card issuance request from the contracting authority. The requested timeframe for delivering cards to the contracting authority’s headquarters is 5 working days from the contract’s effective date and, respectively, from the date of submission of a request for additional card issuance.

- The contracting authority specifies in the tender documentation details regarding the transportation, provision, and use of products/services:

- Petroleum products for vehicle refueling

- The Supplier shall provide the Contracting Authority with continuous online access to detailed information regarding all fuel purchases made by each of its vehicles. The Contracting Authority must have the ability to obtain, at any refueling station using a card, information on the remaining balance for each card. The Supplier manages the list of lost or stolen cards and is obliged to block/unblock their use within no more than 24 hours of the Contracting Authority’s request. The Supplier must ensure that the supplied products meet the minimum pollution standards approved under national legislation and can be dispensed at the refueling stations located in the localities indicated in the procurement documentation. Delivered fuels must comply with current quality standards. Part II of the contract, "Special Conditions," as well as Annex No. 1 to the Contract, "Technical Specifications," specify the quality technical conditions and the methods of product determination, based on national or international standards and approvals. The Supplier ensures the personalization of cards for each vehicle (by registration number) and the configuration of the card according to fuel type. The Supplier shall provide 24/7 support so that, in case of deficiencies in card functioning, issues can be resolved as quickly as possible. The Supplier shall specify whether all cards are accepted at all fuel stations located in the localities indicated in the procurement documentation. The Supplier shall provide the Contracting Authority with instructions for card use. The Contracting Authority reserves the right to increase or decrease the number of cards and to adjust the quantity of fuel in accordance with regulatory provisions.

- Electricity supply

- Electricity consumption is recorded using the Beneficiary’s metering equipment, for which the Beneficiary is responsible for maintaining integrity. If the metering equipment is installed within the property of the system operator, the system operator is responsible for the integrity of the equipment and the applied seals. The system operator shall provide the Beneficiary access to the metering equipment upon request. In this case, the Beneficiary has the right to apply its seal to the metering equipment. Installation, operation, maintenance, repair, periodic metrological verification, and replacement of the Beneficiary’s metering equipment shall be performed in accordance with Law No. 174/2017 on Energy and Law No. 107/2016 on Electricity, with costs borne by the Beneficiary. Inspection of the metering equipment and applied seals is carried out by the system operator as needed, and only in the presence of the Beneficiary’s representative. Meter readings for electricity billing purposes are performed monthly by the system operator. System operator personnel and the system user may agree on the timing of meter reading activities. The quantity of electricity supplied to the Beneficiary is determined based on the readings of the metering equipment at each consumption point, or, in cases provided for in the Electricity Supply Regulation, it is estimated. In case of damage to the metering equipment or if the Beneficiary violates provisions of the Electricity Law, resulting in electricity consumption bypassing the metering equipment, tampering with meter readings, or any other unregistered consumption, the cost of consumed electricity shall be calculated in accordance with the Electricity Supply Regulation. The cost of electricity losses in transformers and electric lines owned by the Beneficiary shall be calculated based on the Instruction on Calculating Active and Reactive Energy Losses in Network Elements at the Consumer Balance, approved by ANRE Decision No. 246/2007.

- The contracting authority specifies in the tender documentation the method for calculating the cost/price of the goods/services, by reference to the applicable regulations.

  - Petroleum products for vehicle refueling

The offered price per liter of fuel shall be the price displayed at the supplier’s refueling stations, with the offered discount applied.

The Supplier shall allow the Contracting Authority to set individual monetary limits for each card, including the possibility to modify them upward or downward. The offered unit price represents the average price calculated by the Supplier using the prices displayed on the information boards at all stations in the locality/region indicated in the tender documentation, over the 15 days preceding the publication of the participation notice in the Public Procurement Bulletin, with the discount applied.

The calculation of the unit price shall be performed according to the following formula:

Pu=M1+M2+…+M1515−D%

Where:

Pu – represents the offered unit price;

M1 – represents the average of the prices displayed at all stations in the locality/region specified in point 1 on the first day;

M2 – represents the average of the prices displayed at all stations in the locality/region specified in point 1 on the second day;

M15 – represents the average of the prices displayed at all stations in the locality/region specified in point 1 on the fifteenth day;

D% – represents the applied discount.

The discount is explicitly specified in the bid and subsequently in Annex No. 2 to the contract, remaining unchanged throughout its validity period. The financial proposal must be accompanied by supporting documents confirming the presented prices (fiscal receipts). The Supplier invoices the cost of the products at the end of each month, for the actual consumption, based on a summary of the quantity supplied for each vehicle individually. The invoice corresponding to the consumption recorded on each card is accompanied by a consumption report containing detailed information regarding the transactions made on each card and vehicle, location, date, time of refueling, type of fuel, and, where applicable, the card subtotal and overall total fuel after each transaction.

In the case of procurement of petroleum products for vehicle refueling, in accordance with Article 26 of Law No. 131/2015 on public procurement, the best price-quality ratio criterion applies, where the price evaluation factor constitutes at least 60%, and the remaining factors are at the discretion of the contracting authority (e.g., discount, location of fuel stations, etc.).

In other cases concerning the procurement of liquid and/or gaseous fuels in bulk, oils, etc., the general principle of goods procurement is applied.

  - Electricity

Technological consumption of electric energy, caused by the power factor in the Beneficiary’s electrical installations, is invoiced only if the power factor Cos φ, calculated at the delimitation point, is lower than (0.92 for a utilization installation connected at 0.4 kV and 0.87 at 10(6) kV). The quantity of technological consumption of electric energy, caused by the power factor in the Beneficiary’s electrical installations, is calculated based on the Instruction for calculating the technological consumption of electric energy in distribution networks, according to the power factor value in the utilization installations, approved by Decision No. 89 of the Board of the Agency dated 13/2003.

If the Supplier calculates the price based on the ANRE tariff minus the discount, the calculation method must be specified in the Special Conditions of the contract, as well as the cases in which the price may be modified. Any decrease and/or increase of the price and contract value is carried out through an addendum to the contract.

- An economic operator interested in participating in the public procurement procedure is required to submit, before the expiry of the deadline set by the contracting authority for this purpose, a request to participate, in cases where the provisions of Article 33, paragraphs (7) and (11) of Law No. 131/2015 apply. In all other cases, this request shall be submitted together with the tender.

- The tender shall include the following forms:

- Technical proposal – the tenderer shall prepare the technical proposal so that it fully meets the qualification requirements as well as the requirements specified in the terms of reference. The technical proposal shall include Technical Specifications (Annex No. 22);

- Financial proposal – the tenderer shall prepare the financial proposal so that it provides all the requested information regarding prices, tariffs, as well as other financial and commercial conditions related to the subject of the public procurement contract for goods and services. The financial proposal shall include Price Specifications (Annex No. 23);

- ESPD (European Single Procurement Document);

- Bid security, where applicable (Annex No. 9).

- All documents mentioned in point 48 shall be completed without any modification or deviation from the templates, with the blank spaces filled in with the requested information. Incorrect completion of the forms shall result in the rejection of the tender.

- Economic operators shall prepare their tenders in accordance with the requirements set out in the contract notice, published by the contracting authority in the Public Procurement Bulletin, and shall submit the tenders electronically, using the interactive workflows provided by the electronic platforms, except in the cases provided for in Article 33, paragraphs (7) and (11) of Law No. 131/2015 on Public Procurement.

- The tenderer shall submit the bid security in accordance with the provisions of Law No. 131/2015 on Public Procurement.

- In the case of a joint venture, the bid security shall be submitted by the leader of the association.

- The tenderer, by submitting the statement on the validity of the tender (Annex No. 8), undertakes to keep the tender valid for the entire period of validity provided in the award documentation. The validity period of the tender shall start from the tender submission deadline. Any tender valid for a shorter period than that provided in Annex No. 2 shall be rejected by the working group as non-compliant.

- In the event of an extension of the tender validity period, the validity period of the bid security shall be extended accordingly.

- The tenderer is obliged to inform the contracting authority whether or not it agrees to the extension of the tender validity period. A tenderer who does not agree to the extension of the tender validity period shall be deemed to have withdrawn the tender, without such withdrawal resulting in the loss of the bid security.

- Tenders containing a warranty period shorter than the tender validity period provided for in Annex No. 2 shall be rejected by the working group or, as the case may be, by the certified public procurement specialist.

- The contracting authority shall set the maximum delivery/performance period for the goods/services in Annex No. 2.

- Prices for the requested goods/services shall be indicated in Moldovan lei, with two decimal places, except in cases where Annex No. 2 provides otherwise.

- Section 4

- Submission and Opening of Tenders

- The written tender, signed electronically by the company’s administrator as indicated in the Extract from the State Register of Legal Entities or by an authorised person, and in the case of delegation or empowerment of such person, the power of attorney/document of authorisation shall be attached to the tender, and presented in accordance with the requirements set out in Annex No. 2, in accordance with the tools available in the SIA RSAP, except for the cases provided for in Article 33, paragraphs (7) and (11) of Law No. 131/2015 on Public Procurement.

- The tenderer must take all necessary measures to ensure that the tender is received and registered in the SIA RSAP before the deadline for submission of tenders, taking into account the time required to upload the tender to the system. In the case of tenders submitted on paper, the contracting authority shall obligatorily issue the economic operator with a receipt indicating the date and time of receipt of the tender.

- Supporting documents for the information declared in the ESPD (DUAE), which contain personal data, shall be submitted separately, either in paper format or in scanned form with an electronic signature, using electronic communication means or other means, at the tender evaluation stage, at the request of the contracting authority.

- The SIA RSAP does not accept tenders submitted after the deadline for submission of tenders.

- In the cases provided for in Article 33, paragraphs (7) and (11) of Law No. 131/2015 on Public Procurement, tenders submitted after the tender opening deadline shall be registered by the contracting authority and returned to the tenderer without being opened.

- In the case of an association under point 15, each of its members undertakes responsibility for the joint tender and is liable for any consequences of the future public procurement contract. Information on the association shall be submitted by completing Annex No. 11.

- A tenderer may submit only one basic tender. Associated tenderers may not submit other tenders individually in addition to the joint tender. Alternative tenders may be submitted only if the contracting authority has explicitly stated in the contract notice that it allows or requests the submission of alternative tenders.

- Legal entities nominated as subcontractors in one or more tenders are not entitled to submit a tender in their own name or in association.

- The tenderer has the right to modify or withdraw the tender before the deadline for submission of tenders, without losing the right to withdraw the bid security.

Section 5

Evaluation and Comparison of Tenders

- Where tenders contain technical or commercial secrets, or relate to the protection of intellectual property, the contracting authority shall ensure the confidentiality of the content of the tender, as well as of any information regarding the tenderer, and shall also ensure the right of the economic operator not to disclose such data by applying Article 33(7) and (11) of Law No. 131/2015 on Public Procurement. However, the application of this article refers only to the part containing the aforementioned data.

- The examination of documents by the contracting authority shall be carried out based on the information provided by the economic operators in the ESPD (DUAE) and in accordance with the requirements stipulated in the contract notice, stating that:

- they are eligible to participate in public procurement procedures and that there are no grounds for exclusion from public procurement procedures for the award of the public procurement contract;

- they meet the criteria relating to economic and financial standing and/or technical and professional capacity as established by the contracting authority in the contract notice or in the procurement documents;

- they undertake to ensure and comply with quality assurance standards and environmental protection standards.

- The ESPD (DUAE) of economic operators shall be verified, as appropriate, directly by the contracting authority through automated procedures carried out in the SIA RSAP, by accessing databases of public authorities or third parties in the Republic of Moldova, and, when necessary, in other states.

- Where, during evaluation, discrepancies are found between the information provided by the economic operator in the ESPD and the requirements established by the contracting authority, the economic operator shall be disqualified, leading to the rejection of the tender as unacceptable and non-compliant, and the documents of the next tenderer/candidate shall be examined.

- The economic operator whose information provided in the ESPD corresponds to the requirements/conditions specified by the contracting authority in the contract notice/invitation to tender shall be obliged to provide, upon request and without delay, the supporting documents.

- The tenderer ranked first after applying the award criterion shall submit the supporting documents demonstrating full compliance with the qualification and selection criteria, in accordance with the information contained in the ESPD, except in multi-stage procedures, where the supporting documents are requested before invitations to the second stage are sent to the selected candidates.

- Tenders shall be examined by the working group established by the contracting authority or, where applicable, by a certified public procurement specialist.

- The working group or, where applicable, the certified public procurement specialist shall determine what clarifications are necessary for the evaluation of each tender, as well as the time period granted for providing such clarifications.

- In the case of a tender with an abnormally low price compared to the estimated value of the procurement, the contracting authority shall be obliged to verify the calculation of the price elements and to examine certain elements of the financial proposal deemed to have an abnormally low price, as well as the tenderer’s compliance with the technical requirements indicated in the specifications. Before deciding to reject such a tender, the contracting authority shall request in writing, and assess, details and explanations it deems relevant regarding the tender, and shall verify the responses justifying the price in question.

- The working group or, where applicable, the certified public procurement specialist shall reject the tender in any of the following cases:

- the tenderer does not meet the qualification and selection requirements;

- the tender does not comply with the requirements laid down in the procurement documents for the preparation and submission of tenders;

- the tenderer does not provide the requested clarifications within the set time period;

- the financial offer does not have a fixed price;

- the tenderer modifies, through the clarifications submitted, the content of the technical and/or financial proposal, except where the modification is due to the correction of arithmetic errors or minor deviations;

- the tender is abnormally low under Article 70 of Law No. 131/2015 on Public Procurement;

- where the explanations submitted by the tenderer, at the request of the contracting authority, are not conclusive and/or are not supported by the supporting documents requested by the working group or, where applicable, the certified public procurement specialist;

- acts of corruption, related offences, or corrupt practices confirmed by a final court judgment have been established.

- If the tender, including the accompanying forms, does not meet the requirements set out in the invitation/contract notice, including the procurement documents, or is not completed, electronically signed and, where applicable, duly signed and stamped, it shall be rejected by the contracting authority and may not be rectified in order to meet the requirements by correcting or removing inappropriate deviations or reservations, except only for the correction of arithmetic errors or minor deviations.

- The contracting authority may, at its discretion, request any tenderer to clarify its tender in order to facilitate the examination, evaluation, and comparison of tenders. No changes in prices or in the content of the tender shall be requested or permitted, except for the correction of arithmetic errors discovered by the contracting authority during the evaluation of tenders.

- Arithmetic errors shall be corrected as follows: if there is a discrepancy between the unit price and the total price (obtained by multiplying the unit price by the total quantity), the unit price shall prevail and the total price shall be corrected accordingly.

- The working group or, where applicable, the certified public procurement specialist shall have the right to correct arithmetic errors only with the tenderer’s consent. If the tenderer does not accept the correction of such errors, its tender shall be deemed non-compliant and shall consequently be rejected by the working group.

- The economic operator shall be obliged to respond to the contracting authority’s request for clarification within no more than 3 working days, or, in the case of a request for quotations procedure, within no more than 1 working day from the date of its dispatch. If the tenderer fails to supplement, clarify, or provide the information or documents requested by the contracting authority within the deadlines set by it, the tender shall be rejected and the next tender in the ranking among the remaining valid tenders shall be selected.

- A tender which meets all the terms, conditions, and specifications in the procurement documents, without material deviations, or with minor deviations, errors, or omissions that can be remedied without affecting its substance, shall be considered compliant.

- The contracting authority shall disqualify any tenderer who submits documents containing false information for the purpose of qualification, or misleads or makes false representations in order to demonstrate compliance with the qualification requirements. If this is proven, the contracting authority shall declare that tenderer ineligible for further participation in public procurement contracts, by including it in the List of Prohibited Economic Operators.

- The contracting authority shall require tenderers to demonstrate their authorization to conclude public procurement contracts and to disclose the composition of their founders, associates, shareholders, administrators, and beneficial owners.

- The winning tenderer/associated winning tenderer shall be obliged to complete and submit the declaration regarding beneficial owners in accordance with the Order of the Minister of Finance No. 145/2020 on the approval of the Declaration confirming the identity of beneficial owners and the absence of their conviction for participation in the activities of a criminal organisation or group, for corruption, fraud and/or money laundering.

- Section 6

- Contract Award

- The contracting authority shall cancel the procedure for awarding the public procurement contract in accordance with Article 71 of Law No. 131/2015 on Public Procurement.

- The cancellation decision shall not create any obligation on the part of the contracting authority towards the tenderers, except for the return of the tender guarantee. The decision to cancel the award procedure shall be sent to the Public Procurement Agency no later than the date of informing about the results of the award procedure provided for in Article 31(1) of Law No. 131/2015 on Public Procurement.

- In the event that the procedure for awarding the public procurement contract is cancelled, the contracting authority shall be obliged to notify in writing all participants in the public procurement procedure, within no more than 3 days from the date of cancellation, both of the termination of the obligations they have undertaken by submitting tenders and of the reason for the cancellation.

- The report on the cancellation of the public procurement procedure shall be prepared by the contracting authority and shall be published in the Public Procurement Bulletin no later than the date of issuing the decision to cancel the public procurement procedure.

- At the time of signing the contract, but no later than the expiry date of the tender guarantee, where applicable, the winning tenderer shall submit the performance guarantee, in accordance with the requirements set out in Article 68 of Law No. 131/2015 on Public Procurement.

- The performance guarantee for the contract, if agreed by the parties, shall be constituted from:

- successive retentions from the amounts due for submitted tax invoices, with the transfer of the respective amount to a special account opened by the economic operator, made available to the contracting authority, with a licensed bank agreed by both parties;

- successive direct retentions from the amounts due for submitted tax invoices;

- transfer to the account of the contracting authority;

- a bank guarantee issued by a licensed institution (Annex No. 10).

- The refusal of the winning tenderer to submit the performance guarantee or to sign the contract constitutes grounds for the cancellation of the contract award and the retention of the tender guarantee. In such a case, the contracting authority may award the contract to the next tenderer with the best-ranked offer that meets the requirements and is considered by the contracting authority to be qualified to perform the contract. At the same time, the contracting authority is entitled to reject all other tenders.

- Upon expiry of the standstill period or, as the case may be, after the resolution of any complaints, or following the monitoring of the compliance of the public procurement procedures by the Public Procurement Agency, the contracting authority shall conclude the public procurement contract, in accordance with the terms and conditions indicated in the award documentation.

- On the date of signing the public procurement contract for goods/services, it is prohibited to modify any elements of the winning tender, to impose new requirements on the winning tenderer, or to involve any other tenderer than the one who submitted the most advantageous tender.

- The contract for which the financial resources are allocated from the state budget/local budget shall be mandatorily registered with one of the regional treasuries of the Ministry of Finance and shall enter into force on the date of registration or on another later date provided for therein after registration with one of the regional treasuries of the Ministry of Finance.

- The contracting authority shall use the standard contract form (Annex No. 24) from this standard documentation, including for subsequent contracts concluded under a framework agreement (Annex No. 26), for low-value contracts, for contracts resulting from the request for quotations procedure, as well as for contracts resulting from negotiated procedures. The contract may be concluded between one or more contracting authorities and one or more economic operators, the object of which is the supply/provision of goods/services.

- The contract consists of two parts: Part I – the general part, which is mandatory and may not be amended, except for public procurement contracts that do not fall under the scope of Law No. 131/2015 on Public Procurement; and Part II – the special conditions of the contract, which is to be completed only where necessary, where the contracting authority is entitled to set special conditions/requirements depending on the subject of procurement, the complexity of the procedure, as well as to establish payment conditions (especially for the procurement of fuel, electricity, gas, water and sewerage, sanitation, electronic communications services, etc.), including advance payment conditions. In the case of procurement of services in the energy and water supply and sewerage sectors, the public procurement contract shall contain the mandatory clauses established by sectoral laws and regulatory acts approved by ANRE. Furthermore, any mandatory provisions established by ANRE decisions, which are not included in Part I – the general part of the contract, shall be indicated in Part II – the special conditions of the contract.

- The terms for the assumption of commitments in public procurement contracts by budgetary authorities/institutions shall be established in accordance with the provisions of Article 66 of Law No. 181/2015 on Public Finances and Fiscal-Budgetary Responsibility.

- In the case of audit services, the contracting authority shall indicate in Part II – the special conditions of the contract – the rights/obligations of the Beneficiary and the rights/obligations of the Provider, in accordance with the provisions of the Order of the Minister of Finance No. 160/2020 approving the Regulation on the internal audit activity based on contract in the public sector.

- Draft contracts that deviate from Annex No. 24, drawn up by the provider/supplier, shall not be accepted within public procurement, except where the services are provided abroad and are concluded in accordance with the local legal framework (for example: training services, hotel services, etc.).

- Any economic operator who considers that, in the course of the procurement procedure, the contracting authority, through the decision issued or through the procurement procedure applied in breach of the law, has infringed a legally recognized right of theirs, as a result of which they have suffered or may suffer damage, has the right to challenge the decision or the procedure applied by the contracting authority, in the manner established by Law No. 131/2015 on Public Procurement.

- Complaints shall be lodged directly with the National Agency for the Settlement of Complaints. All complaints shall be lodged, examined, and resolved in the manner established by Law No. 131/2015 on Public Procurement.

- The economic operator, in accordance with Article 83 of Law No. 131/2015 on Public Procurement, within a period of up to 5 days or 10 days from the date on which they became aware of the circumstances that served as grounds for the complaint, has the right to submit to the National Agency for the Settlement of Complaints a reasoned complaint regarding the actions, the decision, or the procedure applied by the contracting authority.

- Complaints regarding the contract notice and the award documentation shall be lodged within the time limits indicated in point 104, but no later than the opening of tenders by the contracting authority.

- Each tenderer participating, either individually or in association, in the procedure for awarding the public procurement contract for goods/services, shall be obliged to submit the annexes provided for in this documentation, duly completed and signed by the authorized persons, in accordance with the requirements set out in Annex No. 2.

ANNEX NO. 7

to Standard Tender Documentation No. _____

dated “__” __________ 20_

REQUEST TO PARTICIPATE

To____________________________________________________________________                                                    (name of the contracting authority and full address)

Dear Sirs,

Following the notice/invitation to participate/pre-selection published in the Public Procurement Bulletin and/or the Official Journal of the European Union, no. . . . . dated . . . . . . . . . . . . . . . . . . (day/month/year), regarding the application of the procedure for awarding the contract . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (name of the public procurement contract), we, . . . . . . . . . . . . . (name of the tenderer/candidate), acknowledge the conditions and requirements set out in the tender documentation and hereby express our interest to participate as tenderer/candidate, having no objections to the tender documentation.

Date of completion: . . . . . . . . . . . . .

Yours faithfully,

Tenderer/Candidate

. . . . . . . . . . . . . . . . . . . . . . . .

(authorised signature)

ANNEX NO. 8

to Standard Tender Documentation No. _____

dated “__” __________ 20_

STATEMENT

regarding the Tender Validity Period

To____________________________________________________________________                              (name of the contracting authority and full address)

Dear Sirs,

We, the undersigned, hereby confirm that our tender for the procurement of ____________________ (insert the subject of procurement) submitted under the ________________________________ procurement procedure (type of procurement procedure)

shall remain valid and binding for a period of _____________ days (in words and figures), until ____________________ (day/month/year).

We further confirm that our tender may be accepted at any time prior to the expiry of the aforementioned validity period.

Date: ________________                                 Yours faithfully,                      Tenderer/Candidate

(Name, position, and authorized signature)

ANNEX NO. 9
to Standard Tender Documentation No. _____
dated “__” __________ 20_

BANK

(name of the bank)

BANK GUARANTEE LETTER
for participation in the tender procedure for the award of a public procurement contract

To:

(name and full address of the contracting authority)

Regarding: the tender procedure for the contract

________________________________________________________________________

(name of the public procurement contract)

We, the undersigned, ___________________________________________________________

(name of the bank)

Registered at _________________________________________________________________

(bank address)

hereby irrevocably undertake to pay to

_______________________________________________________

(name of the contracting authority)

the sum of _______________________________ upon its first written demand, without the

(amount in words and figures)

contracting authority being obliged to justify its request, provided that the request specifies that the amount claimed is due to one or more of the following situations:

- The bidder _____________________________________

(name of the bidder)

withdraws or modifies its bid during its validity period. This guarantee remains valid for the period specified in Annex No. 2 – Notice of Participation, starting from the deadline for bid submission, and remains binding and may be accepted at any time until the expiry of this period;

- The bidder _____________________________________ having been awarded the contract

(name of the bidder)

fails to provide the performance guarantee;

- The bidder _____________________________________ having been awarded the contract

(name of the bidder),

refuses to sign the public procurement contract for goods/services.

No obligation or condition specified in the tender documentation shall be executed before the signing of the public procurement contract for goods/services.

This guarantee is valid until ____________________________

Authorized by the Bank: ___________________________ on the day ___ month ___ year

(signature)

ANNEX No. 10

to Standard Documentation No. _____

dated “__” ________ 20_

[The Commercial Bank, at the request of the successful bidder, shall complete this form on letterhead according to the instructions below.] Date: “_” _____________________ 20 Procurement Procedure No.: _______________________________________ Bank Office: _____________________________________ [insert full name of the guarantor] Beneficiary: ________________________________________ [insert full name of the contracting authority] PERFORMANCE GUARANTEE No. _______________ We, [insert the legal name and address of the bank], have been informed that the company [insert full name of the Supplier/Contractor] (hereinafter referred to as the “Supplier/Contractor”) has been awarded the Public Procurement Contract for the supply/provision of ______________ [subject of procurement, describe goods/services] in accordance with the announcement/invitation to procurement procedure No. ______ dated ________ 20_ [number and date of procurement procedure] (hereinafter referred to as the “Contract”). Accordingly, we understand that the Supplier/Contractor is required to provide a Performance Guarantee in accordance with the provisions of the tender documentation. At the request of the Supplier/Contractor, we hereby irrevocably undertake to pay you any amount(s) not exceeding [insert amount(s) in figures and words] upon your first written demand, in which you declare that the Supplier/Contractor has failed to fulfill one or more obligations under the Contract, without discussion or clarification and without the need to justify or demonstrate the grounds or reasons for your demand or the indicated amount. This Guarantee shall expire no later than [insert number] from [insert month] [insert year], and any payment request under this guarantee must be received by us at the office by this date, inclusive. [Signatures of authorized representatives of the bank and of the Supplier/Contractor]

ANNEX No. 11

to Standard Documentation No. _____

dated “__” ________ 20_

CONSORTIUM INFORMATION

1. Contracting Parties (economic operators)

____________________________________________________________________

- ____________________________________________________________________

- ____________________________________________________________________

2. Addresses, Telephone, Fax of the Offices of the Partners (Contracting Parties):

____________________________________________________________________

- ____________________________________________________________________

- ____________________________________________________________________

3. Information on the Form of Association:

- Date of conclusion of the association agreement:

- _____________________________________

- Place and date of registration of the association:

- ______________________________________

- Economic activities to be carried out jointly:

- ________________________________________

- Contribution of each party to the execution of the agreed joint economic activities:

- ________________________________________________________________________

- Value and percentage share of goods delivered/services provided by each associate:

- _______________________________________________________________________

- Conditions for administration of the association: _______________________________

- Mуthod of distribution of the results of the joint economic activities carried out:

- _________________________________________________________________________

- Causes for termination of the association and method of distribution of liquidation results: ________________________________________________________________

- Physical, monetary, and percentage allocation among each associate for the execution of the objective subject to the tender: ___________________________________________

- Other causes: _______________________________________________________

Date of completion: __________________________________

Signed by the Association Leader: __________________________

Name: __________________________________________

Position within the company: __________________________

Company name: _________________________________

Signed by the Secondary Associate: __________________________

Name: __________________________________________

Position within the company: __________________________

Company name: _________________________________

ANNEX No. 12

to Standard Documentation No. _____

dated “__” ________ 20_

DECLARATION

regarding the list of main contracts executed/provided over the past 3 years

| No. | Contract Object | Name/Designation of the Client / Address | Role of the Bidder/Contractor*) | Contract Value / Value of Goods or Services Delivered/Provided | Contract Period (months) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| ... |  |  |  |  |  |

*) Specify the capacity in which the bidder/contractor participated in performing the contract: sole contractor or lead member of a consortium/association; consortium/association member; subcontractor.

Signed: ________________________________________
Name: _________________________________________
Position within the company: _____________________
Company Name: _________________________________

ANNEX No. 13

to Standard Documentation No. _____

dated “__” ________ 20_

- DECLARATION
Regarding specific equipment, machinery, and tools required for proper performance of the contract

| No. | Main machinery, equipment, transport means, production facilities (workshops, warehouses, accommodation spaces) and laboratories proposed by the bidder as necessary for the provision of services (based on the technologies to be adopted) | Unit of Measure (pcs/sets) | Provided from Own Resources | Provided by Third Parties or Other Sources |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| … |  |  |  |  |
| n |  |  |  |  |

Signed: _________________________________________

Name: __________________________________________

Position within the Company: _____________________

Company Name: _________________________________

ANNEX No. 15

to Standard Documentation No. _____

dated “__” ________ 20_

LIST OF SUBCONTRACTORS

AND THE PART/PARTS OF THE CONTRACT PERFORMED BY THEM

| No. | Name and Address of Subcontractors | Activities under the Contract | Approximate Value | % of the Contract Value |
| --- | --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

- Signed: ______________________________________
Name: _______________________________________
Position within the Company: ___________________
Company Name: ______________________________

ANNEX No. 16

to Standard Documentation No. _____

dated “__” ________ 20_

# COMMITMENT OF FINANCIAL SUPPORTING THIRD PARTY

# Financial Supporting Third Party

# .......................... (name)

# COMMITMENT

# regarding the financial support of the Bidder/Candidate

To: ................................................................................

(name of the Contracting Authority and full address)

Subject: Procedure for the award of the contract .............................. (name of the public procurement contract)

We, ............................... (name of the Financial Supporting Third Party), having its registered office at .................. (address of the Financial Supporting Third Party), hereby irrevocably, unconditionally, and firmly undertake to make available to ................ (name of the Bidder/Candidate) all financial resources necessary for the full and timely performance of all obligations assumed by the Bidder/Candidate under its submitted bid and the public procurement contract to be concluded between the Bidder and the Contracting Authority.

The provision of financial support shall not involve any additional costs for the Contracting Authority, except for those included in the financial proposal.

Accordingly, we irrevocably, unconditionally, and firmly undertake to make available to ................ (name of the Bidder/Candidate) the sum of ............................................................. (total/partial amount of the financial proposal), required for the full, proper, and timely performance of the public procurement contract.

We, ............................................ (name of the Financial Supporting Third Party), declare that we understand and accept that we shall be liable to the Contracting Authority for the non-performance of any obligation undertaken by ..... (name of the Bidder), under the public procurement contract, for which the Bidder/Candidate has received financial support under this commitment, waiving permanently and irrevocably the benefit of division.

We, ..................... (name of the Financial Supporting Third Party), declare that we irrevocably waive the right to invoke any defense of non-performance, both against the Contracting Authority and against ............ (name of the Bidder/Candidate), which could result in partial or total non-performance, delayed performance, or improper performance of the obligations assumed by us under this commitment.

We, .................................. (name of the Financial Supporting Third Party), declare that we understand that we shall be liable for any damages caused to the Contracting Authority as a result of failure to fulfill the obligations set out in this commitment.

This represents our firm commitment concluded in accordance with the provisions of Article 21(6) of Law No. 131/2015 on Public Procurement, which grants the Contracting Authority the right to legitimately require us to fulfill certain obligations arising from the financial support provided to .............................................................. (name of the Bidder/Candidate).

Date of completion: ...........................

Financial Supporting Third Party: .....................

ANNEX No. 17

to Standard Documentation No. _____

dated “__” ________ 20_

FINANCIAL SUPPORTING THIRD PARTY DECLARATION

Financial supporting third party:

....................................................................................................

[Insert full legal name of the financial supporting third party]

Declaration

The undersigned, authorized representative of ……………………………………. [Insert name of financial supporting third party], hereby declares, on their own responsibility and under applicable penalties for making false statements in public documents, that all financial resources necessary for the full and timely performance of all obligations under the public procurement contract ……………………………………. [Insert contract title or description] are genuine and available.

Furthermore, I declare that these resources will be provided unconditionally and as required, throughout the execution of the public procurement contract

for……………………………………. [Insert object of the contract].

Date of completion: ................................

Financial Supporting Third Party:

(Authorized signature)

[Name and position of the signatory]

ANNEX No. 18

to Standard Documentation No. _____

dated “__” ________ 20_

COMMITMENT REGARDING TECHNICAL AND PROFESSIONAL SUPPORT FOR THE BIDDER / GROUP OF ECONOMIC OPERATORS

…………………………………………….

[Full legal name of the supporting entity]

COMMITMENT
regarding the technical and professional support
for the Bidder / Candidate

TO: ..............................................................................
(Name and full address of the Contracting Authority)

REGARDING: Procedure for awarding the contract ......................................
(Name of the public procurement contract)

We, ....................................................... (Name of the Technical and Professional Supporter), having our registered office at ....................................................... (Address of the Technical and Professional Supporter), hereby undertake, firmly, unconditionally, and irrevocably, to make available to ....................................................... (Name of the Bidder/Candidate) all technical and professional resources necessary for the full and timely performance of all obligations assumed by the Bidder under the submitted bid and the public procurement contract to be concluded between the Bidder and the Contracting Authority.

Provision of technical and professional support does not imply any additional costs for the Contracting Authority, except for those included in the financial proposal.

Accordingly, we undertake, firmly, unconditionally, and irrevocably, to provide to ....................................................... (Name of the Bidder/Candidate) the technical and/or professional resources of ....................................................... (Describe technical/professional resources to be provided) necessary for the complete, proper, and timely performance of the public procurement contract.

We, ....................................................... (Name of the Technical and Professional Supporter), declare that we understand that we are unconditionally responsible to the Contracting Authority for any failure by ....................................................... (Name of the Bidder/Candidate) to perform any obligation under the public procurement contract, for which the Bidder has received technical and professional support under this commitment, renouncing in this regard, definitively and irrevocably, the benefit of division.

We, ....................................................... (Name of the Technical and Professional Supporter), declare that we irrevocably waive the right to invoke any non-performance exception, both against the Contracting Authority and against ....................................................... (Name of the Bidder/Candidate), which could lead to partial or total non-performance, or delayed or improper performance of the obligations undertaken by us under this commitment.

We, ....................................................... (Name of the Technical and Professional Supporter), declare that we understand we are liable for any damages caused to the Contracting Authority as a result of failing to comply with the obligations set forth in this commitment.

This represents our firm commitment, concluded in accordance with Article 22, paragraph (6) of Law no. 131/2015 on Public Procurement, which grants the Contracting Authority the legitimate right to require us to fulfill certain obligations arising from the technical and professional support provided to ....................................................... (Name of the Bidder/Candidate).

Date of completion: .......................................................

Technical & Professional Supporter: .......................................................
(Authorized signature and stamp, if applicable)

ANNEX No. 19

to Standard Documentation No. _____

dated “__” ________ 20_

TECHNICAL SUPPORTER DECLARATION

Technical Supporter:

..........................
(Name of the Technical Supporter)

Declaration

I, the undersigned, authorized representative of .......................... (Name of the Technical Supporter), declare under my own responsibility, and under the penalties applicable for false statements in public documents, that the information presented in the attached table regarding logistics, machinery, installations, and technical equipment at our disposal, which will be effectively used for the performance of the public procurement contract ....................................................... (Name/description of the contract), is accurate and truthful.

I also declare that we will make these resources available unconditionally, according to the needs that may arise during the performance of the public procurement contract with the object ....................................................... (Description of the contract object).

LIST

Regarding logistics, machinery, installations, and technical equipment available and to be effectively used for the performance of the public procurement contract

| No. | Name of machinery/equipment/installation | Quantity | Unit of Measure | Form of Ownership |
| --- | --- | --- | --- | --- |
|  |  |  |  | Property / Rental |
|  |  |  |  | Property / Rental |
| … |  |  |  | Property / Rental |

This declaration is an annex to the “Firm Commitment” regarding our technical and professional support provided to ....................................................... (Name of the Bidder/Candidate).

Date of completion: .......................................................

Technical Supporter: .......................................................
(Authorized signature)

ANNEX No. 20

to Standard Documentation No. _____

dated “__” ________ 20_

PROFESSIONAL SUPPORTER DECLARATION

Professional Supporter:

..........................
(Name of the Professional Supporter)

Declaration

I, the undersigned, authorized representative of ........ (Name of the Professional Supporter), declare under my own responsibility, and under the penalties applicable for false statements in public documents, that the information presented in the attached table regarding the average annual number of specialized personnel employed, who will be effectively allocated for the performance of the public procurement contract .................................................... (Name/description of the contract), is accurate and truthful.

LIST

regarding specialized personnel who will be effectively allocated for the performance of the public procurement contract

| Specialized Personnel | Year 1 | Year 2 | Year 3 |
| --- | --- | --- | --- |
| … |  |  |  |
| … |  |  |  |
| … |  |  |  |

Attached to this declaration are the CVs of the specialized personnel, as well as those personnel who will be effectively allocated for the execution of the public procurement contract.

I declare that the information provided concerning previous experience, technical capacities, and specialized personnel is complete and accurate in every detail, and I understand that the Contracting Authority has the right to request, for the purpose of verification and confirmation of declarations, all additional information, statements, and documents accompanying the bid.

I hereby authorize any institution, company, bank, or other legal entity to provide information to the authorized representatives of ........... (Name and address of the Contracting Authority) regarding any technical or financial aspect related to our activities.

This declaration is an annex to the “Firm Commitment” regarding our technical and professional support provided to ....................................................... (Name of the Bidder/Candidate).

Date of completion: .......................................................

Professional Supporter: .......................................................
(Authorized signature)

ANNEX No. 21

to Standard Documentation No. _____

dated “__” ________ 20_

- SPECIFICATIONS

- Goods/Services

- Object: ______________________________________________________________

- (Name/Description, Address)

- Contracting Authority: __________________________________________________

- (Name, Address)

1. General description / information

Provides general details regarding the subject of the procurement.

2. Use, storage, protection, and quality of products/services

Specifies details regarding the transportation, provision, usage, and place of delivery/performance of the products/services.

3. Materials, compatibility, technical regulations, and standards used

Specifies compliance and applicability of materials, relevant legislation, technical regulations, and standards applied.

4. Requirements for cost/price calculation

Specifies the method for calculating the cost of the good/service, referring to applicable legal and regulatory acts.

5. Samples

Specifies the method for submitting samples for all products to be used.

6. Equipment, installations, machinery, tools, instruments, devices, and other items necessary for service provision

Specifies the equipment, installations, machinery, tools, instruments, devices, means of transport, etc., required for performing the services.

7. Articles, products, and spare parts required for installations

Specifies the suppliers of articles, products, and spare parts required for the installations, including their types and quantities.

8. Definitions

Specifies the terms and definitions used in the Terms of Reference, including key characteristics.

9. Mandatory documents for bid submission

The contracting authority specifies which documents must be submitted during bid submission via the RSAP Electronic Procurement System. Also indicates which documents contain personal data and are not submitted via RSAP or publicly accessible.

10. Mandatory documents for bid evaluation

The contracting authority specifies which documents must be submitted via RSAP during the evaluation stage. Also specifies documents containing personal data that are not submitted via RSAP and are presented directly to the contracting authority during evaluation.

Contracting Authority: ________________________          Date: “_” ___________________

Note: This Terms of Reference template is indicative and may be completed, modified, or specified by the contracting authority depending on the type and specifics of the goods/services. The contracting authority is obliged to comply with applicable legislation.

| ANNEX No. 22 to Standard Documentation No. 115 dated “15” September 2021 ## Technical Specifications |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [This table shall be completed by the Tenderer in columns 2, 3, 4, 6, 7, and by the Contracting Authority in columns 1 and 5.]. |  |  |  |
| Procurement Procedure No.: ______________ dated __________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Object of the Procurement: ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Description of goods/Services | Model/Type |  |  | Country of origin | Manufacturer/Supplier | Technical specifications required by the contracting authority |  | Technical specifications proposed by the tenderer | Applicable Standards / References |  |  |  |
| 1 | 2 |  |  | 3 | 4 | 5 |  | 6 | 7 |  |  |  |
| # Description of the premises and the software # Technical framework conditions ## Preliminary remarks The subject of the tender is the delivery, installation and commissioning of the system described below, including all components. All specialist soldering and patching work, the assembly of the plug connections, internal cabling, the power sub-distribution of the system as well as all consumables and fastening materials necessary for the legally compliant operational suitability of the system components are included in the subject matter of the tender and are therefore to be provided by the contractor. The signal supply lines to the plant room laid in the suspended ceiling are provided by the customer and must be agreed with the electrical planner. All cables used in the visible area must be white; this only does not apply if there is a deviating specification. In addition, the quality and design of all cables used must correspond to the state of the art. Furthermore, all cables required for the subject of this tender must be halogen-free. The system components must be configured and arranged according to user requirements. In addition, all system components must be labeled according to user requirements. Furthermore, all system components must be secured in accordance with the applicable regulations. In addition, the Contractor must provide its services with the care of a specialist in accordance with the generally recognized rules of technology, in compliance with all applicable laws and regulations, all relevant standards and technical guidelines, the safety regulations and in compliance with all conditions required by the authorities. ## 1.2 Description Audiovisual recording and debriefing system for simulation training The PMSI National Center for Prehospital Emergency Medical Assistance is planning to set up Emergency, Disaster and Crisis Medicine Training Center in which simulation training focusing on communication and assessment will be carried out. An audiovisual recording and debriefing system is to be purchased for this purpose. This must be modular and expandable to allow for future expansion. Part of the modular expandability is the ability to seamlessly combine mobile A/V simulation systems with the permanently installed system. The hardware and software must be coordinated with each other. The software developed for planning, controlling, recording, and debriefing simulations in the healthcare sector must be state of the art and guarantee scope for future developments. All components must be perfectly coordinated and implemented in the corresponding rooms. The system that is the subject of this order comprises 6 simulation rooms, 5 control rooms, 3 debriefing rooms and a technical/server room. The integrated system shall include all equipment and software necessary to fully equip the following premises (see room plans) in accordance with the requirements and functions described in this service book. The system will be fully implemented and managed by the successful provider who will ensure the seamless integration of the proposed solution in relation to the requirements and premises. All rooms of the Center must be used simultaneously, the simulation training or exam must be filmed, viewed live and played back for debriefing. ## 1.2.1 Simulation rooms The simulation rooms are to be equipped with IP cameras, microphones and loudspeakers. In addition, a screen should be provided for the display of media files. Voice quality is an important criterion for the audio system. This should be clearly understandable to the best of our ability. All room microphones must transmit their signals via the Dante network protocol (https://www.audinate.com) and must be implemented in a central, professional digital audio optimization system. The audio signals must therefore be enhanced by a digital audio DSP with functions such as Acoustic Echo Cancellation (avoiding echo or feedback of the voice-to-room), Background Noise Compensation and Automated Gain Control before they are recorded or streamed. Simulation rooms Room 030 Sală: simulatoare electronice (41 m²) Room 104 Sală: simulator traumă, adult, pediatrie, naștere (22 m²) Room 106 Sală: simulator „ambulanță” (37 m²) Room 116 Sală: simulator traumă, adult, pediatrie, naștere (40 m²) Room 129 Sală: simulator „dispecerat” (25 m²) Room 132 Sală: simulator „ambulanță” (34 m²) ## 1.2.2 Control rooms In the control rooms, users can view and control the video and audio signal via control software and start and stop the scenario recordings. A comment function makes it possible to add a unique time stamp to observations, comment on them and find them again later in the debriefing. Ideally, the control software is operated via 2 screens with touch input. However, conventional operation via keyboard and mouse must also be possible. Tablets should be provided as a mobile solution for inserting time stamps and comments or filling in checklists. Ideally, these are also used to control debriefing. Push-to-talk microphones must be provided for communication in the various rooms. These should enable the following communication variants: - Voice to Room (permanently installed loudspeakers in all simulation rooms) It must be possible to select all output devices from all five control rooms. Ideally, only one microphone is required for this. A recording device via HDMI or video grabber should be provided for the integration of external video sources (e.g. patient vital monitor). In addition, other I/O interfaces should enable the integration of other devices (e.g. via UDP). Control rooms Room 031 Încăpere IT - Control Room 1 (11 m²) Room 105 Încăpere IT - Dual Control Room 2 (8 m²) Room 115 Birou operator IT - Control Room 3 (12 m²) Room 129 Încăpere IT - Control Room 4 (5 m²) Room 131 Încăpere IT - Control Room 5 (8 m²) ## 1.2.3 Debriefing rooms A large-screen TV is planned in each debriefing room to display live streams during the scenario and video recordings during debriefings. As already mentioned, the debriefing software should ideally be controlled via a tablet. The debriefing is based on the timestamps set during the recording and the notes. The timestamps set should only be visible on the tablet for control purposes, but not on the debriefing screen. The video should only be played back if it has been started on the tablet. The video must be played back directly from the software. Manually searching for the video in the recording folder in the file structure of the recording computer is not permitted. Debriefing rooms Room 130 Sală: brifing 1 (21 m²) Room 117 Sală: brifing 2 (19 m²) Room 103 Sală: brifing 3 (26 m²) ## 1.2.4 Technical room/IT room Servers, IT center etc. are to be located in room 114 (16 m²) to minimize disruption (noise, heat dissipation). Technical room/IT room Room 114: Technical room (16 m²) ## 1.3. Usecase ## 1.3.1 Preparation The simulation room is checked in preparation for simulation training. The viewing angles of the cameras are checked for this. Ideally, a live stream is available on a tablet or smartphone for this purpose. ## 1.3.2 Simulation training During the simulation, the participants work through a scenario played out by actors. Instructors and observers are not in the same room in order to make the situation as realistic as possible. Control and observation are carried out from the control room or the debriefing room. The live transmission usually includes several video streams from different angles or from other playback devices (e.g. surveillance monitor). The cameras are controlled from the control room. In addition, instructions are given to various audio devices (voice to room). All audio and video signals that were recorded, as well as the time stamps and annotations that were created during the recording, are saved for immediate playback during the debriefing or archived long-term for the documentation of examinations. Ideally, the annotation can be assigned to an instructor. ## 1.3.3 Follow-up The debriefing takes place directly after editing the scenario in the debriefing room. The entire video is not shown, but only selected sequences. This requires direct access to the timestamps and comments in the debriefing software. During the debriefing, the group uses the video to identify and discuss good and less good solutions. This provides optimal support for learning through the AV system. # Technical specifications ## 2.1 Central server cabinet The Center has a technical room in which a server cabinet in 19" format may need to be installed. The required network and audio technology must be installed in this. - Multiple servers can be installed. The particular specification will depend on the requirements of the provider and must be powerful enough to easily manage all the tasks required for the overall operation of the AV system. The servers must be able to record all cameras in the system simultaneously and maintain a central database. The dedicated server shall be located in a dedicated storage room at the simulation center. It must be possible to connect to the facility's network. In this case, hardware support is also the responsibility of the provider. - If installed on a dedicated server, the server system must store up to 5000 hours of video recordings and have a RAID 6 configuration or similar. For long-term storage, a backup storage system may be provided by the facility. - a central audio DSP system with professional acoustic echo cancellation (AEC), background noise compensation, automatic gain control and equalizer for all microphones in the care lab. - all network switches (PoE or PoE+) for the proper operation of the system - All additional devices required for full system operation can be placed in the server room. All cabling (network connections terminated at the patch panel) are provided by the contracting authority. 2.2 Simulation rooms Each of the following simulation rooms: - 104: simulator traumă, adult, pediatrie, naștere (22 m²) - 106: simulator „ambulanță” (37 m²) - 116: simulator traumă, adult, pediatrie, naștere (40 m²) - 129: simulator „dispecerat” (25 m²) - 132: simulator „ambulanță” (34 m²) is to be equipped with the following components: - 1 pc. IP camera for fixed installation, FullHD quality; 2.5x optical zoom and autofocus; control via software, ceiling mounting - 1 pc. PTZ IP camera for fixed installation, FullHD quality; 10x optical zoom and autofocus; control via software, ceiling mounting - 1 pc. Patient-monitor capture device for capturing the video signal from vital monitors with video-out - 1 pc. Professional microphone; mounted in or on the ceiling - 1 pc. Professional loudspeaker with sufficient volume for clear instructions from the control room; ceiling mounting - 1 pc. All-in-One PC with 24" touchscreen display for media playback PC (media screen). - 030: simulatoare electronice (41 m²) This room includes a slightly extended configuration: - 2 pcs. IP camera for fixed installation, FullHD quality; 2.5x optical zoom and autofocus; control via software, ceiling mounting - 4 pcs. PTZ IP camera for fixed installation, FullHD quality; 10x optical zoom and autofocus; control via software, ceiling mounting - 1 pc. Patient-monitor capture device for capturing the video signal from vital monitors with video-out - 2 pcs. Professional microphone; mounted in or on the ceiling - 2 pcs. Professional loudspeaker with sufficient volume for clear instructions from the control room; ceiling mounting - 1 pc. All-in-One PC with 24" touchscreen display for media playback PC (media screen). - 1 pc. Portable wireless WiFi camera, FullHD, point-of-view perspective, minimum 3 hours battery life ## 2.3 Control Rooms Control Rooms 031, 115, 129, 131 The following control rooms have identical configurations: - 031: Control Room 1 (11 m²) - 115: Control Room 3 (12 m²) - 129: Control Room 4 (5 m²) - 131: Control Room 5 (8 m²) Each room must include: - 1 pc. Control PC, high-performance, mini form factor - 2 pcs. Monitors, 24” or larger with touch-functionality, keyboard and mouse - 1 pc. Conference microphone, control station with 2 channels - 1 pair Active desktop loudspeakers - 105: Dual Control Room 2 (8 m²) This room requires: - 2 pcs. Control PC, high-performance, mini form factor - 4 pcs. Monitors, 24” or larger, with keyboard and mouse - 2 pcs. Conference microphone, control station with 2 channels - 4 pcs. Headphones for operator monitoring - 2 pcs. Amplifier for headphones to connect multiple headphones to one PC - 2 pairs Active desktop loudspeakers ## 2.4 Debriefing Rooms Debriefing Rooms 103, 117, 130 Each of the following debriefing rooms requires the same configuration: - 130: Briefing Room 1 (21 m²) - 117: Briefing Room 2 (19 m²) - 103: Briefing Room 3 (26 m²) Required components per room: - 1 pc. Debriefing PC system, mini format, capable of fulfilling all media and debriefing operations - 1 pc. Remote control tablet for managing live transmissions and debriefing playback - 1 pc. Sound bar, wall-mounted - 1 pc. Professional display (rated for 24/7), minimum 75", 4K resolution, wall-mounted ## 2.5 Network and Infrastructure Requirements - WiFi coverage must be ensured in all simulation rooms, control rooms, and debriefing rooms. The wireless network must support stable operation of mobile and tablet-based AV control and video playback across the entire AV system. - A central AV server must be provided to handle recording, streaming, and media playback functionality. - An audio DSP (digital signal processor) is required for central audio signal management and routing. - All required network switches (PoE and/or standard) for AV signal distribution and network connectivity must be provided and installed in the designated server room. # Functional and software requirements ## 3.1 User accounts and security roles Users must be able to log into the system with their access data and have access to the videos according to their assigned security roles. Administrators must be able to create different access data for users and assign different security roles. A possibility of authentication via LDAP protocol, as well as single sign-on via Microsoft 365 (SAML or OAuth.) to integrate the system into an existing user login system is desired. # 3.2 Preparation of the scenarios The software must offer the option of preparing and editing scenario templates and uploading media for them. A scenario template can contain the following: - Various media types (images, videos, PDF documents), which can be displayed via the media screen in the simulation rooms. - Audio files that can be recorded via the voice-to-room to output a wide variety of ambient sounds. - Checklists that can be used by teachers for assessment. - Different types of symbols for bookmarks that can be used for commenting in the respective scenario. # 3.3 Control and recording software - The control software must be simple and intuitive to operate. Operation via a touchscreen is desirable. - The latency of the live transmission of all video streams must be as low as possible - less than 0.3 seconds required. - Room Audio must be time synchronized with video streams. - All video sources (cameras and video grabbers) connected to the system must be accessible via the control software. The number of possible video sources must not be restricted on the software side in order to enable future expansion of the system. - Option to control the cameras (moving, zooming, focusing) directly from the software without additional external hardware (e.g. joystick). - Option to combine the video sources into several logically connected views to enable simultaneous viewing of the scene from several angles and also to display the data of any surveillance monitor. It must be possible to name and save these views individually. It must also be possible to arrange the individual video streams in different layout patterns (e.g. quad-split, 1 large and 3 small videos, picture-in-picture, etc.). - The control software must display a live stream of all video feeds of the currently activated view. - System must record metadata (e.g. teacher, participants, date, time, etc.). Ideally, this is done via unique IDs of the persons involved. - Starting and ending a recording must be possible using buttons in the software. When recording is activated, all activated audio and video feeds of the current view must be recorded. Each video feed must be recorded separately and be at least 1080p HD with a frame rate of 25 frames per second or higher. The software must be able to record videos from several rooms simultaneously. - It must be possible to broadcast the ongoing recording live to one or more rooms. The option of a live stream via MS Teams is ideal. The live transmission may only play the video views and the synchronized audio, but not the readings and annotations made by the teacher during the simulation. - Teachers must be able to mark and comment on events during the recording. This should be done by tapping/clicking the relevant symbol on the user interface and setting a time marker. These time markers are visible in a timeline or chronological marker list. It must be possible to add comments to the events via keyboard input. - During the simulation, the electronic checklists in the control software must be able to be filled in and receive at least three different statuses (e.g. not fulfilled, partially fulfilled, fully fulfilled) - It must be possible to control the sensitivity (volume) for all microphones individually in the software. It must be possible to activate and deactivate the microphones individually. - The voice-to-room and voice-to-patient audio tracks must be recorded directly from the microphone in the control room. - Ideally, the media screens in the simulation rooms and the associated debriefing rooms are controlled via the control software. The teacher must be able to select images, videos or PDF documents from the system's media database and activate and deactivate their display on the media screens. # 3.4 Marking and annotating via tablets It should also be possible to set timestamps and comments using tablets or other mobile devices. It should also be possible to complete checklists on a mobile device. These recordings should be provided with the ID of the respective person and included in the timeline or the chronological marker list of the recording. This option should function simultaneously with annotation in the control room. # 3.5 Live viewing and debriefing software The software installed on the PCs in the debriefing rooms must support the display of live streams from each simulation room and enable the playback of videos for the purpose of video-based debriefing. The recorded videos must be available for video debriefing immediately after the end of the recording. It must also be possible to start the recording of the next scenario in the control room while the previous scenario is being discussed in the debriefing room. The software package for the debriefing ideally consists of two parts. On the one hand, this is the playback software for the recorded videos, which are played on the screen of the debriefing room via a PC installed there. On the other hand, there is a tablet or other mobile device that can be used to control the debriefing. The teacher must be able to open the recorded video with the video player, select the respective sequences via the time stamps set during the recording and start the video 10 seconds before the time stamp. The time stamps and comments are displayed on the mobile device for control purposes. The display on the screen is not necessary; if present, it must be possible to deactivate it. The video is displayed in the view as it was set during recording. However, it must be possible to play back individual video feeds in full-screen mode. The files that were displayed on the media screen during the simulation must also be able to be displayed during the debriefing. # 3.6 Browser-based access In addition to the access options to the software (control, debriefing), access to the stored recordings must also be guaranteed via browser-based access (including user authentication). These must be searchable and filterable according to various characteristics (e.g. date, participants, ID, scenario, etc.). If the security role of the logged-in user allows it, it must be possible to edit metadata and delete videos. The browser-based interface must also offer an export function for individual video files containing all recorded audio and video streams. The exported video must be in a resolution of at least 1080p and in a standard format (e.g. mp4) and must be able to be re-encoded. The recording archive should be accessible to all authorized computers in the facility's network. Ideally, scenarios can also be created and edited via browser-based access to the control software. It should also be possible to upload and provide media files to the media archive via the browser. # Planning, installation and commissioning The offer must include the costs of planning, delivery, configuration, and commissioning of all audiovisual equipment. The installation must be carried out in accordance with the best industry standards and norms applicable at the installation site. Complete documentation must be provided: -Professional CAD room plans with the mapping of all equipment -Block diagrams of entire system and all components -Detailed cable pulling plans for the system Network cabling and audio cabling between the rooms is not to be provided. Star-shaped CAT7 network cabling is provided between the central server cabinet and all network devices (cameras, computers) in the care laboratory. Star-shaped audio cabling between the central server cabinet and the individual microphones and loudspeakers in the various rooms is also provided. Once the audio components have been installed, the speakers and microphones must be individually adjusted and levelled to the room conditions. This includes -Loudness/Volume equalization (same volume in all rooms) -Echo cancelation -Filtering of static background noises -Dynamic optimization via EQ and compressors # Training The offer must include suitable training packages (at least two full days of on-site training) for both the technical and educational staff. # Warranty The supplier shall provide a minimum warranty of 2 years for all equipment and installations, as follows: - In the first year of the warranty: replacement of defective equipment and installations. - In the following warranty years: repair of equipment and installations. If repair is not possible, the equipment and installations shall be replaced. All replaced equipment and installations shall be new. # Maintenance and support The supplier must provide a maintenance and support package for a period of 5 years to ensure the continuous operation and integrity of the system. This includes: - Hardware and software support during business hours (Monday to Thursday 8-17h CET, Friday 8-15h CET), available by e-mail and telephone in English - Remote maintenance of the software via the Internet (Teamviewer or similar). - Software updates at least once a year # Privacy policy Due to the highly sensitive nature of the audio and video data processed, the system must comply with Emergency, Disaster and Crisis Medicine Training Center's privacy policy. The data protection guidelines are intended to ensure that sensitive information remains within the protected network and that the risk of unauthorized disclosure or unauthorized access to personal data is minimized. The following guidelines must be observed: The processing and storage of personal data, in particular audio and video recordings, may only take place on servers and computers in the local network of the Emergency, Disaster and Crisis Medicine Training Center. The storage of personal data on external servers or computers outside the network is not permitted. The rules for the processing and storage of data include the transmission of audio and video recordings between mobile and stationary systems. This means that the transfer of data may and must only be possible in the local closed network without an internet connection. Anexa nr. 2 Specificații tehnice |  |  |  |  |  |  |  |  | Conform SIA RSAP |  |  |  |
| Sistem audiovizual de debrifing și simulare pentru instruirea personalului medical |  |  |  |  |  | SIMULATION ROOMS Room 030 Sală: simulatoare electronice (41 m²) IP-Camera, FullHD, 2.5x Optical Zoom, Dome Format Type: Fixed dome camera for indoor surveillance Functions: min. pan, tilt, rotate Housing: min. IP52 and IK10 certified Resolution: min. 2 MP FullHD 1920x1080 Optical Zoom: min. 2.5x Frame Rate: min. with WDR (Wide Dynamic Range) 25/30 frames per second at 50/60Hz; min. without WDR 50/60 frames per second at 50/60Hz Adjustable Camera Angle: min. +/- 180° pan min. +/- 75° tilt min. +/- 175° rotate Memory: min. 1024 MB RAM min. 8192 MB Flash Video Compression: min. H.264, H.265, Motion JPEG Video Streaming: min. multiple individually configurable video streams in H.264, H.265, and Motion JPEG Adjustable frame rate and bandwidth Low-latency mode Multi-view min. up to 2 individually cropped view areas at full frame rate Image Settings: min. saturation, contrast, brightness, sharpness, forensic min. WDR up to 120 dB depending on the scene min. white balance min. image rotation, mirroring min. dynamic text and image overlay Network Protocols: min. IPv4, IPv6, USGv6, ICMPv4, ICMPv6 Network Security: min. IEEE 802.1X, IEEE 802.1AR, Network Time Security min. IP address filtering Interfaces: min. 1x RJ45 min. 4-pin terminal block 2.5mm min. audio 4-pin connector block 2.5mm for audio input and audio output: min. input for external microphone System Integration: min. open API for software integration: Support for SIP (Session Initiation Protocol) for integration into VoIP systems, peer-to-peer or SIP (PBX) Analytics Function: incl. analytics function, detection of object classes such as people, and detection of scenarios such as objects in the area, dwell time in the area Power Supply / Power: min. PoE IEEE 802.3af / IEEE 802.3at max. 5.5W Weight: max. 700g Mounting: incl. mounting bracket with holes for junction box, as well as for wall or ceiling mount |  |  |  |  |  |  |
|  |  |  |  |  |  | PTZ IP-Camera, FullHD, 10x optical zoom, Dome Format Type: PTZ dome camera for indoor surveillance Housing:IP66, NEMA 4X and/or IK09 certified Resolution:min. 2 MP FullHD 1920x1080 Optical Zoom:min. 10x Frame Rate:min. with WDR (Wide Dynamic Range) 25/30 frames per second at 50/60Hz min. without WDR 50/60 frames per second at 50/60Hz Pan/Tilt:min. 360° endless min. 90° Memory:min. 512 MB RAM min. 256 MB Flash Video Compression:min. H.264, Motion JPEG Video Streaming:min. multiple individually configurable video streams in H.264 and Motion JPEG Image Settings:min. saturation, contrast, brightness, sharpness, forensic min. white balance min. image freeze during PTZ Network Protocols:min. IPv4, IPv6, USGv6, HTTP Network Security:min. IEEE 802.1X, brute-force protection, password protection min. IP address filtering Interfaces:min. 1x RJ45 min. 6-pin connection block with spring-loaded terminals for 4 configurable inputs/outputs System Integration:min. open API for software integration Analytics Function:incl. analytics function Power Supply / Power:min. PoE IEEE 802.3af / IEEE 802.3at max. 14 W Weight:max. 1.3 kg Mounting:incl. mounting bracket or accessories, as well as for wall or ceiling mount Sustainability:PVC-free Control:Via software |  |  |  |  |  |  |
|  |  |  |  |  |  | Wireless Headcam (POV), Full-HD Type:Wireless Camera – Wearable (headband style) Resolution:min. 1920×1080 at 30 fps Lens Type:min. 120° wide-angle Water Resistance:min. IPX4 Connectivity:min. Bluetooth 4.0 and Wi-Fi Microphone:Built-in, with noise reduction Sensor Type:4MP CMOS Weight:max. 100 g Battery:min. 3000 mAh rechargeable Li-Ion Storage:e.g. Micro SD, SDHC, SDXC, up to 256 GB File Format:MP4 (H.264) |  |  |  |  |  |  |
|  |  |  |  |  |  | HDMI Patient monitor Capture device, PoE Tip:HDMI Type:HDMI Video Grabber Video Input:HDMI 1.4 Input Resolution:1920x1080P_50/60Hz; 1920x1080I_50/60Hz; 1280x720P 50/60Hz; 720x576; 640x480 etc. Output Resolution:1920x1080P@60fps; 1680x1050; 1280x720; 1024x576; 850x480; 720x576; 720x480; 640x480; 480x360; 360x240; auto; custom etc. Encoding:H.264 Baseline, H.264 Main, H.264 High, H.265 Main Bitrate:0.5 Mbps–20 Mbps Bitrate Control:CBR, VBR, AVBR, FIXQP Protocol:NDI®¦HX, HTTP, HLS, RTSP, RTP/UDP Unicast/Multicast, RTMP (RTMPS) Audio Input:HDMI embedded, Line-in (3.5 mm jack) Encoding:AAC, MP3, MPEG2, PCMA Sampling Rate:16K, 32K, 44.1K, 48K Sampling Accuracy:16 Bit Bitrate:32 Kbit/s – 256 Kbit/s Network Stream IN Video: H.264 Baseline, Main, High Level 4.2; H.265 Main, Level 4.1 Audio: MPEG2, MP3, AAC Protocol: NDI®¦HX Stream, HTTP, HLS, RTSP, RTP, UDP, RTMP (pull), SRT Connections:1x HDMI IN 1x HDMI OUT 1x Audio IN 1x Audio OUT 1x USB 2.0 1x Ethernet RJ45 1000BASE-T Power Supply:Power over Ethernet Max. Power Consumption:6 Watts Dimensions:10 x 6 x 3.2 cm |  |  |  |  |  |  |
|  |  |  |  |  |  | Room microphone, PoE Type:Room Microphone Consisting of the following three components: – MZH goosenecks – Microphone module – Dante converter Type:MZH Gooseneck Color: Black or white Diameter: min. 6 mm Length: min. 400 mm Weight: max. 130 g Type:Microphone Module Type: Permanently polarized condenser microphone heads Durable metal housing, non-reflective surface Color: Black or white Frequency Range: min. 40 to 2000 Hz Acoustic Operating Principle: Pressure gradient transducer Polar Pattern: Cardioid Power Supply: via MZH goosenecks Dimensions: approx. diameter 12 x 18 mm (reference value) Weight: max. 10 g Dante Converter: The device must be fully compatible with Dante. Type:Microphone Input to Dante Connection: min. 1 x balanced microphone input on locking XLR socket Fine Gain Control: min. rotary potentiometer for fine microphone gain adjustment Coarse Gain Control: min. switch for coarse microphone gain Power Supply: via PoE 802.3af Max. Power Consumption: 16 W Weight: max. 300 g |  |  |  |  |  |  |
|  |  |  |  |  |  | Ceiling Speaker PoE Type: Active 2-way ceiling loudspeaker with integrated Dante® module Power:min. 30 W amplifier Drivers:20 cm (8") woofer with fiberglass cone, 2.5 cm (1") dome tweeter Decoding:16/24/32 Bit Sample Rates:44.1 / 48 / 88.2 / 96 kHz Power Supply:PoE (Power over Ethernet) Housing:Plastic frame and metal grille Ceiling Thickness:up to 4 cm Cut-out Diameter:max Ø 240 mm Mounting Depth:min. 225 mm incl. space required for network connection |  |  |  |  |  |  |
|  |  |  |  |  |  | Media Screen AiO-PC with Touchscreen 24"Dimensiuni Type:All-in-One PC with monitor arm Display Size:min. 23.8" or 24" Display Features:Touchscreen with capacitive multitouch, min. 10 touch points Brightness: min. 250 cd/m² Response Time: max. 8 ms CPU / Processor:min. 6 cores min. 12 threads min. 2.5 GHz base clock min. 18 MB cache Graphics Support:min. 4096×2304 @ 60 Hz (4K) via HDMI 2.0 min. 4096×2304 @ 60 Hz (4K) via DisplayPort 1.4 Operating System:min. Windows 11 Professional Memory (RAM):min. 1×16 GB DDR5 min. 2 memory slots Upgradeable to min. 64 GB Storage:min. 1 TB SSD (M.2 PCIe) Optical Drive:No optical drive Ports & Interfaces (min.): – 2× USB 3.2 Gen 1 – 2× USB 3.2 Gen 2 Type-A – 2× USB 2.0 – 1× HDMI 2.0 – 1× DisplayPort 1.2 – 1× RJ45 – 1× Line in/out – 1× DC-in Wireless Connectivity: min. Wi-Fi 6 (802.11ax) Bluetooth min. version 5.0 Audio / Speakers:min. 6W total power (stereo) Ergonomics:Adjustable with tilt and pivot functionality Power Consumption:Max. input power: 120 W |  |  |  |  |  |  |
|  |  |  |  |  |  | Rooms 104, 106, 116,129, 132 IP-Camera, FullHD, 2.5x Optical Zoom, Dome Format Type: Fixed dome camera for indoor surveillance Functions: min. pan, tilt, rotate Housing: min. IP52 and IK10 certified Resolution: min. 2 MP FullHD 1920x1080 Optical Zoom: min. 2.5x Frame Rate: min. with WDR (Wide Dynamic Range) 25/30 frames per second at 50/60Hz; min. without WDR 50/60 frames per second at 50/60Hz Adjustable Camera Angle: min. +/- 180° pan min. +/- 75° tilt min. +/- 175° rotate Memory: min. 1024 MB RAM min. 8192 MB Flash Video Compression: min. H.264, H.265, Motion JPEG Video Streaming: min. multiple individually configurable video streams in H.264, H.265, and Motion JPEG Adjustable frame rate and bandwidth Low-latency mode Multi-view min. up to 2 individually cropped view areas at full frame rate Image Settings: min. saturation, contrast, brightness, sharpness, forensic min. WDR up to 120 dB depending on the scene min. white balance min. image rotation, mirroring min. dynamic text and image overlay Network Protocols: min. IPv4, IPv6, USGv6, ICMPv4, ICMPv6 Network Security: min. IEEE 802.1X, IEEE 802.1AR, Network Time Security min. IP address filtering Interfaces: min. 1x RJ45 min. 4-pin terminal block 2.5mm min. audio 4-pin connector block 2.5mm for audio input and audio output: min. input for external microphone System Integration: min. open API for software integration: Support for SIP (Session Initiation Protocol) for integration into VoIP systems, peer-to-peer or SIP (PBX) Analytics Function: incl. analytics function, detection of object classes such as people, and detection of scenarios such as objects in the area, dwell time in the area Power Supply / Power: min. PoE IEEE 802.3af / IEEE 802.3at max. 5.5W Weight: max. 700g Mounting: incl. mounting bracket with holes for junction box, as well as for wall or ceiling mount |  |  |  |  |  |  |
|  |  |  |  |  |  | PTZ IP-Camera, FullHD, 10x optical zoom, Dome Format Type: PTZ dome camera for indoor surveillance Housing:IP66, NEMA 4X and/or IK09 certified Resolution:min. 2 MP FullHD 1920x1080 Optical Zoom:min. 10x Frame Rate:min. with WDR (Wide Dynamic Range) 25/30 frames per second at 50/60Hz min. without WDR 50/60 frames per second at 50/60Hz Pan/Tilt:min. 360° endless min. 90° Memory:min. 512 MB RAM min. 256 MB Flash Video Compression:min. H.264, Motion JPEG Video Streaming:min. multiple individually configurable video streams in H.264 and Motion JPEG Image Settings:min. saturation, contrast, brightness, sharpness, forensic min. white balance min. image freeze during PTZ Network Protocols:min. IPv4, IPv6, USGv6, HTTP Network Security:min. IEEE 802.1X, brute-force protection, password protection min. IP address filtering Interfaces:min. 1x RJ45 min. 6-pin connection block with spring-loaded terminals for 4 configurable inputs/outputs System Integration:min. open API for software integration Analytics Function:incl. analytics function Power Supply / Power:min. PoE IEEE 802.3af / IEEE 802.3at max. 14 W Weight:max. 1.3 kg Mounting:incl. mounting bracket or accessories, as well as for wall or ceiling mount Sustainability:PVC-free Control:Via software |  |  |  |  |  |  |
|  |  |  |  |  |  | HDMI Patient monitor Capture device, PoE Tip:HDMI Type:HDMI Video Grabber Video Input:HDMI 1.4 Input Resolution:1920x1080P_50/60Hz; 1920x1080I_50/60Hz; 1280x720P 50/60Hz; 720x576; 640x480 etc. Output Resolution:1920x1080P@60fps; 1680x1050; 1280x720; 1024x576; 850x480; 720x576; 720x480; 640x480; 480x360; 360x240; auto; custom etc. Encoding:H.264 Baseline, H.264 Main, H.264 High, H.265 Main Bitrate:0.5 Mbps–20 Mbps Bitrate Control:CBR, VBR, AVBR, FIXQP Protocol:NDI®¦HX, HTTP, HLS, RTSP, RTP/UDP Unicast/Multicast, RTMP (RTMPS) Audio Input:HDMI embedded, Line-in (3.5 mm jack) Encoding:AAC, MP3, MPEG2, PCMA Sampling Rate:16K, 32K, 44.1K, 48K Sampling Accuracy:16 Bit Bitrate:32 Kbit/s – 256 Kbit/s Network Stream IN Video: H.264 Baseline, Main, High Level 4.2; H.265 Main, Level 4.1 Audio: MPEG2, MP3, AAC Protocol: NDI®¦HX Stream, HTTP, HLS, RTSP, RTP, UDP, RTMP (pull), SRT Connections:1x HDMI IN 1x HDMI OUT 1x Audio IN 1x Audio OUT 1x USB 2.0 1x Ethernet RJ45 1000BASE-T Power Supply:Power over Ethernet Max. Power Consumption:6 Watts Dimensions:10 x 6 x 3.2 cm |  |  |  |  |  |  |
|  |  |  |  |  |  | Room microphone, PoE Type:Room Microphone Consisting of the following three components: – MZH goosenecks – Microphone module – Dante converter Type:MZH Gooseneck Color: Black or white Diameter: min. 6 mm Length: min. 400 mm Weight: max. 130 g Type:Microphone Module Type: Permanently polarized condenser microphone heads Durable metal housing, non-reflective surface Color: Black or white Frequency Range: min. 40 to 2000 Hz Acoustic Operating Principle: Pressure gradient transducer Polar Pattern: Cardioid Power Supply: via MZH goosenecks Dimensions: approx. diameter 12 x 18 mm (reference value) Weight: max. 10 g Dante Converter: The device must be fully compatible with Dante. Type:Microphone Input to Dante Connection: min. 1 x balanced microphone input on locking XLR socket Fine Gain Control: min. rotary potentiometer for fine microphone gain adjustment Coarse Gain Control: min. switch for coarse microphone gain Power Supply: via PoE 802.3af Max. Power Consumption: 16 W Weight: max. 300 g |  |  |  |  |  |  |
|  |  |  |  |  |  | Ceiling Speaker PoE Type: Active 2-way ceiling loudspeaker with integrated Dante® module Power:min. 30 W amplifier Drivers:20 cm (8") woofer with fiberglass cone, 2.5 cm (1") dome tweeter Decoding:16/24/32 Bit Sample Rates:44.1 / 48 / 88.2 / 96 kHz Power Supply:PoE (Power over Ethernet) Housing:Plastic frame and metal grille Ceiling Thickness:up to 4 cm Cut-out Diameter:max Ø 240 mm Mounting Depth:min. 225 mm incl. space required for network connection |  |  |  |  |  |  |
|  |  |  |  |  |  | Media Screen AiO-PC with Touchscreen 24" Type:All-in-One PC with monitor arm Display Size:min. 23.8" or 24" Display Features:Touchscreen with capacitive multitouch, min. 10 touch points Brightness: min. 250 cd/m² Response Time: max. 8 ms CPU / Processor:min. 6 cores min. 12 threads min. 2.5 GHz base clock min. 18 MB cache Graphics Support:min. 4096×2304 @ 60 Hz (4K) via HDMI 2.0 min. 4096×2304 @ 60 Hz (4K) via DisplayPort 1.4 Operating System:min. Windows 11 Professional Memory (RAM):min. 1×16 GB DDR5 min. 2 memory slots Upgradeable to min. 64 GB Storage:min. 1 TB SSD (M.2 PCIe) Optical Drive:No optical drive Ports & Interfaces (min.): – 2× USB 3.2 Gen 1 – 2× USB 3.2 Gen 2 Type-A – 2× USB 2.0 – 1× HDMI 2.0 – 1× DisplayPort 1.2 – 1× RJ45 – 1× Line in/out – 1× DC-in Wireless Connectivity: min. Wi-Fi 6 (802.11ax) Bluetooth min. version 5.0 Audio / Speakers:min. 6W total power (stereo) Ergonomics:Adjustable with tilt and pivot functionality Power Consumption:Max. input power: 120 W |  |  |  |  |  |  |
|  |  |  |  |  |  | Control Rooms Rooms: 031, 115, 129, 131 Mini PC , 2x FullHD Touchscreen 24" Monitors, Mouse and Keyboard (Keyboard LAYOUT), wireless Type:Mini PC min. 16 GB DDR4 RAM Business Micro/Mini Format Series min. Intel® Core™ i5-1340P processor (12M Cache, up to 4.60 GHz) Intel Iris Xe Graphics Graphics Interfaces: min. 2x HDMI 2.1 TMDS compatible, 2x DP 1.4a via Type-C Support for up to 4 displays min. 1 x 500 GB SSD Operating System: min. Windows 11 Pro Type:Monitor Design: Edge-to-edge glass Screen Size: 23.8" (60.5 cm) Panel Technology: IPS Resolution: 1920 x 1080 (Full HD) Aspect Ratio: 16:9 Brightness: 400 cd/m² (360 cd/m² with touch panel) Transmittance: 90% Contrast Ratio: 1000:1 Response Time (GTG): 5 ms Viewing Angle: 178°/178° Color Support: 16.7 million, 8-bit Horizontal Frequency: 30 – 83 kHz Active Area (H x W): 527 x 296.5 mm Pixel Pitch: 0.274 mm Housing Color: Black, matte Type:Wireless Keyboard and Mouse Set Manufacturer: Wireless mouse and keyboard must be from the same manufacturer Number of Mouse Buttons: min. 6 Color: Black or white Connectivity: selectable via Bluetooth or 2.4 GHz wireless Operating System: compatible with min. Windows 8 or higher up to Windows 11 Additional Specifications: AES-128 encryption for mouse and keyboard Batteries: min. rechargeable lithium batteries in mouse and keyboard; rechargeable via USB ports Status Indicators: min. for low battery and charging status Accessories: min. incl. nano USB receiver for wireless operation; incl. tilt stand |  |  |  |  |  |  |
|  |  |  |  |  |  | Push-to-Talk Gooseneck Microphone, 2 Channels, PoE Type: Push-to-Talk Gooseneck Microphone Number of Buttons: min. 2 illuminated buttons with optical feedback, hold function via double-click Call Destination Buttons: min. 2 illuminated call destination buttons (PTT) with optical feedback Call Hold Function: hold function via double-click Call Destination ID: transmitted via DTMF tone on channel 2 Microphone Capsule: dynamic microphone capsule with unidirectional polar pattern Frequency Response: min. 80 Hz – 12 kHz Power Supply: PoE Class 1; max. 4 W Network Protocol: Dante Number of Audio Channels: min. 2 Channel 1: audio Channel 2: DTMF call destination transmission Dimensions (W x D): max. 125 x 175 mm Gooseneck Length: min. 300 mm, max. 330 mm |  |  |  |  |  |  |
|  |  |  |  |  |  | Active Stereo speakers (Pair) with line out for headphones Type:Stereo Active Speaker Controls:min. acoustic controls for treble and bass Inputs/Outputs:min. balanced 6.35 mm TRS jack inputs min. unbalanced stereo RCA and 3.5 mm jack inputs min. integrated stereo headphone amplifier with 3.5 mm output jack Protection Circuits:min. RF shielding min. output current limiter min. overheat protection circuit Energy Saving Mode:incl. power-save mode Accessories:incl. speaker cable incl. stereo cable 3.5" TRS jack to RCA incl. 3.5 mm TRS to 3.5 mm TRS |  |  |  |  |  |  |
|  |  |  |  |  |  | Room 105 Încăpere IT - Dual Control Room 2 (8 m²) Mini PC , 2x FullHD Touchscreen 24" Monitors, Mouse and Keyboard (Keyboard LAYOUT), wireless Type:Mini PC min. 16 GB DDR4 RAM Business Micro/Mini Format Series min. Intel® Core™ i5-1340P processor (12M Cache, up to 4.60 GHz) Intel Iris Xe Graphics Graphics Interfaces: min. 2x HDMI 2.1 TMDS compatible, 2x DP 1.4a via Type-C Support for up to 4 displays min. 1 x 500 GB SSD Operating System: min. Windows 11 Pro Type:Monitor Design: Edge-to-edge glass Screen Size: 23.8" (60.5 cm) Panel Technology: IPS Resolution: 1920 x 1080 (Full HD) Aspect Ratio: 16:9 Brightness: 400 cd/m² (360 cd/m² with touch panel) Transmittance: 90% Contrast Ratio: 1000:1 Response Time (GTG): 5 ms Viewing Angle: 178°/178° Color Support: 16.7 million, 8-bit Horizontal Frequency: 30 – 83 kHz Active Area (H x W): 527 x 296.5 mm Pixel Pitch: 0.274 mm Housing Color: Black, matte Type:Wireless Keyboard and Mouse Set Manufacturer: Wireless mouse and keyboard must be from the same manufacturer Number of Mouse Buttons: min. 6 Color: Black or white Connectivity: selectable via Bluetooth or 2.4 GHz wireless Operating System: compatible with min. Windows 8 or higher up to Windows 11 Additional Specifications: AES-128 encryption for mouse and keyboard Batteries: min. rechargeable lithium batteries in mouse and keyboard; rechargeable via USB ports Status Indicators: min. for low battery and charging status Accessories: min. incl. nano USB receiver for wireless operation; incl. tilt stand |  |  |  |  |  |  |
|  |  |  |  |  |  | Push-to-Talk Gooseneck Microphone, 2 Channels, PoE Type: Push-to-Talk Gooseneck Microphone Number of Buttons: min. 2 illuminated buttons with optical feedback, hold function via double-click Call Destination Buttons: min. 2 illuminated call destination buttons (PTT) with optical feedback Call Hold Function: hold function via double-click Call Destination ID: transmitted via DTMF tone on channel 2 Microphone Capsule: dynamic microphone capsule with unidirectional polar pattern Frequency Response: min. 80 Hz – 12 kHz Power Supply: PoE Class 1; max. 4 W Network Protocol: Dante Number of Audio Channels: min. 2 Channel 1: audio Channel 2: DTMF call destination transmission Dimensions (W x D): max. 125 x 175 mm Gooseneck Length: min. 300 mm, max. 330 mm |  |  |  |  |  |  |
|  |  |  |  |  |  | Overear headphones Type:HiFi stereo headphones Design:Closed-back construction Voice Coil:Aluminum Headband:Adjustable/spreadable Cable Routing:Single-sided Ear Cups:Rotatable for single-ear listening Weight:max. 150 g Scope of Delivery (min.): – Coiled cable – Carrying pouch – Additional pair of ear pads – Straight cable, min. 1.5 m – Screwable 3.5 mm to 6.3 mm jack adapter |  |  |  |  |  |  |
|  |  |  |  |  |  | Amplifier for up to four headphones Type:4-channel stereo headphone distribution amplifier Headphone Outputs:min. 4× independent 1/4" (6.35 mm) stereo headphone outputs Each channel with individual volume control Inputs:min. 2× balanced 1/4" (6.35 mm) stereo input connectors min. 1× stereo 1/8" (3.5 mm) auxiliary input Additional Features:– Master mute function – Mono-summing switch – 1× stereo 1/8" (3.5 mm) auxiliary output |  |  |  |  |  |  |
|  |  |  |  |  |  | Active Stereo speakers (Pair) with line out for headphones Type:Stereo Active Speaker Controls:min. acoustic controls for treble and bass Inputs/Outputs:min. balanced 6.35 mm TRS jack inputs min. unbalanced stereo RCA and 3.5 mm jack inputs min. integrated stereo headphone amplifier with 3.5 mm output jack Protection Circuits:min. RF shielding min. output current limiter min. overheat protection circuit Energy Saving Mode:incl. power-save mode Accessories:incl. speaker cable incl. stereo cable 3.5" TRS jack to RCA incl. 3.5 mm TRS to 3.5 mm TRS |  |  |  |  |  |  |
|  |  |  |  |  |  | Debriefing Rooms Rooms: 103, 117, 130 Debriefing Mini-PC Case type: Mini PC RAM: minimum 16 GB, DDR4 Form factor: Business Micro/Mini Format Series Processor (CPU): minimum 12 cores, minimum 16 threads, cache memory: minimum 12 MB Video interface: minimum 2 × HDMI 2.1 (TMDS compatible); minimum 2 × DisplayPort 1.4a via Type-C Support: up to 4 simultaneous displays Storage: minimum 1 × 500 GB SSD Operating system: minimum Windows 11 Professional |  |  |  |  |  |  |
|  |  |  |  |  |  | Windows Tablet, 10.5" Type:Tablet PC Display: 10.5" Resolution: 1920x1280, 3:2 aspect ratio, 220 ppi Refresh Rate: 60 Hz Other Features: Multi-touch, 350 cd/m² brightness, digitizer, glass (Corning Gorilla Glass 3), 1500:1 contrast ratio, approx. 76.57% screen-to-body ratio (calculated) CPU: Intel N200, 0C+4c/4T, 1.00–3.70 GHz, 6 MiB + 2 MiB cache, 6W TDP, codename "Alder Lake-N" (Gracemont, Intel 7) RAM: 8 GB LPDDR5 (soldered) Graphics: Intel UHD Graphics (iGPU), 2Xe / 32EU / 256SP, 0.75 GHz, architecture "Xe-LP / Gen 12.2" (Alder Lake GT1) Ports: 1x USB-C 3.1 with DisplayPort (10 Gb/s, power input), 1x 3.5 mm audio jack, 1x microSD (microSDXC) Wireless: Wi-Fi 6 (802.11a/b/g/n/ac/ax), Bluetooth 5.1, NFC Authentication: TPM 2.0 Camera: 2 MP (front), 8 MP (rear) Battery: Li-ion, 12.5 h runtime Special Features: Accelerometer, hall sensor, gyroscope, ambient light sensor, kickstand, docking connector (SurfaceConnect) Weight: max. 521 g Dimensions: max. 245 x 8.3 x 175 mm (W × H × D) Color: Grey (back), Black (front) Type: Hardcase With hand strap Weight: max. 300 g |  |  |  |  |  |  |
|  |  |  |  |  |  | Soundbar for TV Type:Soundbar Frequency Range (-10 dB):in. 42 Hz – 20 kHz Frequency Response (±3 dB):min. 56 Hz – 20 kHz Max. Peak SPL (0 dBV):min. 90 dB-SPL @ 1 m (0 dBV input, max volume, one channel) Inputs: min. 2× RCA (Left & Right) Nominal Input Sensitivity:–10 dBV for 85 dB-SPL @ 1 m (max volume) HF Driver Size:min. 2× 19 mm (0.75") soft-dome tweeters (one per channel) LF Driver Size:min. 4× 51 mm (2.0") woofers (two per channel) Amplifier Power:min. 20 W per channel, Class D Enclosure Material:Injection-molded ABS Finish:Black Mounting/Installation:Incl. two brackets for desk/table or wall mounting (Installation diagrams in manual) Power Supply:Input: 100–240 VAC, 50/60 Hz, 1.5 A Sleep mode: max. 0.25 W @ 100 VAC, 0.36 W @ 240 VAC Dimensions (H × W × D):max. 90 × 900 × 65 mm (3.54 × 35.4 × 2.55 in) Weight:max. 1.8 kg (4.0 lbs) |  |  |  |  |  |  |
|  |  |  |  |  |  | Professional display 75", 4k incl. wall mount Type: Professional Display Display Size: min. 75" Display Technology: LCD (IPS) Backlight: Direct LED Resolution: min. 3840 × 2160 px (4K Ultra HD) Brightness: min. 450 cd/m² Contrast Ratio: min. 4000:1 static, min. 10000:1 dynamic Aspect Ratio: 16:9 Refresh Rate: min. 60 Hz Response Time: max. 6.5 ms Viewing Angle: min. 178° horizontal / 178° vertical Display Control: IR remote control, Ethernet, RS-232C Lifespan: min. 50,000 hours Operation Time: min. 18/7 Orientation: Landscape and portrait supported Surface Treatment: Anti-glare HDMI Inputs: min. 2× HDMI 2.0 Type-A HDMI Outputs: min. 1× HDMI 2.0 Type-A USB Ports: min. 1× USB 2.0 Type-A, min. 1× USB 3.0 Type-A, min. 1× USB 2.0 Type-C (DP 1.2 ¦ 65W) Ethernet: min. 1× RJ-45 Audio Outputs: min. 1× 3.5 mm jack, min. 1× Mini-TOSLINK Serial Interface: RS-232 CPU: ARM Cortex-A55 or better GPU: Mali G51 MP2 or better RAM: min. 4 GB Storage: min. 32 GB Operating System: Android 11 or newer Speakers: Integrated, min. 2× 10 W Wired Network: min. 10BASE-T / 100BASE-T / 1000BASE-T Wi-Fi: min. Wi-Fi 6 (802.11ax), backward compatible Bluetooth: min. Version 5.2 Power Supply: 100–240 V AC, 50/60 Hz Standby Power Consumption: max. 0.5 W Energy Efficiency Class: min. A Operating Temp: 0°C to +40°C Storage Temp: −20°C to +60°C Humidity (Operating/Storage): 10% – 90% (non-condensing) VESA Mounting Pattern: min. 400 × 200 mm |  |  |  |  |  |  |
|  |  |  |  |  |  | Room 114: IT room Industrial Rack-Mount Server Type: Server Rack server with min. 3U height (to support PCIe graphics cards or PCIe Dante cards for future expansion) or tower format server CPU Performance: min. 15,000 PassMark points according to cpubenchmark.net (e.g., Intel Xeon Silver 4210, Intel Xeon E-2236, or AMD EPYC 7262 or newer) RAM: min. 64 GB DDR4 RAM Hardware RAID Controller: Required OS Storage: min. 480 GB SSD in RAID 6 (2x 480 GB SSD) Data Storage: HDD/SATA in RAID 6, min. 20 TB Network: min. 2x 1 Gb LAN ports 1x KVM (IPMI) LAN port, not shared Power Supply: Redundant power supply Operating System: min. Windows Server 2025 |  |  |  |  |  |  |
|  |  |  |  |  |  | Professional Audio DSP, Dante Type: Audio Processor General: Height: max. 133 mm Width: max. 483 mm Depth: max. 432 mm Weight: max. 8.2 kg Power Supply: Power Consumption: max. 150 W (100~240 VAC, 50/60 Hz) Phantom Power: +48 VDC (7 mA per input) Audio: Input Impedance (balanced): 8 kΩ Input Gain Range (in 6 dB steps): 0 – 66 dB Max. Input Level: +24 dBu Output Impedance (balanced): 200 Ω Max. Output Level: +24 dBu THD+N (20 Hz–20 kHz at +4 dBu): +0 / -0.25 dB EIN (20 Hz–20 kHz, 0 dB): > 108 dB Crosstalk (channel-to-channel at 1 kHz): @ 0 dB gain, +4 dBu input: < -85 dB @ 54 dB gain, -50 dBu input: < -75 dB Sampling Rate: 48 kHz A/D Converter: 24-bit Dante: Supported Certified Solutions: TAA Compliance: TAA-compliant |  |  |  |  |  |  |
|  |  |  |  |  |  | PoE Switches, 24 + 4 Ports Type: Managed PoE Switch 24+4 switch with 24x 10/100/1000BASE-T RJ45 ports and 4x 1G RJ45/SFP combo ports Performance: Total number of IPv4 routes: 128 Switching Capacity: 56 Gbps MAC Address Table: 8K Forwarding Rate: 42 Mpps ARP Table: 384 RAM: 128 MB Packet Buffer: 0.5 MB Power: Input Voltage: 100–240 VAC, 50–60 Hz Output Voltage: 48 VDC Max. Power Consumption: 370 W / 20 W PoE Standard: IEEE 802.3af/at Power Supply: 1 built-in Power Budget: min. 370 W Cooling: Number of Fans: 3 built-in Environment: Operating Temperature: 0 ºC to 45 ºC (32 °F to 113 °F) Storage Temperature: -40 ºC to 70 ºC (-40 °F to 158 °F) Physical: Footprint: 1U Mounting Options: Rackmount Product Material: Metal Dimensions (H x W x D): max. 45 x 440 x 208 mm (1.77'' x 17.32'' x 8.19'') |  |  |  |  |  |  |
|  |  |  |  |  |  | Server Rack for all components Type: Server rack Rack type: Network cabinet Product material: Glass, steel Package contents: 2 keys, screws, brush strips, side panels, front door, rear door, 2 pairs of adjustable mounting rails Rack size: 48.3 cm (19") Height (rack units): 26U Depth: 80 cm Width: 60 cm Height: 134.2 cm Color: Black |  |  |  |  |  |  |
|  |  |  |  |  |  | WiFi Infrastrukture for all rooms Type: Access Point(s) Dimensions: max. Ø206 x 46 mm Weight: max. 680 g Housing Material: Polycarbonate, metal Mounting Material: Stainless steel, galvanized steel Network Interface: 1/2.5 GbE RJ45 Management Interface: Ethernet Power Supply: PoE+, UniFi PoE switch Voltage Range: 44–57V DC Max. Power Consumption: 21W Max. Transmit Power: 2.4 GHz – 22 dBm; 5 GHz – 26 dBm; 6 GHz – 23 dBm MIMO: 2x2 (DL/UL MU-MIMO) for all bands Max. Data Rate: 2.4 GHz – 688 Mbps; 5 GHz – 4.3 Gbps; 6 GHz – 5.7 Gbps Antenna Gain: 2.4 GHz – 4 dBi; 5 GHz – 6 dBi; 6 GHz – 5.8 dBi LEDs: White/Blue Button: Factory Reset Mounting: Wall/ceiling (included) Operating Temperature: -30 to 60°C Operating Humidity: 5 to 95% non-condensing Certifications: CE, FCC, IC WiFi Standards: 802.11a/b/g/n/ac/ax/be (WiFi 6/6E, WiFi 7) Security: WPA-PSK, WPA-Enterprise (WPA/WPA2/WPA3/PPSK) BSSID: 8 per radio VLAN: 802.1Q QoS: User-based speed limit Guest Isolation: Supported |  |  |  |  |  |  |
|  |  |  |  |  |  | Software Software licenses for system (lifetime licenses) According to specifications Annex No.1; 2 and 3 |  |  |  |  |  |  |
|  |  |  |  |  |  | Implementation (One-Time) Sistem implementation According to specifications Annex No.1; 2 and 3 |  |  |  |  |  |  |
|  |  |  |  |  |  | Customer-specific documentation According to specifications Annex No.1; 2 and 3 |  |  |  |  |  |  |
|  |  |  |  |  |  | On-site customer training According to specifications Annex No.1; 2 and 3 |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |  |  |  |  |  |  |
| Total estimated value (excl. VAT) |  |  |  |  |  |  |  |  |  |  |  |  |
| Annex no. 3 Software Requirements Instructions. The tenderer must complete all the fields marked in yellow.. Name of bidder. ID; Requirements; * Yes/No; Comments (optional). *The bidder must indicate in these fields whether the product offered fulfils the requirement described. The answer options are Yes/No and the tenderer must select the correct option from the menu for each requirement.. 1. MUST-MEET CRITERIA GENERAL; Cat.; *Yes/No; Comments (optional). 1.1; The software must be user-friendly, as well as simple and intuitive to use. The software has a uniform user interface for all system controls (PC, tablets). The user interface is optimised for its core functions for operation via touchscreen, i.e. without a mouse and keyboard.; A. 1.2; The software must be available in English, Moldovan, and Russian. If the software is not currently translated into these languages, it must include tools at no extra cost to add additional languages.; A. 1.3; The software can be run on third-party devices (PCs) using the current version of the Google Chrome browser.; A. 1.4; The software is specifically designed for the control, recording, live broadcasting, debriefing, as well as archiving of simulation and skills training, which is connected and compatible with the required hardware to form a complete system.; A. 1.5; In the software, individual user accounts can be created. Each person who can log into the system is assigned a security role with appropriate permissions, such as administrators, technicians, instructors, and students. The creation of users and the assignment of security roles can be performed by administrators.; A. 1.6; All data is transmitted over the network encrypted according to the state of the art.; A. 1.7; The solution must not require an internet connection for the core functions (control, recording, live broadcasting and debriefing of audio-video).; A. 1.8; The videos must be stored on a local server on premise (not in the cloud) and the software must have user-configurable automatic deletion functions of recordings and metadata.; A. 1.9; The software can be used simultaneously in all simulation rooms, debriefing rooms and control rooms without restrictions (e.g. unlimited number of trainings, debriefings at one time); A. 1.10; The installed cameras and all other video sources can be flexibly assigned in the user interface from all control rooms from corresponding simulation rooms. Simulations can be started and controlled from each control room in all simulation rooms. The control includes starting and stopping the recording, creating annotations, as well as transmitting live audio and media to and from the corresponding simulation room.; A. 1.11; The number of possible video and audio sources is not limited by the software.; A. 1.12; The control software can display a live stream of up to 9 video feeds, each in Full HD resolution (1920x1080p) in the recording view.; A. 1.13; The integration of IP cameras, as well as external video sources (via HDMI-In, video grabber) is possible; A. 1.14; The video sources can be combined into several individually adaptable and logically connected views (layouts) (at least single frame, quad split, picture in picture); A. 1.15; The cameras (moving, zooming, focusing) can be controlled directly in the software without additional hardware (e.g. joystick). Control is done by clicking directly on the image and not by a separate controller in the software.; A. 1.16; When recording is enabled, all enabled audio and video feeds of the current view are recorded at a resolution of at least 1080p at 25 frames per second or higher; A. 1.17; In addition to playing the video in the selected layout that was set during recording, individual video feeds can be played both live and when the recording is played back in fullscreen mode; A. 1.18; All audio signals are processed via a digital audio DSP (Digital Signal Processor) with Acoustic Echo Cancelling, Background Noise Compensation, Automated Gain Control. As a result, there are no echo effects (the room announcements that are output in the simulation room are not listened back in the control room, but are filtered out digitally. Continuous background noise, e.g. from ventilation, is filtered out and mechanisms to improve speech intelligibility are configured on the DSP. The software communicates directly with the DSP to route the sound signals out of and into the right rooms.; A. 1.19; Mixing multiple audio inputs and outputs is possible directly in the software without additional hardware; A. 1.20; The sensitivity (volume) of the microphones can be controlled in the software in each control room without additional hardware; A. 1.21; The audio and video tracks must be in sync. The latency of transmitting audio and video tracks from the simulation rooms to the control and debriefing rooms is a maximum of 0.3 seconds.; A. 1.22; The input of audio files into the simulation room via the ceiling speakers (e.g. announcements, background noise) is possible without additional hardware in the control room. Audio files can be played either in a loop or once. The volume of the audio files being played can be controlled in the software during the scenario.; A. 1.23; The software has a dedicated debriefing function. The time stamps ("annotations") can be selected directly. The playback of the recording starts at least 5 seconds before the time of the selected time marker.; A. 1.24; Playback of the recording during the debriefing is possible directly from the software no later than 30 seconds after the end of the recording; A. 1.25; The recording can be started and stopped by means of a button in the software without additional hardware; A. 1.26; An annotation function with unique timestamps in the recording and user identification is available in the software. Multiple users on multiple devices can annotate for the same scenario at the same time. The annotations are collected in debriefing mode and displayed in a filterable way for each user.; A. 1.27; Bookmarks and annotations can be displayed as a chronological list or in a timeline in both the director's software and the debriefing software; A. 1.28; Electronic checklists must be able to be completed in the control room software. The minimum requirement is simple checklists with a yes/no criterion.; A. 1.29; In addition to the control room, a live broadcast of the current recording is also possible in one or more other rooms. The live broadcast to other rooms can be easily started and ended in the software from the control room.; A. 1.30; This live transmission of the current recording to other rooms exclusively in the control room only reproduces the video streams and synchronized audio tracks, but not the annotations that are created; A. 1.31; The start (recording) of the next scenario can take place in parallel with the debriefing of the previous scenario without any problems; A. 1.32; The software has a built-in media database. The media can be played back from the control room on a screen specially installed in the simulation room, but also on a tablet during the debriefing after selection. Media in common image and video formats (jpg, png, mp4), but also PDF and PowerPoint (pptx) files must be playable. If a medium is displayed during a scenario, a bookmark with a timestamp is created for it - so that the time at which this medium was shown is later visible in the debriefing and the medium can be called up again in the debriefing by clicking on the bookmark.; A. 1.33; Access to the administration area of the software, including the archive of recordings, is possible from any computer in the same network using a browser, protected by access data; A. 1.34; The archive database can be searched and filtered using a wide variety of metadata (at least instructor, actor/simulator, participants, date, time, scenario); A. 1.35; Editing metadata and deleting recordings is possible with an appropriate security role; A. 1.36; A download/export function of the individual video files in a common format (z.B. mp4), in a resolution of 1080p at 25 frames per second or higher, is available. Only users with appropriate permission can use this feature.; A. 1.37; Participants, instructors and, if necessary, acting patients can be assigned to each recording before, during and after the end of the recording; A. 1.38; The software is installed as an on-site installation on the servers and computers included in the purchase; A. 1.39; The software is updated regularly (at least 2 times a year) with security and performance updates; A. 1.40; The software is prepared for remote support. If necessary, the manufacturer's support can directly access all devices via the Internet to provide optimal and fast support.; A. 2. SHOULD-MEET CRITERIA - AUDIO; Cat.; *Yes/No; Comments (optional). 2.1; The system records all audio sources separately from video sources as audio files. This means that the audio is not encoded into the video via the camera, but completely separated as separate audio files, so that they can be played back or edited separately later; C. 2.2; The sensitivity (the recording volume) of all microphones can be controlled in the software for each microphone individually before and during recording; B. 2.3; For each audio source, the software can be controlled separately during recording whether it should be (1) recorded, (2) listened to in the control room, and (3) heard in the live broadcast in the Audience Room; B. 2.4; With a Push-to-talk gooseneck table microphone in the control room, several buttons can be used to speak (1) "Voice-to-Room" to the simulation room, (2) to a separate "Voice of Patient" speaker and (3) to a wireless in-ear system via several buttons. The volume of these audio tracks can be controlled in the software. The audio tracks of "Voice-to-Room" and "Voice-of-Patient" are integrated directly from the microphone through the software into the live broadcast and recording (and not via the recording via the room microphone in the simulation room).; B. 2.5; In a scenario library, matching (background) sounds can be uploaded to the software in MP3 format and assigned. These can be played during the simulation via the speakers in the simulation room with the possibility of automatic replay (loop) for background noise. The software can be used to determine whether and how loud the background noise should be heard in the simulation room, but also in the recording and live broadcast. The system's DSP is programmed in such a way that recorded background noise in the simulation room is digitally filtered out of the recording so that the communication of the participants in the recording remains optimally intelligible.; C. 3. MUST-MEET CRITERIA - VIDEO; Cat.; *Yes/No; Comments (optional). 3.1; In the control room software, any number of views can be defined, in which up to 9 camera streams or HDMI encoder streams can be assigned. The layout of the streams can be done in different selectable layouts, e.g.: single video, quad split with four videos, 1 large and several small videos, picture-in-picture. With Picture-in-Picture, the level of transparency and location of the small video stream can be configured. Different of these layouts can be created for each room. Each view can be saved with its own name; B. 3.2; The control room software is optimized for one monitor, but especially for display on two monitors. When using two monitors, one monitor is used to display the video streams, and the other monitor is used for control and annotation functions; B. 3.3; At any time, even while recording, you can seamlessly switch between rooms and/or stream layouts. This makes multi-room scenarios possible. The associated audio inputs and outputs (microphones and speakers) are automatically switched when changing rooms, so that the right sound is always heard with the right image; B. 3.4; For each camera, at least four pre-saved positions can be configured by users in the software, which can then be approached with one click; C. 3.5; Each video stream can be zoomed in in two stages (up to full-screen mode) in the recording view in the control room; B. 4. SHOULD-MEET CRITERIA - AUDIENCE ROOM; Cat.; *Yes/No; Comments (optional). 4.1; In the control room software, it is possible to control whether and in which rooms a live broadcast should take place. The live broadcast can be started or stopped at any time before, during and after recording by pressing a button in the Regisraum software. It is also possible to start only one live broadcast (without recording).; B. 4.2; The live broadcast is automatically started when a recording starts, if a live broadcast room has previously been assigned in the software for the scenario. The live broadcast is automatically stopped when a recording is stopped.; B. 4.3; In the control room software, the layout and composition of the video streams can be controlled specifically for the live broadcast. For example, only 2 camera streams can be shown in the live broadcast, while four camera streams appear in the control room and in the recording.; C. 4.4; If a medium (e.g. image or video) is displayed on a screen in the simulation room, this medium is also displayed in the live broadcast in the Audience Room. If the Audience Room has only one screen, the media will be displayed for between 10-20 seconds instead of the video stream. If the Audience Room has two screens, the media will be displayed on the second screen without any time limit, while the live video broadcast will run on the first screen; B. 4.5; Formattable texts for the scenario (e.g. briefing, clinical vignette) can be entered in the control room software, which are displayed on the screen in the live broadcast room by clicking on the screen. The display can take place before, during or after the recording, controllable by the control room software; C. 5. SHOULD-MEET CRITERIA - DEBRIEFING; Cat.; *Yes/No; Comments (optional). 5.1; The system has a dedicated debriefing application, which is controlled via a tablet. The videos themselves are not played on the tablet, but on a separate screen in the debriefing room ("debriefing player"), the media playback of which is controlled by the tablet.; B. 5.2; On the screen of the debriefing player, on which all participants view the videos, no annotations or other comments by the instructors are displayed. These can only be found on the tax tablet of the debriefing person; B. 5.3; The annotations and checklist entries of the recording are displayed on the tablet in a list or timeline. When the user clicks on an event (bookmark, annotation or checklist entry), the video jumps to a point in time 5-15 seconds (exact lead time period can be set in the software) before the time of the respective annotation entry and can be played from there.; B. 5.4; The volume of playback of the debriefing player can be controlled from the debriefing tablet; C. 5.5; A control tablet is not tied to a specific room and can be used in any debriefing room. Before the start of the debriefing, the debriefing room and screen on which the debriefing is to take place can be selected on the control tablet.; B. 5.6; Before the debriefing session, the planned debriefing duration can be set on the control tablet. The control tablet visually alerts the debriefer when the pre-set time has elapsed.; C. 5.7; The tablet has all the necessary video control functions (start, pause, stop, manual forward and rewind). By operating these functions, the videos are promptly controlled on the debriefing player.; B. 5.8; The arrangement of the videos (split-screen, single video) can be controlled by the tablet during video playback.; C. 5.9; The screen on which the videos are played always automatically switches to dark when no video is played, so as not to draw the attention of the participants to the screen during the discussion phases in the debriefing.; B. 5.10; The debriefing application on the tablet allows you to show the media stored in the media library of the simulation scenario on the debriefing player.; B. 5.11; A media and document database can be accessed via the control tablet to access general presentation and learning materials on the Debriefing Player screen. For documents in PowerPoint or PDF format, the software on the tablet acts as a remote control for scrolling back and forth.; C. 6. SHOULD-MEET CRITERIA ANNOTATIONS, ASSESSMENTS, EXAMS; Cat.; *Yes/No; Comments (optional). 6.1; The software has an extensive, intuitive bookmarking and annotation module. By clicking on ready-made buttons with icons, bookmarks can be created in the control room software. There are different buttons available (at least 3 icons for neutral, good and bad events); B. 6.2; There is a library with at least 40 icons for communication-related or medical-professional events, which can be used as buttons for creating bookmarks depending on the scenario.; C. 6.3; For each bookmark created by clicking on an icon, a free text can also be entered as an annotation during recording.; B. 6.4; Both individual events (marking a specific point in time) and longer-lasting events (e.g. phase from the beginning to the end of resuscitation) can be recorded by the bookmark and annotation system. For continuous events, the event duration is automatically calculated and stored in the annotation text; B. 6.5; Checklist entries can be evaluated not only in terms of yes/no status, but also on a freely definable three- to n-level (max. 10) scale.; B. 6.6; Complex checklists and assessment forms with single-choice, multiple-choice, open-ended question and comment fields for each question can be created and completed electronically in the system.; C. 6.7; The software must allow the definition of competency categories (e.g., clinical skills, communication, etc.) for each exam question. It should also support assigning different weightings to each category (e.g., 30% clinical skills, 70% communication) to reflect the specific focus and importance of each competency in the assessment.; A. 6.8; Assessment forms can be configured with scoring functionality for exams. The system is capable of generating evaluations based on the completed assessments and allows for the export of these evaluations; A. 6.9; Questions items can be marked as critical (K.O.) items. If a K.O. question item is failed the entire exam is automatically rated as unsuccessful, regardless of performance on other questions or the overall score.; A. 6.10; Questions and notes can be formatted using text styling options such as bold and italics to highlight key information or clarify specific instructions. Additionally, images can be embedded, displayed as thumbnails that can be enlarged to full screen with a click for detailed viewing. T; B. 6.11; The software allows exam flows to be configured with at least two mandatory phases: "Student Ready" and "Encounter." Additionally, optional phases such as "Pre-Encounter" and "Post-Encounter" can be defined and included in the exam flow as needed.; A. 6.12; For each exam flow, the length of each phase can be configured, and sounds can be set to play at specific times (e.g., play a "gong" sound at the start of the encounter phase).; B. 6.13; Examiners have the ability to view the clinical vignette presented to students during the "Student Ready" phase; C. 6.14; Before and during exams, an overview can be opened that displays the status of each exam station, examiner, student, and simulated patient. This overview is also accessible on mobile devices such as laptops and tablets.; B. 6.15; The software supports the use of "floor screens" that guide students to their assigned exam stations and display the current exam phase, helping to ensure smooth transitions and efficient navigation during the examination process.; C. 6.17; In addition to the control room software, all bookmarking, annotation, checklist and assessment functions can also be recorded simultaneously by other users using tablets. The system stores which user has created which entries and also displays this meta information in the recording archive and in the debriefing application.; B. 7. MUST-MEET CRITERIA TRAIN THE TRAINER; Cat.; *Yes/No; Discription (Optional). 7.1; In order to train new instructors, it is possible to load previously recorded videos into the control room software instead of live video, so that the operation of the software and the creation of bookmarks and annotations can be practiced. It is not apparent to users that these are recordings.; C. 8. MUST-MEET CRITERIA RECORDING ARCHIVE; Cat.; *Yes/No; Discription (Optional). 8.1; In the archive, subsequent annotations, completion of checklists and evaluations with scoring are possible; B. 8.2; Recordings can be exported as rendered video, which combines all video streams and audio tracks, and transferred to an external storage medium.; B. 8.3; The video and audio tracks can also be exported as individual raw data for post-processing in video editing programs.; C. 8.4; Periods can be set for the automatic deletion of recordings (e.g.: 12/24/36 hours, 100 days). Certain recordings can be locked in the archive so that they are not deleted by automatic deletion.; B. 8.5; It is possible to add metadata such as names, locations or names of the participants (before, during, and after the training) to the recordings of the simulation session in the archive.; B. 9. SHOULD-MEET CRITERIA ADMIN; Cat.; *Yes/No; Comments (optional). 9.1; The software has a scenario designer module in which the templates for exercise scenarios can be configured with all descriptions, the media and teaching materials to be destroyed, the appropriate bookmark icons and sound files.; B. 9.2; The software has a comprehensive scheduling module that can be used to plan exercises, book rooms, and assign all participants and instructors. The scheduling module has a calendar function and is able to send personalized invitations to attendees via email.; C. 9.3; The software has extensive media databases to manage all required images, videos, presentations and teaching materials that are used in the operation of the software; B. 9.4; The software has a module for creating checklists, surveys and evaluation sheets, which can be used to create even complex electronic forms.; C. 9.5; The system offers a wide range of options for editing and managing user rights, e.g. via an Access Control List (ACL); B. 9.6; It is possible to connect the system to an LDAP server (e.g. Active Directory) and use this interface for user authentication.; C. 9.7; Alternatively, it is also possible to configure the system with a Shibboleth interface for user authentication.; C. 9.8; A separate administrator account allows you to edit all the settings of the software.; B. |  |  |  |  |
| Signed: ___________________ Name and Surname: _____________________________ Position/Title: _____________________________ Tenderer: ___________________________ Address: ___________________________ |  |  |  |  |  |  |  |  |  |  |  |  |

| ANNEX No. 23 to Standard Documentation No. 115 dated “15” September 2021 ## Price Specifications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [[This table shall be completed by the Tenderer in columns 5, 6, 7, 8, and 11 if necessary, and by the Contracting Authority in columns 1, 2, 3, 4, 9, and 10] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Procurement Procedure Number ______________ dated _________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Object of Procurement :______________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CPV Code | Description of Goods/Services | Unit of Measurement | Quantity | Unit Price (Excl. VAT) | Unit Price (Incl. VAT) | Total Price (Excl. VAT) |  | Total Price (Incl. VAT) | Delivery Date / Lead Time |  | Budget Classification / IBAN |  |  | Discount % |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |  | 8 | 9 |  | 10 |  |  | 11 |  |  |
| 38970000-5 | Lot No. 1: Audio-video debriefing simulator for medical staff training |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP-Camera, FullHD, 2.5x Optical Zoom, Dome Format | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PTZ IP-Camera, FullHD, 10x optical zoom, Dome Format | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Wireless Headcam (POV), Full-HD | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HDMI Patient monitor Capture device, PoE | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Room microphone, PoE | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ceiling Speaker PoE | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Media Screen AiO-PC with Touchscreen 24" | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IP-Camera, FullHD, 2.5x Optical Zoom, Dome Format | pcs | 10 |  |  |  |  |  | The system shall be delivered under DDP conditions in accordance with INCOTERMS 2020, within 90 calendar days from the contract signing date. The supplier shall deliver, install, and configure the equipment at the following address: 17 Muncești Highway, Chișinău Municipality |  |  |  |  |  |  |  |
|  | PTZ IP-Camera, FullHD, 10x optical zoom, Dome Format | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | HDMI Patient monitor Capture device, PoE | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Room microphone, PoE | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Ceiling Speaker PoE | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Media Screen AiO-PC with Touchscreen 24" | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mini PC , 2x FullHD Touchscreen 24" Monitors, Mouse and Keyboard (Keyboard LAYOUT), wireless | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Push-to-Talk Gooseneck Microphone, 2 Channels, PoE | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Active Stereo speakers (Pair) with line out for headphones | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mini PC , 2x FullHD Touchscreen 24" Monitors, Mouse and Keyboard (Keyboard LAYOUT), wireless | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Push-to-Talk Gooseneck Microphone, 2 Channels, PoE | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Overear headphones | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Amplifier for up to four headphones | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Active Stereo speakers (Pair) | pcs | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Debriefing Mini-PC | pcs | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Windows Tablet, 10.5" | pcs | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Soundbar for TV | pcs | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Professional display 75", 4k incl. wall mount | pcs | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Industrial Rack-Mount Server | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Professional Audio DSP, Dante | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PoE Switches, 24 + 4 Ports | pcs | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Server Rack for all components | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | WiFi Infrastrukture for all rooms | pcs | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Software licenses for system (lifetime licenses) | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Sistem implementation | pcs | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Customer-specific documentation | pcs | 64 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | On-site customer training | h | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signed: _______________ Name and Surname: _________________________ Position/Title: _______________ Tenderer: ___________________ Address: ___________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ANNEX No. 24

to Standard Documentation No. _____

dated “__” ________ 20_

STANDARD CONTRACT

CONTRACT No. ______ for the procurement of ___________________________ - GENERAL PART (MANDATORY) Object of the procurement: _____________________________________________ CPV Code: __________________________________________________________ “_” __________ 20 __________________________ (location) Supplier/Service Provider; Contracting Authority. Name: ______________________________________; Name: ______________________________________. (full name of the company, association, or organization); (full name of the company, association, or organization). Represented by: ________________________; Represented by: ________________________. (position, first name, last name); (position, first name, last name). Acting on the basis of: ___________________; Acting on the basis of: ___________________. (statute, regulation, resolution, etc.); (statute, regulation, resolution, etc.). Hereinafter referred to as: Supplier/Service Provider; Hereinafter referred to as: Buyer/Beneficiary. Registration No. and Date: ___________________; Registration No. and Date: ___________________. On the one part; On the other part. both parties (hereinafter referred to as the “Parties”) have concluded this Contract concerning the following: - The procurement of ___________________________________________________________ (Name of the goods/services) hereinafter referred to as the “Goods/Services,” in accordance with the public procurement procedure of type __________ No. _______ dated _____________, based on the decision of the Buyer/Beneficiary’s working group dated “____” ______________ 20. - The following documents shall be considered integral parts of the Contract: - Technical Specifications; - Price Specifications; - Other component documents as required, such as drawings, schedules, forms, provisional and final acceptance protocols, etc. - In the event of any discrepancies or inconsistencies between the component documents of the Contract, the documents shall have the order of priority listed above. - As consideration for the payments to be made by the Buyer/Beneficiary, the Supplier/Contractor undertakes under this Contract to deliver/provide the Goods/Services to the Buyer/Beneficiary and to remedy any defects in accordance with the provisions of the Contract in all respects. - The Buyer/Beneficiary undertakes under this Contract to pay the Supplier/Contractor, as consideration for the delivery/provision of the Goods/Services, the Contract Price within the terms and according to the procedures established by the Contract. 1. Object of the Contract 1.1. The Supplier/Contractor undertakes the obligation to deliver/provide the Goods/Services in accordance with the Specifications, which form an integral part of this Contract. 1.2. The Buyer/Beneficiary undertakes, in turn, to pay for and accept the Goods/Services delivered/provided by the Supplier/Contractor. 1.3. The quality of the Goods shall be certified by the quality certificates specified in the Specifications. 1.4. The Services provided under this Contract shall comply with the standards indicated in the Specifications. - The warranty periods [validity, as applicable] for the Goods/Services are specified in Annex No. 22 – Technical Specifications. 2. Terms and Conditions of Delivery/Provision 2.1. The delivery/provision of the Goods/Services shall be carried out by the Supplier/Contractor in accordance with the complete list of the distribution network at the national level, which demonstrates that the Tenderer owns fuel stations in the localities specified in the procurement documentation. Fuel shall be delivered to the fuel stations based on cards issued by the Supplier. The Tenderer provides the Contracting Authority with the possibility to purchase fuel (without cash payment) through value cards at the Supplier’s fuel stations in each of the localities mentioned in the procurement documentation. If the final destination consists of multiple localities/regions, the awarding of procurement contracts shall be executed in lots for each locality/region separately. The delivery of the cards shall be made based on a card issuance request submitted by the Contracting Authority. The requested deadline for the delivery of the cards to the Contracting Authority’s headquarters is five (5) working days from the date the Contract enters into force and, respectively, from the date of submission of the request for the issuance of additional cards. 2.2. The Supplier shall provide the Buyer/Beneficiary with continuous online access to detailed information regarding all fuel purchases made by each of its vehicles. The Buyer/Beneficiary shall have the ability to obtain, at any distribution station using a card, information on the remaining balance for each card. The Supplier manages the list of lost or stolen cards and is obliged to block/unblock their use within a maximum of 24 hours from the Buyer/Beneficiary’s request. The Supplier guarantees that the products supplied comply with the minimum pollution standards approved under national legislation and can be dispensed at the stations located in the localities specified in the procurement documentation. Delivered fuels must meet the applicable quality standards. Technical quality conditions and product assessment methods are specified in Part II – Special Conditions of the Contract, as well as in Annex No. 1 – “Technical Specifications,” based on national or international standards and certifications. The Supplier shall ensure card personalization for each vehicle (by registration number) and configure each card according to the type of fuel. The Supplier shall provide continuous 24/7 support to promptly resolve any issues arising with the operation of fuel cards. The Supplier shall specify whether all cards are accepted at all fuel stations located in the localities listed in the procurement documentation. Instructions for card use shall be provided to the Buyer/Beneficiary. The Contracting Authority reserves the right to increase or decrease the number of cards and to adjust fuel quantities in accordance with regulatory provisions. 2.3. The accompanying documentation for the Goods/Services shall include the requirements specified above and shall be adjusted by the Contracting Authority as necessary. 2.4. Originals of the documents specified in section 2.2 shall be presented to the Buyer/Beneficiary no later than at the time of delivery/provision of the Goods/Services at the final destination. Delivery/provision of the Goods/Services shall be considered complete upon submission of the aforementioned documents. 3. Price and Payment Terms 3.1. The price of the Goods/Services delivered/provided under this Contract is established in Moldovan Lei (MDL), as specified in the Specifications of this Contract. 3.2. The total amount of this Contract, including VAT, is established in Moldovan Lei and amounts to: __________________________________ MDL (amount in figures and words) 3.3. Payments for the Goods/Services delivered/provided shall be made in Moldovan Lei. 3.4. The method and terms of payment by the Buyer/Beneficiary shall be: The above requirements shall be reviewed by the Contracting Authority and adjusted according to current needs. 3.5. Payments shall be made by bank transfer to the Supplier/Service Provider’s settlement account indicated in this Contract. 4. Delivery and Acceptance Conditions 4.1. The Goods/Services shall be considered delivered by the Supplier/Service Provider and accepted by the Buyer/Beneficiary [recipient, as applicable] if: - the quantity of the Goods/Services corresponds to the information specified in the List of Goods/Services and the delivery/provision schedule, and to the accompanying documents in accordance with Clause 2.2 of this Contract; - the quality of the Goods/Services corresponds to the information specified in the Specifications; - the packaging and integrity of the Goods correspond to the information specified in the Specifications. 4.2. The Supplier/Service Provider is obliged to provide the Buyer/Beneficiary with an original copy of the fiscal invoice together with the delivery/provision of the Goods/Services for payment purposes. In case of non-compliance with this clause by the Supplier/Service Provider, the Buyer/Beneficiary reserves the right to extend the payment term indicated in Clause 3.4 corresponding to the number of days of delay and to be exempted from paying the penalty established in Clause 10.3. 5. Standards 5.1. The Goods/Services provided under this Contract shall comply with the standards presented by the Supplier in its technical proposal. 5.2. When no standard or applicable regulation is specified, the standards or other regulations authorized in the country of origin of the Goods/Services shall apply. 6. Obligations of the Parties 6.1. Under this Contract, the Supplier/Service Provider undertakes to: a) deliver/provide the Goods/Services in accordance with the conditions specified in this Contract; b) notify the Buyer/Beneficiary within ____ calendar days after signing this Contract, by phone/fax or electronic means, regarding the availability of the delivery/provision of the Goods/Services; c) ensure appropriate conditions for the Buyer/Beneficiary [recipient, as applicable] to receive the Goods/Services within the established deadlines and in accordance with the requirements of this Contract; d) ensure the integrity and quality of the Goods/Services throughout the period until they are received by the Buyer/Beneficiary [recipient, as applicable]. 6.2. Under this Contract, the Buyer/Beneficiary undertakes to: a) take all necessary measures to ensure the timely receipt of the Goods/Services delivered/provided in accordance with the requirements of this Contract; b) ensure payment for the Goods/Services delivered/provided, respecting the methods and deadlines indicated in this Contract. 7. Circumstances Excusing Non-performance 7.1. The Parties shall be exempt from liability for partial or full non-performance of their obligations under this Contract if such non-performance is caused by the occurrence of circumstances justifying non-performance (wars, natural disasters such as fires, floods, earthquakes, as well as other circumstances beyond the control of the Parties). 7.2. The Party invoking the clause on circumstances justifying non-performance is obliged to immediately notify (but no later than 10 days) the other Party about the occurrence of such circumstances. 7.3. The occurrence of circumstances justifying non-performance, the date of their commencement, and the duration of their effect must be confirmed by a certificate issued by the competent authority of the country of the Party invoking such circumstances. 7.4. In the event of circumstances justifying non-performance, the Contract shall be amended through an additional agreement, including modification of the execution deadlines, for any subsequent performance of the Contract. When applying clauses 7.1 and 7.3, the Parties shall modify the Contract by an additional agreement regarding partial or full non-performance of obligations, including modification of deadlines in case of suspension and subsequent execution of the Contract. 8. Contract Termination 8.1. The Contract may be terminated by mutual agreement of the Parties. 8.2. The Contract may be unilaterally terminated by: a) The Buyer/Beneficiary in case of the Supplier/Provider’s refusal to deliver/provide the Goods/Services specified in this Contract; b) The Buyer/Beneficiary in case of the Supplier/Provider’s failure to comply with the agreed delivery/performance deadlines; c) The Supplier/Provider in case of the Buyer/Beneficiary’s failure to comply with the payment deadlines for the Goods/Services; d) Either the Supplier/Provider or the Buyer/Beneficiary in case one Party fails to satisfy the claims submitted under this Contract. 8.3. The Buyer/Beneficiary has the right to unilaterally terminate the Contract during its validity in any of the following cases: a) The contractor, at the time of award, was in one of the situations that would have led to its exclusion from the award procedure in accordance with Article 19 of Law No. 131/2015 on Public Procurement; b) The contract has undergone a substantial modification that required a new public procurement procedure under Article 76 of Law No. 131/2015 on Public Procurement; c) The contract should not have been awarded to the respective contractor due to a serious violation of obligations arising from Law No. 131/2015 on Public Procurement and/or international treaties to which the Republic of Moldova is a party, as established by a decision of a national or, as applicable, international court. 8.4. The Party initiating the termination of the Contract is obliged to notify the other Party within ___ working days of its intention through a reasoned letter. 8.5. The notified Party is obliged to respond within ___ working days from receipt of the notification. If the dispute is not resolved within the specified period, the initiating Party will proceed with the termination. 9. Complaints 9.1. Complaints regarding the quantity of the delivered/provided Goods/Services shall be submitted to the Supplier/Contractor at the time of receipt, and shall be confirmed by a jointly prepared report with the Supplier’s/Contractor’s representative. 9.2. Claims regarding the quality of the delivered/provided Goods/Services shall be submitted to the Supplier/Contractor within ___ days from the detection of quality deficiencies and must be confirmed by a certificate issued by a neutral and authorized independent organization. 9.3. The Supplier/Contractor is obliged to examine the claims within ___ days from the date of receipt and to inform the Purchaser/Beneficiary of the decision taken. 9.4. In case the claims are acknowledged, the Supplier/Contractor is obliged, within ___ days, to deliver/provide the missing quantity of Goods/Services to the Purchaser/Beneficiary, or in the case of non-conforming quality, to replace or correct them in accordance with the requirements of the Contract. 9.5. The Supplier/Contractor shall be responsible for the quality of the Goods/Services within the established limits, including for latent defects. 9.6. In case of deviation from the quality confirmed by the certificate issued by the neutral or authorized independent organization, any costs arising from storage or delay shall be borne by the responsible party. 10. Sanctions 10.1. The form of performance guarantee agreed upon by the Purchaser/Beneficiary is ____________________________________________, in the amount of __% of the Contract value. 10.2. In case of refusal to sell/provide the Goods/Services specified in this Contract, the performance guarantee will be retained if it has been constituted in accordance with the provisions of Clause 10.1; otherwise, the Supplier/Contractor shall pay a penalty of 5% of the total Contract amount. 10.3. For delayed delivery/performance of the Goods/Services, the Supplier/Contractor shall pay compensation of 0.1% of the value of the undelivered/unperformed Goods/Services for each day of delay, but not exceeding 5% of the total Contract value. If the delay exceeds 7 days, the Supplier/Contractor shall submit a written explanation to the Purchaser/Beneficiary. If accepted by the Purchaser/Beneficiary, the Supplier/Contractor shall extend the validity of the performance guarantee; otherwise, the delay shall be considered a refusal to deliver/provide the Goods/Services under this Contract, and the performance guarantee shall be retained, if constituted according to Clause 10.1. 10.4. For late payment, the Purchaser/Beneficiary shall pay compensation of 0.1% of the value of the unpaid Goods/Services for each day of delay, but not exceeding 5% of the total Contract value. 10.5. The first working day following the date constituting the deadline for delivery/performance or the payment deadline shall be considered a day of delay. 10.6. The amount of penalties calculated for the Supplier/Contractor under this Contract may be deducted (retained) by the Purchaser/Beneficiary from the payment for the delivered/provided Goods/Services. 11. Intellectual Property Rights 11.1. The Supplier/Contractor shall indemnify the Purchaser against any: a) claims and legal actions arising from the infringement of intellectual property rights (patents, trade names, trademarks, etc.) related to the equipment, materials, installations, or machinery used for or in connection with the purchased products; and b) damages, costs, fees, and expenses of any nature, except where such infringement results from compliance with the Terms of Reference prepared by the Purchaser. 12. Final Provisions 12.1. Any disputes arising from this Contract shall be resolved by the Parties amicably. Failing amicable resolution, the disputes shall be submitted for examination to the competent court according to the legislation of the Republic of Moldova. 12.2. During the term of the Contract, the Contracting Parties have the right to agree on amendments to the Contract clauses through an additional agreement, only in the event of circumstances that affect their legitimate commercial interests and could not have been foreseen at the date of execution of the Contract. Amendments and supplements to this Contract shall be valid only if made in writing and signed by both Parties. 12.3. Neither Party has the right to transfer its obligations or rights under this Contract to third parties without the written consent of the other Party. 12.4. If this Contract is signed electronically by both Parties, it shall be automatically transmitted by electronic means. If the Contract is signed in handwritten form, it shall be executed in two copies in Romanian, one for the Supplier/Contractor and one for the Purchaser/Beneficiary. 12.5. This Contract is considered concluded on the date of signing and enters into force on the date of registration with one of the regional treasuries of the Ministry of Finance, in cases where financial resources are allocated from the state/local budget, or on the date of signing or another date specified in this Contract if the management of financial resources is not performed through the treasury system. 12.6. This Contract shall remain valid until _______. 12.7. This Contract represents the mutual agreement of the Parties and is considered signed on the date of application of the last signature by either Party. 12.8. In confirmation of the above, the Parties have signed this Contract in accordance with the legislation of the Republic of Moldova. II. SPECIAL CONDITIONS OF THE CONTRACT (IF APPLICABLE) LEGAL, POSTAL AND PAYMENT DETAILS OF THE PARTIES Supplier/Contractor of Goods/Services; Purchaser/Beneficiary. Postal Address:; Postal Address:. Telephone:; Telephone:. Tax ID:; Tax ID:. Bank:; Bank:. Bank Code:; Bank Code:. IBAN:; IBAN:. - SIGNATURES OF THE PARTIES - Supplier/Contractor of Goods/Services; - Purchaser/Beneficiary. ANNEX No. 1 to Contract No. ___________ dated “____” _____ 20___ TECHNICAL SPECIFICATIONS – according to the data from Annex No. 22 - SIGNATURES OF THE PARTIES Supplier/Service Provider Buyer/Beneficiary ANNEX No. 2 to Contract No. ___________ dated “____” _____ 20___ - PRICE SPECIFICATIONS – according to the data in Annex No. 23 - SIGNATURES OF THE PARTIES Supplier/Service Provider; Buyer/Beneficiary.