| Nr. d/o | Cod CPV | Denumirea bunurilor/ serviciilor | Unitatea de măsură | Cantitatea | Specificarea tehnică deplină solicitată, Standarde de referință | Preț Bucată |
| --- | --- | --- | --- | --- | --- | --- |
|  | Materiale de tehnică sanitară |  |  |  |  | 189000,00 |
| 1 | 44411000-4 | Robinet coltar | buc | 6 | Robinet coltar 1/2*1/2 AP09/AP04 albas.DWK |  |
| 2 |  | Robinet coltar | buc | 6 | Robinet coltar 1/2*1/2 AP09/AP04 rosu DWK |  |
| 3 |  | Sifon lavoar 11/4 | buc | 15 | Sifon lavoar 11/4 |  |
| 4 |  | Robinet sfera | buc | 15 | Robinet sfera 1/2 FIFE alama/fluture Bianchi |  |
| 5 |  | Racord WC flexibil | buc | 6 | Racord WC flexibil 110mm 230-570D77-120 |  |
| 6 |  | Racord flexibil apa | buc | 6 | Racord flexibil apa 50cm 1/2 FIFI Flexitaly |  |
| 7 |  | Robinet sfera | buc | 15 | Robinet sfera 1/2 FIFE alama/fluture Bianchi |  |
| 8 |  | Racord flexibil apa | buc | 15 | Racord flexibil apa 60cm 1/2 FIFE Flexitaly |  |
| 9 |  | Filtru alama impuritati | buc | 10 | Filtru alama impuritati 1/2 galb. |  |
| 10 |  | Filtru alama impuritati | buc | 10 | Filtru alama impuritati 3/4 galb. |  |
| 11 |  | Mecanism WC alim.de jos | buc | 10 | Mecanism WC alim.de jos ZND1/2 KK-Pol |  |
| 12 |  | Racord flexibil apa 40cm | buc | 12 | Racord flexibil apa 40cm 1/2 FIFI Flexitaly |  |
| 13 |  | Racord flexibil apa 50cm | buc | 12 | Racord flexibil apa 50cm 1/2 FIFI Flexitaly |  |
| 14 |  | Racord flexibil apa 60cm | buc | 12 | Racord flexibil apa 60cm 1/2 FIFI Flexitaly |  |
| 15 |  | Racord PPR FI | buc | 20 | Racord PPR FI 20*1/2 alb |  |
| 16 |  | Racord PPR FI | buc | 20 | Racord PPR FI 25*3/4 alb |  |
| 17 |  | Racord PPR FI | buc | 20 | Racord PPR FI 32*1 alb |  |
| 18 |  | Cot PPR 20mm*90 alb | buc | 20 | Cot PPR 20mm*90 alb |  |
| 19 |  | Cot PPR 25mm*90 alb | buc | 20 | Cot PPR 25mm*90 alb |  |
| 20 |  | Cot PPR 32mm*90 alb | buc | 20 | Cot PPR 32mm*90 alb |  |
| 21 |  | Reductie set radiator alum.1*1/2 | buc | 40 | Reductie set radiator alum.1*1/2 |  |
| 22 |  | Reductie radiator alum.1*3/4 7 unitati | set | 20 | Reductie radiator alum.1*3/4 7 unitati |  |
| 23 |  | Reductie radiator | set | 20 | Reductie radiator alum.1*3/4 13 unitati |  |
| 24 |  | Radiator bimetal | sec | 200 | ##Radiator bimetal 500mm D6 Aera |  |
| 25 |  | Consola radiator | buc | 20 | Consola radiator 7*175mm cu diblu |  |
| 26 |  | Robinet sfera | buc | 20 | Robinet sfera 1/2 FIFE alama/fluture Bianchi |  |
| 27 |  | Robinet sfera | buc | 20 | Robinet sfera 3/4 FIFE alama/fluture Bianchi |  |
| 28 |  | Robinet sfera | buc | 20 | Robinet sfera 1 FIFE alama/fluture Bianchi |  |
| 29 |  | Sifon chiuveta | buc | 15 | Sifon chiuveta 11/2*40mm*50mm Nova |  |
| 30 |  | Sifon cada | buc | 15 | Sifon cada 11/2*40/50 automat SIMPLEX VIEGA |  |
| 31 |  | Reductor presiune | buc | 6 | Reductor presiune 1/2" |  |
| 32 |  | Reductor presiune | buc | 6 | Reductor presiune 3/4" |  |
| 33 |  | Robinet set radiator | buc | 12 | Robinet set radiator 1/2 Bianchi |  |
| 34 |  | Mecanism WC | buc | 12 | Mecanism WC alim.lat.ZN2 1/2 KK-Pol |  |
| 35 |  | Robinet coltar | buc | 10 | Robinet coltar 1/2*1/2 ESAGONALE Remer |  |
| 36 |  | Teu PPR | buc | 20 | Teu PPR 20mm alb |  |
| 37 |  | Teu PPR | buc | 20 | Teu PPR 25mm alb |  |
| 38 |  | Teu PPR | buc | 20 | Teu PPR 32mm alb |  |
| 39 |  | Tub PPR/FB | m | 100 | Tub PPR/FB PN 25 d20 alb |  |
| 40 |  | Tub PPR/FB PN | m | 100 | Tub PPR/FB PN 25 d25 alb |  |
| 41 |  | Tub PPR/FB | m | 100 | Tub PPR/FB PN 25 d32 alb |  |
| 42 |  | Clema teava 20mm | buc | 50 | Clema teava 20mm PPR alb |  |
| 43 |  | Clema teava 25mm | buc | 50 | Clema teava 25mm PPR alb |  |
| 44 |  | Clema teava 32mm | buc | 50 | Clema teava 32mm PPR alb |  |
| 45 |  | Cot PPR 20mm*90 alb | buc | 60 | Cot PPR 20mm*90 alb |  |
| 46 |  | Cot PPR 25mm*90 alb | buc | 60 | Cot PPR 25mm*90 alb |  |
| 47 |  | Cot PPR 32mm*90 alb | buc | 60 | Cot PPR 32mm*90 alb |  |
| 48 |  | Mufa PPR 20mm alba | buc | 60 | Mufa PPR 20mm alba |  |
| 49 |  | Mufa PPR 25mm alba | buc | 60 | Mufa PPR 25mm alba |  |
| 50 |  | Mufa PPR 32mm alba | buc | 60 | Mufa PPR 32mm alba |  |
| 51 |  | Robinet PPR 20mm sfera alb | buc | 10 | Robinet PPR 20mm sfera alb |  |
| 52 |  | Robinet PPR 25mm sfera alb | buc | 10 | Robinet PPR 25mm sfera alb |  |
| 53 |  | Robinet PPR 32mm sfera alb | buc | 10 | Robinet PPR 32mm sfera alb |  |
| 54 |  | Izolatie teava 22*6mm L2m | buc | 60 | Izolatie teava 22*6mm L2m |  |
| 55 |  | Izolatie teava 28*6mm L2m | buc | 60 | Izolatie teava 28*6mm L2m |  |
| 56 |  | Izolatie teava 35*6mm L2m | buc | 60 | Izolatie teava 35*6mm L2m |  |
| 57 |  | Teava PP 110mm*2m HTEM Valrom | buc | 10 | Teava PP 110mm*2m HTEM Valrom |  |
| 58 |  | Teava PP 110mm*3m HTEM Valrom | buc | 10 | Teava PP 110mm*3m HTEM Valrom |  |
| 59 |  | Teava PP 50mm*2m HTEM Valrom | buc | 10 | Teava PP 50mm*2m HTEM Valrom |  |
| 60 |  | Teava PP 50mm*3m HTEM Valrom | buc | 10 | Teava PP 50mm*3m HTEM Valrom |  |
| 61 |  | Ramificatie PP 110*110mm*87 Valrom | buc | 40 | Ramificatie PP 110*110mm*87 Valrom |  |
| 62 |  | Mufa PP 110mm Valrom | buc | 40 | Mufa PP 110mm Valrom |  |
| 63 |  | Cot PP 110mm*87 Valrom | buc | 40 | Cot PP 110mm*87 Valrom |  |
| 64 |  | Ramificatie PP 50*50mm*87 Valrom | buc | 40 | Ramificatie PP 50*50mm*87 Valrom |  |
| 65 |  | Mufa PP 50mm Valrom | buc | 40 | Mufa PP 50mm Valrom |  |
| 66 |  | Cot PP 50mm*87 Valrom | buc | 40 | Cot PP 50mm*87 Valrom |  |
| 67 |  | Pompa circulatie CompAX 25-6-130 RED Biral | buc | 2 | Pompa circulatie CompAX 25-6-130 RED Biral |  |
| 68 |  | Baterie dus SWZ5/GIT | buc | 20 | Baterie dus SWZ5/GIT |  |
| 69 |  | Lavoar cu piedestal 82210 55x47 cm | buc | 6 | Lavoar cu piedestal 82210 55x47 cm |  |
| 70 |  | Closet WC Kapya cu capac EGE 15200 | buc | 4 | Closet WC Kapya cu capac EGE 15200 |  |
| 71 |  | Rezervor WC plastic cu buton | buc | 6 | Rezervor WC plastic cu buton |  |
| 72 |  | Baterie lavoar PED4-B 15cm ZEGOR | buc | 12 | Baterie lavoar PED4-B 15cm ZEGOR |  |
| 73 |  | Baterie bideu CRON-002 CRON | buc | 10 | Baterie bideu CRON-002 CRON |  |
| 74 |  | Baterie lavoar POP-B 15cm ZEGOR | buc | 20 | Baterie lavoar POP-B 15cm ZEGOR |  |
| 75 |  | Baterie chiuveta YUB4 | buc | 20 | Baterie chiuveta YUB4 |  |
| Valoarea estimativă totală fără TVA |  |  |  |  |  | 189000,00 |