Anexa nr.23

la Documentația standard nr. 115

din 15.09.202

| [Acest tabel va fi completat de către ofertant în coloanele 5,6,7,8 și 11 la necesitate, iar de către autoritatea contractantă – în coloanele 1,2,3,4,9,10] |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Numărul procedurii de achiziție______________din_________ |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Obiectul de achiziției:Reagenți și consumabile de laborator pentru anul 2025 (sistem închis) |  |  |  |  |  |  |  |  |  |  |  |
| Cod CPV | Denumirea bunurilor/serviciilor |  | Unitatea de măsură | Canti-tatea | Preţ unitar (fără TVA) | Preţ unitar (cu TVA) | Suma fără TVA | Suma cu TVA | Termenul de livrare/prestare | Clasificație bugetară (IBAN) |  | Discount % |  |
| 1 | 2 |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  | 11 |  |
|  | Lot 1. Analizator hematologic automat ADVIA 2120 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.1CBC Timepac |  | Set | 9 |  |  |  |  |  |  |  |  |  |
|  | 1.2Diff Timepac |  | Set | 9 |  |  |  |  |  |  |  |  |  |
|  | 1.3Sheath / Rinse |  | Bucata | 23 |  |  |  |  |  |  |  |  |  |
|  | 1.4Perox Sheath |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 1.5EZ Wash |  | Set | 16 |  |  |  |  |  |  |  |  |  |
|  | 1.6 Set Point Calibrator |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 1.7TestPoint 3in1 Hematology Control Abnormal1 |  | Set | 3 |  |  |  |  |  |  |  |  |  |
|  | 1.8TestPoint 3in1 Hematology Control Abnormal2 |  | Set | 3 |  |  |  |  |  |  |  |  |  |
|  | 1.9TestPoint 3in1 Hematology Control Normal |  | Set | 3 |  |  |  |  |  |  |  |  |  |
|  | Total lot : |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Lot 2. Analizatorul hematologic automat SYSMEX XS-500i |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.1 Reagent Cellpack pentru diluarea tuturor fracţiilor celulare. |  | Bucata | 1200 |  |  |  |  |  |  |  |  |  |
|  | 2.2 Reagent Stromatolyser-4DL pentru lizarea eritrocitelor şi trombocitelor şi diluarea leucocitelor. |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 2.3 Reagent Stromatolyser-4DS pentru colorarea structurii interne a leucocitelor din probele diluate şi lizate în prealabil. |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 2.4 Reagent Sulfolyser pentru lizarea eritrocitelor şi măsurarea hemoglobinei. |  | Bucata | 200 |  |  |  |  |  |  |  |  |  |
|  | 2.5 Detergent Cellclean pentru îndepărtarea resturilor de lizant, reziduuri celulare, proteine din sistemul hidraulic al analizatorului. |  | Bucata | 2000 |  |  |  |  |  |  |  |  |  |
|  | 2.6 Materialul de control patologic E-Check (XS) L1 (nivel scăzut). |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 2.7 Materialul de control E-Check (XS) L2 (nivel normal). |  | Bucata | 200 |  |  |  |  |  |  |  |  |  |
|  | 2.8 Materialul de control patologic E-Check (XS) L3 (nivel înalt). |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | Total Lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3. Analizator hematologic automat SYSMEX XP-300 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.1 Reagent Cellpack pentru diluarea tuturor fracţiilor celulare. |  | Bucata | 15 |  |  |  |  |  |  |  |  |  |
|  | 3.2 Reagent Stromatolyser-WH pentru lizarea eritrocitelor în scopul enumerării exacte a leucocitelor. |  | Set | 6 |  |  |  |  |  |  |  |  |  |
|  | 3.3 Detergent Cellclean pentru îndepărtarea resturilor de lizant, reziduuri celulare, proteine din sistemul hidraulic al analizatorului. |  | Bucata | 7 |  |  |  |  |  |  |  |  |  |
|  | 3.4 Materialul de control patologic Eighcheck-3WP L (nivel scăzut). |  | Flacon | 10 |  |  |  |  |  |  |  |  |  |
|  | 3.5 Materialul de control Eighcheck-3WP N (nivel normal). |  | Flacon | 10 |  |  |  |  |  |  |  |  |  |
|  | 3.6 Materialul de control patologic Eighcheck-3WP H (nivel înalt). |  | Flacon | 10 |  |  |  |  |  |  |  |  |  |
|  | Total Lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4. Reagenti p/u analizatorul hematologic XN-330 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.1Cellpack DCL |  | Flacon | 46 |  |  |  |  |  |  |  |  |  |
|  | 4.2 Sulfolyser |  | Set | 9 |  |  |  |  |  |  |  |  |  |
|  | 4.3 Lysercell WDF |  | Flacon | 28 |  |  |  |  |  |  |  |  |  |
|  | 4.4Fluorocell WDF |  | Set | 13 |  |  |  |  |  |  |  |  |  |
|  | 4.5 Cellclean |  | Flacon | 12 |  |  |  |  |  |  |  |  |  |
|  | 4.6 XN CAL |  | Flacon | 2 |  |  |  |  |  |  |  |  |  |
|  | 4.7 XN-L Check L1 |  | Flacon | 16 |  |  |  |  |  |  |  |  |  |
|  | 4.8 XN-L Check L2 |  | Flacon | 16 |  |  |  |  |  |  |  |  |  |
|  | 4.9 XN-L Check L3 |  | Flacon | 16 |  |  |  |  |  |  |  |  |  |
|  | Total Lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5. Cuagulometru automat C3100 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.1 PROTROMBIN TIME |  | Set | 60 |  |  |  |  |  |  |  |  |  |
|  | 5.2 FIBRINOGEN CLAUSS A |  | Set | 55 |  |  |  |  |  |  |  |  |  |
|  | 5.3 FIBRINOGEN CLAUSS B |  | Set | 14 |  |  |  |  |  |  |  |  |  |
|  | 5.4 COAGULATION CALIBRATOR |  | Set | 4 |  |  |  |  |  |  |  |  |  |
|  | 5.5 Cleaning Solution II (Cleanser C3100 1*2500 ml) |  | Set | 30 |  |  |  |  |  |  |  |  |  |
|  | 5.6 Cleaning Solution I (Probe Cleanser C-3100 10*15ml) |  | Set | 5 |  |  |  |  |  |  |  |  |  |
|  | 5.7 Auto cuvettes |  | Bucata | 21000 |  |  |  |  |  |  |  |  |  |
|  | 5.8 COAGULATION CONTROL LEVEL 1 |  | Set | 12 |  |  |  |  |  |  |  |  |  |
|  | 5.9 COAGULATION CONTROL LEVEL 2 |  | Set | 12 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6. Reactivi p/u analizator ionoselectiv Diamond Smartlyte Plus |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.1 Fluid Pack |  | Bucata | 5 |  |  |  |  |  |  |  |  |  |
|  | 6.2 Chloride Electrode (Electrod Cl-) |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.3 Sodium Electrode (Electrod Na+) |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.4 Potassium Electrode (Electrod K+) |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.5 Reference Electrode |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.6Reference Electrode Housing |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.7 Electrode Conditioning Soluton |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 6.8 ISE Cleaning Solution |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 6.9 Peristaltic Pump Tubing |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 6.10Mision Control Level 1,2,3. |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.Analizatorul imunologic AFIAS-6 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.1 Feritin |  | Bucata | 72 |  |  |  |  |  |  |  |  |  |
|  | 7.2HCG |  | Bucata | 48 |  |  |  |  |  |  |  |  |  |
|  | 7.3test Anti-HCV |  | Bucata | 192 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8.Analizatorrul cu chemiluminiscenta Immulite 2000Xpi Siemens |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8.1AFP |  | Bucata | 1200 |  |  |  |  |  |  |  |  |  |
|  | 8.2 Anti-HBc |  | Bucata | 1200 |  |  |  |  |  |  |  |  |  |
|  | 8.3 Anti-HBs |  | Bucata | 800 |  |  |  |  |  |  |  |  |  |
|  | 8.4 Anti-TG Ab |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.5 Anti-TPO Ab |  | Bucata | 2200 |  |  |  |  |  |  |  |  |  |
|  | 8.6 CA-125 |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.7 CEA |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.8 CMV IgG |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.9 CMV IgM |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.10 Free T3 |  | Bucata | 800 |  |  |  |  |  |  |  |  |  |
|  | 8.11FREE T4 |  | Bucata | 2800 |  |  |  |  |  |  |  |  |  |
|  | 8.12 GI-MA (CA19-9) |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 8.13 HBsAg |  | Bucata | 3000 |  |  |  |  |  |  |  |  |  |
|  | 8.14 Helicobacter pylori IgG |  | Bucata | 2000 |  |  |  |  |  |  |  |  |  |
|  | 8.15 Total Ig E |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.16 PSA |  | Bucata | 2000 |  |  |  |  |  |  |  |  |  |
|  | 8.17 Total T3 |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 8.18 Total T4 |  | Bucata | 1200 |  |  |  |  |  |  |  |  |  |
|  | 8.19 Toxoplasma Cantitativ IgG |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.20 Toxoplasma Cantitativ IgM |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.21 TSH |  | Bucata | 4600 |  |  |  |  |  |  |  |  |  |
|  | 8.22 FSH |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.23 LH |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.24 Prolactin |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 8.25 Progesteron |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.26 Testosteron |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 8.27 Estradiol |  | Bucata | 400 |  |  |  |  |  |  |  |  |  |
|  | 8.28 Substrat |  | Set | 20 |  |  |  |  |  |  |  |  |  |
|  | 8.29 Solutie spalat Probe dimensiunea L2KPM |  | Set | 10 |  |  |  |  |  |  |  |  |  |
|  | 8.30 Spalator Probe dimensiunea L2PWSM |  | Set | 35 |  |  |  |  |  |  |  |  |  |
|  | 8.31Cupe de reactie (Reaction Tubes) |  | Bucata | 35000 |  |  |  |  |  |  |  |  |  |
|  | 8.32Control imunologic Nivelul 1 |  | Flacon | 6 |  |  |  |  |  |  |  |  |  |
|  | 8.33Control imunologic Nivelul 2 |  | Flacon | 6 |  |  |  |  |  |  |  |  |  |
|  | 8.34Control imunologic Nivelul 3 |  | Flacon | 6 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9. Analizator de biochimie si sediment urinar Atelica 1500 |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.1 CLINITEK Novus Urinalysis Cassette |  | Set | 110 |  |  |  |  |  |  |  |  |  |
|  | 9.2 CLINITEK Novus Calibrators |  | Set | 5 |  |  |  |  |  |  |  |  |  |
|  | 9.3 CLINITEK Novus Rinse Additive |  | Bucata | 4 |  |  |  |  |  |  |  |  |  |
|  | 9.4 Chek-stix Liquid with Sediment QC |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 9.5 Cuvete sediment |  | Bucata | 75 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10. Expres teste pentru analizatorul de urină Mission |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10.1Urinalysis Reagent Strips compatibil cu Mission |  | Bucata | 10000 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11. Analizator automat VSH CUBE 30 Touch |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.1 Teste device |  | Bucata | 65000 |  |  |  |  |  |  |  |  |  |
|  | 11.2 Control CUBE, ESR Control Cube |  | Set | 3 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 12.Analizator biochimic automat Alinity |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 12.1 ALINITY C GLUCOSE |  | Bucata | 48000 |  |  |  |  |  |  |  |  |  |
|  | 12.2 ALINITY C TTL BILIRUBIN |  | Bucata | 14350 |  |  |  |  |  |  |  |  |  |
|  | 12.3 ALNTY C DIRECT BILIRUBIN |  | Bucata | 8640 |  |  |  |  |  |  |  |  |  |
|  | 12.4 ALINITY C ALT |  | Bucata | 27600 |  |  |  |  |  |  |  |  |  |
|  | 12.5 ALINITY C AST |  | Bucata | 27600 |  |  |  |  |  |  |  |  |  |
|  | 12.6 ALINITY C GGT |  | Bucata | 4800 |  |  |  |  |  |  |  |  |  |
|  | 12.7 ALINITY C AMYLASE |  | Bucata | 11520 |  |  |  |  |  |  |  |  |  |
|  | 12.8 ALNTY C LIPASE NG OC |  | Bucata | 1440 |  |  |  |  |  |  |  |  |  |
|  | 12.9 ALINITY C UREA NITROGEN |  | Bucata | 22200 |  |  |  |  |  |  |  |  |  |
|  | 12.10 ALINITY C CREATININE |  | Bucata | 22500 |  |  |  |  |  |  |  |  |  |
|  | 12.11 ALINITY C URIC ACID |  | Bucata | 17280 |  |  |  |  |  |  |  |  |  |
|  | 12.12 ALINITY C TOTAL PROTEIN |  | Bucata | 4000 |  |  |  |  |  |  |  |  |  |
|  | 12.13 ALINITY C ALBUMIN BCG |  | Bucata | 3132 |  |  |  |  |  |  |  |  |  |
|  | 12.14 ALINITY C CHOLESTEROL |  | Bucata | 39600 |  |  |  |  |  |  |  |  |  |
|  | 12.15 ALINITY C TRIGLYCERIDE |  | Bucata | 12600 |  |  |  |  |  |  |  |  |  |
|  | 12.16 ALINITY C IRON |  | Bucata | 5400 |  |  |  |  |  |  |  |  |  |
|  | 12.17 ALINITY C CALCIUM |  | Bucata | 4000 |  |  |  |  |  |  |  |  |  |
|  | 12.18 ALINITY C HEMOGLOBIN A1C |  | Bucata | 7800 |  |  |  |  |  |  |  |  |  |
|  | 12.19 ALINITY C ULTRA HDL |  | Bucata | 9800 |  |  |  |  |  |  |  |  |  |
|  | 12.20 ALINITY C DIRECT LDL |  | Bucata | 11600 |  |  |  |  |  |  |  |  |  |
|  | 12.21 ALNTY C LIPASE NG OC CTL1 |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.22 ALNTY C LIPASE NG OC CTL2 |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.23 ALINITY C LIPASE NG OC CAL |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.24 ALINITY C HEMOGLOBIN A1C CAL |  | Set | 3 |  |  |  |  |  |  |  |  |  |
|  | 12.25 ALINITY C HEMOGLOBIN A1C CTL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.26 ALINITY IRON CALIBRATOR |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.27 ALINITY C BILIRUBIN CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.28 ALINITY C MULTICONSTITUENT CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.29 ALINITY CON CC |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.30 ALNTY C LIPID MULTI C CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.31ALINITY C CLIN CHEM CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.32 ALNTY C-SERIES MAINTENANCE SOL |  | Set | 4 |  |  |  |  |  |  |  |  |  |
|  | 12.33 ALNTY C-SERIES ACID PROBE WASH |  | Set | 6 |  |  |  |  |  |  |  |  |  |
|  | 12.34 ALINITY C-SERIES ACID WASH |  | Set | 14 |  |  |  |  |  |  |  |  |  |
|  | 12.35 ALINITY C-SERIES ALKALINE WASH |  | Set | 14 |  |  |  |  |  |  |  |  |  |
|  | 12.36 ALINITY C DETERGENT A |  | Set | 10 |  |  |  |  |  |  |  |  |  |
|  | 12.37 ALNTY DETERGENT B |  | Set | 7 |  |  |  |  |  |  |  |  |  |
|  | 12.38 ALINITY , Sample Cups, |  | Bucata | 7000 |  |  |  |  |  |  |  |  |  |
|  | 12.39 Reagent Replasament Caps |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.40ALINITY C ALK PHOS |  | Bucata | 4000 |  |  |  |  |  |  |  |  |  |
|  | 12.41ALINITY C LDH |  | Bucata | 2400 |  |  |  |  |  |  |  |  |  |
|  | 12.42ALNTY C L. Source |  | Bucata | 4 |  |  |  |  |  |  |  |  |  |
|  | 12.43 ALINITY C-SERIES Cuv Dry Tip |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.44 ALINITY C Cuv Wiper |  | Bucata | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.45 ALINITY C Tubing, Peristaltic Head |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.46 Calibrator/Control Replasament Caps |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.47ALINITY C CRP VARIO |  | Set | 3500 |  |  |  |  |  |  |  |  |  |
|  | 12.48 ALINITY C ASO |  | Set | 3000 |  |  |  |  |  |  |  |  |  |
|  | 12.49ALINITY C RF |  | Set | 3200 |  |  |  |  |  |  |  |  |  |
|  | 12.50ALINITY C ASO CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.51ALINITY C ASO-RF LEVEL1 CTL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.52ALINITY C ASO RF LEVEL2 CTL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.53ALINITY C RF CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.54ALINITY C CRP VARIO WIDE R CAL |  | Set | 1 |  |  |  |  |  |  |  |  |  |
|  | 12.55ALINITY C CRP VARIO HIGH S CAL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.56 ALINITY C CRP VARIO HS CTL |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.57 ALNTY C M-CHEM S PLUS L1 ASS. |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.58 ALNTY C M-CHEM S PLUS L2 ASS. |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | 12.59ALNTY C M-CHEM S PLUS L3 ASS. |  | Set | 2 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 13. Reagenti sectia bacteriologica |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 13.1 Bifidobacterium Agar |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 13.2 Hicrome UTI agar |  | Bucata | 2 |  |  |  |  |  |  |  |  |  |
|  | 13.3 Hoyle Medium Bose |  | Bucata | 1 |  |  |  |  |  |  |  |  |  |
|  | 13.4 Nutrient Agar |  | Bucata | 0,5 |  |  |  |  |  |  |  |  |  |
|  | 13.5 Acetat agar |  | Bucata | 0,5 |  |  |  |  |  |  |  |  |  |
|  | 13.6 Modifield RV Medium bose |  | Bucata | 0,5 |  |  |  |  |  |  |  |  |  |
|  | 13.7 Test optohina |  | Bucata | 10 |  |  |  |  |  |  |  |  |  |
|  | 13.8 Test bila |  | Bucata | 5 |  |  |  |  |  |  |  |  |  |
|  | 13.9 Test X-factor |  | Bucata | 3 |  |  |  |  |  |  |  |  |  |
|  | 13.10Mycoplasma,Uroplasma |  | Bucata | 200 |  |  |  |  |  |  |  |  |  |
|  | 13.11 Azitromicin |  | Bucata | 500 |  |  |  |  |  |  |  |  |  |
|  | 13.12 Artreonam |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 13.13Cefaclor |  | Bucata | 250 |  |  |  |  |  |  |  |  |  |
|  | 13.14 Claritromicin |  | Bucata | 500 |  |  |  |  |  |  |  |  |  |
|  | 13.15 Cefazolin |  | Bucata | 250 |  |  |  |  |  |  |  |  |  |
|  | 13.16 Cefalexim |  | Bucata | 250 |  |  |  |  |  |  |  |  |  |
|  | 13.17 Cefixim |  | Bucata | 250 |  |  |  |  |  |  |  |  |  |
|  | 13.18 Cefprodoxim |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 13.19 Cefprozil |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 13.20 Fusid acidic |  | Bucata | 500 |  |  |  |  |  |  |  |  |  |
|  | 13.21 Minociclin |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 13.22 Tigheciclin |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 13.23 Zilcomicin |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 13.24 Piperaciclin |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 13.25 Ticorcilin acid/clav |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 13.26Teicoplanin |  | Bucata | 750 |  |  |  |  |  |  |  |  |  |
|  | 13.27 Ertapenem |  | Bucata | 750 |  |  |  |  |  |  |  |  |  |
|  | 13.28Econazol |  | Bucata | 500 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 14. Vesela sectia bacteriologica |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 14.1 Spatula de lemn |  | Bucata | 500 |  |  |  |  |  |  |  |  |  |
|  | 14.2 Ansa sterila de 1,0mkl |  | Bucata | 3000 |  |  |  |  |  |  |  |  |  |
|  | 14.3 Pipete sterile 1 ml |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | 14.4 Flacoane de sticla 400 ml |  | Bucata | 50 |  |  |  |  |  |  |  |  |  |
|  | 14.5 Eprubete cu mediu f.08(grupa intestinala |  | Bucata | 1000 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 15. Analizator bacteriologic VITEC 2 GN |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 15.1 ASN-440 |  | Bucata | 120 |  |  |  |  |  |  |  |  |  |
|  | 15.2 ASN-437 |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 15.3 ASN-438 |  | Bucata | 1200 |  |  |  |  |  |  |  |  |  |
|  | 15.4 ASP-658 |  | Bucata | 100 |  |  |  |  |  |  |  |  |  |
|  | 15.5 ASP-659 |  | Bucata | 800 |  |  |  |  |  |  |  |  |  |
|  | 15.6 GP- identificare |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 15.7 AST-Y08 |  | Bucata | 40 |  |  |  |  |  |  |  |  |  |
|  | 15.8GN -identificare |  | Bucata | 600 |  |  |  |  |  |  |  |  |  |
|  | 15.9 YST-identificare |  | Bucata | 40 |  |  |  |  |  |  |  |  |  |
|  | 15.10 Solutie Suspensie (NaCl 0.45%) |  | Bucata | 22 |  |  |  |  |  |  |  |  |  |
|  | 15.11 Virfuri GN |  | Bucata | 960 |  |  |  |  |  |  |  |  |  |
|  | 15.12 Virfuri GP |  | Bucata | 480 |  |  |  |  |  |  |  |  |  |
|  | 15.13 Eprubete de plastic p/u analizatorul Vytec |  | Bucata | 5000 |  |  |  |  |  |  |  |  |  |
|  | Total lot: |  |  |  |  |  |  |  |  |  |  |  |  |

Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ________________

Ofertantul: _______________________ Adresa: __________________________