DOCUMENTAŢIA STANDARD pentru realizarea achiziţiilor publice de bunuri Obiectul achiziţiei: Retehnologizarea TV – studioul nr. 5 Cod CPV: 32000000-3 Autoritarea Contractantă: IP Compania „Teleradio-Moldova” Procedura achiziţiei: Licitație deschisă

CAPITOLUL I INSTRUCŢIUNI PENTRU OFERTANŢI (IPO) [Notă: nu se va modifica de către Autoritatea Contractantă]

Secțiunea 1. Dispoziții generale

Scopul procedurii de achiziție Autoritatea contractantă, emite Documentele de atribuire în vederea achiziționării de bunuri, după cum este specificat în Fișa de Date a Achiziției (în continuare FDA). Principiile care stau la baza atribuirii contractului de achiziţie 2.1. Principiile care stau la baza atribuirii contractului de achiziţie publică sînt: libera concurenţă; eficienţa utilizării fondurilor publice și minimizarea riscurilor autorităților/entițălilor contractante; transparenţa; tratamentul egal, imparțial și nedescriminatoriu în privința tuturor ofertanților și operatorilor economici; protecția mediului; respectarea ordinii de drept; confidenţialitatea; asumarea răspunderii în cadrul procedurilor de achiziţie publică. Sursa de finanţare În FDA va fi specificată sursa de finanțare pentru plăţile contractului ce urmează a fi atribuit. Autoritatea contractantă urmează să se asigure că la momentul inițierii procedurii de achiziții publice, mijloacele financiare sunt alocate și destinate exclusiv achiziției în cauză. Participanţii la licitaţie Participant la licitaţie poate fi orice operator economic rezident sau nerezident, persoană fizică sau juridică de drept public sau privat ori asociație de astfel de persoane, care are dreptul de a participa, în condiţiile Legii nr. 131/2015 privind achiziţiile publice (în continuare Legea nr. 131/2015), la procedura de atribuire a contractului de achiziţii publice. Dreptul de participare la procedurile de atribuire a contractelor de achiziţii publice poate fi rezervat de către Guvern unor ateliere protejate şi întreprinderi sociale de inserţie în cazul în care majoritatea angajaţilor implicaţi sînt persoane cu dizabilităţi care, prin natura sau gravitatea deficienţelor lor, nu pot desfăşura o activitate profesională în condiţii normale. Cheltuielile de participare la procedura de achiziție Ofertantul suportă toate costurile legate de pregătirea şi înaintarea ofertei, iar autoritatea contractantă nu poartă nici o responsabilitate pentru aceste costuri, indiferent de desfăşurarea sau rezultatul procedurii de licitaţie. La depunerea ofertelor, operatorul economic, după caz, va achita o taxă. Modul de achitare a taxei menţionate, precum şi cuantumul acesteia sînt stabilite de Guvern. Achitarea taxei pentru depunerea ofertei se va efectua prin intermediul platformei de achiziții electronice prin care se depune oferta. Limba de comunicare în cadrul licitaţiei Oferta, Documentul Unic de Achiziții European (în continuare DUAE), documentele de atribuire şi toată corespondenţa dintre ofertant şi autoritatea contractantă vor fi întocmite în limba de stat. Documentele justificative şi literatura de specialitate tipărită, care fac parte din ofertă, pot fi în altă limbă, cu condiţia ca acestea să fie însoţite de o traducere exactă a fragmentelor relevante în limba de stat. Autoritatea contractantă poate specifica după caz, în FDA posibilitatea depunerii ofertei și într-o altă limbă de circulație internațională. Secţiunile Documentelor de atribuire Documentele de atribuire includ toate secţiunile indicate în prezentul punct şi trebuie citite în conjuncţie cu orice modificare conform punctului IPO8. CAPITOLUL I. Instrucţiuni pentru ofertanţi CAPITOLUL II. Fişa de date a achiziţiei CAPITOLUL III. Formulare pentru depunerea ofertei CAPITOLUL IV. Specificații tehnice și de preț. CAPITOLUL V. Formularul de contract Clarificarea şi modificarea documentelor de atribuire Participantul care solicită clarificări asupra documentelor de atribuire va contacta autoritatea contractantă în scris, prin mijloace electronice de comunicare. Autoritatea contractantă va răspunde în scris, prin mijloace electronice de comunicare la orice cerere de clarificare, înainte de termenul-limită pentru depunerea ofertelor. Pînă la expirarea termenului de depunere a ofertelor, autoritatea contractantă are dreptul să modifice documentaţia de atribuire fie din proprie iniţiativă, fie ca răspuns la solicitarea de clarificare a unui operator economic, prelungind, după caz, termenul de depunere a ofertelor, astfel încît de la data aducerii la cunoştinţă a modificărilor operate pînă la noul termen de depunere a ofertelor să rămînă cel puţin 50% din termenul stabilit iniţial. În cazul în care operatorul economic nu a transmis solicitarea de clarificare în timp util, punînd astfel autoritatea contractantă în imposibilitate de a respecta termenele prevăzute la art. 34, alin. (4) din Legea nr. 131/2015, aceasta din urmă este în drept să nu răspundă. Practicile de corupere şi alte practici interzise Autoritățile contractante şi participanţii la licitaţiile publice vor respecta cele mai înalte standarde ale eticii de conduită în desfăşurarea şi implementarea proceselor de achiziţii, precum şi în executarea contractelor de achiziție publică. În cazul în care autoritatea contractantă va depista că ofertantul a fost implicat în practicile menționate la punctul IPO9.4 în cadrul procesului de concurenţă pentru contractul de achiziţie publică sau pe parcursul executării contractului, aceasta: va exclude ofertantul din procedura respectivă de achiziţie prin includerea lui în Lista de interdicţie, conform prevederilor Regulamentului cu privire la Lista de interdicție a operatorilor economici; sau va întreprinde orice alte măsuri prevăzute în articolul 40 al Legii nr. 131/2015. În cazul în care, Agenția Achiziții Publice, în procesul de monitorizare a procedurilor de achiziții publice, constată că un operator economic a fost implicat în practicile menționate la punctul IPO9.4, va raporta imediat organelor competente fiecare caz de corupere sau de tentativă de corupere comis de operatorul economic respectiv. În cadrul procedurilor de achiziție și executării contractului, nu se permit următoarele acţiuni: promisiunea, oferirea sau darea unei persoane cu funcţie de răspundere, personal sau prin mijlocitor, de bunuri sau servicii, sau a oricărui alt lucru de valoare, pentru a influenţa acţiunile unei alte părţi; orice acţiune sau omisiune, inclusiv interpretare eronată, care, conştient sau din neglijenţă, induce în eroare sau tinde să inducă în eroare o parte pentru obţinerea unui beneficiu financiar sau de altă natură ori pentru a evita o obligaţie; înţelegerea interzisă de lege, între două sau mai multe părţi, realizată în scopul coordonării comportamentului lor la procedurile de achiziţii publice; deteriorarea sau prejudicierea, direct sau indirect, a oricărei părţi sau a proprietăţii acestei părţi, pentru a influenţa în mod necorespunzător acţiunile acesteia; distrugerea intenţionată, falsificarea, contrafacerea sau ascunderea materialelor de evidenţă ale investigării, sau darea unor informaţii false anchetatorilor, pentru a împiedica esenţial o anchetă condusă de către organele de resort în vederea identificării unor practici menționate la lit. a)-d); precum şi ameninţarea, hărţuirea sau intimidarea oricărei părţi pentru a o împiedica să divulge informaţia cu privire la chestiuni relevante anchetei sau să exercite ancheta. Personalul autorităţii contractante are obligația de a exclude practicile de corupere în vederea obţinerii beneficiilor personale în legătură cu desfăşurarea procedurii de achiziţii publice.

Secțiunea a-2-a. Criterii de calificare

Criterii generale Pentru confirmarea datelor de calificare în cadrul procedurii de achiziţii publice, operatorul economic va completa și va prezenta DUAE, în conformitate cu cerințele stabilite de autoritatea contractantă. Prezentarea oricărui alt formular DUAE decît cel solicitat de către autoritatea contractantă, va servi ca temei de descalificare de la procedura de achiziție publică. Autoritatea contractantă va aplica criterii și cerințe de calificare numai referitoare la: eligibilitatea ofertantului sau candidatului; capacitatea de exercitare a activității profesionale; capacitatea economică şi financiară; capacitatea tehnică şi/sau profesională; standarde de asigurare a calității; standarde de protecţie a mediului. Eligibilitatea ofertantului sau candidatului Orice operator economic, rezident sau nerezident, persoană fizică sau juridică de drept public sau privat ori asociație de astfel de persoane are dreptul de a participa la procedura de atribuire a contractului de achiziţie publică. Va fi exclus de la procedura de atribuire a contractului de achiziții publice orice ofertant sau candidat despre care se confirmă că, în ultimii 5 ani, a fost condamnat, prin hotărârea definitivă a unei instanțe judecătorești, pentru participare la activități ale unei organizații sau grupări criminale, pentru corupție, pentru fraudă și/sau pentru spălare de bani, pentru infracțiuni de terorism sau infracțiuni legate de activități teroriste, finanțarea terorismului, exploatarea prin muncă a copiilor și alte forme de trafic de persoane. Va fi exclus de la procedura pentru atribuire a contractului de achiziţie publică, şi respectiv nu este eligibil, orice ofertant care se află în oricare dintre următoarele situaţii: se află în proces de insolvabilitate ca urmare a hotărîrii judecătorești; nu şi-a îndeplinit obligaţiile de plată a impozitelor, taxelor şi contribuţiilor de asigurări sociale către bugetele componente ale bugetului general consolidat, în conformitate cu prevederile legale în Republica Moldova sau în ţara în care este stabilit; a fost condamnat, în ultimii trei ani, prin hotărîrea definitivă a unei instanţe judecătoreşti, pentru o faptă care a adus atingere eticii profesionale sau pentru comiterea unei greşeli în materie profesională; prezintă informaţii false sau nu prezintă informaţiile solicitate de către autoritatea contractantă, în scopul demonstrării îndeplinirii criteriilor de calificare şi selecţie; a încălcat obligaţiile aplicabile în domeniul mediului, muncii şi asigurărilor sociale, în cazul în care autoritatea contractantă demonstrează, prin orice mijloace adecvate, acest fapt; se face vinovat de o abatere profesională, care îi pune la îndoială integritatea, în cazul în care autoritatea contractantă demonstrează, prin orice mijloace adecvate, acest fapt; a încheiat cu alţi operatori economici acorduri care vizează denaturarea concurenţei, în cazul în care acest fapt se constată printr-o decizie a organului abilitat în acest sens; se află într-o situaţie de conflict de interese care nu poate fi remediată în mod efectiv prin măsurile prevăzute la art.74 din Legea nr. 131/2015; este inclus în Lista de interdicţie a operatorilor economici. Autoritatea contractantă, după caz, poate stabili în documentația de atribuire posibilitatea furnizării dovezilor de către operatorii economici care se află în una din situațiile menționate la punctele IPO11.2 și IPO11.3, prin care se vor prezenta măsurile luate de aceștia pentru a demonstra fiabilitatea sa, în pofida existenței unui motiv de excludere. Autoritatea contractantă extrage informaţia necesară pentru constatarea existenţei sau inexistenţei circumstanţelor menționate la punctele IPO11.2 și IPO11.3 din bazele de date disponibile ale autorităţilor publice sau ale părţilor terţe. Dacă acest lucru nu este posibil, autoritatea contractantă are obligaţia de a accepta ca fiind suficient şi relevant pentru demonstrarea faptului că ofertantul/candidatul nu se încadrează în una dintre situaţiile prevăzute menționate la punctele IPO11.2 și IPO11.3 orice document considerat edificator, din acest punct de vedere, în ţara de origine sau în ţara în care ofertantul este stabilit, cum ar fi certificate, caziere judiciare sau alte documente echivalente emise de autorităţi competente din ţara respectivă. În ceea ce priveşte cazurile menţionate la punctul IPO11.3, în conformitate cu legislaţia internă a statului în care sunt stabiliţi ofertanţii, aceste solicitări se referă la persoane fizice şi persoane juridice, inclusiv, după caz, la directori de companii sau la orice persoană cu putere de reprezentare, de decizie ori de control în ceea ce priveşte ofertantul/candidatul. În cazul în care în ţara de origine sau în ţara în care este stabilit ofertantul/candidatul nu se emit documente de natura celor prevăzute la punctul IPO11.4 sau respectivele documente nu vizează toate situaţiile prevăzute la punctele IPO11.2 și IPO11.3, autoritatea contractantă are obligaţia de a accepta o declaraţie pe propria răspundere sau, dacă în ţara respectivă nu există prevederi legale referitoare la declaraţia pe propria răspundere, o declaraţie autentică dată în faţa unui notar, a unei autorităţi administrative sau judiciare sau a unei asociaţii profesionale care are competenţe în acest sens. Orice operator economic aflat în oricare dintre situaţiile prevăzute la punctele IPO11.2 și IPO11.3 care atrag excluderea din procedura de atribuire poate furniza dovezi care să arate că măsurile luate de acesta sunt suficiente pentru a-şi demonstra în concret credibilitatea prin raportare la motivele de excludere, cu excepția cazului în care operatorul economic a fost exclus prin hotărîre definitivă a unei instanțe de judecată de la participarea la procedurile de achiziții publice. Autoritatea contractantă evaluează măsurile întreprinse de către operatorii economici ținînd seama de gravitatea și circumstanțele particulare ale infracțiunii sau ale abaterii. În cazul în care consideră că măsurile întreprinse sînt insuficiente, autoritatea contractantă informează ofertantul/candidatul despre motivele excluderii. Capacitatea de exercitare a activității profesionale Autoritatea contractantă solicită oricărui ofertant să prezinte dovada din care să rezulte o formă de înregistrare ca persoană juridică, capacitatea legală de a furniza bunuri, în conformitate cu prevederile legale din țara în care este stabilit Capacitatea economică şi financiară În cazul în care autoritatea contractantă solicită demonstrarea capacităţii economice şi financiare, aceasta are obligaţia de a indica în documentaţia de atribuire şi informaţiile pe care operatorii economici urmează să le prezinte în acest scop. Capacitatea economică şi financiară se realizează, după caz, prin prezentarea unuia sau mai multor documente relevante, cum ar fi: declarații bancare corespunzătoare sau, după caz, dovezi privind asigurarea riscului profesional; rapoarte financiare sau, în cazul în care publicarea acestor rapoarte este prevăzută de legislaţia ţării în care este stabilit ofertantul, extrase de rapoarte financiare; declarații privind cifra de afaceri totală sau, dacă este cazul, privind cifra de afaceri în domeniul de activitate aferent obiectului contractului într-o perioadă anterioară care vizează activitatea din ultimii 3 ani, în măsura în care informaţiile respective sînt disponibile. În acest ultim caz, autoritatea contractantă are obligaţia de a lua în considerare şi data la care operatorul economic a fost înfiinţat sau şi-a început activitatea comercială. În sensul punctului IPO13.1 (literei c), cifra de afaceri anuală minimă impusă operatorilor economici nu trebuie să depășească de două ori valoarea estimată a contractului, cu excepția cazurilor justificate, precum cele legate de riscurile speciale aferente naturii bunurilor. Atunci cînd un contract este împărțit în loturi, indicele cifrei de afaceri se aplică pentru fiecare lot individual. Cu toate acestea, autoritatea contractantă stabilește cifra de afaceri anuală minimă impusă operatorilor economici cu referire la grupuri de loturi, dacă ofertantului cîștigător îi sînt atribuite mai multe loturi care trebuie executate în același timp. În cazul în care, din motive obiective, justificate corespunzător, operatorul economic nu are posibilitatea de a prezenta documentele solicitate de autoritatea contractantă, acesta are dreptul de a demonstra capacitatea sa economică și financiară prin prezentarea altor documente pe care autoritatea contractantă le poate considera edificatoare în măsura în care acestea reflectă o imagine fidelă a situației economice și financiare a ofertantului/candidatului. Ofertantul/candidatul poate să-și demonstreze capacitatea economică și financiară și prin susținerea acordata de către o altă persoană indiferent de natura relațiilor juridice existente între ofertant/candidat şi persoana respectivă. În cazul prevăzut la punctul IPO13.5, ofertantul/candidatul are obligația de a dovedi susținerea de care beneficiază prin prezentarea în formă scrisă a unui angajament ferm al persoanei respective, încheiat în formă autentică, prin care această persoană confirmă faptul că va pune la dispoziţia ofertantului/candidatului resursele financiare invocate. Persoana care asigură susținerea financiară trebuie să îndeplinească criteriile de selecție relevante și nu trebuie să se afle în niciuna dintre situațiile prevăzute la punctul IPO11.2 și punctul IPO11.3 literele (c-g), care determină excluderea din procedura de atribuire. O asociație de operatori economici la fel are dreptul să se bazeze pe capacitățile membrilor asociației sau ale altor persoane. Capacitate tehnică și/sau profesională În cazul aplicării unei proceduri pentru atribuirea unui contract de achiziții de bunuri, în scopul verificării capacităţii tehnice şi/sau profesionale a ofertanţilor, autoritatea contractantă are dreptul de a le solicita acestora, în funcţie de specificul, de cantitatea şi de complexitatea bunurilor ce urmează să fie furnizate şi numai în măsura în care aceste informaţii sunt relevante pentru îndeplinirea contractului și nu sînt disponibile în bazele de date ale autorităților publice sau ale părților terțe, următoarele: o listă a principalelor livrări de bunuri similare efectuate în ultimii 3 ani, conţinînd valori, perioade de livrare, beneficiari, indiferent dacă aceştia din urmă sunt autorităţi contractante sau clienţi privaţi. Livrările de bunuri se confirmă prin prezentarea unor certificate/documente emise sau contrasemnate de o autoritate ori de către clientul beneficiar. În cazul în care beneficiarul este un client privat şi, din motive obiective, operatorul economic nu are posibilitatea obţinerii unei certificări/confirmări din partea acestuia, demonstrarea livrărilor de bunuri se realizează printr-o declaraţie a operatorului economic; o declarație referitoare la echipamentele tehnice şi la măsurile aplicate în vederea asigurării calităţii, precum şi, dacă este cazul, la resursele de studiu şi cercetare; informații referitoare la personalul/organismul tehnic de specialitate de care dispune sau al cărui angajament de participare a fost obținut de către ofertant, în special pentru asigurarea controlului calităţii; certificate sau alte documente emise de organisme abilitate în acest sens, care să ateste conformitatea bunurilor, identificată clar prin referire la specificaţii sau standarde relevante; mostre (în măsura în care necesitatea prezentării este justificată), descrieri şi/sau fotografii a căror autenticitate trebuie să poată fi demonstrată în cazul în care autoritatea contractantă solicită acest lucru, dovada experienţei specifice în livrarea bunurilor; capacitate minimă de producere sau echipamentele și/sau capacitate minimă profesională Capacitatea tehnică şi profesională a ofertantului poate fi susţinută, pentru îndeplinirea unui contract, şi de o altă persoană, indiferent de natura relaţiilor juridice existente între ofertant şi persoana respectivă. În cazul prevăzut la punctul IPO14.2, ofertantul/candidatul are obligaţia de a dovedi susţinerea de care beneficiază prin prezentarea în formă scrisă a unui angajament ferm al persoanei respective, încheiat în formă autentică, prin care această persoană confirmă faptul că va pune la dispoziţia ofertantului/candidatului resursele financiare invocate. Persoana care asigură susţinerea financiară trebuie să îndeplinească criteriile de selecție relevante și nu trebuie să se afle în niciuna dintre situaţiile prevăzute la punctul IPO11.2 și punctul IPO11.3 literele (c-g), care determină excluderea din procedura de atribuire. Ofertantul/candidatul are dreptul să recurgă la susținerea unor alte persoane doar atunci cînd acestea din urmă vor desfășura activitățile sau serviciile pentru îndeplinirea cărora este necesară capacitatea profesională respectivă. Standarde de asigurare a calităţii. Autoritatea contractantă solicită prezentarea unor certificate, emise de organisme independente, prin care se atestă faptul că operatorul economic respectă anumite standarde de asigurare a calităţii, aceasta trebuie să se raporteze la sistemele de asigurare a calităţii, bazate pe seriile de standarde europene relevante, certificate de organisme conforme cu seriile de standarde europene privind certificarea, sau la standarde internaționale pertinente, emise de organisme acreditate. În conformitate cu principiul recunoaşterii reciproce, autoritatea contractantă are obligaţia de a accepta certificatele echivalente emise de organismele stabilite în statele membre ale Uniunii Europene. În cazul în care operatorul economic nu deţine un certificat de calitate astfel cum este solicitat de autoritatea contractantă, aceasta din urmă are obligaţia de a accepta orice alte certificări prezentate de operatorul economic respectiv, în măsura în care acestea confirmă asigurarea unui nivel corespunzător al calităţii. Standarde de protecție a mediului. Autoritatea contractantă solicită prezentarea unor certificate, emise de organisme independente, prin care se atestă faptul că operatorul economic respectă anumite standarde de protecţie a mediului, aceasta trebuie să se raporteze: a) fie la Sistemul Comunitar de Management de Mediu şi Audit (EMAS); b) fie la standarde de gestiune ecologică bazate pe seriile de standarde europene sau internaţionale în domeniu, certificate de organisme conforme cu legislaţia Uniunii Europene ori cu standardele europene sau internaţionale privind certificarea. În conformitate cu principiul recunoaşterii reciproce, autoritatea contractantă are obligaţia de a accepta certificatele echivalente emise de organismele stabilite în statele membre ale Uniunii Europene. În cazul în care operatorul economic nu deţine un certificat de mediu astfel cum este solicitat de autoritatea contractantă, aceasta din urmă are obligaţia de a accepta orice alte certificări prezentate de operatorul economic respectiv, în măsura în care acestea confirmă asigurarea unui nivel corespunzător al protecţiei mediului. Calificarea candidaților în cazul asocierii În cazul unei asocieri, cerințele solicitate pentru îndeplinirea criteriilor de calificare și selecție referitoare la capacitatea de exercitare a activității profesionale și cele referitoare la eligibilitatea ofertantului sau candidatului, trebuie îndeplinite de către fiecare asociat. Criteriile referitoare la situația economică și financiară și cele referitoare la capacitatea tehnică și profesională pot fi îndeplinite prin cumul proporțional sarcinilor ce revin fiecărui asociat. Criteriile privind cifra de afaceri, în cazul unei asocieri, cifra de afaceri medie anuală luată în considerare va fi valoarea generală, rezultată prin însumarea cifrelor de afaceri medii anuale corespunzătoare fiecărui membru al asocierii. În cazul unei asocieri, cerințele privind standardele de asigurare a calității și standardele de protecție a mediului, trebuie îndeplinite de fiecare membru al asocierii.

Secțiunea a-3-a. Pregătirea ofertelor

Documentele ce constituie oferta Oferta va cuprinde următoarele: propunerea financiară, care va include, după caz, și garanția pentru ofertă; propunerea tehnică, precum și documente suport și facultative solicitate de autoritatea contractantă; Documentul unic de achiziții european; Operatorii economici vor pregăti ofertele într-o manieră structurată și securizată, ca răspuns la anunțul de participare publicat de către autoritatea contractantă în SIA „RSAP”, și vor depune ofertele în mod electronic, folosind fluxurile interactive de lucru puse la dispoziție de platformele electronice, cu exceptia cazurilor prevazute la art.32 alin.(7) şi (11) din Legea 131/2015. Documente pentru demonstrarea conformităţii bunurilor Pentru a stabili conformitatea bunurilor cu cerinţele documentelor de atribuire, ofertantul va depune, ca parte a ofertei sale, dovezi documentare ce atestă faptul că bunurile se conformează condiţiilor de livrare, specificaţiilor tehnice şi standardelor specificate în CAPITOLUL IV. Pentru a demonstra conformitatea tehnică a bunurilor propuse, cantităţilor propuse şi a termenelor de livrare, ofertantul va completa Formularul Specificaţii tehnice (F4.1) și Specificaţii de preț (F4.2). De asemenea, ofertantul va include documentație de specialitate, desene, extrase din cataloage şi alte date tehnice justificative, după caz. Oferte alternative Operatorul economic este în drept să depună oferte alternative numai în cazul în care autoritatea contractantă a precizat explicit în anunţul de participare și în FDA punctul 3.1 că permite sau solicită depunerea de oferte alternative cu precizarea în documentaţia de atribuire a cerinţelor minime obligatorii pe care operatorii economici trebuie să le respecte, precum şi orice alte cerinţe specifice pentru prezentarea ofertelor alternative. În cazul în care în documentația de atribuire nu este specificat explicit că autortiatea contractantă permite sau solicită depunerea de oferte alternative, aceasta din urmă nu are dreptul de a lua în considerare ofertele alternative. Garanţia pentru ofertă Ofertantul va depune, ca parte a ofertei sale, o Garanţie pentru ofertă (F3.2), după cum este specificat în FDA punctul 3.2. Garanţia pentru ofertă va fi corespunzător cuantumului specificat în FDA punctul 3.3, în lei moldoveneşti, şi va fi: în formă de garanţie bancară de la o instituţie bancară licențiată, valabilă pentru perioada de valabilitate a ofertei sau altă perioadă prelungită, după caz, în conformitate cu punctul IPO23.2; sau transfer pe contul autorităţii contractante; sau alte forme acceptate de autoritatea contractantă, specificate în FDA punctul 3.2. Dacă o garanţie pentru ofertă este cerută în conformitate cu punctul IPO21.2, orice ofertă neînsoţită de o astfel de garanţie pregătită în modul corespunzător va fi respinsă de către autoritatea contractantă ca fiind necorespunzătoare. Garanţia pentru ofertă a ofertanţilor necîştigători va fi restituită imediat de la producerea oricărui din următoarele evenimente: a) expirarea termenului de valabilitate a garanţiei pentru ofertă; b) încheierea unui contract de achiziţii publice şi depunerea garanţiei de bună execuţie a contractului, dacă o astfel de garanţie este prevăzută în documentaţia de atribuire; c) suspendarea procedurii de licitaţie fără încheierea unui contract de achiziţii publice; d) retragerea ofertei înainte de expirarea termenului de depunere a ofertelor, în cazul în care documentaţia de atribuire nu prevede inadmisibilitatea unei astfel de retrageri. Garanţia pentru ofertă va fi reţinută dacă: ofertantul îşi retrage sau îşi modifică oferta în timpul perioadei de valabilitate a ofertei specificate de către ofertant în Formularul ofertei, cu excepţia cazurilor prevăzute în punctul IPO23.2; sau ofertantul cîştigător refuză: să depună Garanţia de bună execuţie conform punctului IPO42; să semneze contractul conform punctului IPO43. Garanţia pentru ofertă prezentată de Asociație trebuie să fie în numele Asociației care depune oferta. Preţuri Preţurile indicate de către ofertant în Formularul ofertei (F3.1) şi în Specificaţiile de preț (F4.2) se vor conforma cerinţelor specificate în punctul IPO22. Toate loturile şi poziţiile trebuie enumerate şi evaluate separat în Specificaţiile tehnice (F4.1) și Specificațiile de preț (F4.2). Preţul ce urmează a fi specificat în Formularul ofertei va constitui suma totală a ofertei, inclusiv TVA. Termenii Incoterms, cum ar fi EXW, CIP, DDP şi alţi termeni similari, vor fi supuşi regulilor prevăzute în ediţia curentă a Incoterms, publicată de către Camera Internaţională de Comerţ, după cum este menţionat în FDA punctul 3.4. Preţurile vor fi indicate după cum este arătat în Specificaţiile de preț (F4.2). Autoritatea contractantă va efectua achitări conform metodologiei și condițiilor indicate în FDA punctul 3.7. Termenul de valabilitate a ofertelor Ofertele vor rămîne valabile pe parcursul perioadei specificate în FDA punctul 3.8. de la data-limită de depunere a ofertei stabilită de autoritatea contractantă. O ofertă valabilă pentru un termen mai scurt va fi respinsă de către autoritatea contractantă ca fiind necorespunzătoare. În cazuri excepţionale, înainte de expirarea perioadei de valabilitate a ofertei, autoritatea contractantă poate solicita ofertanţilor să extindă perioada de valabilitate a ofertelor. Solicitarea și răspunsul la solicitare vor fi publicate în SIA „RSAP”. În cazul în care se cere o garanţie pentru ofertă în cadrul procedurii de achiziție publică, conform prevederilor punctului IPO23, operatorul economic va extinde corespunzător valabilitatea garanției pentru ofertă. Un ofertant poate refuza solicitarea de extindere fără a pierde garanţia pentru ofertă. Ofertanţilor ce acceptă solicitarea de extindere nu li se va cere şi nu li se va permite să modifice ofertele. Valuta ofertei Preţurile pentru bunurile solicitate vor fi indicate în lei moldoveneşti, cu excepţia cazurilor în care FDA punctul 3.9. prevede altfel. Formatul ofertei Oferta va fi pregătită în format electronic, în conformitate cu cerințele autorității contractante, cu ajutorul instrumentelor existente în SIA „RSAP”, cu exceptia cazurilor prevazute la art.32 alin.(7) şi (11) din Legea nr. 131/2015.

Secțiunea a-4-a. Depunerea și deschiderea ofertelor

Depunerea ofertelor Oferta, scrisă şi semnată, după caz electronic, se prezintă în conformitate cu cerinţele expuse în documentaţia de atribuire, utilizind SIA “RSAP”, cu exceptia cazurilor prevazute la art.32 alin.(7) şi (11) din Legea nr. 131/2015. Autoritatea contractantă eliberează operatorului economic, în mod obligatoriu, o recipisă în care indică data şi ora recepţionării ofertei sau confirmă recepţionarea acesteia în cazurile în care oferta a fost depusă prin mijloace electronice. Prezentarea ofertei presupune depunerea într-un set comun a propunerii tehnice, a propunerii financiare, a DUAE și a garanției pentru ofertă. La depunerea ofertei prin SIA „RSAP”, operatorul economic va ține cont de timpul necesar pentru încărcarea ofertei în sistem, prevăzînd timp suficient pentru a depune oferta în termenii stabiliți. Termenul limită de depunere a ofertelor Ofertele vor fi depuse nu mai tîrziu de data şi ora specificate în FDA punctul 4.2. Autoritatea contractantă poate, la discreţia sa, să extindă termenul-limită de depunere a ofertelor prin modificarea documentelor de atribuire în conformitate cu punctul IPO7. Oferte întîrziate SIA „RSAP” nu va accepta ofertele transmise după expirarea termenului limită de depunere a ofertelor. În cazurile prevăzute la art.32 alin.(7) și (11) din Legea nr. 131/2015, ofertele depuse după termenul limită de deschidere a ofertelor specificate în FDA punctul 4.2, vor fi înregistrate de către autoritatea contractantă și restituite ofertantului, fără a fi deschise. Modificarea, substituirea şi retragerea ofertelor În cazul în care documentaţia de atribuire nu prevede altfel, ofertantul are dreptul să modifice sau să retragă oferta înainte de expirarea termenului de depunere a ofertelor, fără a pierde dreptul de retragere a garanţiei pentru ofertă. O astfel de modificare este valabilă dacă a fost efectuată înainte de expirarea termenului de depunere a ofertelor. Deschiderea ofertelor Autoritatea contractantă va deschide ofertele în cadrul sistemului SIA „RSAP” la data şi ora specificate în FDA punctul 4.2. Informația privind ofertanții și ofertele, se fac publice prin publicarea acestora în SIA „RSAP”.

Secțiunea a-5-a. Evaluarea și compararea ofertelor

Confidenţialitate SIA „RSAP” va asigura mecanisme adecvate în vederea neadmiterii divulgării conținutului ofertelor prezentate de participanți pînă la data stabilită pentru deschiderea acestora de către persoanele autorizate ale organizatorului procedurii de achiziție publică, în conformitate cu legislația. Astfel, va fi preîntîmpinată aplicarea unor eventuale practici anticoncurențiale în cadrul procedurilor de achiziții publice. Clarificarea ofertelor Autoritatea contractantă poate, la necesitate, să ceară oricăruia dintre ofertanţi o clarificare a ofertei acestora, pentru a facilita examinarea, evaluarea și compararea ofertelor. Nu vor fi solicitate, oferite sau permise schimbări în preţurile sau în conţinutul ofertei, cu excepţia corectării erorilor aritmetice descoperite de către autoritatea contractantă în timpul evaluării ofertelor, în conformitate cu punctul IPO33. În cazul în care ofertantul nu execută cererea autorităţii contractante de a reconfirma datele de calificare pentru încheierea contractului, oferta i se respinge şi se selectează o altă ofertă cîştigătoare dintre ofertele rămase în vigoare. Operatorul economic este obligat să răspundă la solicitarea de clarificare a autorității contractante în cel mult trei zile de la data expedierii acesteia. Determinarea conformităţii ofertelor Aprecierea corespunderii unei oferte de către autoritatea contractantă urmează a fi bazată pe conţinutul ofertei. Se consideră conformă cerinţelor oferta care corespunde tuturor termenilor, condiţiilor şi specificaţiilor din documentele de atribuire, neavînd abateri esenţiale sau avînd doar abateri neînsemnate, erori sau omiteri ce pot fi înlăturate fără a afecta esenţa ofertei. O abatere se va considera ca fiind neînsemnată dacă: nu afectează în orice mod substanţial sfera de acţiune, calitatea sau performanţa bunurilor specificate în contract; nu limitează în orice mod substanţial drepturile autorităţii contractante sau obligaţiile ofertantului conform contractului; nu ar afecta într-un mod inechitabil poziţia competitivă a altor ofertanţi ce prezintă oferte conforme cerinţelor. Dacă o ofertă nu este conformă cerinţelor din documentele de atribuire, ea va fi respinsă de către autoritatea contractantă. Neconformităţi, erori şi omiteri Autoritatea contractantă are dreptul să considere oferta conformă cerinţelor dacă aceasta conţine abateri neînsemnate de la prevederile documentelor de atribuire, erori sau omiteri ce pot fi înlăturate fără a afecta esenţa ei. Orice deviere de acest fel se va exprima cantitativ, în măsura în care este posibil, şi se va lua în considerare la evaluarea şi compararea ofertelor. Dacă ofertantul care a depus oferta cea mai avantajoasă nu acceptă corectarea erorilor aritmetice, oferta acestuia se respinge. Evaluarea ofertelor Examinarea, evaluarea şi compararea ofertelor se efectuează fără participarea ofertanţilor şi a altor persoane neautorizate. Autoritatea contractantă va examina ofertele pentru a confirma faptul că toate documentele prevăzute în punctul IPO18 au fost prezentate şi pentru a determina caracterul complet al fiecărui document depus. Autoritatea contractantă stabileşte oferta/ofertele cîştigătoare aplicînd criteriul de atribuire şi factorii de evaluare prevăzuţi în documentaţia de atribuire, utilizînd instrumentele de evaluare din cadrul SIA „RSAP”, cu exceptia cazurilor prevazute la art.32 alin.(7) şi (11) din Legea nr. 131/2015. Calificarea ofertantului Autoritatea contractantă va determina dacă ofertantul este calificat să execute Contractul. Aprecierea calificării va fi bazată pe o examinare minuţioasă a documentelor de calificare ale ofertantului, incluse în ofertă conform prevederilor punctului IPO18, clarificărilor posibile conform punctului IPO32, precum şi în baza criteriilor stabilite în punctele IPO11-16. Criteriile care nu au fost incluse în aceste puncte nu vor fi folosite în aprecierea calificării ofertantului. O apreciere afirmativă va constitui drept premisă pentru adjudecarea contractului ofertantului respectiv. O apreciere negativă va rezulta în descalificarea ofertei, caz în care autoritatea contractantă poate trece la următoarea ofertă cea mai avantajoasă economic, pentru a face o apreciere similară a capacităţilor acelui ofertant în executarea contractului. Descalificarea ofertantului Autoritatea contractantă va descalifica ofertantul care depune documente ce conţin informaţii false, cu scopul calificării, sau derutează ori face reprezentări neadevărate pentru a demonstra corespunderea sa cerinţelor de calificare. În cazul în care acest lucru este dovedit, autoritatea contractantă poate declara ofertantul respectiv ca fiind neeligibil pentru participarea ulterioară în contractele de achiziţii publice, prin includerea lui în Lista de interdicţie a operatorilor economici. Lista de interdicţie a operatorilor economici reprezintă un înscris oficial şi este întocmită actualizată şi ţinută de către Agenţia Achiziţii Publice conform prevederilor articolului 25 din Legea nr. 131/2015, cu scopul de a limita participarea operatorilor economici la procedurile de achiziţie publică. Ofertantul poate fi descalificat în cazul în care este insolvabil, în privinţa lui a fost iniţiată procedura de sechestrare a patrimoniului, este în faliment sau în proces de lichidare sau dacă activităţile ofertantului sînt suspendate ori există un proces de judecată privind oricare dintre cele menţionate. Ofertantul este descalificat în cazul aplicării sancţiunilor administrative sau penale, pe parcursul ultimilor 3 ani, faţă de persoanele de conducere ale operatorului economic în legătură cu activitatea lor profesională sau cu prezentarea de date eronate în scopul încheierii contractului de achiziţii publice. Ofertantul este descalificat pentru neachitarea impozitelor şi altor plăţi obligatorii în conformitate cu legislaţia ţării în care el este rezident. Autoritatea contractantă va solicita ofertanţilor să demonstreze împuternicirea de a încheia contractele de achiziţii publice şi componenţa fondatorilor şi a persoanelor afiliate. Autoritatea contractantă descalifică ofertantul dacă constată că acesta este inclus în Lista de interdicţie a operatorilor economici. Autoritatea contractantă nu acceptă oferta în cazul în care ofertantul nu corespunde cerințelor de calificare. Anularea procedurii Autoritatea contractantă, din propria inițiativă, anulează procedura de achiziție publică în cazurile prevăzute la art. 67, alin. (1) din Legea nr. 131/2015. Autoritatea contractantă are obligaţia de a comunica prin SIA „RSAP” sau prin alte mijloace de comunicare în cazul în care autoritatea contractantă desfășoară proceduri în baza art. 32 alin.(7) şi (11) din Legea nr. 131/2015, tuturor participanţilor la procedura de achiziţie publică, în cel mult 3 zile de la data anulării, atît încetarea obligaţiilor pe care aceştia şi le-au creat prin depunerea de oferte, cît şi motivul anulării.

Secțiunea a-2-a. Adjudecarea contractului

Criteriul de adjudecare Autoritatea contractantă va adjudeca contractul, conform criteriului stabilit în FDA punctul 6.1. acelui ofertant a cărui ofertă a fost apreciată potrivit criteriilor stabilite precum şi altor condiţii şi cerinţelor din documentele de atribuire, cu condiţia ca şi ofertantul să fie calificat pentru executarea contractului. Dreptul autorităţii contractante de a modifica cantităţile în timpul adjudecării La momentul adjudecării contractului, autoritatea contractantă are posibilitatea de a micşora cu acordul operatorului economic cantitatea de bunuri, în cazul în care suma contractelor este mai mare decît valoare estimată a achiziției, specificate iniţial în CAPITOLUL IV pentru a se putea încadra în mijloacele financiare alocate, însă fără a efectua vreo schimbare în preţul unitar sau în alţi termeni şi condiţii ale ofertei şi ale documentelor de atribuire. Înştiinţarea de adjudecare Înainte de expirarea perioadei de valabilitate a ofertei, sistemul SIA „RSAP” va permite autorităților contractante pregătirea anunțului de atribuire și a notificării ofertanților, cărora li s-a atribuit sau nu contractul standardizat. Comunicarea prin care se realizează informarea este transmisă prin mijloace electronice la adresele indicate de către ofertanţi în ofertele acestora. Ofertanţii necîştigători vor fi informați cu privire la motivele pentru care ofertele lor nu au fost selectate. Garanţia de bună execuţie La momentul încheierii contractului, dar nu mai tîrziu de data expirării Garanţiei pentru ofertă (dacă s-a cerut), ofertantul cîştigător va prezenta Garanţia de bună execuţie în mărimea prevăzută de FDA punctul 6.2., folosind în acest scop formularul Garanţiei de bună execuţie (F3.3), inclus în CAPITOLUL III, sau alt formular acceptabil pentru autoritatea contractantă, dar care corespunde condiţiilor formularului (F3.3). Refuzul ofertantului cîştigător de a depune Garanţia de bună execuţie sau de a semna contractul va constitui motiv suficient pentru anularea adjudecării şi reţinerea Garanţiei pentru ofertă. În acest caz, autoritatea contractantă poate adjudeca contractul următorului ofertant cu oferta cea mai bine clasată, a cărui ofertă este conformă cerinţelor şi care este apreciat de către autoritatea contractantă a fi calificat în executarea Contractului. În acest caz, autoritatea contractantă va cere tuturor ofertanţilor rămaşi extinderea termenului de valabilitate a Garanţiei pentru ofertă. Totodată, autoritatea contractantă este în drept să respingă toate celelalte oferte. Semnarea contractului O dată cu expedierea înştiinţării de adjudecare, autoritatea contractantă va trimite ofertantului cîştigător Formularul contractului (F5.1) completat şi toate celelalte documente componente ale contratului. Ofertantul cîştigător va semna contractul numai după împlinirea termenelor de aşteptare, în modul corespunzător şi îl va restitui autorităţii contractante în termenul specificat în FDA punctul 6.5. Dreptul de contestare Orice operator economic care consideră că, în cadrul procedurilor de achiziţie, autoritatea contractantă, prin decizia emisă sau prin procedura de achiziţie aplicată cu încălcarea legii, a lezat un drept al său recunoscut de lege, în urma cărui fapt el a suportat sau poate suporta prejudicii, are dreptul să conteste decizia sau procedura aplicată de autoritatea contractantă, în modul stabilit de Legea nr. 131/2015. Contestaţiile se vor depune direct la Agenția Națională de Soluționare a Contestațiilor. Toate contestaţiile vor fi depuse, examinate şi soluţionate în modul stabilit de Legea nr. 131/2015. Operatorul economic, în termen de pînă la 5 zile, sau după caz, 10 zile de la data la care a aflat despre circumstanţele ce au servit drept temei pentru contestaţie, are dreptul să depună la Agenţia Națională pentru Soluționarea Contestațiilor o contestaţie argumentată a acţiunilor, a deciziei ori a procedurii aplicate de autoritatea contractantă. Contestaţiile privind anunțurile de participare la procedurile de achiziție publică şi documentaţia de atribuire vor fi depuse pînă la termenul limită de depunere a ofertelor.

CAPITOLUL II FIȘA DE DATE A ACHIZIȚIEI (FDA)

Următoarele date specifice referitoare la bunurile solicitate vor completa, suplimenta sau ajusta prevederile CAPITOLULUI I. În cazul unei discrepanţe sau al unui conflict, prevederile prezentului CAPITOL vor prevala asupra prevederilor din CAPITOL I. Instrucţiunile pentru completarea Fişei de Date a Achiziţiei sînt oferite cu litere cursive.

Dispoziții generale Nr. Rubrica Datele Autorității Contractante/Organizatorului procedurii 1.1. Autoritatea contractantă/Organizatorul procedurii, IDNO: IP Compania „Teleradio-Moldova” 1004600050558 1.2. Obiectul achiziției: Retehnologizarea TV – studioul nr. 5 1.3. Numărul și tipul procedurii de achiziție: Nr. Conform SIA RSAP Licitație deschisă 1.4. Tipul obiectului de achiziţie: bunuri 1.5. Codul CPV: 32000000-3 1.6. Sursa alocaţiilor bugetare/banilor publici și perioada bugetară: buget de stat 1.7. Administratorul alocațiilor bugetare: IP Compania „Teleradio-Moldova” 1.8. Partenerul de dezvoltare (după caz): [Denumirea partenerului de dezvoltare] 1.9. Denumirea cumpărătorului, IDNO: IP Compania „Teleradio-Moldova” 1004600050558 1.10. Destinatarul bunurilor, IDNO: IP Compania „Teleradio-Moldova” 1004600050558 1.11. Limba de comunicare: [limba de stat] 1.12. Locul/Modalitatea de transmitere a clarificărilor referitor la documentația de atribuire Prin intermediul SIA RSAP Mtender 1.13. Contract de achiziție rezervat atelierelor protejate Nu 1.14. Tipul contractului: [Vînzare-cumpărare] 1.15. Condiţii speciale de care depinde îndeplinirea contractului (neobligatoriu): nu se aplică

Listă bunurilor și specificații tehnice: Sistemul video Lot nr.1 Nr. d/o Cod CPV Denumirea bunului Descrierea bunurilor și specificarea tehnică (cerinte minime tehnice) C-te. Unitatea de măsură 1.1 32224000-9 PTZ Camera Features Large 1" type MOS sensor HDMI, SDI, and IP output up to UHD 4K 20x optical, 32x iZoom in HD, 24x iZoom in UHD 4K Wide 75.1° horizontal angle of view (DRS) High Dynamic Range (HDR) mode with BT.2020 gamut support Optical Image Stabilization (IOS) Crop up to three shots from a single 4K image Large, adjustable tally light Adaptive Matrix function adjusts for strong LED blue light 1/4, 1/16, 1/64 ND filters Audio input and embedding FreeD Support for Construction of AR/VR Systems Improved web UI for use with PC, tablet, or smartphone (iOS, Android) Maximum 180°/s pan/tilt in high-speed mode Monochrome Night Mode Digital Noise Reduction (DNR) Live streaming via RTMP Upgradable to NDI/HX with license Image Sensor Image Sensor - 1-Chip 1" MOS Sensor Horizontal Resolution (TV Lines) - 1600 TV Lines Gain - 0 to 42 dB (Expanded) Signal-to-Noise Ratio - 60 dB Sensitivity - f/9 at 2000 lux White Balance Range - 2000 to 15,000K Camera Shutter Speed - 1/24 to 1/10,000 sec Max Digital Zoom - 32x ( in 1080p) IR Cut Filter Lens Optical Zoom Ratio - 20x Focal Length - 8.8 to 176mm 35mm Equivalent Focal Length - 24.5 to 490mm Field of View - Horizontal: 75.1 to 4°; Vertical: 46.7 to 2.3°; Vertical: 82.8 to 4.6°. Maximum Aperture - f/2.8 to 4.5 Minimum Focusing Distance - Wide: 3.9" / 9.9 cm; Telephoto: 39.6" / 100.6 cm Image Stabilization - Optical Focus Control – Autofocus; Manual Focus Video Output Broadcast System Compatibility - NTSC, PAL Output Formats - SDI, HDMI, RJ45, Optical Fiber: 3840x2160p at 24, 25, 29.97, 50fps 1920 x 1080p at 25, 29.97, 50, 59.94 fps 1920 x 1080PsF at 23.98, 25, 29.97 fps 1920 x 1080i at 50, 59.94 fps Embedded Audio – HDMI/SDI IP Streaming - H.264, H.265, MJPEG: 1080p, 720p at 25p, 30p, 50p, 60p Control Move Speed - Pan: 0.08 to 180°/sec; Tilt: 0.08 to 180°/sec Movement Range - Pan: 350° (-175 to 175°); Tilt: 120° (-30 to 210°) Tally Light Supported Control Protocols - RS-232; RS-422 Interfaces Video Output Connectors - 1 x HDMI Type A (HDMI 2.0) Male 1 x BNC Male (Loop Output) 1 x BNC (3G-SDI) Male Audio I/O - 1 x 1/8" / 3.5 mm Stereo Mic/Line Level Input Control Interface - 1 x RJ45 (IP Control, RS-422) Other I/O - 1 x BNC (Genlock) Input Expansion Slots - 1 x SFP+ Slot Power PoE Support - PoE++ 802.3bt Power Connectors - 1 x Proprietary (10.8 to 13.2 VDC) Include POE++ Injector 54 VDC at 1.5A Output Voltage, 80W Output Power, 100 to 240 AC at 50/60 Hz Input Voltage (EU) (Echivalent cu POE-54-80W) Include Power Supply: 10.8 to 13.2 VDC at 4A HA216P-4S (4-pin ), 100 to 240 AC at 50/60 Hz Input Voltage (EU) 4 Buc. 1.2 32224000-9 Remote PTZ Camera Controller Key Features Control up to 200 Compatible PTZ Cameras Serial Control 5 Cameras Directly Zoom/Focus Rocker Joystick Touch Panel GUI, Touch Focus & More General Number of Supported Cameras - 200 Channels via IP 5 Channels via RS-422 Control Interface - 1 x RJ45 (LAN) Other I/O - 2 x 25-Pin D-Sub (GPI, Tally); 5 x RJ45 (RS-422, Tally) Video Connectors - 1 x BNC (3G-SDI) Input; 1 x BNC (3G-SDI) (Loop Output) Controls - 10 x Camera Selection Buttons Memory Card Slot 1 x SDXC Display Size - 7" Resolution - 800 x 480 Touchscreen Power PoE Support - PoH 802.3at Power Connectors - 1 x 4-Pin XLR DC Input Power - 10.8 to 13.2 VDC at 1 A 1 Buc. 1.3 32224000-9 Processor, keying An advanced real time compositing processor designed for keying live action video with next generation broadcast graphics, virtual sets and more. Features new algorithms and color science, incredible edge handling and color separation, amazing color fidelity, and better spill suppression than ever before. The high performance 12G-SDI design gives you the power to work in UltraHD and HD with sub pixel processing for amazing image. Connections SDI Video Inputs - 7, plus monitor in SDI Video Outputs – 9 SDI Video Loop - 7 x relocked SD, HD, Ultra HD for corresponding inputs. SDI Rates - 270Mb, 1.5G, 3G, 6G, 12G multi rate support Reference Input - Tri-Sync or Black Burst Reference Loop Output - Tri-Sync or Black Burst Control Panel Connection - Ethernet supports 10/100Mbps. GPIO - 5 x GPI In; 1 x GPI Out; 1 x Tally In. 4 Buc. 1.4 32224000-9 Remote Control for processor, keying The Remote controls up to 8 unit id numbers via Ethernet or up to 8 unit id numbers via RS485. Its larger display area and adjustable stand, along with brightness controls for both display and button illuminations, makes the operation user-friendly. With "Monitor Out Views" accessible from every menu, Remote control provides the fastest and easiest navigation for every operator. User-friendly operation Fast and easy navigation Control up to 8 unit id numbers via RS485 Control up to 8 unit id numbers via Ethernet Connections Software Updates - 2 x USB 2.0 and 1 x USB 3.0 for firmware updates. SVGA Output - SVGA output allows graphic to be viewed on an external VGA monitor. Ethernet - 2 x 10/100 Mbps Ethernet ports to connect to LAN networks for controlling processor, keying. RS-422 - 2 x for controlling processor, keying. Product Specifics Rotary Knobs - 8 x rotary knobs for adjusting parameters. Unit ID Buttons - 8 x buttons. Illuminated blue for active. Unit ID LED Indicators - Illuminated green for on line and red for on air. Alt+Quick Load/Save Buttons-Alt button plus 5 buttons for saving files into volatile RAM Quick Load/Save Buttons - 5 x buttons for loading files stored in volatile RAM. File Clear Button - 1 x button for One Touch Keying. Alt + File Clear - Alt button plus file clear button for One Touch Keying using some user defined presets. Customizable Menus - 4 x menus for building your own menu with your most used controls. LED Control - User adjustable brightness control for LEDs. Fan Speed Control - User adjustable. Echivalent cu Ultimatte Smart Remote 4 1 Buc. 1.5 32224000-9 Videohub Key Features Routing Switcher with Frame Syncing 12 x 6G-SDI Inputs / 12 x 6G-SDI Outputs Supports SD, HD, Ultra HD 4K, DCI 4K 4:2:2 and 4:4:4 Sampling 10-Bit Processing SDI Reclocking Built-In LCD with Spin Knob Control Push Buttons on Front Panel Ethernet for Remote Control Videohub Control Software Included Connections SDI Video Input - 12 x 10-bit SD/HD/6G-SDI SDI Video Output - 12 x 10-bit SD/HD/6G-SDI Reference Input - Blackburst and TriSync for SD, HD and UHD 4K Multi-Rate Support - Auto detection of SD, HD, or 6G-SDI. Simultaneous routing of 4K, HD, SD video and DVB-ASI Updates - USB 2.0 high speed (480 Mb/s) interface or via Ethernet Control - 12 buttons for local control of Videohub 6 buttons and scroll wheel for control of LCD display 1 x RJ45 Ethernet 1 x RS-422 input for controlling router crosspoint switching Configuration - Via front panel LCD or use either RJ45 Ethernet USB 2.0 for setting IP address only Reclocking - On all SDI outputs, auto switching between SD, HD, or 6G-SDI video Software Software Control - Router control included free for Windows and Mac OS X Internal Software Upgrade - Via included updater application General Display - LCD for video and menu settings Power Supply - IEC power cable required; 90 to 240 VAC input 1 Buc. 1.6 32224000-9 Videohub Key Features Routing Switcher 40 x 6G-SDI Inputs / 40 x 6G-SDI Outputs Supports SD, HD, Ultra HD 4K, DCI 4K 4:2:2 and 4:4:4 Sampling 10-Bit Processing SDI Reclocking Built-In LCD with Spin Knob Control Push Buttons on Front Panel Ethernet for Remote Control Videohub Control Software Included Connections SDI Video Input - 40 x 10-bit SD/HD/6G-SDI SDI Video Output - 40 x 10-bit SD/HD/6G-SDI Reference Input - Blackburst and TriSync for SD, HD and UHD 4K Multi-Rate Support - Auto detection of SD, HD, or 6G-SDI. Simultaneous routing of 4K, HD, SD video and DVB-ASI Updates - USB 2.0 high speed (480 Mb/s) interface or via Ethernet Control - 40 buttons for local control of Videohub 6 buttons and scroll wheel for control of LCD display 1 x RJ45 Ethernet 1 x RS-422 input for controlling router crosspoint switching Configuration - Via front panel LCD or use either RJ45 Ethernet USB 2.0 for setting IP address only Reclocking - On all SDI outputs, auto switching between SD, HD, or 6G-SDI video Software Software Control - Router control included free for Windows and Mac OS X Internal Software Upgrade - Via included updater application General Display - 5" (12.7 cm) LCD for video and menu settings Power Supply - IEC power cables required; 2 x 90 to 240 VAC input(for redundancy) 1 Buc. 1.7 32223000-2 Converter multiview (Set) 1 to 16 Channel MultiViewer with HDMI output for 3G/HD/SD and Custom Layouts Support for both 3G level A and B on the inputs. Miniature (3G/HD/SD)-SDI 1 to 16 channel Multi-Viewer Custom Layouts with various standard layouts 16 Character UMD overlay per window with individual enables, custom positioning and size Audio ID overlay Load and restore Custom Layouts Fast switching between inputs using Full-Screen scaling Selectable output format in both Full-Screen and Multi-Viewer mode Low latency buffering for each input allowing non-synchronous inputs 16 x (3G/HD/SD)-SDI inputs with auto detection (26 Formats supported in total) Each window is independent of the others, allowing any 3G/HD/SD format of any frame rate to be displayed simultaneously Variable aspect ratios per window Pass-Through mode allowing any of the 16 inputs to be selected and routed to the the HDMI output In Pass-Through mode the selected input is passed through to the HDMI output Also includes: USB port for control and firmware updates Heavy duty metal box Metal Thread Locking DC Power Socket Power Supply, HDMI Cable and USB Cable Monitor Display Series 8 Screen Size 55" Resolution 3,840 x 2,160 Video Picture Engine Crystal Processor 4K PQI (Picture Quality Index) 2200 HDR (High Dynamic Range) HDR HDR 10+ Support HLG (Hybrid Log Gamma) Contrast Mega Contrast Color Dynamic Crystal Color Micro Dimming UHD Dimming Natural Mode Support Audio Dolby Digital Plus Q-Symphony Q-Symphony Audio Pre-selection Descriptor Sound Output (RMS) 20W Speaker Type 2CH Tuner/Broadcasting Digital Broadcasting DVB-T2C Analog Tuner CI (Common Interface) CI+(1.4) / CI+(1.4 ECP)_IT only Data Broadcasting HbbTV 2.0.2 TV Key Support Connectivity HDMI 3 USB 2 Ethernet (LAN) Digital Audio Out (Optical) 1 RF In (Terrestrial / Cable input) 1/1(Common Use for Terrestrial)/0 CI Slot 1 HDMI A / Return Ch. Support eARC HDMI Quick Switch Wireless LAN Built-in Bluetooth Anynet+ (HDMI-CEC) 2 Buc. 1.8 32323000-3 Studio Monitor Features Full HD LCD panel 23,8” 1920×1080 pixel with LED back-lighting; Supports 4K-HDMI and 3G-SDI; 10-bit processing Video Processing; Special ZERO Latency Mode for critical Audio/Video applications; Webserver IP remote control; Safety area election: 80%, 85%, 90%, 93%, 95%; Scale marker: 4:3, 13:9, 14:9, 15:9, 1.85:1, 2.35:1; 3DLUT auto colour calibration; Built-in De-log LUTs; User 3DLUT upload; Selectable gamma preset 1.8, 2.2, 2.4 and 2.6.; 16-ch audio level meters with alert and output selection; Built-in waveform monitor, with Line-Selector (for HDSDI sources); Built-in vector scope and histogram monitor; H/V delay, freeze frame display mode; Frame/Field view selection; Native scan, over scan and normal scan selection; R/G/B/Mono, False color, Zebra stripes display; Focus assist display mode; USB Firmware update options; V-mount battery plate for field application; GPI control via RS485 port connection; 3 User setting data storage; 6 User definable function keys; On-screen TALLY display (Soft-and Hardware Tally); TSL UMD and User editable video title; SDI Timecode display; AFD (Active Format Description) info display Panel Specifications Panel size (diagonal in inch) - 23.8 Panel resolution - 1920 X 1080 Pixels Panel Aspect Ratio - 16 to 9 Panel Type LCD Panel Modulation IPS Back-light LED Brightness in cd/m² - 250 Panel Bit depth: - 8 Image Processing Bit depth - 10 Viewing angle H/V - H 178 / V 178 Contrast Ratio - 1000:1 IN-OUT´s Connections VIDEO Number of HDSDI Inputs - 2 Input HDMI, HDMI 2.0 Number of HDMI Inputs - 1 Input RGB/VGA, Sub-D 15 PIN Input YUV, 3 x BNC Input Composite, BNC Numbers of Composite Inputs - 1 Loop out HDSDI, 3G 2 x 2 (for each unit 2 outs) Loop out HDMI, HDMI 2.0 Loop out Composite IN-OUT connections AUDIO Audio Line IN, 2 times RCA Headphone out, 3.5 mm mini jack Speaker integrated, 2 IN-OUT Connections Controls GPI IN, RJ45 RS485/422 IN, RJ45 RS485/422 Loop out IP Ethernet Port, RJ45 USB Port, 2 x (1x for Firmware / 1 x Front for Color Probe) Dedicate Functions SDI Timecode, LTC, VITC1&2 R/G/B/Mono False color Peaking focus assist H/V delay Field/Frame mode, Field 1 / Field 2 Scan Modes - 4:3/16:9 Freeze frame Safety area markers, 80%, 85%, 90%, 93%, 95% Scale Markers, 4:3, 13:9, 14:9, 15:9, 1.85:1, 2.35:1 Tally via GPI, include IMD/UMD and Top LED Tally via TSL Protocol Tally Multi-Color, 3 colors Low Latency Mode, its special processing, only a view lines delay, so called zero latency, please no image adjustment during this mode. Environment Power Save function User presets, 3 Memories Auto Aspect, Analogue and Digital sources Picture Flip modes Direct Brightness/Contrast/Color control Dedicate Features Auto source search Measurement and indication Tools – Waveform, Vector-scope, Histogram, Audio Level Meter Power and Enviroment Spec´s Power AC, Build in 110 V to 240 Volts Power DC, 11V to 17V DC Connector Type: - 4 PIN XLR Include Package AC Power cord Others - Metal Display Stand 1 Buc. 1.9 32323000-3 Studio Monitor Connections SDI Video Input - Automatically switches between SD, HD and 3G-SDI. Reclocked loop through output. Multi Rate Support - Auto detection of 2K, HD or standard definition inputs. Updates and Configuration - Via USB 2.0 high speed (480 Mb/s) Ethernet - 10/100 BaseT with loop through. Tally - 9-pin D connector Standards SDI Compliance - SMPTE 259M, SMPTE 292M,SMPTE 296M, SMPTE 372M,SMPTE 424M Level B and SMPTE 425M. SDI Color Space - REC 601, REC 709 SDI Auto Switching - Automatically selects between SD, HD and 3 Gb/s SDI. Video Sampling - 4:2:2 and 4:4:4 SDI Format Support - 525i59.94 NTSC, 625i50 PAL, 720p50, 59.94, 60; 1080p23.98, 24, 25, 29.97, 30, 50, 59.94, 60; 1080PsF23.98, 24, 25, 29.97, 30; 1080i50, 59.94, 60 2K Format Support - 1080p23.98, 24, 25; 1080PsF23.98, 24; 2K 23.98PsF, 24PsF, 25PsF Display Display Element - TFT Active Matrix LCD. Display Resolution - 800 x 480 pixels Response - < 15 ms Contrast Ratio - Typically 500:1 Color Depth - 16.7 Million Colors. Display Orientation - Displays can rotate upside down for optimum viewing angle. Software Internal Software Upgrade - Via included firmware updater software. SmartView Utility Software - Via USB or Ethernet. Power Requirements Power Supply - 12V universal power supply included with international socket adapters for all countries. Power Consumption - < 20 Watts Operational Voltage Range - 12V - 15V 1 Buc. 1.10 32323000-3 Monitor Display Series 8 Screen Size 55" Resolution 3,840 x 2,160 Video Picture Engine Crystal Processor 4K PQI (Picture Quality Index) 2200 HDR (High Dynamic Range) HDR HDR 10+ Support HLG (Hybrid Log Gamma) Contrast Mega Contrast Color Dynamic Crystal Color Micro Dimming UHD Dimming Natural Mode Support Audio Dolby Digital Plus Q-Symphony Q-Symphony Audio Pre-selection Descriptor Sound Output (RMS) 20W Speaker Type 2CH Tuner/Broadcasting Digital Broadcasting DVB-T2C Analog Tuner CI (Common Interface) CI+(1.4) / CI+(1.4 ECP)_IT only Data Broadcasting HbbTV 2.0.2 TV Key Support Connectivity HDMI 3 USB 2 Ethernet (LAN) Digital Audio Out (Optical) 1 RF In (Terrestrial / Cable input) 1/1(Common Use for Terrestrial)/0 CI Slot 1 HDMI A / Return Ch. Support eARC HDMI Quick Switch Wireless LAN Built-in Bluetooth Anynet+ (HDMI-CEC) 6 Buc. 1.11 32223000-2 Convertor Key Features Converts 12G/6G/3G-SDI to Optical Fiber Supports Signals up to DCI 4K25 Multi-Rate, Bidirectional Capability Requires Separate SFP Optical Module Automatic Input Signal Detection 16-Channel Embedded Audio Support Diagrammed Function Switches Update via Converter Utility Software Locking, Universal Power Supply Input Video Input Connectors - 1 x BNC (12G-SDI) Input Video Format - SDI (4:4:4/4:2:2 RGB, YUV) DCI 4K: 23.98/24/25 fps UHD 4K: 23.98/24/25/29.97/30/50/59.94/60 fps DCI 2K: 23.98/24/25 fps DCI 2KPsF: 23.98/24/25 fps 1080p: 23.98/24/25/29.97/30/50/59.94/60 fps 1080PsF: 23.98/24/25/29.97/30 fps 1080i: 50/59.94/60 fps Embedded Audio Input - SDI: 16-Channel Output Video Output Connectors - 1 x BNC (12G-SDI / 3G-SDI / 6G-SDI) Output Video Format - SDI (10-Bit 4:4:4/4:2:2 RGB, YUV) DCI 4K: 23.98/24/25 fps UHD 4K: 23.98/24/25/29.97/30/50/59.94/60 fps DCI 2K: 23.98/24/25 fps DCI 2KPsF: 23.98/24/25 fps 1080p: 23.98/24/25/29.97/30/50/59.94/60 fps 1080PsF: 23.98/24/25/29.97/30 fps 1080i: 50/59.94/60 fps Embedded Audio Output SDI: 16-Channel Standards Video Standard Compliance - SMPTE 259M/292M/296M/297M/424M-B/425M/ST-2081; ITU -R BT.601 Connectivity Expansion Slots - 1 x SFP Slot Power Power Connector - 1 x Barrel (6 to 36 VDC) Input Power Consumption - Power Supply: 2 W 12 Buc. 1.12 32223000-2 3G SFP Optical Module Key Features Standard SFP Cage LC Fiber Connections Supports SD and HD Resolutions Add an LC fiber optic connection to any other professional device that supports SFP cages. 3G data rates support SD and HD resolutions, and the fiber optic communication allows for long-distance transmission without quality loss. Form Factor SFP cage Fiber Connector Duplex LC Connectors Compatible with Singlemode Fiber 16 Buc. 1.13 32560000-6 Cable Customised 24 Fibres Indoor/Outdoor Single Mode OS2 Assembly LC, 2.0mm Breakout Cable Length - 120m Connector A - LC UPC Simplex Connector B - LC UPC Simplex Alignment A to B - Fan-out in line 0.5m to Fan-out in line 0.5m Pulling Eye - Pulling Tube-Both Ends Packaging - Spool 1 Buc. 1.14 32560000-6 Cable 20m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch 10 M. 1.15 32560000-6 Cable 5m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch 24 M. 1.16 32560000-6 Cable 30m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch 4 M. 1.17 32560000-6 Panel Adapter Panel, 48 Fibres OS2 Single Mode, 24x LC UPC Duplex Adapter, Ceramic Sleeve 2 Buc. 1.18 32350000-1 SDI Cable construction inner conductor: solid bare copper, Ø 0.60 mm insulation: Foam-Skin PE, gas injected , Ø 2.8 mm shielding: AL/PET/AL double-layer foil + tinned copper braid (92% coverage) outer jacket: FRNC overall diameter: 4.5 mm mechanics working temperature: -30°C / +70°C min. bending radius: 25 mm 200 M. 1.19 32350000-1 SDI Connector Product Connection Type - BNC 75 Ω Gender – male Crimp size Pin: 1.6 mm (square) Shield: 5.0 mm (hex) 100 Buc. 1.20 32224000-9 Stand Lighting stand (echivalent K&M 24624) Base dimensions - 550 x 550 mm Height from 1,400 to 2,400 mm Height adjustment - spring-loaded bolt and locking screw Leg construction - flat steel plate Material – steel Max. load capacity*18 kg Special features - integrated shock absorber; gradual height adjustment system; zinc die-cast connecting parts Type – black Weight - 17.49 kg 4 Buc. 1.21 Instalare Instalarea și punerea în funcțiune a sistemului de camere video; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. 1 Buc. Total lot = 2 200 000 Lei, fără TVA Sistem Playout Lot nr.2 2.1 48000000-8 Playout Software Suitable for 24/7 playout for news, music and movies channels, allowing to insert commercials and to switch between multiple live video. The supported output video modes SD, HD and 4K and you can play any media files (regardless of size or resolution) because the engine will automatically make the necessary resize and framerate trans-coding (and this works for any media file or live input). The software works unde Windows 7 / 8 /10 and Windows Server 2016 / 2019. The supported video modes are : HD1080p 23.98 / 24 / 25 / 29.97 / 30 / 50 / 59.94 / 60 HD1080i 50 / 59.94 HD720p 50 / 59.94 SD PAL / NTSC Features : - flexible workflow supporting both database and working with storage directly - client-Server architecture so multiple clients can manage the server over network - number of output channels per PC - 4 channels - live inputs - 4 inputs (allowing switching manually or automatically) - forced starting time can be assigned for clips or live inputs - automatically transcode for files and Live inputs ( so any file with size between 8K and 320 x 240 and the framerate between 3 and 120 fps can be used) - supported input and output cards: BlackMagic Design (Decklink & Intensity ) - NDI (Network Device Interface) support for inputs and outputs - import folders feature (to assign same metadata to all files taken from the folder) - advanced playlist editor supporting working with multiple level grouping Features added by the conformance recording module: - record the output of each channels using a H264 codec The loudness normalization allows using media without requiring a manual adjustment of the sound level. Other advantages of using the loudness normalization: - real-time automatically processing, without compression or distortion - offers the best results even if the audio has a high dynamic range - possibility to achieve a predictable loudness level The list of supported codecs and conteiners : H264 AVC Intra 50 / 100 .mxf H264 8 bit and 10 bit ( 4:2:0 / 4:2:2 ) .mp4 / .mov / .avi / .mkv / .ts Mpeg2 ps / ts ( 4:2:0 / 4:2:2 ) .mpeg / .mpg / .m2t XSCAM 35 and XdCAM 50 .mov / .mxf IMX (for both PAL and NTSC) .mxf ProRes .mov HEVC 8 bit and 10 bit ( 4:2:0 / 4:2:2 ) .mp4 / .mov / .avi / .mkv / .ts DNxHD 8 bit and 10 bit .mov / .mxf DNxHR .mov / .mxf DV .avi / .mov /.mxf /.dv (rawDV) DVCPRO .avi / .mov DVCPRO HD .mov Uncompressed YUV 8 bit .avi / .mov Uncompressed YUV 10bit .avi / .mov Playout License Playout HD with 4 ch + Playout Audio Module + Conformance recording Echivalent cu MagicSoft Playout 1 Buc. 2.2 48000000-8 Software Upgrade MagicSoft CG update from CG ver 7 HD to CG ver 8 HD (license will be instaled/updated on USB dongle from CG version 7) 2 Buc. 2.3 48820000-2 Server Server Cerințe Minime: -Chassis: 2U – 8 x 3.5 SATA, Single Socket; -Processor: CPU 16C/32T, Base Frequency: 2.1GHz, Turbo: 3.2Ghz, 22MB Cache, (100W); -Memory: 64 Gb DDR4 ECC RDIMM; -Boot Drive: 512Gb SSD; -Expansion Slots 4 PCI-E 3.0 x8 (FHFL) slots; 1 PCI-E 3.0 x8 (LP) slot -RAID Controller: RAID(0,1,5,6,10,50,60), 12Gb/s SAS and SATA controller with 1Gb Cache, with Cache Protection Module; -Hard Drive: 8 x 4TB 7.2k SATA 6Gbps, 256MB, HDD Enterprise 3.5; -Network: 2 x RJ45 10-Gigabit Ethernet; -Power Supply: 500W+, Redundant Power; -Rails for server rack; -Warranty: 3 Years; -Include Prelungitor 19 1.5U power socket, PDU02, 9 ports, 16A, 1.8M 1 Buc. 2.4 48820000-2 Server Server Cerințe Minime: -Chassis: 2U GPU Server, Dual Socket; -Processor: 2 x CPU 16C/32T, Base Frequency: 2.1GHz, Turbo: 3.2Ghz, 22MB Cache, (100W); -Memory: 128 Gb DDR4 ECC RDIMM; -Expansion Slots 6 x PCI-E 3.0 x16 (double-width) slots 1 x PCI-E 3.0 x16/8 Low-profile -RAID Controller: RAID(0,1,5,6,10,50,60), 12Gb/s SAS and SATA controller with 2Gb Cache, with Cache Protection Module; -Hard Drive: 7 x 960GB 2.5" SATA 6.0Gb/s Solid State Drive; -GPU Accelerator 24GB GDDR6 - PCIe 3.0 x16 - Passive Cooling (4xDP) (Ray Tracing) echivalent la RTX6000 -Network: 2 x RJ45 10-Gigabit Ethernet; -Power Supply: 1500W+, Redundant Power; -Rails for server rack; -Warranty: 3 Years; -Include Prelungitor 19 1.5U power socket, PDU02, 9 ports, 16A, 1.8M 1 Buc. 2.5 32413100-2 KVM extender KVM USB DisplayPort HDBaseT™ 2.0 Extender integrates the latest HDBaseT™ 2.0 technologies to deliver 4K video, stereo audio, USB, Ethernet, and RS-232 signals up to 100 meters using a single Cat6 / 2L-2910 Cat 6 cable. The HDBaseT™ 2.0 guarantees the most reliable transmission on the market as well as enables the long-reach capability that extends full HD 1080P signals up to 150 meters. With an easy cable installation supporting various signals, the KVM is ideal for applications where convenient remote access is required – such as transportation control centers, medical facilities, industrial warehouses, and extended workstations. Connectors Console Ports (Remote Unit) 1 x DisplayPort Female (Black) 3 x USB Type A Female 1 x Mini Stereo Jack Female (Green) 1 x Mini Stereo Jack Female (Pink) 1 x RJ-45 Female (Black) 1 x DB-9 Male (Black) 1 x DC Jack with locking 1 x RJ-45 Female (Black) 1 x Wakeup button Video Up to 4K@90m (Cat 5e) / 100m (Cat 6/6a/ATEN 2L-2910 Cat6); 1080P@100m (Cat 5e/6/6a); *4K supported: 4096 x 2160 / 3840 x 2160 @ 30Hz (4:4:4) KVM Ports (Local Unit) 1 x DisplayPort Female (Black) 1 x USB Type B Female (White) 1 x Mini Stereo Jack Female (Green) 1 x Mini Stereo Jack Female (Pink) 1 x RJ-45 Female (Black) 1 x RJ-45 Female (Black) 1 x DB-9 Male (Black) 1 x DC Jack with locking Video Up to 4K@90m (Cat 5e) / 100m (Cat 6/6a/ATEN 2L-2910 Cat6); 1080P@100m (Cat 5e/6/6a); *4K supported: 4096 x 2160 / 3840 x 2160 @ 30Hz (4:4:4) Features Supports HDBaseT™ 2.0 technology - Extends video, audio, USB, RS-232, and Ethernet signals via a single Cat6 / 6a / 2L-2910 Cat 6 cable - Enhanced bit error detection and correction to resist signal interference during high-quality video transmissions - Status detection and LED indication for HDBaseT™ signal transmission on remote unit EDID Buffer for smooth power-up and the highest quality display Long distance with superior video quality - HDBaseT™ Standard mode up to 4K @ 100m (Cat 6 / 6a / 2L-2910) - HDBaseT™ Long-Reach mode up to 1080P @ 150m Long Reach mode switch – switches between HDBaseT™ Standard and Long Reach modes in a snap USB 2.0 full speed ports – ensures fast transmission speeds for peripherals HDCP Compatible Supports individual 2-channel stereo audio for high-quality audio applications Supports PC wakeup function via single pushbutton through RS-232 channel* Built-in 8KV / 15KV ESD protection (Contact voltage 8KV; Air voltage 15KV) 2 Buc. 2.6 Instalare Instalarea și punerea în funcțiune a sistemului de Playout ; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. 1 Buc. Total lot =770 000 Lei, fără TVA Echipament audio Lot nr.3 3.1 32330000-5 AudioRack 24 Mic Preamps Inputs on XLR: Phantom Power LED per Input Balanced, 48 V phantom power Mic/Line Preamp: Fully recallable Input Sensitivity: -60 to 15 dBu Analogue Gain: 5 to 60 dB, 1 dB steps Pad: -20 dB active pad Maximum Input Level: 30 dBu (pad in) Input Impedance: >4 kOhms (pad out), >10 kOhms (pad in) 12 XLR Line Outs: Balanced, relay protected Output Impedance: <75 Ohms Nominal Output: 4 dBu = 0 dB meter reading Maximum Output Level: 22 dBu Residual Output Noise: -92 dBu (muted, 20 to 20 kHz) Connection dSNAKE Connection with locking Ethercon port via Cat5 Mains Power 100 to 240 VAC, 50/60 Hz Expander Ethercon port for connection to an AR84 or AB168 1 Buc. 3.2 32330000-5 Desktop Audio Meter Desktop Audio Meter Stereo Audio Meter for Mixing, Mastering and Post Production 7" High Resolution Display (800x480) for accurate viewing USB connection for smooth plug-in integration Supports AU, VST & AAX plug-ins and all major broadcast standards including ITU BS.1770-4, ATSC A / 85, EBU R128, TR-B32 and OP-59 Features: Vectorscope for detailed L / R analysis Real Time Analyzer Balance O-meter for L / R and M / S Correlation display for phase problems True Peak Meter LM6 Loudness Radar Connections: Stereo 96 kHz AES3 digital audio at 75 Ohm BNC connection for broadcast measurement Optical S / PDIF input stereo (Toslink) USB 2.0 (Micro Type B) Incl. power supply, USB cable (1 meter) and bracket for table installation (Echivalent cu TC electronic Clarity M Stereo) 3 Buc. 3.3 32223000-2 Converter (set) Converter de-embedder (2 pcs), including rack shelf (1pcs). Connections: 1 x 12G-SDI SD/HD/2K/4K auto switching. 1 x 12G-SDI loop output Embedded Audio Support - 16 channels 4 channels professional 110Ω balanced digital audio via XLR connectors. Right XLR can be configured for timecode output 2 channels professional balanced analog audio via XLR connectors, or 2 channel unbalanced analog line level via RCA connectors. Right XLR can be configured for timecode output S/PDIF Signal with TOSLINK Connector Automatic switching between SD/HD/2K and 4K Updates and Configuration - USB or Ethernet Re-Clocking 1 Buc. 3.4 32223000-2 Converter (set) Converter embedder (2 pcs), including rack shelf (1 pcs). Connections: 1 x 12G-SDI SD/HD/2K/4K auto switching 1 x 12G-SDI output 2 channels professional balanced analog audio via XLR connectors, or 2 channel unbalanced analog line level via RCA connectors. Right XLR can be configured for timecode input 4 channels professional 110Ω balanced digital audio via XLR connectors. Right XLR can be configured for timecode input S/PDIF Signal with TOSLINK Connector Automatic switching between SD/HD/2K and 4K Automatic switching between SD/HD/2K and 4K Updates and Configuration - USB or Ethernet Re-Clocking 1 Buc. 3.5 32330000-5 Sistem microfon lavaliera Dual Wireless System with two Bodypack Transmitters and two microfons (Set) Frequency range: S50 Receiver (echivalent cu SLXD4D) Form Factor - Tabletop / Rackmount Mounting Options - Rackmount (with Included Hardware) Rackmount Size - 1 RU (Full Rack) Antenna - 2 x 1/4 Wave External, BNC (Rear-Mount) Number of Audio Channels - 2 Audio I/O - 2 x XLR 3-Pin Male Balanced Mic/Line Output 2 x 1/4" TRS Female Balanced Output Gain Range - 0 to +21 dB (3 dB Steps) Pad - 30 dB Audio Output Level - -18 to +42 dB (Balanced, Unbalanced) Frequency Response - 20 Hz to 20 kHz +1/-2 dB (Dependent on Mic) Impedance - 1/4" Outputs: 1.3 Kilohms (Balanced); 670 Ohms (Unbalanced) XLR Outputs: 400 Ohms (Balanced); 150 Ohms (Balanced) Approximate RF Sensitivity - -97 dBm Adjacent Channel Isolation - >70 dB AC/DC Power Adapter - 15 VDC at 600 mA, Center-Positive (Included) AC Input Power - 100 to 240 VAC, 50 / 60 Hz Display & Indicators - LCD (AF Level, Channel, Frequency, Group, RF Level, Transmitter Battery Status) Housing - Steel Transmitter (echivalent cu SLXD1) Form Factor - Bodypack RF Output Power - 1 / 10 mW Audio I/O - 1 x TA4/Mini XLR 4-Pin Male Unbalanced Input (Lockable) Gain Range - 0 +21 dB Sync Method - IR Antenna - 1/4 Wave External, Fixed Power Requirements - Battery Battery Type - 2 x AA; 1 x SB 903 Battery Charging Time - 1.25 to 5.5 Hours USB/Lightning Connectivity - None Display & Indicators - LCD (Battery Status, Channel, Group) Housing - ABS, Plastic Microphone (Echivalent cu WL183) Form Factor - Lavalier Sound Field - Mono Capsule - Electret Condenser Polar Pattern - Omnidirectional Pad - None High-Pass Filter - None Indicators - None Windscreen - Foam Performance Frequency Range - 50 Hz to 17 kHz Maximum SPL - 125 dB SPL Impedance - 1800 Ohms Sensitivity - -40 dBV/Pa Dynamic Range 102.5 dB Equivalent Noise Level - 22.5 dB SPL A-Weighted Connectivity Output Connectors - 1 x TA4/Mini XLR 4-Pin Female (TQG) Cable Length - 1.22 m Physical Color - Black Mounting - Alligator Clip, Tie Tac Clip (Included) 2 Buc. 3.6 32330000-5 Pro Wireless In-Ear Monitor Kit (Set) Pro Wireless In-Ear Monitor Kit includes a wireless transmitter, two wireless bodypack receivers, 4 battery pack and two chargers. Include a 1/4 wave antenna, a BNC bulkhead adapter and cable, a power supply,, six pairs of flex sleeves (S, M, L), two drawstring pouches, and two zipper bags for the receivers. Wireless Transmitter (1pcs) Performance Transmission Range - 90 m RF Output Power - 10, 20, 30 mW RF Output Impedance - 50 Ohms (typical) Audio Input Connector Type - 1/4" TRS (6.35 mm) Polarity - Tip positive with respect to ring Configuration - Electronically balanced Impedance - 40 kOhms (actual) Nominal Input Level - Switchable, +4 dBu, -10 dBV Maximum Input Level - +4 dBu: +22 dBu; -10 dBV: +12.2 dBu Pin Assignments - Tip=hot, Ring=cold, Sleeve=ground Phantom Power Protection - Up to 60 VDC Audio Output Connector Types - 1/4" TRS (6.35 mm) Configuration - Electronically balanced Impedance - Connected directly to inputs General Antenna - 1/4 wave, detachable Power Requirement - 12 to 15 VDC, 260 mA maximum Wireless Bodypack Receiver (2pcs) RF Sensitivity - Active: 2.2 μV (at 20 dB SINAD) Image Rejection - > 90 dB Adjacent Channel Rejection - > 60 dB Intermodulation Attenuation - > 50 dB Blocking - > 60 dB Audio Output Power-80mW per output Minimum Load Impedance - 16 Ohms Headphone Output - 1.8" (3.5 mm), stereo Continuous Battery Life - 4 to 5.5 hours, AA batteries Dual Docking Recharging Station (2 Pcs) echivalent SBC200 Fits P3RA, P9R, P10R, UR5, ULX-D and QLX-D series For two Li-Ion batteries and/or hand-held or pocket transmitters Can be linked together Includes PS45 power supply for up to 4 units Battery pack (4 Pcs): Li-Ion Akku (3,7V/1320mAh) Echivalent cu SB900B 1 Buc. 3.7 32330000-5 Commentator Unit Commentator Unit 2 Commentators & 1 Guest (Equivalent CM-CU21) Features 2 Commentator positions plus a guest position, each with individual outputs; plus 2 mix outputs. Talkback outputs selectable by the two main commentators, with built in limiter. 4 Return audio circuits that are routed to headphones along with all the commentator inputs. Any source can be individually level controlled and sent to left, right or both ears. A wide input gain range and switchable phantom power on each commentary position allows support of a variety of microphone types including low output ribbon, headsets and high output phantom powered microphones. Individually switched 48V phantom power on all microphone inputs. User preset adjustable limiter on main mix outputs with limit activity indication. Built in line-up tone for initial cabling checks. 21 Segment LED PPM meter showing main output level. Technical Specification Main Panel Operational Controls & Indicators On-Air 1-3 Buttons: lluminated buttons with latching action Talkback A & B Buttons: Illuminated buttons with selectable momentary and/or latching action Headphone Monitor Controls: Input source level adjustment potentiometers Headphone channel selection switches Line Input Level: Guest position line input mode level potentiometer PPM Meter: 21 segment display showing mix output level, brightness level Is selectable Limit LED indicates mix output limiter is active, colour & brightness level is selectable Power LED indicates operating mode; normal or setup Front Panel Operational Controls Phantom: Switch to enable 48V microphone phantom power for positions 1 & 2 Phantom/Line: Switch to enable 48V microphone phantom power or select line input mode for position 3 Mic Gain: Microphone gain potentiometer and range select switch selects +20-+56dB or +50-+86dB Rear Panel Operational Controls On Air Lock: Switch to prevent On Air controls from being deactivated Momentary push-button to override on air lock T/B Gang: Switch to link operation of talkbacks A & B T/B Gain: 0dB - +12dB Limiter: Switch to enable limiter on mix outputs Limit level adjustment potentiometer Test Tone: Switch to enable 1 kHz line-up tone Front Panel Connections Headphone Outputs: 2 x locking headphone jack socket for positions 1 & 2; 1 x headphone jack socket for position 3 Microphone Inputs: 2 x XLR-3 pin latching female for positions 1 & 2 Microphone/Line Input: 1 x XLR-3 pin latching female for position 3 Rear Panel Connections Prog, A, B & C Inputs: 4 x XLR-3 pin female (transformer balanced) Comm1-3 Outputs: 3 x XLR-3 pin male (electronic balanced) Talkback A & B Outputs: 2 x XLR-3 pin male (transformer balanced) Mix 1 & 2 Outputs: 2 x XLR-3 pin male (transformer balanced) GPIO Port: 15-way ‘D’-type socket Mains Input: Universal filtered IEC, continuously rated 85-264VAC, 47-63Hz, 10W Fuse Rating: Anti-surge fuse 1A 20 x 5mm DC Input: XLR-4 pin male 12V DC, 650mA Typical, 850mA Maximum 24V DC, 325mA Typical, 425mA Maximum Earth Point: M4 stud. 1 Buc. 3.8 32330000-5 Source Selector, Switcher 10 Way Stereo Analogue Source Selector/Mixer (Equivalent RB-SS10) 10 way stereo analogue source selector/mixer is a 1U rack-mount unit that produces a stereo analogue audio output from 10 selectable stereo analogue sources. There are 10 illuminated front panel push-buttons, which select and indicate the current channel selection. The selection and indication is also available through a remote connector on the rear panel. To stop accidental front panel selection there is a remote input to inhibit the front panel buttons. Connections Inputs: 4 x XLR 3 pin female (2 x stereo) (balanced, can be unbalanced) 2 x 25 way D-type socket (female) (4 stereo balanced channels on each) Outputs: 2 x XLR 3 pin male (stereo balanced, can be unbalanced) Remote Start I/O: 25 way D-type plug (male) Remote Select/Switch Inputs: 25 way D-type socket (female) Status Outputs: 25 way D-type socket (female) Mains Input: Filtered IEC, 110V-120V, or 220-240V switchable, fused, 6W maximum Fuse Rating: Anti-surge fuse 160mA 20 x 5mm (230VAC), Anti-surge fuse 315mA 20 x 5mm (115VAC) 1 Buc. 3.9 32330000-5 Headphones Headphones, Frequency response (Headphones) 18–20,000 Hz (-10 dB); Sound pressure level (SPL) 120dB (1kHz/1Vrms); THD, total harmonic distortion <0.5% (1kHz/100dB); Ear coupling Over-Ear; Jack plug 3.5mm angled; Cable length 1.4m; (Equivalent HD 400S) 5 Buc. 3.10 32330000-5 Broadcast Headset Dual-sided broadcast headset (Equivalent BRH440M) Features Closed-back, circumaural design provides excellent isolation from background noise Dynamic microphone delivers natural, highly intelligible vocal reproduction with cardioid polar pattern and frequency response optimized for communication in loud environments Ergonomic, lightweight design with adjustable, padded headband for long wearing comfort Flexible boom microphone pivots 270 degrees for left or right side wear Flip-up mute function deactivates the boom microphone when raised vertically away from the mouth Single-side, detachable cable (sold separately) enables connection to a variety of devices User-replaceable cable, ear pads and windscreen provided for a long product life Microphone Type Dynamic (moving coil) Polar Pattern Cardioid Frequency Response 50 to 15,000 Hz Output Impedance 200 Ohms Sensitivity (@1 kHz, open circuit voltage) -67.0 dBV/Pa (0.45 minimum) 1Pa-94 dB SPL Polarity Positive pressure on diaphragm produces positive voltage on pin 1 (red wire) with respect to pin 3 (shield) Headphone Transducer Type Dynamic, Neodymium magnet Driver Size 40 mm Frequency Range 15 to 27,000 Hz Sensitivity (@ 1 kHz) 101 dB/mW Impedance (@ 1 kHz) 300 Ohms Maximum Input Power 1000 mW Include cable XLR and 6.3 mm jack (BCASCA-XLR3QI) Include Replacement Single-Sided Detachable Cable (BCASCA1) 3 Buc. 3.11 Instalare Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. 1 Buc. Total lot = 300 000 Lei, fără TVA System promter Lot nr.4 4.1 32224000-9 System promter System promter (echivalent Autoscript WinPlus-IP) Software: (1 pcs) Software offers compatibility with all leading NRCS including: Avid iNews, Dalet. MOS Protocol devices supported include: Annova Open Media, AP ENPS, News Works, Octopus, Dayang, Sobey, NIS4, Inception & Eidos Media. Software enables instant script updates from Newsroom systems. The connectivity status of each Newsroom is viewable at a glance and can be given a user defined name for easy reference. Busy productions will benefit from having multiple rundowns loaded for multi-programme operation. With multi-language compatibility, Includes: Closed caption options enable script to be outputted for captions/subtitles Multiple rundowns loaded for multi-programme operation Instant script updates from NRCS for seamless newsroom workflow Newsroom connectivity status displayed for easy monitoring User definable friendly name & newsroom connection type ensures simple setup Prompter Device: (1 Pcs) An extremely compact scroll engine. As an Intelligent Prompting device it networks via Ethernet to prompting software application, where users are able to monitor status, manage group updates and remote upgrades. Dual HD-SDI outputs support the distribution of the teleprompter video to traditional prompt monitors. In addition a Power over Ethernet output can be used to power an Intelligent Prompting scroll control – ideal for single controller setups. In a tough, portable casing with LED status indicator, the XBox-IP offers a modern solution for solo operators and users looking to retain HD/HD-SDI monitors. Features: Compact, portable unit Dual HD-SDI output distributes script video to traditional prompt monitors Dual USB ports PoE output for scroll control avoids the need for 3rd party equipment in single-controller setups Network and status indicator Desktop Hand Control: (2 Pcs.) Wrist support and neutral hand position ensures comfortable, safe operation Central button positioning supports left and right-handed operation Two illuminated function buttons programmable in software to suit the operator’s desired configuration Powered over Ethernet to simplify integration and reduce cabling Foot Scroll Control: (3 Pcs.) Adjustable sensitivity and range to suit unique user profiles Programmable function button allows operator to select their desired configuration Powered over Ethernet to simplify integration and reduce cabling Remote configuration in software Wireless Controller and Base Station Package (1 pcs) Intelligent Prompting wireless controller and base station package Allows total freedom for the presenter to move around a studio and control the speed of the prompted text Include 8-port POE+ Switch (Power Budget min 100W) (1 pcs) 1 Buc. 4.2 Instalare Instalarea și punerea în funcțiune a sistemului de promter; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, integrare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. 1 Buc. Total lot = 350 000 Lei, fără TVA Obectiv Lot nr.5 5.1 38651100-4 Obiectiv Specs 24-70mm F/2.8 GM Focal Length 24 to 70mm Maximum Aperture f/2.8 Minimum Aperture f/22 Format Compatibility Full-Frame Angle of View 84° to 34° Minimum Focus Distance 1.25' / 38 cm Maximum Magnification 0.24x Optical Design 18 Elements in 13 Groups Diaphragm Blades 9, Rounded Focus Type Autofocus Image Stabilization None Filter Size 82 mm (Front) Dimensions (ø x L) 87.6 x 136 mm Weight 886 g Specs UV FILTER Type UV Circular Polarizer Size 82 mm UV: 3.4 mm-thick Circular polarizer: 6.2 mm-thick Filter Factor UV: 1 (0 stop) Circular polarizer: About 2.5 (1.3 stops) Multi-Coated Yes; 12-layer multi-coating Rotating UV: No Circular polarizer: Yes Effect UV: Absorbs UV light and reduces bluish cast from daylight Circular polarizer: Reduce/eliminate reflections and haze and improve color and tonal saturation Construction Schott glass Anodized aluminum filter ring with top knurling Front Filter Thread Size 82 mm Front Lens Cap Size 82 mm 1 Buc. Total lot = 40 000 Lei, fără TVA Echipament de reţea Lot nr.6 6.1 32400000-7 Switch Modular Stackable L3 Managed Switch echivalent la Netgear M4300-96X Cerințe minime: Modular 1-unit 2U rack mount; CPU : 1.4 Ghz, Ram: 2GB, Flash Memory: 256MB; Features : 96MB packet buffer, Access Control List (ACL) support, ARP support, Bridge protocol data unit (BPDU), DHCP relay, DHCP snooping, DiffServ support, Dynamic ARP protection, Front to back airflow, IP source guard, IPv4 support, IPv6 support, LACP support, LISP Across Subnet Mode (ASM), MLD snooping, Modular design, Neighbor Discovery Protocol (NDP), Per-VLAN Rapid Spanning Tree (PVRST), Quality of Service (QoS), Rapid Spanning Tree Protocol (RSTP) support, Remote Switch Port Analyzer (RSPAN), Source-Specific Multicast (SSM), Spanning Tree Protocol (STP) support, STP Root Guard, Virtual Route Redundancy Protocol (VRRP) support, IEEE 802.1AX, IEEE 802.3ad (LACP), IEEE 802.3az; Remote Management Protocol: CLI, HTTPS, SNMP 1, SNMP 2, SNMP 3, SSH, Telnet; Switching capacity: 1.92 Tbps; Throughput: 2.857 Mpps; Capacity: Virtual interfaces (VLANs): 4093 IPv4 routes (static): 64 IPv6 routes (static): 64 RIP routes: 512 ARP entries: 8000 OSPF routes: 12000 Static ARP entries: 128 Switchul va fi echipat cu următoarele module: 6 x APM408C - 8x10GBASE-T Port Card - 100M/1G/2.5G/5G/10G; 2 x APM408P - 8x10GBASE-T PoE+ Port Card - 100M/1G/2.5G/5G/10G; 2 x APM408F - 8xSFP+ Port Card - 1G/10G; Switchul va fi echipat cu următoarele accesorii: 12 x SFP+ Transceiver: 10GBase-LR single mode LC duplex connector up to 2km; 10 x Patch Cord RJ-45 , Cat. 6A or Cat. 7 , support 10 Gigabit Ethernet, lungime: 3M; 20 x Patch Cord RJ-45 , Cat. 6A or Cat. 7 , support 10 Gigabit Ethernet, lungime: 5M; Power Supply: 1200W, 1+1 redundant power for PoE applications; -Warranty: 3 Years; 1 Buc. 6.2 32413100-2 Router 24 port Gigabit Ethernet switch with two SFP+ ports (equivalent CRS326-24G-2S) Specifications Architecture - ARM 32bit CPU - 98DX3236 CPU core count - 1 CPU nominal frequency - 800 MHz RouterOS license - 5 Operating System - RouterOS / SwitchOS Size of RAM - 512 MB Storage size - 16 MB Storage type - FLASH MTBF - Approximately 200'000 hours at 25C Powering Number of DC inputs - 2 (DC jack, PoE-IN) DC jack input Voltage - 10-30 V Max power consumption - 24 W FAN count - Passive PoE in - Passive PoE PoE in input Voltage - 10-30 V Ethernet 10/100/1000 Ethernet ports - 24 Fiber SFP+ ports - 2 Peripherals Serial console port - RJ45 1 Buc. 6.3 32413100-2 Ethernet router The CWDM passive MUX/DEMUX unit, which allows to combine up to eight fiber links into one, to simplify and reduce the cost of long distance fiber installations. At the other location, the combined line is split back up again, so that instead of eight long fiber lines, you would only need one. The Coarse Wavelength-Division Multiplexing (CWDM) technology offers a solution which will increase capacity of existing fiber infrastructure by enabling multiple channels/wavelengths over the same fiber cabling and will reduce costs for a new fiber optic deployment. Single optical fiber cable to create up to eight independent 1.25Gbps SFP (up to 40km) or 10Gbps SFP+ (up to 10km) links, offering more affordable alternative to installing more fiber or leasing additional fibers. Include: CWDM-MUX8A 1U Chassis bracket for CWDM 8-port MUX/DEMUX 2 x S+C61DLC10D 2 x S-C47DLC40D 2 x S-C49DLC40D 2 x S-C51DLC40D 2 x S-C53DLC40D 2 x S-C55DLC40D 2 x S-C57DLC40D 2 x S-C59DLC40D 2 x S-C61DLC40D 2 Buc. Total lot = 406 666,66 Lei, fără TVA

- Pregătirea ofertelor

| 3.1. | Oferte alternative: | nu vor fi acceptate |
| --- | --- | --- |
| 3.2. | Garanţia pentru ofertă: | [forma garanției a/b/c] Oferta va fi însoţită de o Garanţie pentru ofertă (emisă de o bancă comercială) conform formularului F3.2 din secţiunea a 3-a – Formulare pentru depunerea ofertei sau Garanţia pentru ofertă prin transfer la contul autorităţii contractante, conform următoarelor date bancare: Beneficiarul plăţii:IP Compania „Teleradio-Moldova” Denumirea Băncii:BC „Moldindconbank” SA Codul fiscal: 1004600050558 Contul de decontare: MD47ML000000002251206328 Contul bancar: MOLDMD2X306 cu nota “Pentru garanţia pentru ofertă la procedura de achiziție publică nr. ____ din _______” |
| 3.3. | Garanţia pentru ofertă va fi în valoare de: | 1% din valoarea ofertei fără TVA. |
| 3.4. | Ediţia aplicabilă a Incoterms și termenii comerciali acceptați vor fi: | INCOTERMS 2010 , DDP |
| 3.5. | Termenul de livraree: | Livrarea bunurilor se va realiza în termen de 55 de zile de la intrarea în vigoare a contractului, iar prestarea serviciilor în decurs de 5 de zile de la solicitarea Cumpărătorului. |
| 3.6. | Locul livrării bunurilor: | IP Compania „Teleradio-Moldova”, depozitul central. |
| 3.7. | Metoda și condițiile de plată vor fi: | Achitarea va fi efectuată utilizînd sistemul de e-facturare. 100 % în termen de 30 de zile după livrarea bunurilor, prestarea serviciilor și prezentarea procesului verbal de punere în funcțiune,prezentarea facturilor. |
| 3.8. | Perioada valabilităţii ofertei va fi de: | 60 de zile |
| 3.9. | Ofertele în valută străină: | se acceptă doar de la operatorii economici nerezidenți |
| Depunerea și deschiderea ofertelor |
| 4.1 | Locul/Modalitatea de depunerea ofertelor, este: | Prin intermediul SIA RSAP |
| 4.2. | Termenul limită de depunere a ofertelor este: | Conform SIA RSAP |  |
| 4.3. | Persoanele autorizate să asiste la deschiderea ofertelor (cu excepţia cazului cînd ofertele au fost depuse prin SIA “RSAP”). |  | Ofertanţii sau reprezentanţii acestora au dreptul să participe la deschiderea ofertelor, cu excepţia cazului cînd ofertele au fost depuse prin SIA “RSAP” |
| Evaluarea și compararea ofertelor |
| 5.1. | Preţurile ofertelor depuse în diferite valute vor fi convertite în: | lei MD |
|  | Sursa ratei de schimb în scopul convertirii: | BNM |
|  | Data pentru rata de schimb aplicabilă va fi: | Ziua depunerii ofertelor |
| 5.2. | Modalalitatea de efectuare a evaluării: | Evaluarea va fi efectuată pe: pe loturi |
| 5.3. | Factorii de evaluarea vor fi următorii: | - |
| Adjudecarea contractului |
| 6.1. | Criteriul de evaluare aplicat pentru adjudecarea contractului va fi: | Se va aplica criteriul de evaluare: Prețul cel mai scăzut pe lot si corespunderea cerințelor caietului de sarcini |
| 6.2. | Suma Garanţiei de bună execuţie (se stabileşte procentual din preţul contractului adjudecat): | 5% |
| 6.3. | Garanţia de bună execuţie a contractului: | [forma garanției de bună execuție a/b/c] Garanția de buna execuție (emisă de o bancă comercială) conform formularului F3.3 sau Garanția de buna execuție prin transfer la contul autorităţii contractante, conform următoarelor date bancare: Beneficiarul plăţii:IP Compania „Teleradio-Moldova” Denumirea Băncii:BC „Moldindconbank” SA Codul fiscal: 1004600050558 Contul de decontare: MD47ML000000002251206328 Contul bancar: MOLDMD2X306 cu nota “Garanția de bună execuție” sau “Pentru garanţia de bună execuție la procedura de achiziție publică nr. ______ din ___________” |
| 6.4. | Forma de organizare juridică pe care trebuie să o ia asocierea grupului de operatori economici cărora li s-a atribuit contractul | [indicaţi una din formele de mai jos] _____________ Societate pe acţiuni Societate cu răspundere limitată |
| 6.5. | Numărul maxim de zile pentru semnarea şi prezentarea contractului către autoritatea contractantă, de la remiterea acestuia spre semnare: | [5 zile] |

Conținutul prezentei Fișe de date a achiziției este identic cu datele procedurii din cadrul Sistemului Informațional Automatizat “REGISTRUL DE STAT AL ACHIZIȚIILOR PUBLICE”. Grupul de lucru pentru achiziții confirmă corectitudinea conținutului Fișei de date a achiziției, fapt pentru care poartă răspundere conform prevederilor legale în vigoare.

Conducătorul grupului de lucru:                                                                                Sorocean Tatiana

| CAPITOLUL III FORMULARE PENTRU DEPUNEREA OFERTEI |
| --- |
| Următoarele tabele şi formulare vor fi completate de către ofertant şi incluse în ofertă. |
| Formular | Denumirea |
| F3.1 | Formularul ofertei |
| F3.2 | Garanţia pentru ofertă – formularul garanţiei bancare |
| F3.3 | Garanţie de bună execuţie |
|  | Declarația privind confirmarea identității beneficiarilor efectivi și neîncadrarea acestora în situația condamnării pentru participarea la activităţi ale unei organizaţii sau grupări criminale, pentru corupţie, fraudă şi/sau spălare de bani. |

Formularul ofertei (F3.1)

[Ofertantul va completa acest formular în conformitate cu instrucţiunile de mai jos. Nu se vor permite modificări în formatul formularului, precum şi nu se vor accepta înlocuiri în textul acestuia.] Data depunerii ofertei: “___” _____________________ 20__ Procedura de achiziție Nr.: _______________________________________ Anunț de participare Nr.: ______________________________ Către: ____________________________________________ [numele deplin al autorităţii contractante] ________________________________________________________ declară că: [denumirea ofertantului] Au fost examinate şi nu există rezervări faţă de documentele de atribuire, inclusiv modificările nr. ___________________________________________________________. [introduceţi numărul şi data fiecărei modificări, dacă au avut loc] ____________________________________________________________ se angajează să [denumirea ofertantului] furnizeze în conformitate cu documentele de atribuire şi condiţiile stipulate în specificaţiile tehnice şi preț, următoarele bunuri _______________________ ________________________________________________________________________. [introduceţi o descriere succintă a bunurilor] Suma totală a ofertei fără TVA constituie: ________________________________________________________________________. [introduceţi preţul pe loturi (unde e cazul) şi totalul ofertei în cuvinte şi cifre, indicînd toate sumele şi valutele respective] Suma totală a ofertei cu TVA constituie: ________________________________________________________________________. [introduceţi preţul pe loturi (unde e cazul) şi totalul ofertei în cuvinte şi cifre, indicînd toate sumele şi valutele respective] Prezenta ofertă va rămîne valabilă pentru perioada de timp specificată în FDA3.8., începînd cu data-limită pentru depunerea ofertei, în conformitate cu FDA4.2., va rămîne obligatorie şi va putea fi acceptată în orice moment pînă la expirarea acestei perioade; În cazul acceptării prezentei oferte, ____________________________________________ [denumirea ofertantului] se angajează să obţină o Garanţie de bună execuţie în conformitate cu FDA6, pentru executarea corespunzătoare a contractului de achiziţie publică. Nu sîntem în nici un conflict de interese, în conformitate cu art. 74 din Legea nr. 131 din 03.07.2015 privind achizițiile publice. Compania semnatară, afiliaţii sau sucursalele sale, inclusiv fiecare partener sau subcontractor ce fac parte din contract, nu au fost declarate neeligibile în baza prevederilor legislaţiei în vigoare sau a regulamentelor cu incidenţă în domeniul achiziţiilor publice. Semnat:________________________________________________ [semnătura persoanei autorizate pentru semnarea ofertei] Nume:_________________________________________________ În calitate de: ___________________________________________ [funcţia oficială a persoanei ce semnează formularul ofertei] Ofertantul: _____________________________________________ Adresa: ________________________________________________ Data: “___” _____________________ 20__

Garanţia pentru oferta (Garanția bancară) (F3.2)

[Banca emitentă va completa acest formular de garanţie bancară în conformitate cu instrucţiunile indicate mai jos. Garanţia bancară se va imprima pe foaie cu antetul băncii, pe hîrtie specială protejată.] __________________________________________________________________ [Numele băncii şi adresa oficiului sau a filialei emitente] Beneficiar: _______________________________________________________ [numele şi adresa autorităţii contractante] Data: “___” _____________________ 20__ GARANŢIE DE OFERTĂ Nr._________________ _______________________________________________________________ a fost informată că [denumirea băncii] ____________________________________________________ (numit în continuare „Ofertant”) [numele ofertantului] urmează să înainteze oferta către Dvs. la data de “___” _____________________ 20__ (numită în continuare „ofertă”) pentru livrarea __________________________________________ [obiectul achiziţiei] conform anunțului de participare nr. __________________ din “___” _____________________ 20__. La cererea Ofertantului, noi, ____________________________________________, prin prezenta, [denumirea băncii] ne angajăm în mod irevocabil să vă plătim orice sumă sau sume ce nu depăşesc în total suma de: ______________________ (_______________________________________________________) [suma în cifre] ([suma în cuvinte]) la primirea de către noi a primei solicitări din partea Dvs. în scris, însoţite de o declaraţie în care se specifică faptul că Ofertantul încalcă una sau mai multe dintre obligaţiile sale referitor la condiţiile ofertei, şi anume: şi-a retras oferta în timpul perioadei valabilităţii ofertei sau a modificat oferta după expirarea termenului-limită de depunere a ofertelor; sau fiind anunţat de către autoritatea contractantă, în perioada de valabilitate a ofertei, despre adjudecarea contractului: (i) eşuează sau refuză să semneze formularul contractului;; sau (ii) eşuează sau refuză să prezinte garanţia de bună execuţie, dacă se cere conform condiţiilor licitaţiei, ori nu a executat vreo condiţie specificată în documentele de atribuire, înainte de semnarea contractului de achiziţie. Această garanţie va expira în cazul în care ofertantul devine ofertant cîştigător, la primirea de către noi a copiei înştiinţării privind adjudecarea contractului şi în urma emiterii Garanţiei de bună execuţie eliberată către Dvs. la solicitarea Ofertantului. Prezenta garanţie este valabilă pînă la data de “___” _____________________ 20__. _________________________________________ [semnătura autorizată a băncii]

Garanţie de bună execuţie (F3.3)

[Banca comercială, la cererea ofertantului cîştigător, va completa acest formular pe foaie cu antet, în conformitate cu instrucţiunile de mai jos.] Data: “___” _____________________ 20__ Procedura de achiziție publică Nr.: _______________________________________ Oficiul Băncii: _____________________________________ [introduceţi numele complet al garantului] Beneficiar: ________________________________________ [introduceţi numele complet al autorităţii contractante] GARANŢIA DE BUNĂ EXECUŢIE Nr. _______________ Noi, [introduceţi numele legal şi adresa băncii], am fost informaţi că firmei [introduceţi numele deplin al Furnizorului] (numit în continuare „Furnizor”) i-a fost adjudecat Contractul de achiziție publică de livrare ______________ [obiectul achiziţiei, descrieţi bunurile] conform invitaţiei la procedura de achiziție publică nr. din _________. 201_ [numărul şi data procedurii de achiziție publică] (numit în continuare „Contract”). Prin urmare, noi înţelegem că Furnizorul trebuie să depună o Garanţie de bună execuţie în conformitate cu prevederile documentelor de atribuire. În urma solicitării Furnizorului, noi, prin prezenta, ne angajăm irevocabil să vă plătim orice sumă(e) ce nu depăşeşte [introduceţi suma(ele) în cifre şi cuvinte] la primirea primei cereri în scris din partea Dvs., prin care declaraţi că Furnizorul nu îndeplineşte una sau mai multe obligaţii conform Contractului, fără discuţii sau clarificări şi fără necesitatea de a demonstra sau arăta temeiurile sau motivele pentru cererea Dvs. sau pentru suma indicată în aceasta. Această Garanţie va expira nu mai tîrziu de [introduceţi numărul] de la data de [introduceţi luna] [introduceţi anul], şi orice cerere de plată ce ţine de aceasta trebuie recepţionată de către noi la oficiu pînă la această dată inclusiv. [semnăturile reprezentanţilor autorizaţi ai băncii şi ai Furnizorului] DECLARAŢIE privind confirmarea identității beneficiarilor efectivi și neîncadrarea acestora în situația condamnării pentru participarea la activităţi ale unei organizaţii sau grupări criminale, pentru corupţie, fraudă şi/sau spălare de bani. Subsemnatul, ________________ reprezentant împuternicit al _____________ (denumirea operatorului economic) în calitate de ofertant/ofertant asociat desemnat câștigător în cadrul procedurii de achiziție publică nr. _________________ din data __/__/___, declar pe propria răspundere, sub sancţiunile aplicabile faptei de fals în acte publice, că beneficiarul/beneficiarii efectivi ai operatorului economic în ultimii 5 ani nu au fost condamnați prin hotărâre judecătorească definitivă pentru participarea la activităţi ale unei organizaţii sau grupări criminale, pentru corupţie, fraudă şi/sau spălare de bani. Numele și prenumele beneficiarului efectiv IDNP al beneficiarului efectiv Data completării:______________________ Semnat: _____________________________ Nume/prenume: __________________________________ Funcţia în cadrul persoanei juridice: ____________________________ Denumirea persoanei juridice ________________________ IDNO al persoanei juridice _____________________________ CAPITOLUL IV SPECIFICAȚII TEHNICE ȘI DE PREȚ Următoarele tabele şi formulare vor fi completate de către ofertant şi incluse în ofertă. În cazul unei discrepanţe sau al unui conflict cu textul CAPITOLULUI I, prevederile din prezentul CAPITOL vor prevala asupra prevederilor din CAPITOLUL I. Formular Denumirea F4.1 Specificaţii tehnice F4.2 Specificații de preț

|  |  | Specificaţii tehnice (F4.1) |
| --- | --- | --- |
|  |  | [Acest tabel va fi completat de către ofertant în coloanele 3, 4, 5, 7, iar de către autoritatea contractantă – în coloanele 1, 2, 6, 8] |
| Numărul procedurii de achiziție______________din_________ |
| Denumirea procedurii de achiziție: |
| Cod CPV | Denumirea bunurilor | Modelul articolului | Ţara de origine | Produ-cătorul | Specificarea tehnică deplină solicitată de către autoritatea contractantă | Specificarea tehnică deplină propusă de către ofertant | Standarde de referinţă |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
|  | Lot nr.1 Sistemul video |  |  |  |  |  |  |
| 32224000-9 | PTZ Camera |  |  |  | Features Large 1" type MOS sensor HDMI, SDI, and IP output up to UHD 4K 20x optical, 32x iZoom in HD, 24x iZoom in UHD 4K Wide 75.1° horizontal angle of view (DRS) High Dynamic Range (HDR) mode with BT.2020 gamut support Optical Image Stabilization (IOS) Crop up to three shots from a single 4K image Large, adjustable tally light Adaptive Matrix function adjusts for strong LED blue light 1/4, 1/16, 1/64 ND filters Audio input and embedding FreeD Support for Construction of AR/VR Systems Improved web UI for use with PC, tablet, or smartphone (iOS, Android) Maximum 180°/s pan/tilt in high-speed mode Monochrome Night Mode Digital Noise Reduction (DNR) Live streaming via RTMP Upgradable to NDI/HX with license Image Sensor Image Sensor - 1-Chip 1" MOS Sensor Horizontal Resolution (TV Lines) - 1600 TV Lines Gain - 0 to 42 dB (Expanded) Signal-to-Noise Ratio - 60 dB Sensitivity - f/9 at 2000 lux White Balance Range - 2000 to 15,000K Camera Shutter Speed - 1/24 to 1/10,000 sec Max Digital Zoom - 32x ( in 1080p) IR Cut Filter Lens Optical Zoom Ratio - 20x Focal Length - 8.8 to 176mm 35mm Equivalent Focal Length - 24.5 to 490mm Field of View - Horizontal: 75.1 to 4°; Vertical: 46.7 to 2.3°; Vertical: 82.8 to 4.6°. Maximum Aperture - f/2.8 to 4.5 Minimum Focusing Distance - Wide: 3.9" / 9.9 cm; Telephoto: 39.6" / 100.6 cm Image Stabilization - Optical Focus Control – Autofocus; Manual Focus Video Output Broadcast System Compatibility - NTSC, PAL Output Formats - SDI, HDMI, RJ45, Optical Fiber: 3840x2160p at 24, 25, 29.97, 50fps 1920 x 1080p at 25, 29.97, 50, 59.94 fps 1920 x 1080PsF at 23.98, 25, 29.97 fps 1920 x 1080i at 50, 59.94 fps Embedded Audio – HDMI/SDI IP Streaming - H.264, H.265, MJPEG: 1080p, 720p at 25p, 30p, 50p, 60p Control Move Speed - Pan: 0.08 to 180°/sec; Tilt: 0.08 to 180°/sec Movement Range - Pan: 350° (-175 to 175°); Tilt: 120° (-30 to 210°) Tally Light Supported Control Protocols - RS-232; RS-422 Interfaces Video Output Connectors - 1 x HDMI Type A (HDMI 2.0) Male 1 x BNC Male (Loop Output) 1 x BNC (3G-SDI) Male Audio I/O - 1 x 1/8" / 3.5 mm Stereo Mic/Line Level Input Control Interface - 1 x RJ45 (IP Control, RS-422) Other I/O - 1 x BNC (Genlock) Input Expansion Slots - 1 x SFP+ Slot Power PoE Support - PoE++ 802.3bt Power Connectors - 1 x Proprietary (10.8 to 13.2 VDC) Include POE++ Injector 54 VDC at 1.5A Output Voltage, 80W Output Power, 100 to 240 AC at 50/60 Hz Input Voltage (EU) (Echivalent cu POE-54-80W) Include Power Supply: 10.8 to 13.2 VDC at 4A HA216P-4S (4-pin ), 100 to 240 AC at 50/60 Hz Input Voltage (EU) |  |  |
| 32224000-9 | Remote PTZ Camera Controller |  |  |  | Key Features Control up to 200 Compatible PTZ Cameras Serial Control 5 Cameras Directly Zoom/Focus Rocker Joystick Touch Panel GUI, Touch Focus & More General Number of Supported Cameras - 200 Channels via IP 5 Channels via RS-422 Control Interface - 1 x RJ45 (LAN) Other I/O - 2 x 25-Pin D-Sub (GPI, Tally); 5 x RJ45 (RS-422, Tally) Video Connectors - 1 x BNC (3G-SDI) Input; 1 x BNC (3G-SDI) (Loop Output) Controls - 10 x Camera Selection Buttons Memory Card Slot 1 x SDXC Display Size - 7" Resolution - 800 x 480 Touchscreen Power PoE Support - PoH 802.3at Power Connectors - 1 x 4-Pin XLR DC Input Power - 10.8 to 13.2 VDC at 1 A |  |  |
| 32224000-9 | Processor, keying |  |  |  | An advanced real time compositing processor designed for keying live action video with next generation broadcast graphics, virtual sets and more. Features new algorithms and color science, incredible edge handling and color separation, amazing color fidelity, and better spill suppression than ever before. The high performance 12G-SDI design gives you the power to work in UltraHD and HD with sub pixel processing for amazing image. Connections SDI Video Inputs - 7, plus monitor in SDI Video Outputs – 9 SDI Video Loop - 7 x relocked SD, HD, Ultra HD for corresponding inputs. SDI Rates - 270Mb, 1.5G, 3G, 6G, 12G multi rate support Reference Input - Tri-Sync or Black Burst Reference Loop Output - Tri-Sync or Black Burst Control Panel Connection - Ethernet supports 10/100Mbps. GPIO - 5 x GPI In; 1 x GPI Out; 1 x Tally In. |  |  |
| 32224000-9 | Remote Control for processor, keying |  |  |  | The Remote controls up to 8 unit id numbers via Ethernet or up to 8 unit id numbers via RS485. Its larger display area and adjustable stand, along with brightness controls for both display and button illuminations, makes the operation user-friendly. With "Monitor Out Views" accessible from every menu, Remote control provides the fastest and easiest navigation for every operator. User-friendly operation Fast and easy navigation Control up to 8 unit id numbers via RS485 Control up to 8 unit id numbers via Ethernet Connections Software Updates - 2 x USB 2.0 and 1 x USB 3.0 for firmware updates. SVGA Output - SVGA output allows graphic to be viewed on an external VGA monitor. Ethernet - 2 x 10/100 Mbps Ethernet ports to connect to LAN networks for controlling processor, keying. RS-422 - 2 x for controlling processor, keying. Product Specifics Rotary Knobs - 8 x rotary knobs for adjusting parameters. Unit ID Buttons - 8 x buttons. Illuminated blue for active. Unit ID LED Indicators - Illuminated green for on line and red for on air. Alt+Quick Load/Save Buttons-Alt button plus 5 buttons for saving files into volatile RAM Quick Load/Save Buttons - 5 x buttons for loading files stored in volatile RAM. File Clear Button - 1 x button for One Touch Keying. Alt + File Clear - Alt button plus file clear button for One Touch Keying using some user defined presets. Customizable Menus - 4 x menus for building your own menu with your most used controls. LED Control - User adjustable brightness control for LEDs. Fan Speed Control - User adjustable. Echivalent cu Ultimatte Smart Remote 4 |  |  |
| 32224000-9 | Videohub |  |  |  | Key Features Routing Switcher with Frame Syncing 12 x 6G-SDI Inputs / 12 x 6G-SDI Outputs Supports SD, HD, Ultra HD 4K, DCI 4K 4:2:2 and 4:4:4 Sampling 10-Bit Processing SDI Reclocking Built-In LCD with Spin Knob Control Push Buttons on Front Panel Ethernet for Remote Control Videohub Control Software Included Connections SDI Video Input - 12 x 10-bit SD/HD/6G-SDI SDI Video Output - 12 x 10-bit SD/HD/6G-SDI Reference Input - Blackburst and TriSync for SD, HD and UHD 4K Multi-Rate Support - Auto detection of SD, HD, or 6G-SDI. Simultaneous routing of 4K, HD, SD video and DVB-ASI Updates - USB 2.0 high speed (480 Mb/s) interface or via Ethernet Control - 12 buttons for local control of Videohub 6 buttons and scroll wheel for control of LCD display 1 x RJ45 Ethernet 1 x RS-422 input for controlling router crosspoint switching Configuration - Via front panel LCD or use either RJ45 Ethernet USB 2.0 for setting IP address only Reclocking - On all SDI outputs, auto switching between SD, HD, or 6G-SDI video Software Software Control - Router control included free for Windows and Mac OS X Internal Software Upgrade - Via included updater application General Display - LCD for video and menu settings Power Supply - IEC power cable required; 90 to 240 VAC input |  |  |
| 32224000-9 | Videohub |  |  |  | Key Features Routing Switcher 40 x 6G-SDI Inputs / 40 x 6G-SDI Outputs Supports SD, HD, Ultra HD 4K, DCI 4K 4:2:2 and 4:4:4 Sampling 10-Bit Processing SDI Reclocking Built-In LCD with Spin Knob Control Push Buttons on Front Panel Ethernet for Remote Control Videohub Control Software Included Connections SDI Video Input - 40 x 10-bit SD/HD/6G-SDI SDI Video Output - 40 x 10-bit SD/HD/6G-SDI Reference Input - Blackburst and TriSync for SD, HD and UHD 4K Multi-Rate Support - Auto detection of SD, HD, or 6G-SDI. Simultaneous routing of 4K, HD, SD video and DVB-ASI Updates - USB 2.0 high speed (480 Mb/s) interface or via Ethernet Control - 40 buttons for local control of Videohub 6 buttons and scroll wheel for control of LCD display 1 x RJ45 Ethernet 1 x RS-422 input for controlling router crosspoint switching Configuration - Via front panel LCD or use either RJ45 Ethernet USB 2.0 for setting IP address only Reclocking - On all SDI outputs, auto switching between SD, HD, or 6G-SDI video Software Software Control - Router control included free for Windows and Mac OS X Internal Software Upgrade - Via included updater application General Display - 5" (12.7 cm) LCD for video and menu settings Power Supply - IEC power cables required; 2 x 90 to 240 VAC input(for redundancy) |  |  |
| 32223000-2 | Converter multiview (Set) |  |  |  | 1 to 16 Channel MultiViewer with HDMI output for 3G/HD/SD and Custom Layouts Support for both 3G level A and B on the inputs. Miniature (3G/HD/SD)-SDI 1 to 16 channel Multi-Viewer Custom Layouts with various standard layouts 16 Character UMD overlay per window with individual enables, custom positioning and size Audio ID overlay Load and restore Custom Layouts Fast switching between inputs using Full-Screen scaling Selectable output format in both Full-Screen and Multi-Viewer mode Low latency buffering for each input allowing non-synchronous inputs 16 x (3G/HD/SD)-SDI inputs with auto detection (26 Formats supported in total) Each window is independent of the others, allowing any 3G/HD/SD format of any frame rate to be displayed simultaneously Variable aspect ratios per window Pass-Through mode allowing any of the 16 inputs to be selected and routed to the the HDMI output In Pass-Through mode the selected input is passed through to the HDMI output Also includes: USB port for control and firmware updates Heavy duty metal box Metal Thread Locking DC Power Socket Power Supply, HDMI Cable and USB Cable Monitor Display Series 8 Screen Size 55" Resolution 3,840 x 2,160 Video Picture Engine Crystal Processor 4K PQI (Picture Quality Index) 2200 HDR (High Dynamic Range) HDR HDR 10+ Support HLG (Hybrid Log Gamma) Contrast Mega Contrast Color Dynamic Crystal Color Micro Dimming UHD Dimming Natural Mode Support Audio Dolby Digital Plus Q-Symphony Q-Symphony Audio Pre-selection Descriptor Sound Output (RMS) 20W Speaker Type 2CH Tuner/Broadcasting Digital Broadcasting DVB-T2C Analog Tuner CI (Common Interface) CI+(1.4) / CI+(1.4 ECP)_IT only Data Broadcasting HbbTV 2.0.2 TV Key Support Connectivity HDMI 3 USB 2 Ethernet (LAN) Digital Audio Out (Optical) 1 RF In (Terrestrial / Cable input) 1/1(Common Use for Terrestrial)/0 CI Slot 1 HDMI A / Return Ch. Support eARC HDMI Quick Switch Wireless LAN Built-in Bluetooth Anynet+ (HDMI-CEC) |  |  |
| 32323000-3 | Studio Monitor |  |  |  | Features Full HD LCD panel 23,8” 1920×1080 pixel with LED back-lighting; Supports 4K-HDMI and 3G-SDI; 10-bit processing Video Processing; Special ZERO Latency Mode for critical Audio/Video applications; Webserver IP remote control; Safety area election: 80%, 85%, 90%, 93%, 95%; Scale marker: 4:3, 13:9, 14:9, 15:9, 1.85:1, 2.35:1; 3DLUT auto colour calibration; Built-in De-log LUTs; User 3DLUT upload; Selectable gamma preset 1.8, 2.2, 2.4 and 2.6.; 16-ch audio level meters with alert and output selection; Built-in waveform monitor, with Line-Selector (for HDSDI sources); Built-in vector scope and histogram monitor; H/V delay, freeze frame display mode; Frame/Field view selection; Native scan, over scan and normal scan selection; R/G/B/Mono, False color, Zebra stripes display; Focus assist display mode; USB Firmware update options; V-mount battery plate for field application; GPI control via RS485 port connection; 3 User setting data storage; 6 User definable function keys; On-screen TALLY display (Soft-and Hardware Tally); TSL UMD and User editable video title; SDI Timecode display; AFD (Active Format Description) info display Panel Specifications Panel size (diagonal in inch) - 23.8 Panel resolution - 1920 X 1080 Pixels Panel Aspect Ratio - 16 to 9 Panel Type LCD Panel Modulation IPS Back-light LED Brightness in cd/m² - 250 Panel Bit depth: - 8 Image Processing Bit depth - 10 Viewing angle H/V - H 178 / V 178 Contrast Ratio - 1000:1 IN-OUT´s Connections VIDEO Number of HDSDI Inputs - 2 Input HDMI, HDMI 2.0 Number of HDMI Inputs - 1 Input RGB/VGA, Sub-D 15 PIN Input YUV, 3 x BNC Input Composite, BNC Numbers of Composite Inputs - 1 Loop out HDSDI, 3G 2 x 2 (for each unit 2 outs) Loop out HDMI, HDMI 2.0 Loop out Composite IN-OUT connections AUDIO Audio Line IN, 2 times RCA Headphone out, 3.5 mm mini jack Speaker integrated, 2 IN-OUT Connections Controls GPI IN, RJ45 RS485/422 IN, RJ45 RS485/422 Loop out IP Ethernet Port, RJ45 USB Port, 2 x (1x for Firmware / 1 x Front for Color Probe) Dedicate Functions SDI Timecode, LTC, VITC1&2 R/G/B/Mono False color Peaking focus assist H/V delay Field/Frame mode, Field 1 / Field 2 Scan Modes - 4:3/16:9 Freeze frame Safety area markers, 80%, 85%, 90%, 93%, 95% Scale Markers, 4:3, 13:9, 14:9, 15:9, 1.85:1, 2.35:1 Tally via GPI, include IMD/UMD and Top LED Tally via TSL Protocol Tally Multi-Color, 3 colors Low Latency Mode, its special processing, only a view lines delay, so called zero latency, please no image adjustment during this mode. Environment Power Save function User presets, 3 Memories Auto Aspect, Analogue and Digital sources Picture Flip modes Direct Brightness/Contrast/Color control Dedicate Features Auto source search Measurement and indication Tools – Waveform, Vector-scope, Histogram, Audio Level Meter Power and Enviroment Spec´s Power AC, Build in 110 V to 240 Volts Power DC, 11V to 17V DC Connector Type: - 4 PIN XLR Include Package AC Power cord Others - Metal Display Stand |  |  |
| 32323000-3 | Studio Monitor |  |  |  | Connections SDI Video Input - Automatically switches between SD, HD and 3G-SDI. Reclocked loop through output. Multi Rate Support - Auto detection of 2K, HD or standard definition inputs. Updates and Configuration - Via USB 2.0 high speed (480 Mb/s) Ethernet - 10/100 BaseT with loop through. Tally - 9-pin D connector Standards SDI Compliance - SMPTE 259M, SMPTE 292M,SMPTE 296M, SMPTE 372M,SMPTE 424M Level B and SMPTE 425M. SDI Color Space - REC 601, REC 709 SDI Auto Switching - Automatically selects between SD, HD and 3 Gb/s SDI. Video Sampling - 4:2:2 and 4:4:4 SDI Format Support - 525i59.94 NTSC, 625i50 PAL, 720p50, 59.94, 60; 1080p23.98, 24, 25, 29.97, 30, 50, 59.94, 60; 1080PsF23.98, 24, 25, 29.97, 30; 1080i50, 59.94, 60 2K Format Support - 1080p23.98, 24, 25; 1080PsF23.98, 24; 2K 23.98PsF, 24PsF, 25PsF Display Display Element - TFT Active Matrix LCD. Display Resolution - 800 x 480 pixels Response - < 15 ms Contrast Ratio - Typically 500:1 Color Depth - 16.7 Million Colors. Display Orientation - Displays can rotate upside down for optimum viewing angle. Software Internal Software Upgrade - Via included firmware updater software. SmartView Utility Software - Via USB or Ethernet. Power Requirements Power Supply - 12V universal power supply included with international socket adapters for all countries. Power Consumption - < 20 Watts Operational Voltage Range - 12V - 15V |  |  |
| 32323000-3 | Monitor |  |  |  | Display Series 8 Screen Size 55" Resolution 3,840 x 2,160 Video Picture Engine Crystal Processor 4K PQI (Picture Quality Index) 2200 HDR (High Dynamic Range) HDR HDR 10+ Support HLG (Hybrid Log Gamma) Contrast Mega Contrast Color Dynamic Crystal Color Micro Dimming UHD Dimming Natural Mode Support Audio Dolby Digital Plus Q-Symphony Q-Symphony Audio Pre-selection Descriptor Sound Output (RMS) 20W Speaker Type 2CH Tuner/Broadcasting Digital Broadcasting DVB-T2C Analog Tuner CI (Common Interface) CI+(1.4) / CI+(1.4 ECP)_IT only Data Broadcasting HbbTV 2.0.2 TV Key Support Connectivity HDMI 3 USB 2 Ethernet (LAN) Digital Audio Out (Optical) 1 RF In (Terrestrial / Cable input) 1/1(Common Use for Terrestrial)/0 CI Slot 1 HDMI A / Return Ch. Support eARC HDMI Quick Switch Wireless LAN Built-in Bluetooth Anynet+ (HDMI-CEC) |  |  |
| 32223000-2 | Convertor |  |  |  | Key Features Converts 12G/6G/3G-SDI to Optical Fiber Supports Signals up to DCI 4K25 Multi-Rate, Bidirectional Capability Requires Separate SFP Optical Module Automatic Input Signal Detection 16-Channel Embedded Audio Support Diagrammed Function Switches Update via Converter Utility Software Locking, Universal Power Supply Input Video Input Connectors - 1 x BNC (12G-SDI) Input Video Format - SDI (4:4:4/4:2:2 RGB, YUV) DCI 4K: 23.98/24/25 fps UHD 4K: 23.98/24/25/29.97/30/50/59.94/60 fps DCI 2K: 23.98/24/25 fps DCI 2KPsF: 23.98/24/25 fps 1080p: 23.98/24/25/29.97/30/50/59.94/60 fps 1080PsF: 23.98/24/25/29.97/30 fps 1080i: 50/59.94/60 fps Embedded Audio Input - SDI: 16-Channel Output Video Output Connectors - 1 x BNC (12G-SDI / 3G-SDI / 6G-SDI) Output Video Format - SDI (10-Bit 4:4:4/4:2:2 RGB, YUV) DCI 4K: 23.98/24/25 fps UHD 4K: 23.98/24/25/29.97/30/50/59.94/60 fps DCI 2K: 23.98/24/25 fps DCI 2KPsF: 23.98/24/25 fps 1080p: 23.98/24/25/29.97/30/50/59.94/60 fps 1080PsF: 23.98/24/25/29.97/30 fps 1080i: 50/59.94/60 fps Embedded Audio Output SDI: 16-Channel Standards Video Standard Compliance - SMPTE 259M/292M/296M/297M/424M-B/425M/ST-2081; ITU -R BT.601 Connectivity Expansion Slots - 1 x SFP Slot Power Power Connector - 1 x Barrel (6 to 36 VDC) Input Power Consumption - Power Supply: 2 W |  |  |
| 32223000-2 | 3G SFP Optical Module |  |  |  | Key Features Standard SFP Cage LC Fiber Connections Supports SD and HD Resolutions Add an LC fiber optic connection to any other professional device that supports SFP cages. 3G data rates support SD and HD resolutions, and the fiber optic communication allows for long-distance transmission without quality loss. Form Factor SFP cage Fiber Connector Duplex LC Connectors Compatible with Singlemode Fiber |  |  |
| 32560000-6 | Cable |  |  |  | Customised 24 Fibres Indoor/Outdoor Single Mode OS2 Assembly LC, 2.0mm Breakout Cable Length - 120m Connector A - LC UPC Simplex Connector B - LC UPC Simplex Alignment A to B - Fan-out in line 0.5m to Fan-out in line 0.5m Pulling Eye - Pulling Tube-Both Ends Packaging - Spool |  |  |
| 32560000-6 | Cable |  |  |  | 20m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch |  |  |
| 32560000-6 | Cable |  |  |  | 5m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch |  |  |
| 32560000-6 | Cable |  |  |  | 30m LC UPC to LC UPC Simplex OS2 Single Mode PVC (OFNR) 2.0mm Fibre Optic Patch |  |  |
| 32560000-6 | Panel |  |  |  | Adapter Panel, 48 Fibres OS2 Single Mode, 24x LC UPC Duplex Adapter, Ceramic Sleeve |  |  |
| 32350000-1 | SDI Cable |  |  |  | construction inner conductor: solid bare copper, Ø 0.60 mm insulation: Foam-Skin PE, gas injected , Ø 2.8 mm shielding: AL/PET/AL double-layer foil + tinned copper braid (92% coverage) outer jacket: FRNC overall diameter: 4.5 mm mechanics working temperature: -30°C / +70°C min. bending radius: 25 mm |  |  |
| 32350000-1 | SDI Connector |  |  |  | Product Connection Type - BNC 75 Ω Gender – male Crimp size Pin: 1.6 mm (square) Shield: 5.0 mm (hex) |  |  |
| 32224000-9 | Stand |  |  |  | Lighting stand (echivalent K&M 24624) Base dimensions - 550 x 550 mm Height from 1,400 to 2,400 mm Height adjustment - spring-loaded bolt and locking screw Leg construction - flat steel plate Material – steel Max. load capacity*18 kg Special features - integrated shock absorber; gradual height adjustment system; zinc die-cast connecting parts Type – black Weight - 17.49 kg |  |  |
|  | Instalare |  |  |  | Instalarea și punerea în funcțiune a sistemului de camere video; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. |  |  |
|  | Lot nr.2 Sistem Playout |  |  |  |  |  |  |
| 48000000-8 | Playout Software |  |  |  | Suitable for 24/7 playout for news, music and movies channels, allowing to insert commercials and to switch between multiple live video. The supported output video modes SD, HD and 4K and you can play any media files (regardless of size or resolution) because the engine will automatically make the necessary resize and framerate trans-coding (and this works for any media file or live input). The software works unde Windows 7 / 8 /10 and Windows Server 2016 / 2019. The supported video modes are : HD1080p 23.98 / 24 / 25 / 29.97 / 30 / 50 / 59.94 / 60 HD1080i 50 / 59.94 HD720p 50 / 59.94 SD PAL / NTSC Features : - flexible workflow supporting both database and working with storage directly - client-Server architecture so multiple clients can manage the server over network - number of output channels per PC - 4 channels - live inputs - 4 inputs (allowing switching manually or automatically) - forced starting time can be assigned for clips or live inputs - automatically transcode for files and Live inputs ( so any file with size between 8K and 320 x 240 and the framerate between 3 and 120 fps can be used) - supported input and output cards: BlackMagic Design (Decklink & Intensity ) - NDI (Network Device Interface) support for inputs and outputs - import folders feature (to assign same metadata to all files taken from the folder) - advanced playlist editor supporting working with multiple level grouping Features added by the conformance recording module: - record the output of each channels using a H264 codec The loudness normalization allows using media without requiring a manual adjustment of the sound level. Other advantages of using the loudness normalization: - real-time automatically processing, without compression or distortion - offers the best results even if the audio has a high dynamic range - possibility to achieve a predictable loudness level The list of supported codecs and conteiners : H264 AVC Intra 50 / 100 .mxf H264 8 bit and 10 bit ( 4:2:0 / 4:2:2 ) .mp4 / .mov / .avi / .mkv / .ts Mpeg2 ps / ts ( 4:2:0 / 4:2:2 ) .mpeg / .mpg / .m2t XSCAM 35 and XdCAM 50 .mov / .mxf IMX (for both PAL and NTSC) .mxf ProRes .mov HEVC 8 bit and 10 bit ( 4:2:0 / 4:2:2 ) .mp4 / .mov / .avi / .mkv / .ts DNxHD 8 bit and 10 bit .mov / .mxf DNxHR .mov / .mxf DV .avi / .mov /.mxf /.dv (rawDV) DVCPRO .avi / .mov DVCPRO HD .mov Uncompressed YUV 8 bit .avi / .mov Uncompressed YUV 10bit .avi / .mov Playout License Playout HD with 4 ch + Playout Audio Module + Conformance recording Echivalent cu MagicSoft Playout |  |  |
| 48000000-8 | Software Upgrade |  |  |  | MagicSoft CG update from CG ver 7 HD to CG ver 8 HD (license will be instaled/updated on USB dongle from CG version 7) |  |  |
| 48820000-2 | Server |  |  |  | Server Cerințe Minime: -Chassis: 2U – 8 x 3.5 SATA, Single Socket; -Processor: CPU 16C/32T, Base Frequency: 2.1GHz, Turbo: 3.2Ghz, 22MB Cache, (100W); -Memory: 64 Gb DDR4 ECC RDIMM; -Boot Drive: 512Gb SSD; -Expansion Slots 4 PCI-E 3.0 x8 (FHFL) slots; 1 PCI-E 3.0 x8 (LP) slot -RAID Controller: RAID(0,1,5,6,10,50,60), 12Gb/s SAS and SATA controller with 1Gb Cache, with Cache Protection Module; -Hard Drive: 8 x 4TB 7.2k SATA 6Gbps, 256MB, HDD Enterprise 3.5; -Network: 2 x RJ45 10-Gigabit Ethernet; -Power Supply: 500W+, Redundant Power; -Rails for server rack; -Warranty: 3 Years; -Include Prelungitor 19 1.5U power socket, PDU02, 9 ports, 16A, 1.8M |  |  |
| 48820000-2 | Server |  |  |  | Server Cerințe Minime: -Chassis: 2U GPU Server, Dual Socket; -Processor: 2 x CPU 16C/32T, Base Frequency: 2.1GHz, Turbo: 3.2Ghz, 22MB Cache, (100W); -Memory: 128 Gb DDR4 ECC RDIMM; -Expansion Slots 6 x PCI-E 3.0 x16 (double-width) slots 1 x PCI-E 3.0 x16/8 Low-profile -RAID Controller: RAID(0,1,5,6,10,50,60), 12Gb/s SAS and SATA controller with 2Gb Cache, with Cache Protection Module; -Hard Drive: 7 x 960GB 2.5" SATA 6.0Gb/s Solid State Drive; -GPU Accelerator 24GB GDDR6 - PCIe 3.0 x16 - Passive Cooling (4xDP) (Ray Tracing) echivalent la RTX6000 -Network: 2 x RJ45 10-Gigabit Ethernet; -Power Supply: 1500W+, Redundant Power; -Rails for server rack; -Warranty: 3 Years; -Include Prelungitor 19 1.5U power socket, PDU02, 9 ports, 16A, 1.8M |  |  |
| 32413100-2 | KVM extender |  |  |  | KVM USB DisplayPort HDBaseT™ 2.0 Extender integrates the latest HDBaseT™ 2.0 technologies to deliver 4K video, stereo audio, USB, Ethernet, and RS-232 signals up to 100 meters using a single Cat6 / 2L-2910 Cat 6 cable. The HDBaseT™ 2.0 guarantees the most reliable transmission on the market as well as enables the long-reach capability that extends full HD 1080P signals up to 150 meters. With an easy cable installation supporting various signals, the KVM is ideal for applications where convenient remote access is required – such as transportation control centers, medical facilities, industrial warehouses, and extended workstations. Connectors Console Ports (Remote Unit) 1 x DisplayPort Female (Black) 3 x USB Type A Female 1 x Mini Stereo Jack Female (Green) 1 x Mini Stereo Jack Female (Pink) 1 x RJ-45 Female (Black) 1 x DB-9 Male (Black) 1 x DC Jack with locking 1 x RJ-45 Female (Black) 1 x Wakeup button Video Up to 4K@90m (Cat 5e) / 100m (Cat 6/6a/ATEN 2L-2910 Cat6); 1080P@100m (Cat 5e/6/6a); *4K supported: 4096 x 2160 / 3840 x 2160 @ 30Hz (4:4:4) KVM Ports (Local Unit) 1 x DisplayPort Female (Black) 1 x USB Type B Female (White) 1 x Mini Stereo Jack Female (Green) 1 x Mini Stereo Jack Female (Pink) 1 x RJ-45 Female (Black) 1 x RJ-45 Female (Black) 1 x DB-9 Male (Black) 1 x DC Jack with locking Video Up to 4K@90m (Cat 5e) / 100m (Cat 6/6a/ATEN 2L-2910 Cat6); 1080P@100m (Cat 5e/6/6a); *4K supported: 4096 x 2160 / 3840 x 2160 @ 30Hz (4:4:4) Features Supports HDBaseT™ 2.0 technology - Extends video, audio, USB, RS-232, and Ethernet signals via a single Cat6 / 6a / 2L-2910 Cat 6 cable - Enhanced bit error detection and correction to resist signal interference during high-quality video transmissions - Status detection and LED indication for HDBaseT™ signal transmission on remote unit EDID Buffer for smooth power-up and the highest quality display Long distance with superior video quality - HDBaseT™ Standard mode up to 4K @ 100m (Cat 6 / 6a / 2L-2910) - HDBaseT™ Long-Reach mode up to 1080P @ 150m Long Reach mode switch – switches between HDBaseT™ Standard and Long Reach modes in a snap USB 2.0 full speed ports – ensures fast transmission speeds for peripherals HDCP Compatible Supports individual 2-channel stereo audio for high-quality audio applications Supports PC wakeup function via single pushbutton through RS-232 channel* Built-in 8KV / 15KV ESD protection (Contact voltage 8KV; Air voltage 15KV) |  |  |
|  | Instalare |  |  |  | Instalarea și punerea în funcțiune a sistemului de Playout ; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. |  |  |
|  | Lot nr.3 Echipament audio Lot nr.3 |  |  |  |  |  |  |
| 32330000-5 | AudioRack |  |  |  | 24 Mic Preamps Inputs on XLR: Phantom Power LED per Input Balanced, 48 V phantom power Mic/Line Preamp: Fully recallable Input Sensitivity: -60 to 15 dBu Analogue Gain: 5 to 60 dB, 1 dB steps Pad: -20 dB active pad Maximum Input Level: 30 dBu (pad in) Input Impedance: >4 kOhms (pad out), >10 kOhms (pad in) 12 XLR Line Outs: Balanced, relay protected Output Impedance: <75 Ohms Nominal Output: 4 dBu = 0 dB meter reading Maximum Output Level: 22 dBu Residual Output Noise: -92 dBu (muted, 20 to 20 kHz) Connection dSNAKE Connection with locking Ethercon port via Cat5 Mains Power 100 to 240 VAC, 50/60 Hz Expander Ethercon port for connection to an AR84 or AB168 |  |  |
| 32330000-5 | Desktop Audio Meter |  |  |  | Desktop Audio Meter Stereo Audio Meter for Mixing, Mastering and Post Production 7" High Resolution Display (800x480) for accurate viewing USB connection for smooth plug-in integration Supports AU, VST & AAX plug-ins and all major broadcast standards including ITU BS.1770-4, ATSC A / 85, EBU R128, TR-B32 and OP-59 Features: Vectorscope for detailed L / R analysis Real Time Analyzer Balance O-meter for L / R and M / S Correlation display for phase problems True Peak Meter LM6 Loudness Radar Connections: Stereo 96 kHz AES3 digital audio at 75 Ohm BNC connection for broadcast measurement Optical S / PDIF input stereo (Toslink) USB 2.0 (Micro Type B) Incl. power supply, USB cable (1 meter) and bracket for table installation (Echivalent cu TC electronic Clarity M Stereo) |  |  |
| 32223000-2 | Converter (set) |  |  |  | Converter de-embedder (2 pcs), including rack shelf (1pcs). Connections: 1 x 12G-SDI SD/HD/2K/4K auto switching. 1 x 12G-SDI loop output Embedded Audio Support - 16 channels 4 channels professional 110Ω balanced digital audio via XLR connectors. Right XLR can be configured for timecode output 2 channels professional balanced analog audio via XLR connectors, or 2 channel unbalanced analog line level via RCA connectors. Right XLR can be configured for timecode output S/PDIF Signal with TOSLINK Connector Automatic switching between SD/HD/2K and 4K Updates and Configuration - USB or Ethernet Re-Clocking |  |  |
| 32223000-2 | Converter (set) |  |  |  | Converter embedder (2 pcs), including rack shelf (1 pcs). Connections: 1 x 12G-SDI SD/HD/2K/4K auto switching 1 x 12G-SDI output 2 channels professional balanced analog audio via XLR connectors, or 2 channel unbalanced analog line level via RCA connectors. Right XLR can be configured for timecode input 4 channels professional 110Ω balanced digital audio via XLR connectors. Right XLR can be configured for timecode input S/PDIF Signal with TOSLINK Connector Automatic switching between SD/HD/2K and 4K Automatic switching between SD/HD/2K and 4K Updates and Configuration - USB or Ethernet Re-Clocking |  |  |
| 32330000-5 | Sistem microfon lavaliera |  |  |  | Dual Wireless System with two Bodypack Transmitters and two microfons (Set) Frequency range: S50 Receiver (echivalent cu SLXD4D) Form Factor - Tabletop / Rackmount Mounting Options - Rackmount (with Included Hardware) Rackmount Size - 1 RU (Full Rack) Antenna - 2 x 1/4 Wave External, BNC (Rear-Mount) Number of Audio Channels - 2 Audio I/O - 2 x XLR 3-Pin Male Balanced Mic/Line Output 2 x 1/4" TRS Female Balanced Output Gain Range - 0 to +21 dB (3 dB Steps) Pad - 30 dB Audio Output Level - -18 to +42 dB (Balanced, Unbalanced) Frequency Response - 20 Hz to 20 kHz +1/-2 dB (Dependent on Mic) Impedance - 1/4" Outputs: 1.3 Kilohms (Balanced); 670 Ohms (Unbalanced) XLR Outputs: 400 Ohms (Balanced); 150 Ohms (Balanced) Approximate RF Sensitivity - -97 dBm Adjacent Channel Isolation - >70 dB AC/DC Power Adapter - 15 VDC at 600 mA, Center-Positive (Included) AC Input Power - 100 to 240 VAC, 50 / 60 Hz Display & Indicators - LCD (AF Level, Channel, Frequency, Group, RF Level, Transmitter Battery Status) Housing - Steel Transmitter (echivalent cu SLXD1) Form Factor - Bodypack RF Output Power - 1 / 10 mW Audio I/O - 1 x TA4/Mini XLR 4-Pin Male Unbalanced Input (Lockable) Gain Range - 0 +21 dB Sync Method - IR Antenna - 1/4 Wave External, Fixed Power Requirements - Battery Battery Type - 2 x AA; 1 x SB 903 Battery Charging Time - 1.25 to 5.5 Hours USB/Lightning Connectivity - None Display & Indicators - LCD (Battery Status, Channel, Group) Housing - ABS, Plastic Microphone (Echivalent cu WL183) Form Factor - Lavalier Sound Field - Mono Capsule - Electret Condenser Polar Pattern - Omnidirectional Pad - None High-Pass Filter - None Indicators - None Windscreen - Foam Performance Frequency Range - 50 Hz to 17 kHz Maximum SPL - 125 dB SPL Impedance - 1800 Ohms Sensitivity - -40 dBV/Pa Dynamic Range 102.5 dB Equivalent Noise Level - 22.5 dB SPL A-Weighted Connectivity Output Connectors - 1 x TA4/Mini XLR 4-Pin Female (TQG) Cable Length - 1.22 m Physical Color - Black Mounting - Alligator Clip, Tie Tac Clip (Included) |  |  |
| 32330000-5 | Pro Wireless In-Ear Monitor Kit (Set) |  |  |  | Pro Wireless In-Ear Monitor Kit includes a wireless transmitter, two wireless bodypack receivers, 4 battery pack and two chargers. Include a 1/4 wave antenna, a BNC bulkhead adapter and cable, a power supply,, six pairs of flex sleeves (S, M, L), two drawstring pouches, and two zipper bags for the receivers. Wireless Transmitter (1pcs) Performance Transmission Range - 90 m RF Output Power - 10, 20, 30 mW RF Output Impedance - 50 Ohms (typical) Audio Input Connector Type - 1/4" TRS (6.35 mm) Polarity - Tip positive with respect to ring Configuration - Electronically balanced Impedance - 40 kOhms (actual) Nominal Input Level - Switchable, +4 dBu, -10 dBV Maximum Input Level - +4 dBu: +22 dBu; -10 dBV: +12.2 dBu Pin Assignments - Tip=hot, Ring=cold, Sleeve=ground Phantom Power Protection - Up to 60 VDC Audio Output Connector Types - 1/4" TRS (6.35 mm) Configuration - Electronically balanced Impedance - Connected directly to inputs General Antenna - 1/4 wave, detachable Power Requirement - 12 to 15 VDC, 260 mA maximum Wireless Bodypack Receiver (2pcs) RF Sensitivity - Active: 2.2 μV (at 20 dB SINAD) Image Rejection - > 90 dB Adjacent Channel Rejection - > 60 dB Intermodulation Attenuation - > 50 dB Blocking - > 60 dB Audio Output Power-80mW per output Minimum Load Impedance - 16 Ohms Headphone Output - 1.8" (3.5 mm), stereo Continuous Battery Life - 4 to 5.5 hours, AA batteries Dual Docking Recharging Station (2 Pcs) echivalent SBC200 Fits P3RA, P9R, P10R, UR5, ULX-D and QLX-D series For two Li-Ion batteries and/or hand-held or pocket transmitters Can be linked together Includes PS45 power supply for up to 4 units Battery pack (4 Pcs): Li-Ion Akku (3,7V/1320mAh) Echivalent cu SB900B |  |  |
| 32330000-5 | Commentator Unit |  |  |  | Commentator Unit 2 Commentators & 1 Guest (Equivalent CM-CU21) Features 2 Commentator positions plus a guest position, each with individual outputs; plus 2 mix outputs. Talkback outputs selectable by the two main commentators, with built in limiter. 4 Return audio circuits that are routed to headphones along with all the commentator inputs. Any source can be individually level controlled and sent to left, right or both ears. A wide input gain range and switchable phantom power on each commentary position allows support of a variety of microphone types including low output ribbon, headsets and high output phantom powered microphones. Individually switched 48V phantom power on all microphone inputs. User preset adjustable limiter on main mix outputs with limit activity indication. Built in line-up tone for initial cabling checks. 21 Segment LED PPM meter showing main output level. Technical Specification Main Panel Operational Controls & Indicators On-Air 1-3 Buttons: lluminated buttons with latching action Talkback A & B Buttons: Illuminated buttons with selectable momentary and/or latching action Headphone Monitor Controls: Input source level adjustment potentiometers Headphone channel selection switches Line Input Level: Guest position line input mode level potentiometer PPM Meter: 21 segment display showing mix output level, brightness level Is selectable Limit LED indicates mix output limiter is active, colour & brightness level is selectable Power LED indicates operating mode; normal or setup Front Panel Operational Controls Phantom: Switch to enable 48V microphone phantom power for positions 1 & 2 Phantom/Line: Switch to enable 48V microphone phantom power or select line input mode for position 3 Mic Gain: Microphone gain potentiometer and range select switch selects +20-+56dB or +50-+86dB Rear Panel Operational Controls On Air Lock: Switch to prevent On Air controls from being deactivated Momentary push-button to override on air lock T/B Gang: Switch to link operation of talkbacks A & B T/B Gain: 0dB - +12dB Limiter: Switch to enable limiter on mix outputs Limit level adjustment potentiometer Test Tone: Switch to enable 1 kHz line-up tone Front Panel Connections Headphone Outputs: 2 x locking headphone jack socket for positions 1 & 2; 1 x headphone jack socket for position 3 Microphone Inputs: 2 x XLR-3 pin latching female for positions 1 & 2 Microphone/Line Input: 1 x XLR-3 pin latching female for position 3 Rear Panel Connections Prog, A, B & C Inputs: 4 x XLR-3 pin female (transformer balanced) Comm1-3 Outputs: 3 x XLR-3 pin male (electronic balanced) Talkback A & B Outputs: 2 x XLR-3 pin male (transformer balanced) Mix 1 & 2 Outputs: 2 x XLR-3 pin male (transformer balanced) GPIO Port: 15-way ‘D’-type socket Mains Input: Universal filtered IEC, continuously rated 85-264VAC, 47-63Hz, 10W Fuse Rating: Anti-surge fuse 1A 20 x 5mm DC Input: XLR-4 pin male 12V DC, 650mA Typical, 850mA Maximum 24V DC, 325mA Typical, 425mA Maximum Earth Point: M4 stud. |  |  |
| 32330000-5 | Source Selector, Switcher |  |  |  | 10 Way Stereo Analogue Source Selector/Mixer (Equivalent RB-SS10) 10 way stereo analogue source selector/mixer is a 1U rack-mount unit that produces a stereo analogue audio output from 10 selectable stereo analogue sources. There are 10 illuminated front panel push-buttons, which select and indicate the current channel selection. The selection and indication is also available through a remote connector on the rear panel. To stop accidental front panel selection there is a remote input to inhibit the front panel buttons. Connections Inputs: 4 x XLR 3 pin female (2 x stereo) (balanced, can be unbalanced) 2 x 25 way D-type socket (female) (4 stereo balanced channels on each) Outputs: 2 x XLR 3 pin male (stereo balanced, can be unbalanced) Remote Start I/O: 25 way D-type plug (male) Remote Select/Switch Inputs: 25 way D-type socket (female) Status Outputs: 25 way D-type socket (female) Mains Input: Filtered IEC, 110V-120V, or 220-240V switchable, fused, 6W maximum Fuse Rating: Anti-surge fuse 160mA 20 x 5mm (230VAC), Anti-surge fuse 315mA 20 x 5mm (115VAC) |  |  |
| 32330000-5 | Headphones |  |  |  | Headphones, Frequency response (Headphones) 18–20,000 Hz (-10 dB); Sound pressure level (SPL) 120dB (1kHz/1Vrms); THD, total harmonic distortion <0.5% (1kHz/100dB); Ear coupling Over-Ear; Jack plug 3.5mm angled; Cable length 1.4m; (Equivalent HD 400S) |  |  |
| 32330000-5 | Broadcast Headset |  |  |  | Dual-sided broadcast headset (Equivalent BRH440M) Features Closed-back, circumaural design provides excellent isolation from background noise Dynamic microphone delivers natural, highly intelligible vocal reproduction with cardioid polar pattern and frequency response optimized for communication in loud environments Ergonomic, lightweight design with adjustable, padded headband for long wearing comfort Flexible boom microphone pivots 270 degrees for left or right side wear Flip-up mute function deactivates the boom microphone when raised vertically away from the mouth Single-side, detachable cable (sold separately) enables connection to a variety of devices User-replaceable cable, ear pads and windscreen provided for a long product life Microphone Type Dynamic (moving coil) Polar Pattern Cardioid Frequency Response 50 to 15,000 Hz Output Impedance 200 Ohms Sensitivity (@1 kHz, open circuit voltage) -67.0 dBV/Pa (0.45 minimum) 1Pa-94 dB SPL Polarity Positive pressure on diaphragm produces positive voltage on pin 1 (red wire) with respect to pin 3 (shield) Headphone Transducer Type Dynamic, Neodymium magnet Driver Size 40 mm Frequency Range 15 to 27,000 Hz Sensitivity (@ 1 kHz) 101 dB/mW Impedance (@ 1 kHz) 300 Ohms Maximum Input Power 1000 mW Include cable XLR and 6.3 mm jack (BCASCA-XLR3QI) Include Replacement Single-Sided Detachable Cable (BCASCA1) |  |  |
|  | Instalare |  |  |  | Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. |  |  |
|  | Lot nr.4 System promter |  |  |  |  |  |  |
| 32224000-9 | System promter |  |  |  | System promter (echivalent Autoscript WinPlus-IP) Software: (1 pcs) Software offers compatibility with all leading NRCS including: Avid iNews, Dalet. MOS Protocol devices supported include: Annova Open Media, AP ENPS, News Works, Octopus, Dayang, Sobey, NIS4, Inception & Eidos Media. Software enables instant script updates from Newsroom systems. The connectivity status of each Newsroom is viewable at a glance and can be given a user defined name for easy reference. Busy productions will benefit from having multiple rundowns loaded for multi-programme operation. With multi-language compatibility, Includes: Closed caption options enable script to be outputted for captions/subtitles Multiple rundowns loaded for multi-programme operation Instant script updates from NRCS for seamless newsroom workflow Newsroom connectivity status displayed for easy monitoring User definable friendly name & newsroom connection type ensures simple setup Prompter Device: (1 Pcs) An extremely compact scroll engine. As an Intelligent Prompting device it networks via Ethernet to prompting software application, where users are able to monitor status, manage group updates and remote upgrades. Dual HD-SDI outputs support the distribution of the teleprompter video to traditional prompt monitors. In addition a Power over Ethernet output can be used to power an Intelligent Prompting scroll control – ideal for single controller setups. In a tough, portable casing with LED status indicator, the XBox-IP offers a modern solution for solo operators and users looking to retain HD/HD-SDI monitors. Features: Compact, portable unit Dual HD-SDI output distributes script video to traditional prompt monitors Dual USB ports PoE output for scroll control avoids the need for 3rd party equipment in single-controller setups Network and status indicator Desktop Hand Control: (2 Pcs.) Wrist support and neutral hand position ensures comfortable, safe operation Central button positioning supports left and right-handed operation Two illuminated function buttons programmable in software to suit the operator’s desired configuration Powered over Ethernet to simplify integration and reduce cabling Foot Scroll Control: (3 Pcs.) Adjustable sensitivity and range to suit unique user profiles Programmable function button allows operator to select their desired configuration Powered over Ethernet to simplify integration and reduce cabling Remote configuration in software Wireless Controller and Base Station Package (1 pcs) Intelligent Prompting wireless controller and base station package Allows total freedom for the presenter to move around a studio and control the speed of the prompted text Include 8-port POE+ Switch (Power Budget min 100W) (1 pcs) |  |  |
|  | Instalare |  |  |  | Instalarea și punerea în funcțiune a sistemului de promter; Materiale și elemente pasive/active necesare pentru interconectarea echipamentelor și punerea în funcțiune a acestora; Lucrările de montare, precum și operațiunile de instalare, integrare, ajustare; Sistemul va fi predat la cheie; Garanția hardware minim 2 ani. |  |  |
|  | Lot nr.5 Obectiv |  |  |  |  |  |  |
| 38651100-4 | Obiectiv |  |  |  | Specs 24-70mm F/2.8 GM Focal Length 24 to 70mm Maximum Aperture f/2.8 Minimum Aperture f/22 Format Compatibility Full-Frame Angle of View 84° to 34° Minimum Focus Distance 1.25' / 38 cm Maximum Magnification 0.24x Optical Design 18 Elements in 13 Groups Diaphragm Blades 9, Rounded Focus Type Autofocus Image Stabilization None Filter Size 82 mm (Front) Dimensions (ø x L) 87.6 x 136 mm Weight 886 g Specs UV FILTER Type UV Circular Polarizer Size 82 mm UV: 3.4 mm-thick Circular polarizer: 6.2 mm-thick Filter Factor UV: 1 (0 stop) Circular polarizer: About 2.5 (1.3 stops) Multi-Coated Yes; 12-layer multi-coating Rotating UV: No Circular polarizer: Yes Effect UV: Absorbs UV light and reduces bluish cast from daylight Circular polarizer: Reduce/eliminate reflections and haze and improve color and tonal saturation Construction Schott glass Anodized aluminum filter ring with top knurling Front Filter Thread Size 82 mm Front Lens Cap Size 82 mm |  |  |
|  | Lot nr.6 Echipament de reţea |  |  |  |  |  |  |
| 32400000-7 | Switch |  |  |  | Modular Stackable L3 Managed Switch echivalent la Netgear M4300-96X Cerințe minime: Modular 1-unit 2U rack mount; CPU : 1.4 Ghz, Ram: 2GB, Flash Memory: 256MB; Features : 96MB packet buffer, Access Control List (ACL) support, ARP support, Bridge protocol data unit (BPDU), DHCP relay, DHCP snooping, DiffServ support, Dynamic ARP protection, Front to back airflow, IP source guard, IPv4 support, IPv6 support, LACP support, LISP Across Subnet Mode (ASM), MLD snooping, Modular design, Neighbor Discovery Protocol (NDP), Per-VLAN Rapid Spanning Tree (PVRST), Quality of Service (QoS), Rapid Spanning Tree Protocol (RSTP) support, Remote Switch Port Analyzer (RSPAN), Source-Specific Multicast (SSM), Spanning Tree Protocol (STP) support, STP Root Guard, Virtual Route Redundancy Protocol (VRRP) support, IEEE 802.1AX, IEEE 802.3ad (LACP), IEEE 802.3az; Remote Management Protocol: CLI, HTTPS, SNMP 1, SNMP 2, SNMP 3, SSH, Telnet; Switching capacity: 1.92 Tbps; Throughput: 2.857 Mpps; Capacity: Virtual interfaces (VLANs): 4093 IPv4 routes (static): 64 IPv6 routes (static): 64 RIP routes: 512 ARP entries: 8000 OSPF routes: 12000 Static ARP entries: 128 Switchul va fi echipat cu următoarele module: 6 x APM408C - 8x10GBASE-T Port Card - 100M/1G/2.5G/5G/10G; 2 x APM408P - 8x10GBASE-T PoE+ Port Card - 100M/1G/2.5G/5G/10G; 2 x APM408F - 8xSFP+ Port Card - 1G/10G; Switchul va fi echipat cu următoarele accesorii: 12 x SFP+ Transceiver: 10GBase-LR single mode LC duplex connector up to 2km; 10 x Patch Cord RJ-45 , Cat. 6A or Cat. 7 , support 10 Gigabit Ethernet, lungime: 3M; 20 x Patch Cord RJ-45 , Cat. 6A or Cat. 7 , support 10 Gigabit Ethernet, lungime: 5M; Power Supply: 1200W, 1+1 redundant power for PoE applications; -Warranty: 3 Years; |  |  |
| 32413100-2 | Router |  |  |  | 24 port Gigabit Ethernet switch with two SFP+ ports (equivalent CRS326-24G-2S) Specifications Architecture - ARM 32bit CPU - 98DX3236 CPU core count - 1 CPU nominal frequency - 800 MHz RouterOS license - 5 Operating System - RouterOS / SwitchOS Size of RAM - 512 MB Storage size - 16 MB Storage type - FLASH MTBF - Approximately 200'000 hours at 25C Powering Number of DC inputs - 2 (DC jack, PoE-IN) DC jack input Voltage - 10-30 V Max power consumption - 24 W FAN count - Passive PoE in - Passive PoE PoE in input Voltage - 10-30 V Ethernet 10/100/1000 Ethernet ports - 24 Fiber SFP+ ports - 2 Peripherals Serial console port - RJ45 |  |  |
| 32413100-2 | Ethernet router |  |  |  | The CWDM passive MUX/DEMUX unit, which allows to combine up to eight fiber links into one, to simplify and reduce the cost of long distance fiber installations. At the other location, the combined line is split back up again, so that instead of eight long fiber lines, you would only need one. The Coarse Wavelength-Division Multiplexing (CWDM) technology offers a solution which will increase capacity of existing fiber infrastructure by enabling multiple channels/wavelengths over the same fiber cabling and will reduce costs for a new fiber optic deployment. Single optical fiber cable to create up to eight independent 1.25Gbps SFP (up to 40km) or 10Gbps SFP+ (up to 10km) links, offering more affordable alternative to installing more fiber or leasing additional fibers. Include: CWDM-MUX8A 1U Chassis bracket for CWDM 8-port MUX/DEMUX 2 x S+C61DLC10D 2 x S-C47DLC40D 2 x S-C49DLC40D 2 x S-C51DLC40D 2 x S-C53DLC40D 2 x S-C55DLC40D 2 x S-C57DLC40D 2 x S-C59DLC40D 2 x S-C61DLC40D |  |  |
|  |  | Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ________________ Ofertantul: _______________________ Adresa: ______________________________ Specificații de preț (F4.2) [Acest tabel va fi completat de către ofertant în coloanele 5,6,7,8, iar de către autoritatea contractantă – în coloanele 1,2,3,4,9,10] Numărul procedurii de achiziție______________din_________ Denumirea procedurii de achiziție Cod CPV Denumirea bunurilor Unitatea de măsură Canti-tatea Preţ unitar (fără TVA) Preţ unitar (cu TVA) Suma fără TVA Suma cu TVA Termenul de livrare Clasificație bugetară (IBAN) Sistemul video Lot nr.1 32224000-9 PTZ Camera Buc. 4 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Remote PTZ Camera Controller Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Processor, keying Buc. 4 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Remote Control for processor, keying Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Videohub Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Videohub Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32223000-2 Converter multiview (Set) Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32323000-3 Studio Monitor Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32323000-3 Studio Monitor Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32323000-3 Monitor Buc. 6 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32223000-2 Convertor Buc. 12 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32223000-2 3G SFP Optical Module Buc. 16 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32560000-6 Cable Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32560000-6 Cable M. 10 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32560000-6 Cable M. 24 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32560000-6 Cable M. 4 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32560000-6 Panel Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32350000-1 SDI Cable M. 200 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32350000-1 SDI Connector Buc. 100 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32224000-9 Stand Buc. 4 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA Instalare Buc. 1 Prestarea serviciilor în decurs de 5 zile de la solicitarea Cumpărătorului MD54TRPCCC518430A00044AA Lot nr. 2 Sistem Playout 48000000-8 Playout Software Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 48000000-8 Software Upgrade Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 48820000-2 Server Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 48820000-2 Server Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32413100-2 KVM extender Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA Instalare Buc. 1 Prestarea serviciilor în decurs de 5 zile de la solicitarea Cumpărătorului MD54TRPCCC518430A00044AA Echipament audio Lot nr.3 32330000-5 AudioRack Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Desktop Audio Meter Buc. 3 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32223000-2 Converter (set) Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32223000-2 Converter (set) Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Sistem microfon lavaliera Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Pro Wireless In-Ear Monitor Kit (Set) Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Commentator Unit Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Source Selector, Switcher Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Headphones Buc. 5 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32330000-5 Broadcast Headset Buc. 3 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA Instalare Buc. 1 Prestarea serviciilor în decurs de 5 zile de la solicitarea Cumpărătorului MD54TRPCCC518430A00044AA System promter Lot nr.4 32224000-9 System promter Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA Instalare Buc. 1 Prestarea serviciilor în decurs de 5 zile de la solicitarea Cumpărătorului MD54TRPCCC518430A00044AA Obectiv Lot nr.5 38651100-4 Obiectiv Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA Echipament de reţea Lot nr.6 32400000-7 Switch Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32413100-2 Router Buc. 1 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA 32413100-2 Ethernet router Buc. 2 Livrarea bunurilor în decurs de 55 de zile de la intrarea în vigoare a contractului MD54TRPCCC518430A00044AA |

| CAPITOLUL V FORMULARUL DE CONTRACT |
| --- |
| Formular | Denumirea |
| F5.1 | Contract-model |

| Contract-model (F5.1) |
| --- |
| ACHIZIŢII PUBLICE |
| Contract Nr. _________ de achiziţionare _____________________________________________________ ___________________________________________________________________ Cod CPV: _____________________ “___”_________20__ __________________________ (localitataea) |
| Furnizorul de bunuri | Autoritatea contractantă |
| ______________________________________, (denumirea completă a întreprinderii, asociaţiei, organizaţiei) reprezentată prin ________________________, (funcţia, numele, prenumele) care acţionează în baza ___________________, (statut, regulament, hotărîre etc.) denumit(a) în continuare Vînzător ______________________________________, (se indică nr. şi data de înregistrare în Registrul de Stat) pe de o parte, | ______________________________________, (denumirea completă a întreprinderii, asociaţiei, organizaţiei) reprezentată prin ________________________, (funcţia, numele, prenumele) care acţionează în baza ___________________, (statut, regulament, hotărîre etc.) denumit(a) în continuare Cumpărător ______________________________________, (se indică nr. şi data de înregistrare în Registrul de Stat) pe de altă parte, |
| ambii (denumiţi(te) în continuare Părţi), au încheiat prezentul Contract referitor la următoarele: Achiziţionarea _______________________________________________________________, (denumirea bunului) denumite în continuare Bunuri, conform procedurii de achiziții publice de tip _____________________________ nr._______ din_________________, în baza deciziei grupului de lucru al Cumpărătorului/Beneficiarului din „___” _______________________ 20__. Următoarele documente vor fi considerate părţi componente şi integrale ale Contractului: Specificaţia tehnică; Specificația de preț; [adăugaţi alte documente componente conform necesităţii, de exemplu, desene, grafice, formulare, protocolul de recepţionare provizorie şi finală etc.] Prezentul Contract va predomina asupra tuturor altor documente componente. În cazul unor discrepanţe sau inconsecvenţe între documentele componente ale Contractului, documentele vor avea ordinea de prioritate enumerată mai sus. În calitate de contravaloare a plăţilor care urmează a fi efectuate de Cumpărător/beneficiar, Vînzătorul se obligă prin prezenta să livreze Cumpărătorului/beneficiarului Bunurile şi să înlăture defectele lor în conformitate cu prevederile Contractului sub toate aspectele. Cumpărătorul/beneficiarul se obligă prin prezenta să plătească Vînzătorului, în calitate de contravaloare a livrării bunurilor, precum şi a înlăturării defectelor lor, preţul Contractului sau orice altă sumă care poate deveni plătibilă conform prevederilor Contractului în termenele şi modalitatea stabilite de Contract. |
| Obiectul Contractului |
| Vînzătorul îşi asumă obligaţia de a livra Bunurile conform Specificaţiei, care este parte integrantă a prezentului Contract. Cumpărătorul/beneficiarul se obligă, la rîndul său, să achite şi să recepţioneze Bunurile de Vînzător. Calitatea Bunurilor se atestă prin certificatele de calitate indicate în Specificaţie. Bunurile livrate în baza contractului vor respecta standardele indicate în Specificaţie. Cînd nu este menţionat nici un standard sau reglementare aplicabilă, se vor respecta standardele sau alte reglementări autorizate în ţara de origine a produselor. Termenele de garanţie [valabilitate, după caz] a Bunurilor sînt indicate în Specificaţie. |
| Termeni şi condiţii de livrare |
| Livrarea Bunurilor se efectuează de către Vînzător în termenele prevăzute de graficul de livrare. Documentaţia de însoţire a Bunurilor include: [Cerinţele de mai sus trebuie prevăzute de către autoritatea contractantă şi ajustate conform cerinţelor actuale.] Originalele documentelor prevăzute în punctul 2.2 se vor prezenta Cumpărătorului cel tîrziu la momentul livrării bunurilor la destinaţia finală. Livrarea bunurilor se consideră încheiată în momentul în care sînt prezentate documentele de mai sus. |
| Preţul şi condiţii de plată |
| Preţul Bunurilor livrate conform prezentului Contract este stabilit în lei moldoveneşti, fiind indicat Specificaţia prezentului Contract. Suma totală a prezentului Contract, inclusiv TVA, se stabileşte în lei moldoveneşti şi constituie: ____________________________________lei MD. (suma cu cifre şi litere) Achitarea plăţilor pentru Bunurile livrate va efectua în lei moldoveneşti. Metoda şi condiţiile de plată de către Cumpărător vor fi: [Cerinţele de mai sus trebuie revăzute de către autoritatea contractantă şi ajustate conform cerinţelor actuale.] Plăţile se vor efectua prin transfer bancar pe contul de decontare al Vînzătorului indicat în prezentul Contract. |
| Condiţii de predare-primire |
| Bunurile se consideră predate de către Vînzător şi recepţionate de către Cumpărător [destinatar, după caz] dacă: cantitatea Bunurilor corespunde informaţiei indicate în Lista bunurilor şi graficul livrării şi documentele de însoţire conform punctului 2.2 al prezentului Contract; calitatea Bunurilor corespunde informaţiei indicate în Specificaţie; ambalajul şi integritatea Bunurilor corespunde informaţiei indicate în Specificaţie. Vînzătorul este obligat să prezinte Cumpărătorului un exemplar original al facturii fiscale odată cu livrarea Bunurilor, pentru efectuarea plăţii. Pentru nerespectarea de către Vînzător a prezentei clauze, Cumpărătorul îşi rezervă dreptul de a majora termenul de achitare prevăzut în punctul 3.4 corespunzător numărului de zile de întîrziere şi de a fi exonerat de achitarea penalităţii stabilite în punctul 10.3. |
| Standarde |
| Produsele furnizate în baza contractului vor respecta standardele prezentate de către furnizor în propunerea sa tehnică. Cînd nu este menţionat nici un standard sau reglementare aplicabilă se vor respecta standardele sau alte reglementări autorizate în ţara de origine a produselor. |
| Obligaţiile părţilor |
| În baza prezentului Contract, Vînzătorul se obligă: să livreze Bunurile în condiţiile prevăzute de prezentul Contract; să anunţe Cumpărătorul după semnarea prezentului Contract, în decurs de ____ zile calendaristice, prin telefon/fax sau telegramă autorizată, despre disponibilitatea livrării Bunurilor; să asigure condiţiile corespunzătoare pentru recepţionarea Bunurilor de către Cumpărător [destinatar, după caz], în termenele stabilite, în corespundere cu cerinţele prezentului Contract; să asigure integritatea şi calitatea Bunurilor pe toată perioada de pînă la recepţionarea lor de către Cumpărător [destinatar, după caz]. În baza prezentului Contract, Cumpărătorul se obligă: să întreprindă toate măsurile necesare pentru asigurarea recepţionării în termenul stabilit a Bunurilor livrate în corespundere cu cerinţele prezentului Contract; să asigure achitarea Bunurilor livrate, respectînd modalităţile şi termenele indicate în prezentul Contract. |
| Forţa majoră |
| Părţile sînt exonerate de răspundere pentru neîndeplinirea parţială sau integrală a obligaţiilor conform prezentului Contract, dacă aceasta este cauzată de producerea unor cazuri de forţă majoră (războaie, calamităţi naturale: incendii, inundaţii, cutremure de pămînt, precum şi alte circumstanţe care nu depind de voinţa Părţilor). Partea care invocă clauza de forţă majoră este obligată să informeze imediat (dar nu mai tîrziu de 10 zile) cealaltă Parte despre survenirea circumstanţelor de forţă majoră. Survenirea circumstanţelor de forţă majoră, momentul declanşării şi termenul de acţiune trebuie să fie confirmate printr-un certificat, eliberat în mod corespunzător de către organul competent din ţara Părţii care invocă asemenea circumstanţe. |
| Rezilierea |
| Rezilierea Contractului se poate realiza cu acordul comun al Părţilor. Contractul poate fi reziliat în mod unilateral de către: Cumpărător în caz de refuz al Vînzătorului de a livra Bunurile prevăzute în prezentul Contract; Cumpărător în caz de nerespectare de către Vînzător a termenelor de livrare stabilite; Vînzător în caz de nerespectare de către Cumpărător a termenelor de plată a Bunurilor; Vînzător sau Cumpărător în caz de nesatisfacere de către una dintre Părţi a pretenţiilor înaintate conform prezentului Contract. Partea iniţiatoare a rezilierii Contractului este obligată să comunice în termen de ___ zile lucrătoare celeilalte Părţi despre intenţiile ei printr-o scrisoare motivată. Partea înştiinţată este obligată să răspundă în decurs de ___ zile lucrătoare de la primirea notificării. În cazul în care litigiul nu este soluţionat în termenele stabilite, partea iniţiatoare va iniția rezilierea. |
| Reclamaţii |
| Reclamaţiile privind cantitatea Bunurilor livrate sînt înaintate Vînzătorul la momentul recepţionării lor, fiind confirmate printr-un act întocmit în comun cu reprezentantul Vînzătorului. Pretenţiile privind calitatea bunurilor livrate sînt înaintate Vînzătorului în termen de ___ zile lucrătoare de la depistarea deficienţelor de calitate şi trebuie confirmate printr-un certificat eliberat de o organizaţie independentă neutră şi autorizată în acest sens. Vînzătorul este obligat să examineze pretenţiile înaintate în termen de ___ zile lucrătoare de la data primirii acestora şi să comunice Cumpărătorului despre decizia luată. În caz de recunoaştere a pretenţiilor, Vînzătorul este obligat, în termen de ___ zile, să livreze suplimentar Cumpărătorului cantitatea nelivrată de bunuri, iar în caz de constatare a calităţii necorespunzătoare – să le substituie sau să le corecteze în conformitate cu cerinţele Contractului. Vînzătorul poartă răspundere pentru calitatea Bunurilor în limitele stabilite, inclusiv pentru viciile ascunse. În cazul devierii de la calitatea confirmată prin certificatul de calitate întocmit de organizaţia independentă neutră sau autorizată în acest sens, cheltuielile pentru staţionare sau întîrziere sînt suportate de partea vinovată. Sancţiuni Forma de garanţie de bună executare a contractului agreată de Cumpărător este ____________________________________________, în cuantum de __% din valoarea contractului. Pentru refuzul de a vinde Bunurile prevăzute în prezentul Contract, se va reține garanţia de bună executare a contractului, în cazul în care ea a fost constituită în conformitate cu prevedrile punctului 10.1., în caz contrar Vînzătorul suportă o penalitate în valoare de ___% [indicați procentajul] din suma totală a contractului. Pentru livrarea cu întîrziere a Bunurilor, Vînzătorul poartă răspundere materială în valoare de ___% din suma Bunurilor nelivrate, pentru fiecare zi de întîrziere, dar nu mai mult de ___ % [indicați procentajul] din suma totală a prezentului Contract. În cazul în care întîrzierea depășește ________ zile, se consideră ca fiind refuz de a vinde Bunurile prevăzute în prezentul Contract și Vînzătorului i se va reține garanţia de bună executare a contractului, în cazul în care ea a fost constituită în conformitate cu prevederile punctului 10.1. Pentru achitarea cu întîrziere, Cumpărătorul poartă răspundere materială în valoare de ___% [indicați procentajul] din suma Bunurilor neachitate, pentru fiecare zi de întîrziere, dar nu mai mult de ___% [indicați procentajul] din suma totală a prezentului contract. |
| Drepturi de proprietate intelectuală |
| Furnizorul are obligaţia să despăgubească achizitorul împotriva oricăror: reclamaţii şi acţiuni în justiţie, ce rezultă din încălcarea unor drepturi de proprietate intelectuală (brevete, nume, mărci înregistrate etc.), legate de echipamentele, materialele, instalaţiile sau utilajele folosite pentru sau în legătură cu produsele achiziţionate, şi daune-interese, costuri, taxe şi cheltuieli de orice natură, aferente, cu excepţia situaţiei în care o astfel de încălcare rezultă din respectarea Caietului de sarcini întocmit de către achizitor. |
| Dispoziţii finale |
| Litigiile ce ar putea rezulta din prezentul Contract vor fi soluţionate de către Părţi pe cale amiabilă. În caz contrar, ele vor fi transmise spre examinare în instanţa de judecată competentă conform legislaţiei Republicii Moldova. De la data semnării prezentului Contract, toate negocierile purtate şi documentele perfectate anterior îşi pierd valabilitatea. Părţile contractante au dreptul, pe durata îndeplinirii contractului, să convină asupra modificării clauzelor contractului, prin act adiţional, numai în cazul apariţiei unor circumstanţe care lezează interesele comerciale legitime ale acestora şi care nu au putut fi prevăzute la data încheierii contractului. Modificările şi completările la prezentul Contract sînt valabile numai în cazul în care au fost perfectate în scris şi au fost semnate de ambele Părţi. Nici una dintre Părţi nu are dreptul să transmită obligaţiile şi drepturile sale stipulate în prezentul Contract unor terţe persoane fără acordul în scris al celeilalte părţi. Prezentul Contract este întocmit în două exemplare în limba de stat a Republicii Moldova, cîte un exemplar pentru Vînzător, Cumpărător. Prezentul Contract se consideră încheiat la data semnării şi intră în vigoare la data înregistrării la Trezoreria de Stat a Ministerului Finanţelor, în cazul în care sursele financiare se alocă din bugetul de stat/bugetul local, sau la data semnării sau la o altă dată ulterioară indicată în acest contract în cazul în care gestionarea surselor financiare nu se efectuează prin intermediul sistemului trezorerial. Prezentul contract este valabil pînă la 31 decembrie 20__. Prezentul Contract reprezintă acordul de voinţă al părţilor şi se consideră semnat la data aplicării ultimei semnături de către una din părți. Pentru confirmarea celor menţionate mai sus, Părţile au semnat prezentul Contract în conformitate cu legislaţia Republicii Moldova, la data şi anul indicate mai sus. |
| Datele juridice, poştale şi bancare ale Părţilor |
| Furnizorul de bunuri | Autoritatea contractantă |
| Adresa poştală: | Adresa poştală: |
| Telefon: | Telefon: |
| Cont de decontare: | Cont de decontare: |
| Banca: | Banca: |
| Adresa poştală a băncii: | Adresa poştală a băncii: |
| Cod: | Cod: |
| Cod fiscal: | Cod fiscal: |
| Semnăturile părţilor |
| Furnizorul de bunuri | Autoritatea contractantă |
| Semnătura autorizată: | Semnătura autorizată: |
| L.Ș. | L.Ș. |
|  | Contabil: |
|  | Înregistrat Nr.: |
|  | Data: |

Autoritatea contractantă trebuie să ţină cont de situaţiile cînd, în cazul unei extinderi a perioadei de executare a Contractului, autoritatea contractantă va avea nevoie să ceară o extindere şi a acestei garanţii de la bancă. O astfel de cerere trebuie să fie întocmită în scris şi trebuie făcută înainte de expirarea datei stabilite în garanţie. În procesul pregătirii acestei Garanţii, autoritatea contractantă ar putea lua în considerare adăugarea următorului text în formular, la sfîrşitul penultimului paragraf:  „Noi sîntem de acord cu o singură extindere a acestei Garanţii pentru o perioadă ce nu depăşeşte [şase luni] [un an], ca răspuns al cererii în scris a autorităţii contractante pentru o astfel de extindere, şi o astfel de cerere urmează a fi prezentată nouă înainte de expirarea prezentei garanţii.”