ANEXA: II

Specificația pentru lucrări de deservire echipamente de răcire și ventilare

Lista de prețuri

| Nr. | Denumire sistem climatizare | Cantitate bucati | Periodicitate deservire anuală, set | Preț unitar, lei | Suma lei, fără TVA |
| --- | --- | --- | --- | --- | --- |
| 1 | Condiționer DAIKIN tip VRV | 61 | 2 |  |  |
| 2 | Sistem de refulare | 2 | 2 |  |  |
|  | Total anual, fără TVA |  |  |  |  |

Lista

Echipamentelor de răcire și ventilare cu locul amplasării

| Nr. | Denumirea echipamentului de răcire și ventilare | Locul amplasări |
| --- | --- | --- |
| 1 | Bloc interior "Daikin" FBQ 60C8 | et. 7 |
| 2 | Bloc interior "Daikin" FBQ 100C8 | et.7 |
| 3 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 4 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 5 | Bloc interior "Daikin" FXDQ63P7 | et.6 |
| 6 | Bloc interior "Daikin" FXDQ40P7 | et.6 |
| 7 | Bloc interior "Daikin" FXDQ40P7 | et.6 |
| 8 | Bloc interior "Daikin" FXDQ40P7 | et.6 |
| 9 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 10 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 11 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 12 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 13 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 14 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 15 | Bloc interior "Daikin" FXDQ40P7 | et.6 |
| 16 | Bloc interior "Daikin" FBQ 71C8 | et.7 |
| 17 | Bloc interior "Daikin" FBQ 60C | et.7 |
| 18 | Bloc interior "Daikin" FXDQ40P7 | et.6 |
| 19 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 20 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 21 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 22 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 23 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 24 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 25 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 26 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 27 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 28 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 29 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 30 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 31 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 32 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 33 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 34 | Bloc interior "Daikin" FXDQ32PA | et.6 |
| 35 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 36 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 37 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 38 | Bloc interior "Daikin" FXDQ25P7 | et.6 |
| 39 | Bloc interior "Daikin" FXDQ15P7 | et.6 |
| 40 | Bloc interior "Daikin" FXDQ15P7 | et.7 |
| 41 | Bloc interior "Daikin" FDXS25F | et.5 |
| 42 | Bloc interior "Daikin" FDXS25F | et.5 |
| 43 | Bloc interior "Daikin" FDXS35F | et.5 |
| 44 | Bloc interior "Daikin" FDXS35F | et.5 |
| 45 | Bloc interior "Daikin" FDXS35F | et.5 |
| 46 | Bloc interior "Daikin" FDXS50F9 | et.5 |
| 47 | Bloc interior "Daikin" FDXS50F9 | et.5 |
| 48 | Bloc interior "Daikin" FDXS50F9 | et.5 |
| 49 | Bloc interior "Daikin" FDXS60F | et.5 |
| 50 | Bloc interior "Daikin" FDXS25F | et.6 |
| 51 | Bloc interior "Daikin" | centrul comercial |
| 52 | Bloc interior "Daikin" | centrul comercial |
| 53 | Bloc interior "Daikin" | centrul comercial |
| 54 | Bloc interior "Daikin" | centrul comercial |
| 55 | Bloc interior Ballu | Vadul lui vodă |
| 56 | Bloc interior Ballu | Vadul lui vodă |
| 57 | Bloc interior Ballu | Vadul lui vodă |
| 58 | Bloc interior Ballu | Vadul lui vodă |
| 59 | Bloc interior Ballu | Vadul lui vodă |
| 60 | Bloc interior Ballu | Vadul lui vodă |
| 61 | Bloc interior Ballu | Vadul lui vodă |