## Sheet1
DULAP SERVICII INTERNE DE DISTRIBUTIE PRINCIPAL CURENT CONTINUU
Lista componentelor de baza
Cod de comanda | Dulap racord (separator de sarcina) | Cantitate
1SCA158202R1001 | OTDC400FV11 | 7 | https://new.abb.com/products/1SCA158202R1001
1SCA022353R4890 | OA1G01 | 14 | https://new.abb.com/products/1SCA022353R4890
1SCA022353R4970 | OA1G10 | 14 | https://new.abb.com/products/1SCA022353R4970
1SCA022325R7100 | OXP12X166 | 7 | https://new.abb.com/products/1SCA022325R7100
1SCA022381R0830 | OHB95J12 | 7 | https://new.abb.com/products/1SCA022381R0830
Dulap racord (intrerupator automat LSI)
1SDA100550R1 | XT5N 400 BREAKING PART 3p F F | 2 | https://new.abb.com/products/1SDA100550R1
1SDA100592R1 | Ekip Touch LSI In=400 XT5 3p | 2 | https://new.abb.com/products/1SDA100592R1
1SDA100550R1 | XT5N 400 BREAKING PART 3p F F | 4 | https://new.abb.com/products/1SDA100550R1
1SDA100590R1 | Ekip Touch LSI In=250 XT5 3p | 4 | https://new.abb.com/products/1SDA100590R1
1SDA066433R1 | AUX-C 2Q+1SY 250Vac/dc XT1...XT6 F/P | 6 | https://new.abb.com/products/1SDA066433R1
1SDA105166R1 | EKIP COM MODBUS RS-485 Tmax XT | 6 | https://new.abb.com/products/1SDA105166R1
1SDA074173R1 | EKIP SUPPLY 24-48VDC E1.2..E6.2-Tmax XT | 6 | https://new.abb.com/products/1SDA074173R1
Dulap Distributie (intrerupator automat selectiv var.A)
1SDA067306R1 | Ekip LSI In=25A XT2 3p | 28 | https://new.abb.com/products/1SDA067306R1
1SDA067307R1 | Ekip LSI In=63A XT2 3p | 30 | https://new.abb.com/products/1SDA067307R1
1SDA067308R1 | Ekip LSI In=100A XT2 3p | 4 | https://new.abb.com/products/1SDA067308R1
1SDA068163R1 | XT2N 160 BREAKING PART 3p F F | 62 | https://new.abb.com/products/1SDA068163R1
1SDA066433R1 | AUX-C 2Q+1SY 250Vac/dc XT1...XT6 F/P | 62 | https://new.abb.com/products/1SDA066433R1
1SDA105166R1 | EKIP COM MODBUS RS-485 Tmax XT | 62 | https://new.abb.com/products/1SDA105166R1
1SDA074173R1 | EKIP SUPPLY 24-48VDC E1.2..E6.2-Tmax XT | 62 | https://new.abb.com/products/1SDA074173R1
1SDA066989R1 | Ekip T&P TEST AND PROGRAMMING UNIT | 1 | https://new.abb.com/products/1SDA066989R1
ZIP | Inclusiv componente conform caietului de sarcini p.6.3 | 1
Dulap Distributie (separator cu fusibili gG var.B)
1SDA067017R1 | XT2N 160 TMA 80-800 3p F F | 2 | https://new.abb.com/products/1SDA067017R1
1SCA022627R0580 | OFAF000H10 | 10 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R0660 | OFAF000H16 | 20 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R0740 | OFAF000H20 | 10 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R0820 | OFAF000H25 | 20 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R0910 | OFAF000H32 | 20 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R1040 | OFAF000H35 | 6 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R1120 | OFAF000H40 | 20 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R1210 | OFAF000H50 | 10 | https://new.abb.com/products/1SCA022627R0580
1SCA022627R1550 | OFAF000H100 | 4 | https://new.abb.com/products/1SCA022627R0580
1SEP204480R3608 | XRG00-185/10-DC-EFM-500 | 60 | https://new.abb.com/products/1SCA022627R0580
Dulap racord (1SF1 2SF1)
2CDS272061R0104 | S202M-C10UC MiniatureCircuitBreaker | 2 | https://new.abb.com/products/2CDS272061R0104
2CDS200912R0001 | S2C-H6R Auxiliary Contact | 2 | https://new.abb.com/products/2CDS200912R0001
Terminal numeric supraveghere (TNS A1.1/A1.2)
1SAP507100R0001 | CP607, HMI 7" | 2 | https://new.abb.com/products/1SAP507100R0001
1SFA619600R6103 | CB1-610Y lighting-sound buzzer | 2 | https://new.abb.com/products/1SFA619600R6103
1SVR320661R1000 | CP-S.1 24/10.0 Power supply | 2 | https://new.abb.com/products/1SVR320661R1000
787-915 | WAGO-UPS 24VDC 40A | 1 | https://www.wago.com/global/power-supply-modules/ups-charger-and-controller/p/787-915
GP12120 | Battery CSB 12V, 12Ah | 2 | https://csb-battery.com/wp-content/uploads/2024/07/CSB-Datasheet-GP12120-%E2%80%93-053124.pdf
750-8212/025-001 | WAGO PLC PFC200; 2xETH, RS485 (IEC60870, IEC61850, Modbus) | 2 | https://www.wago.com/global/plcs-%E2%80%93-controllers/controller-pfc200/p/750-8212_025-001
750-455 | WAGO 750 XTR AI4 | 6 | https://www.wago.com/global/i-o-systems/4-channel-analog-input/p/750-455
750-504 | WAGO 750 XTR DO4 | 6 | https://www.wago.com/global/i-o-systems/4-channel-digital-output/p/750-504
750-430 | WAGO 750 XTR DI8 | 12 | https://www.wago.com/global/i-o-systems/8-channel-digital-input/p/750-430
752-9400 | WAGO Edge Computer; 2xETH, 4xUSB, HDMI, DP; 4GB/64GB | 1 | https://www.wago.com/global/edge-devices/edge-computer/p/752-9400
852-112/000-001 | WAGO Industrial-ECO-Switch; 8-port 100Base-TX; black | 2 | https://www.wago.com/global/industrial-switches/industrial-eco-switch/p/852-112_000-001
Щ02.01 | Амперметры и вольтметры постоянного тока 4..20mA, RS485 | 12
УЗН-50 | УСТРОЙСТВО ЗАЩИТЫ ОТ НАВОДОК | 26
СКЛ 11А-Л-2-220 | Светодиодная коммутаторная лампа (зеленый) | 75
СКЛ 11А-К-2-220 | Светодиодная коммутаторная лампа (красный) | 75
СКЛ 11А-Ж-2-220 | Светодиодная коммутаторная лампа (желтый) | 2
Terminal numeric control izolatie (TNCI A2.1/A2.2)
ED2-IMS | EKRA insulation and earth fault monitor (IEC60870, IEC61850, Modbus) | 2 | https://ekra.ru/en/product/docs/nku-kru/ime/ekra-ims-pim/Insulation%20Monitoring%20Devices%20for%20DC%20networks.pdf
DCS25.30 | EKRA differential current sensor | 60
IM1-02 | EKRA Insulation Monitoring Relay | 2 | https://ekra.ru/en/product/nku-kru/ime/ekra-ims-imr-01/
Z105/4.0260 | MERZ cam key 1-2 90° | 4 | https://www.merz-schaltgeraete.de/files/media/downloads/kataloge/01_hauptkatalog/1090_MERZ_Hauptkatalog2024_Gesamt_UH_www.pdf
901-0551 | RS PRO Analog DC Voltmeter, 68×68 (0-40V) | 4 | https://uk.rs-online.com/web/p/voltmeters/9010551
Bloc | lluminat de Avarie, 3kW | 1