## Specificaţii tehnice (F4.1)

| Numărul licitaţiei: |  |  |  | Data: „___” _______ 20__ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Denumirea licitaţiei: |  |  |  | Lot: ___________ |  |  | Pagina: __din __ |  |  |
| N Lot | Denumirea bunurilor | Modelul articolului | Ţara de origine |  | Produ-cătorul | Specificarea tehnică deplină solicitată de către autoritatea contractantă |  | Specificarea tehnică deplină propusă de către ofertant | Standarde de referinţă |
| 1 | 2 | 3 | 4 |  | 5 | 6 |  | 7 | 8 |
| 1 | Sursă de alimentare cu energie electrică neîntreruptibilă (UPS) |  |  |  |  | Cerințe minime Echivalent APC Smart-UPS C 1500VA LCD 230V with SmartConnect (SMC1500IC): - Output-Output power capacity 900Watts / 1.5kVA; Max Configurable Power (Watts) 900Watts / 1.5kVA; Nominal Output Voltage 230V; Output Voltage Distortion Less than 5%; Output Frequency (sync to mains) 50/60Hz +/- 3 Hz; Other Output Voltages 220, 240; Topology Line Interactive; Waveform type Sine wave; Output Connections (8) IEC 320 C13 (Battery Backup) (2) IEC Jumpers (Battery Backup); Transfer Time 6ms typical : 10ms maximum. - Input -Nominal Input Voltage - 230V; Input frequency 50/60 Hz +/- 3 Hz (auto sensing); Input Connections IEC-320 C14; Input voltage range for main operations 180 - 287V; Input voltage adjustable range for mains operation 170 - 300V; Other Input Voltages 220, 240 - Communications & Management Interface Port(s) RJ-45, USB Control panel Multi-function LCD status and control console Audible Alarm Alarm when on battery : distinctive low battery alarm: configurable delays Availability Boost and Trim Automatic Voltage Regulation (AVR); Intelligent battery management; Power conditioning Automatic restart of loads after UPS shutdown; Automatic self-test; Temperature-compensated battery charging; Disconnected battery notification Serviceability Battery failure notification; Predictive failure notification; User-replaceable batteries; Resettable circuit breakers; Hot-swappable batteries Manageability Network manageable; Disconnected battery notification; Audible alarms; LED status indicators; Serial connectivity; USB connectivity Garanție: 12 luni |  |  |  |
| 2 | Sursă de alimentare cu energie electrică neîntreruptibilă (UPS) |  |  |  |  | Cerințe minime Echivalent APC Smart-UPS C 1000VA LCD 230V with SmartConnect (SMC1000IC): - Output Output power capacity 600Watts / 1.0kVA; Max Configurable Power (Watts) 600Watts / 1.0kVA; Nominal Output Voltage 230V; Output Voltage Distortion Less than 5%; Output Frequency (sync to mains) 50/60Hz +/- 3 Hz; Other Output Voltages 220, 240 Topology Line Interactive Waveform type Sine wave Output Connections (8) IEC 320 C13 (Battery Backup); (2) IEC Jumpers (Battery Backup) - Input Nominal Input Voltage 230V; Input frequency 50/60 Hz +/- 3 Hz (auto sensing); Input Connections IEC-320 C14; Input voltage range for main operations 180 - 287V; Input voltage adjustable range for mains operation 170 - 300V; Other Input Voltages 220, 240 - Communications & Management Interface Port(s) RJ-45, USB; Control panel; Multi-function LCD status and control console; Audible Alarm Alarm when on battery : distinctive low battery alarm : configurable delays; Availability Boost and Trim Automatic Voltage Regulation (AVR); Intelligent battery management; Power conditioning; Automatic restart of loads after UPS shutdown; Automatic self-test; Temperature-compensated battery charging; Disconnected battery notification Serviceability Battery failure notification; Predictive failure notification; User-replaceable batteries; Resettable circuit breakers; Hot-swappable batteries Manageability Network manageable; Disconnected battery notification; Audible alarms; LED status indicators; Serial connectivity; USB connectivity Garanție: 12 luni |  |  |  |
| 3 | Sursă de alimentare cu energie electrică neîntreruptibilă (UPS) |  |  |  |  | Cerințe minime Echivalent APC Smart-UPS SRT 2200VA RM 230V Network Card (SRT2200RMXLI-NC): Output power capacity 1.98kWatts / 2.2kVA; Max Configurable Power (Watts) 1.98kWatts / 2.2kVA; Nominal Output Voltage 230V; Output Voltage Distortion Less than 2% Output Frequency (sync to mains) 50/60Hz +/- 3 Hz; Other Output Voltages 220, 240 Load Crest Factor 3 : 1 Topology Double Conversion Online Waveform type Sine wave Output Connections (2) IEC 320 C19 (Battery Backup); (8) IEC 320 C13 (Battery Backup); (2) IEC Jumpers (Battery Backup) Bypass Built-in Bypass - Input Nominal Input Voltage 230V; Input frequency 50/60 Hz +/- 3 Hz (auto sensing); Input Connections IEC-320 C20; Input voltage range for main operations 160 - 275V; Input voltage adjustable range for mains operation 100 - 275 (half load)V; Other Input Voltages 220, 240 - Communications & Management Interface Port(s) RJ-45 10/100 Base-T, RJ-45 Serial, Smart-Slot, USB; Pre-Installed SmartSlot™ Cards Serviceability Automatic self-test; Disconnected battery notification; Audible alarms; Predicitive failure notification Protection Frequency and voltage regulation; Power conditioning Input power factor correction; Generator compatible Cold-start capable; Resettable circuit breaker; Safety-agency approved Manageability LED status indicators; SmartSlot; Network manageable Serial connectivity Adaptability Flash upgradeable firmware; Rack/Tower convertible; Plug-and-Play external batteries Availability - Automatic restart of loads after UPS shutdown Garanție: 12 luni |  |  |  |
| 4 | Acumulator |  |  |  |  | Cerințe minime Acumulator pentru UPS 12V/7.2AH Garanție - 12 luni |  |  |  |
|  |  |  |  |  |  | Cerințe minime Acumulator pentru UPS 12V/12AH Garanție - 12 luni |  |  |  |
|  |  |  |  |  |  | Cerințe minime Acumulator pentru UPS 12V/17AH Garanție - 12 luni |  |  |  |
| Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ______________ Ofertantul: _______________________ Adresa: ____________________________________________________ |  |  |  |  |  |  |  |  |  |

## Specificații de preț (F4.2)

| Numărul licitaţiei: |  |  |  | Data: „___” _________________ 20__ |  |  |  | Alternativa nr.: ___________ |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Denumirea licitaţiei: |  |  |  | Lot: ___________ |  |  |  | Pagina: __din __ |  |  |
| Nr Lot | Denumirea bunurilor | Unitatea de măsură | Cantitatea |  | Pret fără TVA | Pret cu TVA | Suma fără TVA |  | Suma cu TVA |  |
| 1 | 2 | 3 | 4 |  | 5 | 6 | 8 |  | 9 |  |
| 1 | UPS 1500VA | buc |  |  |  |  |  |  |  |  |
| 2 | UPS 1000VA | buc |  |  |  |  |  |  |  |  |
| 3 | UPS 2200VA | buc |  |  |  |  |  |  |  |  |
| 4 | Acumulator 12V/7.2AH | buc | 30 |  |  |  |  |  |  |  |
|  | Acumulator 12V/12AH | buc |  |  |  |  |  |  |  |  |
|  | Acumulator 12V/17AH | buc |  |  |  |  |  |  |  |  |
|  | TOTAL |  |  |  |  |  |  |  |  |  |
| Semnat:_______________ Numele, Prenumele:_____________________________ În calitate de: ______________ Ofertantul: _______________________ Adresa: ____________________________________________________ |  |  |  |  |  |  |  |  |  |  |