[image: image1.png]


                         NINGBO GREETMED MEDICAL INSTRUMENTS CO., LTD.  

Technical file
[image: image4.png]Greetmed
o EE FF




– Product name: Sterile Gauze Swabs
– Model: GT065-100 
– Size: 10cmx10cm; 5cmx5cm; 7.5cmx7.5cm; 8cmx4cm, 10cmx20cm, etc.
– Ply: 4ply, 8ply, 12ply, 16ply
– Individually packed.

– Material and weight: Cotton 100% absorbent
– Density: 50/60 g, 90/100 g. The pad is designed to wick away fluids and disperse them evently. They are most useful for bleeding control or tissue protection in the operation rooms.
– Biological performance:
Sterile or non-sterile, non-pyrogenic, non-toxic, non-allergic
– Method of sterilization: EO
– Usage: After opening, put it on directly. 

– Storage conditions: Keep away from light, sun, and moisture 

Place, Date of Issue: Ningbo, November 25th, 2024
[image: image2.jpg]



[image: image3.png]


Signature:

Name: Li Guirong
Position: General Manager
